## Summary
Citation | Testing Methods | [5 empty] | Range of Particle Size Categories Measured (mm) | General Description of Testing Method | General Description of Sampling Methods
Blott, 2012 | No Testing method. Historical Scales | 0 | 0 | 0 | 0 | 0 | 2000, 1000, 500, 250, 100 | No Testing Method. Historical Analysis of Particle Size scales. | No Testing Method. Historical Analysis of Particle Size scales.
Clark, 2007 | NJ Dep Laboratory Testing Protocol (sieve analysis) to test TSS EPA, SSC, and SM TSS 2540D | 0 | 0 | 0 | 0 | 0 | 1-2, 2-8, 8-50, 50-100, 100-250, 250-500, 500-1000 | Analyzing the difference of common PSD methods: including SSC ASTM D 3977-97, "whole sample bottle", TSS EPA 160.2 / ISO 11923, with "100mL by shake and pour" method, TSS EPA 160.2 / ISO 11923 with "250mL by shake and pour", SM 2540D, 100mL aliquot by wide-bore pipet, near bottom sampling, and SM 2540D, 100mL aliquot by wide-bore pipet with mid-depth sampling. | No discussion of Sampling processes
Ecology, 2018 | Modified SSC method (based on ASTM Method D3977-97)d | 0 | 0 | 0 | 0 | 0 | >250, 62.5-250, 39-62.5, <3.9 | The SSC method uses wet sieve filtration (Method C) to measure the sand concentration by passing the entire sample (minimum volume of 1 liter) through a 62.5 micron (No. 230) sieve, and uses glass fiber filtration (Method B) to measure the fines (silt/clay) concentration by passing the wet sieve filtrate through a 1.5 micron glass fiber filter. | Composite samples are collected with automated samplers. Procedures for collecting TSS sample are followed and the solids collected in these samples are used to measure particle size.
Eshel, 2004 | Pipette method, Laser Diffraction | [5 empty] | >53, <53, <2 | Pipette Method: 40g samples were dispersed in 50 g/L sodium hexametaphosphate solution. Sand particles were separated from suspensions by wet sieving through 53 um sieve. Fraction retained by sieve was dried and weighed. Clay fraction was determined using pipette method by Janitzky (1986). Silt fraction determined by difference. Coulter Counter was used from range 0.045 um to 2000 um. | 42 soil samples were collected from California. Samples of each soil were collected, air dried, and crushed to pass 2.0 mm sieve.
Guo, 2006 | Sieve method, Coulter Particle Counter, and Laser Particle Counter | 0 | 0 | 0 | 0 | 0 | 500-1000, 250-500, 106-250, 53-106, 8-53, 0-8, All sizes | Conduct an extensive laboratory evaluation of 3 different laboratory analytic methods: including ASTM's SSC method, Standard TSS Method, and EPA's TSS method. | The particle size distribution of the manufactured solid materials were analyzed with 3 methods, including sieve method for particles larger than 53 microns, the Coulter counter particle counter for particles from 0 - 106 microns, and the laser particle counter for all sizes of particles.
Hong, 2016 | Hairsine-Rose (H-R) model in combination with FULLSWOF (Full Shallow-Water equations for Overland flow) modelling system. Laser Diffractometer | 0 | 0 | 0 | 0 | 0 | 0.01-2000 | A laser diffraction meter was used to measure particles from a range of .01 to 2000 um. | Collect a wet sample from sewer inlet. A peristaltic pump pumped 250 mL of water at regular volume intervals for the purpose of measuring mean TSS concentrations. There was also a dry sample collected of road dust using paper filters along road, sidewalk, in the gutter, and on the road.
Kim, 2008 | Sieve, laser diffraction | [5 empty] | <1 - 24500 | Sieve was used to measure particulate matter which was compared to particulate matter measured by laser diffraction. | Runoff was ran through an experimental BMP. The particulate matter caught in BMP was sieved, and the particulate matter that passed through was analyzed with laser diffraction.
Krishnappan, 1999 | Submersible Laser Particle Size Analyzer (SLPSA) | 0 | 0 | 0 | 0 | 0 | 3.5 - 212 | SLPSA works by laser diffraction, and consists of 2 mW laser, a receiving lens, a detector plate, an electronic interface, and a microcomputer. The distribution of diffracted light of a laser beam passing through the water sensing volume is used to calculate the distribution of particles. The laser measures the diameter of "spherical" particles by doing "sweeps" of light energy distributions. | Three seasonal field surveys of suspended solids in the pond were undertaken reflecting fall (Nov. 26, 1996), winter (Feb. 4, 1997) and summer (Sept. 16, 1997) conditions. In open water surveys, the SLPSA was deployed from an inflatable rubber boat, lowered into water so that the sensing volume was 0.5 m below the surface, and activated for 60 s, during which the instrument made 1500 sweeps of light energy distributions.
Li, 2005 | Nincomp Particle Sizing Systems AccuSizer 780 optical particle sizer module equipped with an autodilution system and a light scattering/ extinction sensor | 0 | 0 | 0 | 0 | 0 | 2-3, 3-5, 5-7, 7-10, 10-20, 20-30, 30-50, 50-100, 100-200 | An advanced instrument was used for its range (2-1000 um), speed (<2 min/sample analysis), and auto dilution capability. | Three monitoring sites were selected with catchment areas ranging from .39 to 1.69 ha and AADT of 260,000 veh/day. All sites were equipped with American Sigma 950 flow meters, tipping bucket rain gauges, and composite auto samplers. Manual grab samples were taken during precipitation events once every 15 minutes for first hour then once every hour. Flow weighted composite samples were also collected using 4L glass bottles by composite autosamplers.
Pitt, 2017 | Cone splitter, Coulter Counter Multi-Sizer 3, and sieves | 0 | 0 | 0 | 0 | 0 | >106, <106 -0.45, <0.45 | The Coulter Counter Multi Sizer 3 is done using a tube with a small aperture being placed in a container in which particles are suspended in low-concentration electrolyte. Two electrodes, one inside tube and one out, create electrical field in which suspended particles can be counted by passing through the tube. Mostly suitable for particles in range 1 um to 200 um. Larger particles settle to the bottom. Sieves were used to divide into three size categories. The .45 - 106 is used in the Coulter Counter without interference of larger particles. | This paper analyzes several stormwater monitoring studies that have been performed. There were several sampling methods discussed. The use of bedload samplers can quantify moving bedload material to supplement samples collected using automatic samplers. The sampler intake should be located several inches above bottom of pipe so large material in bedload is not double counted. Another method to obtain representative stormwater samples it create cascading and mixed flow at sampling location. The last approach for collecting samples is using depth-integrated sampler.
Selbig, 2011 | Sieves, coulter Counter | 0 | 0 | 0 | 0 | 0 | >500, 250-500, 125-250, 63-125, 32-63; 14-32, 8-14, 5-8, 2-5, <2 | These samples were then sieved to sizes. Material retained on each sieve was transferred into a clean, tared, heat-tolerant container and dried overnight in oven at 105 C. Anything less than 32 um were further separated with the Coulter Counter and separated into 14-32, 8-14, 5-8, 2-8, and <2 um. | Using an intake nozzle approximately .5 in. above pipe floor, samples were collected at basin outlets of each source. Subsamples, 1L in volume, were transferred through the sample tubing into 10L glass jar. These were then split using a Teflon churn splitter into 4 Liter plastic containers. They were kept in a refrigerator at 4 C until delivered, usually within 48 hours
Selbig, 2015 | Depth-integrated sampler arm (DISA) to collect sample; Wet sieve and Coulter Counter | 0 | 0 | 0 | 0 | 0 | 32-<63, 63- <125, 125- <250, 250 - <500, >500; <2, 2-<5, 5- <8, 8-<14, 14 - <32 | Based on Adaption of methods described in Burton and Pitt (2002) Sample is wet sieved through stacked nylon-mesh sieves, which separated solid-phase material from the sample in 5 fractions. A Coulter Counter is used on finer sized particles after drying. | Automated monitoring station was set up to measure flow and collect samples near basin outlet. Each was equipped with storm-water-quality samplers and instruments to measure discharge. Precipitation data was collected using a tipping-bucket rain gauge. Sample collection was activated by rise in water level in the pipe during precipitation events. Once a threshold was exceeded, volume of water passing station was measured and accumulated at 1-minute increments until volumetric threshold was reached. DISA sampler would ten collect a discrete water sample and volumetric counter was reset. DISA is controlled by motorized actuator that rotates a sample arm assembly to any vertical depth within water column. Once target depth is reached, a data logger activates autosampler to withdraw cycles to collect discrete water-quality sample. After collection of samples, the total mass correcting for container weight is measured. Use mass to approximate volume (1 ml = 1 g water). Further water density corrections are necessary if suspended sediment concertation > 8000 mg/L.
Siu, 2008 | SSC analysis using Wet sieving, SSC analysis without wet sieving, TSS using wide-bore pipet | 0 | 0 | 0 | 0 | 0 | Unsieved, 500, 200 ; 106, 250, 500, 1000 | All the samples, excluding sand only ones, were analyzed by SSC without sieving and with sieving at 500um and 250 um. Sand only were analyzed by SSC but sieved at 106, 250, 500, and 1000 um. | Autosamplers were used with tubing lengths of 1.8, 7.6, and 8.0 m. Three sample mixtures were used including ground silica, sand and ground silica, and sand only. The samples were properly mixed. Three replicates of each mixture were made with conditions, (when sampler arm was equal to height of surface water level, when sampler arm was 1.1m above water surface, and when sampler arm was 6.3m above water surface.
Winston, 2017 | Laser Diffraction Particle Size analyzer | 0 | 0 | 0 | 0 | 0 | 0.04-2000 | Particles were measured in a size range from .04 - 2000 um using a Beckman-Coulter 13-320 Laser Diffraction Particle Size Analyzer equipped with a Universal Liquid Module. The output was given in 117 bins. Method was further analyzed by Li et al. (2005) | At every site, flow-proportional composite water quality samples were obtained using ISCO 6712 water quality samplers. At Black Mountain, samplers were rainfall paced with aliquots triggered every 1mm of rainfall.

## Template (hidden)
Article Title: | [6 empty] | General Purpose of Testing Method
Year Published:
File Name:
Testing Method Name:
Reporting Limit Target:
Sample Container: | [6 empty] | General Description of Testing Method
Preservative:
Pre-filtration Holding Time:
Total Holding Time:
Required Particle Size Distribution Size Categories for the Method: | Size Category (mm) |  | Particle Distribution |  | Analysis Method
General Description of Sample Collection Method
Quality Control Summary: | Field |  | Laboratory |  |  |  | Ecology Accredation Notes
| Equipment Rinsate Blanks | Field Duplicates | Laboratory Control Samples | Method Blanks | Laboratory Duplicates | MS/MSD
Measurement Quality Objectives: | Laborary Control Sample (LCS) Recovery | Labortory Duplicate RPD | Matrix Spike (MS) Recovery | Matrix Spike Duplicate (MSD) RPD | Field Duplicate RPD
Note on H16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Most likely the articles you review will not have this information.

## Laboratory Info
State | Laboratory | Weblink | Accredited
WA | Port Orchard | Manchester Environmental Lab | ASTM D3977 B | Suspended Sediment Conc
OR | Tigard | Apex Laboratories, LLC | ASTM D422-63 (07) | Particle Size Distribution
WA | Kelso | ALS Environmental - Kelso | ASTM D422 | Particle Size Distribution
WA | Kelso | ALS Environmental - Kelso | PSEP 1986 Wet Sieve | Particle Size Distribution
WA | Kirkland | AmTest Laboratories | ASTM D422 | Particle Size Distribution
WA | Olympia | Materials Testing & Consulting, Inc - Olympia | ASTM D422 | Particle Size Distribution
WA | Seattle | Fremont Analytical, Inc. | ASTM D422 | Particle Size Distribution
WA | Tacoma | Eurofins Seattle | ASTM D422-63 (07) | Particle Size Distribution
WA | Tacoma | Eurofins Seattle | PLUMB 1981 | Particle Size Distribution
WA | Tacoma | Eurofins Seattle | PSEP 1986 Wet Sieve | Particle Size Distribution
WA | Aberdeen | Aberdeen Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Aberdeen | Ocean Spray Cranberries - Aberdeen Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Airway Heights | Airway Heights WRF Lab | SM 2540 C-2011 | Solids, Total Suspended
WA | Airway Heights | Airway Heights WRF Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Anacortes | Anacortes Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Anacortes | Anacortes Wastewater Treatment Plant Laboratory | SM 2540 G-2011 | Solids, Total Suspended
WA | Anacortes | Chemtrade Solutions, LLC Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Anacortes | HollyFrontier Puget Sound Refining LLC | SM 2540 D-2011 | Solids, Total Suspended
WA | Anacortes | Marathon Petroleum Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Arlington | Arlington Water Reclamation Facility Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Asotin | Asotin Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Auburn | Muckleshoot Indian Tribe Water Quality Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Auburn | Muckleshoot Indian Tribe Water Quality Lab | SM 2540 F-2011 | Solids, Total Suspended
WA | Bainbridge Island | Bainbridge Is Dept of Public Works Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Bainbridge Island | Kitsap County Sewer District No. 7 WRF Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Bainbridge Island | Messenger House Care Center Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Belfair | Pacific Northwest Salmon Center Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Bellingham | Bellingham Wastewater Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Bellingham | Bellingham Wastewater Plant Lab | SM 2540 G-2011 | Solids, Total Suspended
WA | Bellingham | Lummi Tribal Sewer & Water District Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Bellingham | Western WA University Institute for Watershed Studies | SM 2540 D-2011 | Solids, Total Suspended
WA | Benton City | Benton City Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Bingen | Bingen Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Blaine | Birch Bay Water and Sewer District Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Blaine | BP Quality Administration - NW | SM 2540 D-2011 | Solids, Total Suspended
WA | Blaine | Lighthouse Point Water Reclamation Facility Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Bremerton | Bremerton Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Bremerton | Puget Sound Naval Shipyard & Intermediate Maintenance Facility Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Brewster | Brewster Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Buckley | Buckley Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Buena | Buena Wastewater Treatment Plant | SM 2540 D-2011 | Solids, Total Suspended
WA | Burlington | Burlington Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Burlington | Edge Analytical, Incorporated | SM 2540 B-2011 | Solids, Total Suspended
WA | Burlington | Edge Analytical, Incorporated | SM 2540 C-2011 | Solids, Total Suspended
WA | Burlington | Edge Analytical, Incorporated | SM 2540 E-2011 | Solids, Total Suspended
WA | Burlington | Edge Analytical, Incorporated | SM 2540 F-2011 | Solids, Total Suspended
WA | Camas | Camas WWTP Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Carnation | Carnation Farms | SM 2540 D-2011 | Solids, Total Suspended
WA | Cashmere | Cashmere Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Castle Rock | Castle Rock Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Cathlamet | Cathlamet Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Centralia | Centralia Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Centralia | Grand Mound Wastewater Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Centralia | TransAlta Centralia Generation Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Chehalis | Chehalis Regional Water Reclamation Facility Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Chelan | Chelan Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Cheney | AAA Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Cheney | Cheney Wastewater Laboratory | SM 2540 C-2011 | Solids, Total Suspended
WA | Cheney | Cheney Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Chewelah | Chewelah Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Clallam Bay | Clallam Bay Corrections Center Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Clallam Bay | Clallam Bay/Sekiu Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Clarkston | Clarkston Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Cle Elum | Cle Elum WWTP - Veolia Water North America | SM 2540 D-2011 | Solids, Total Suspended
WA | Colfax | Colfax Regional Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Colville | Colville Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Concrete | Concrete Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Cosmopolis | COSMO Specialty Fibers, Inc. Environmental Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Coupeville | Coupeville Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Cowiche | Cowiche Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Crystal Mountain | Crystal Mountain Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Dallesport | KPUD Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Dayton | Dayton Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Deer Park | Deer Park Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Des Moines | Des Moines Creek WTP - Midway Sewer District Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Duvall | Duvall Wastewater Treatment Plant | SM 2540 D-2011 | Solids, Total Suspended
WA | Duvall | Duvall Wastewater Treatment Plant | SM 2540 E-2011 | Solids, Total Suspended
WA | East Wenatchee | Douglas County Sewer District No 1 Laboratory | SM 2540 B-2011 | Solids, Total Suspended
WA | East Wenatchee | Douglas County Sewer District No 1 Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Eastsound | Eastsound Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Eatonville | Eatonville Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Edgewood | Cherrywood Mobile Home Manor WWTP | SM 2540 D-2011 | Solids, Total Suspended
WA | Edmonds | Edmonds Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Edmonds | Lynnwood Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Edmonds | Picnic Point WWTF Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Ellensburg | Ellensburg Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Elma | Ascensus Specialties LLC | SM 2540 D-2011 | Solids, Total Suspended
WA | Elma | Elma Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Entiat | Entiat Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Enumclaw | Enumclaw Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Ephrata | Ephrata Water Reclamation Facility Laboratory | SM 2540 C-2011 | Solids, Total Suspended
WA | Ephrata | Ephrata Water Reclamation Facility Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Everett | ALS Environmental - Everett | SM 2540 B-2011 | Solids, Total Suspended
WA | Everett | ALS Environmental - Everett | SM 2540 C-2011 | Solids, Total Suspended
WA | Everett | ALS Environmental - Everett | SM 2540 D-2011 | Solids, Total Suspended
WA | Everett | Everett Environmental Laboratory | SM 2540 B-2011 | Solids, Total Suspended
WA | Everett | Everett Environmental Laboratory | SM 2540 C-2011 | Solids, Total Suspended
WA | Everett | Everett Environmental Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Everett | Everett Environmental Laboratory | SM 2540 E-2011 | Solids, Total Suspended
WA | Everett | Everett Environmental Laboratory | SM 2540 G-2011 | Solids, Total Suspended
WA | Everson | Everson Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Federal Way | Lakota Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Federal Way | Lakota Wastewater Treatment Plant Laboratory | SM 2540 G-2011 | Solids, Total Suspended
WA | Ferndale | Alcoa Intalco Aluminum LLC Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Ferndale | Exact Scientific Services, Inc. | SM 2540 B-2011 | Solids, Total Suspended
WA | Ferndale | Exact Scientific Services, Inc. | SM 2540 C-2011 | Solids, Total Suspended
WA | Ferndale | Exact Scientific Services, Inc. | SM 2540 D-2011 | Solids, Total Suspended
WA | Ferndale | Exact Scientific Services, Inc. | SM 2540 E-2011 | Solids, Total Suspended
WA | Ferndale | Exact Scientific Services, Inc. | SM 2540 F-2011 | Solids, Total Suspended
WA | Ferndale | Ferndale Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Ferndale | Phillips 66 Ferndale Refinery Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Forks | Forks Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Forks | Olympic Corrections Center Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Freeland | Holmes Harbor Water Reclamation Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Friday Harbor | Friday Harbor Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Gig Harbor | Gig Harbor Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Goldendale | Goldendale Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Grand Coulee | Grand Coulee-Electric City Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Grandview | Grandview Environmental Laboratory | SM 2540 C-2011 | Solids, Total Suspended
WA | Grandview | Grandview Environmental Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Granger | Granger Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Granite Falls | Granite Falls Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Hoquiam | Hoquiam Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Ilwaco | Ilwaco Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Ione | Selkirk Regional Environmental Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Kalama | Emerald Performance Materials (Emerald Kalama Chemical, LLC) | SM 2540 D-2011 | Solids, Total Suspended
WA | Kalama | Kalama Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Kelso | ALS Environmental - Kelso | SM 2540 B-2011 | Solids, Total Suspended
WA | Kelso | ALS Environmental - Kelso | SM 2540 C-2011 | Solids, Total Suspended
WA | Kelso | ALS Environmental - Kelso | SM 2540 D-2011 | Solids, Total Suspended
WA | Kelso | ALS Environmental - Kelso | SM 2540 F-2011 | Solids, Total Suspended
WA | Kelso | ALS Environmental - Kelso | SM 2540 G-2011 | Solids, Total Suspended
WA | Kennewick | Benton-Franklin Health District Lab | SM 2540 C-2011 | Solids, Total Suspended
WA | Kennewick | Benton-Franklin Health District Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Kennewick | Kennewick Wastewater Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Kennewick | Northwest Agricultural Consultants, Inc. | SM 2540 C-2011 | Solids, Total Suspended
WA | Kettle Falls | Avista Corp. Kettle Falls Generating Station Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Keyport | Naval Undersea Warfare Center Lab - Keyport | SM 2540 D-2011 | Solids, Total Suspended
WA | Kirkland | Accu Laboratory, LLC | SM 2540 B-2011 | Solids, Total Suspended
WA | Kirkland | Accu Laboratory, LLC | SM 2540 C-2011 | Solids, Total Suspended
WA | Kirkland | Accu Laboratory, LLC | SM 2540 D-2011 | Solids, Total Suspended
WA | Kirkland | AmTest Laboratories | SM 2540 B-2011 | Solids, Total Suspended
WA | Kirkland | AmTest Laboratories | SM 2540 C-2011 | Solids, Total Suspended
WA | Kirkland | AmTest Laboratories | SM 2540 D-2011 | Solids, Total Suspended
WA | Kirkland | AmTest Laboratories | SM 2540 G-2011 | Solids, Total Suspended
WA | Kittitas | Kittitas Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | La Center | La Center Wastewater Treatment Plant | SM 2540 D-2011 | Solids, Total Suspended
WA | La Conner | La Conner Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | La Conner | Shelter Bay Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Lake Stevens | Lake Stevens Wastewater Treatment Facility | SM 2540 D-2011 | Solids, Total Suspended
WA | Lake Stevens | Lake Stevens Wastewater Treatment Facility | SM 2540 G-2011 | Solids, Total Suspended
WA | Langley | Langley City Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Leavenworth | Leavenworth Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Leavenworth | Stevens Pass Sewer District Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Liberty Lake | Liberty Lake Water Reclamation Facility Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Littlerock | Cedar Creek Corrections Center Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Long Beach | Long Beach Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Longview | Axiall - Longview | SM 2540 D-2011 | Solids, Total Suspended
WA | Longview | Nippon Dynawave Packaging Co. | SM 2540 D-2011 | Solids, Total Suspended
WA | Longview | Three Rivers Regional Wastewater Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Longview | Westrock Longview, LLC | SM 2540 D-2011 | Solids, Total Suspended
WA | Lopez | Fisherman Bay Sewer Dist Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Lynden | Lynden Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Mabton | Mabton Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Malaga | Alcoa Wenatchee Works Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Maple Valley | Aqua Test, Incorporated | SM 2540 D-2011 | Solids, Total Suspended
WA | Marysville | Marysville Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | McCleary | McCleary Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Medical Lake | Medical Lake Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Monroe | Monroe Water Quality Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Montesano | Montesano Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Moses Lake | Moses Lake Dunes Wastewater Laboratory | SM 2540 C-2011 | Solids, Total Suspended
WA | Moses Lake | Moses Lake Dunes Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Moses Lake | Nouryon Pulp and Performance Chemicals LLC Laboratory | SM 2540 C-2011 | Solids, Total Suspended
WA | Moses Lake | Nouryon Pulp and Performance Chemicals LLC Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Moses Lake | REC Solar Grade Silicon Wastewater Laboratory | SM 2540 C-2011 | Solids, Total Suspended
WA | Moses Lake | REC Solar Grade Silicon Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Moses Lake | Soiltest Farm Consultants, Inc. Laboratory | SM 2540 B-2011 | Solids, Total Suspended
WA | Moses Lake | Soiltest Farm Consultants, Inc. Laboratory | SM 2540 C-2011 | Solids, Total Suspended
WA | Moses Lake | Soiltest Farm Consultants, Inc. Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Moses Lake | Soiltest Farm Consultants, Inc. Laboratory | SM 2540 G-2011 | Solids, Total Suspended
WA | Mossyrock | Lake Mayfield Village Wastewater Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Mossyrock | Mossyrock Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Mount Vernon | Mount Vernon Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Mount Vernon | Skagit Co SD No 2 - Big Lake WTP Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Mukilteo | Mukilteo Water and Wastewater District | SM 2540 D-2011 | Solids, Total Suspended
WA | Naches | Naches Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Naselle | Naselle Youth Camp Laboratory (DCYF) | SM 2540 D-2011 | Solids, Total Suspended
WA | Newport | Newport Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Normandy Park | Miller Creek Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | North Bend | North Bend Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | North Bonneville | North Bonneville Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Oak Harbor | Oak Harbor Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Oak Harbor | Penn Cove Water and Sewer District Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Ocean Shores | Ocean Shores Wastewater Treatment Plant | SM 2540 D-2011 | Solids, Total Suspended
WA | Okanogan | Okanogan Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Olympia | Boston Harbor Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Olympia | Carlyon Beach Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Olympia | Department of Fish and Wildlife WQ Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Olympia | Libby Environmental, Inc. | SM 2540 D-2011 | Solids, Total Suspended
WA | Olympia | LOTT Water Quality Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Olympia | LOTT Water Quality Laboratory | SM 2540 G-2011 | Solids, Total Suspended
WA | Omak | Omak Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Onalaska | Onalaska Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Oroville | Oroville Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Orting | Orting Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Pacific Beach | Pacific Beach Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Pasco | Kuo Testing Labs | SM 2540 B-2011 | Solids, Total Suspended
WA | Pasco | Kuo Testing Labs | SM 2540 C-2011 | Solids, Total Suspended
WA | Pasco | Kuo Testing Labs | SM 2540 D-2011 | Solids, Total Suspended
WA | Pasco | Mukang Labs, Inc. | SM 2540 B-2011 | Solids, Total Suspended
WA | Pasco | Mukang Labs, Inc. | SM 2540 C-2011 | Solids, Total Suspended
WA | Pasco | Mukang Labs, Inc. | SM 2540 D-2011 | Solids, Total Suspended
WA | Pasco | Pasco Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Pasco | SCBID Water Quality Program Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Pateros | Pateros Wastewater Treatment Plant | SM 2540 D-2011 | Solids, Total Suspended
WA | Pe Ell | Pe Ell Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Peshastin | Peshastin Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Pomeroy | Pomeroy Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Port Angeles | McKinley Paper Company - Washington Mill | SM 2540 D-2011 | Solids, Total Suspended
WA | Port Angeles | Port Angeles Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Port Ludlow | Olympic Water and Sewer, Inc. Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Port Orchard | Manchester Environmental Lab | SM 2540 B-2011 | Solids, Total Suspended
WA | Port Orchard | Manchester Environmental Lab | SM 2540 C-2011 | Solids, Total Suspended
WA | Port Orchard | Manchester Environmental Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Port Orchard | Manchester Environmental Lab | SM 2540 E-2011 | Solids, Total Suspended
WA | Port Orchard | West Sound Utility District Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Port Townsend | Port Townsend Paper Corporation Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Port Townsend | Port Townsend Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Poulsbo | Central Kitsap Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Poulsbo | Central Kitsap Treatment Plant Laboratory | SM 2540 G-2011 | Solids, Total Suspended
WA | Poulsbo | Spectra Laboratories - Kitsap, LLC | SM 2540 B-2011 | Solids, Total Suspended
WA | Poulsbo | Spectra Laboratories - Kitsap, LLC | SM 2540 C-2011 | Solids, Total Suspended
WA | Poulsbo | Spectra Laboratories - Kitsap, LLC | SM 2540 D-2011 | Solids, Total Suspended
WA | Poulsbo | Spectra Laboratories - Kitsap, LLC | SM 2540 E-2011 | Solids, Total Suspended
WA | Poulsbo | Spectra Laboratories - Kitsap, LLC | SM 2540 G-2011 | Solids, Total Suspended
WA | Prosser | Prosser Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Prosser | Tree Top Inc. - Prosser Wastewater Laboratory | SM 2540 C-2011 | Solids, Total Suspended
WA | Prosser | Tree Top Inc. - Prosser Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Pullman | Pullman Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Puyallup | Puyallup Water Pollution Control Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Puyallup | Puyallup Water Pollution Control Plant Lab | SM 2540 G-2011 | Solids, Total Suspended
WA | Quincy | Quincy Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Raymond | Willapa Regional WWTP Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Redmond | OnSite Environmental, Inc. | SM 2540 C-2011 | Solids, Total Suspended
WA | Redmond | OnSite Environmental, Inc. | SM 2540 D-2011 | Solids, Total Suspended
WA | Redmond | OnSite Environmental, Inc. | SM 2540 F-2011 | Solids, Total Suspended
WA | Redmond | OnSite Environmental, Inc. | SM 2540 G-2011 | Solids, Total Suspended
WA | Renton | King County South Plant Process Control Lab | SM 2540 B-2011 | Solids, Total Suspended
WA | Renton | King County South Plant Process Control Lab | SM 2540 C-2011 | Solids, Total Suspended
WA | Renton | King County South Plant Process Control Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Renton | King County South Plant Process Control Lab | SM 2540 F-2011 | Solids, Total Suspended
WA | Renton | King County South Plant Process Control Lab | SM 2540 G-2011 | Solids, Total Suspended
WA | Richland | Energy Northwest Environmental Services Lab | SM 2540 C-2011 | Solids, Total Suspended
WA | Richland | Energy Northwest Environmental Services Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Richland | Hanford Laboratory Management and Integration (HLMI) | SM 2540 C-2011 | Solids, Total Suspended
WA | Richland | Hanford Laboratory Management and Integration (HLMI) | SM 2540 D-2011 | Solids, Total Suspended
WA | Richland | Richland WWTF Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Roche Harbor | Roche Harbor Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Rockport | Seattle City Light - Newhalem Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Seattle | Fremont Analytical, Inc. | SM 2540 B-2011 | Solids, Total Suspended
WA | Seattle | Fremont Analytical, Inc. | SM 2540 C-2011 | Solids, Total Suspended
WA | Seattle | Fremont Analytical, Inc. | SM 2540 D-2011 | Solids, Total Suspended
WA | Seattle | Fremont Analytical, Inc. | SM 2540 E-2011 | Solids, Total Suspended
WA | Seattle | Fremont Analytical, Inc. | SM 2540 F-2011 | Solids, Total Suspended
WA | Seattle | Friedman & Bruya, Inc. | SM 2540 D-2011 | Solids, Total Suspended
WA | Seattle | IEH Analytical Laboratories | SM 2540 C-2011 | Solids, Total Suspended
WA | Seattle | IEH Analytical Laboratories | SM 2540 D-2011 | Solids, Total Suspended
WA | Seattle | King County Environmental Laboratory | SM 2540 B-2011 | Solids, Total Suspended
WA | Seattle | King County Environmental Laboratory | SM 2540 C-2011 | Solids, Total Suspended
WA | Seattle | King County Environmental Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Seattle | King County Environmental Laboratory | SM 2540 E-2011 | Solids, Total Suspended
WA | Seattle | King County Environmental Laboratory | SM 2540 G-2011 | Solids, Total Suspended
WA | Seattle | King County West Point Process Lab | SM 2540 B-2011 | Solids, Total Suspended
WA | Seattle | King County West Point Process Lab | SM 2540 C-2011 | Solids, Total Suspended
WA | Seattle | King County West Point Process Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Seattle | King County West Point Process Lab | SM 2540 E-2011 | Solids, Total Suspended
WA | Seattle | King County West Point Process Lab | SM 2540 F-2011 | Solids, Total Suspended
WA | Seattle | King County West Point Process Lab | SM 2540 G-2011 | Solids, Total Suspended
WA | Seattle | Salmon Creek WWTP Lab - Seattle | SM 2540 D-2011 | Solids, Total Suspended
WA | Seattle | Seattle Public Utilities Water Quality Lab | SM 2540 C-2011 | Solids, Total Suspended
WA | Seattle | Seattle Public Utilities Water Quality Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Sedro Woolley | Skagit PUD No 1 Laboratory | SM 2540 F-2011 | Solids, Total Suspended
WA | Sedro-Woolley | Sedro-Woolley Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Selah | Selah Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Selah | Tree Top - Selah Laboratory | SM 2540 C-2011 | Solids, Total Suspended
WA | Selah | Tree Top - Selah Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Sequim | Sequim Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Sequim | Sunland Water District STP Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Shelton | Shelton Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Snohomish | Snohomish Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Snoqualmie | Snoqualmie Water Reclamation Facility | SM 2540 D-2011 | Solids, Total Suspended
WA | Snoqualmie Pass | Snoqualmie Pass Utility District Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Soap Lake | Soap Lake Wastewater Laboratory | SM 2540 C-2011 | Solids, Total Suspended
WA | Soap Lake | Soap Lake Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | South Prairie | South Prairie Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Spokane | Anatek Labs, Inc - Spokane | SM 2540 B-2011 | Solids, Total Suspended
WA | Spokane | Anatek Labs, Inc - Spokane | SM 2540 C-2011 | Solids, Total Suspended
WA | Spokane | Anatek Labs, Inc - Spokane | SM 2540 D-2011 | Solids, Total Suspended
WA | Spokane | Anatek Labs, Inc - Spokane | SM 2540 E-2011 | Solids, Total Suspended
WA | Spokane | Anatek Labs, Inc - Spokane | SM 2540 G-2011 | Solids, Total Suspended
WA | Spokane | Inland Empire Paper Co. Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Spokane | Spokane County Regional WRF Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Spokane | Spokane RPWRF Laboratory | SM 2540 B-2011 | Solids, Total Suspended
WA | Spokane | Spokane RPWRF Laboratory | SM 2540 C-2011 | Solids, Total Suspended
WA | Spokane | Spokane RPWRF Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Spokane | Spokane RPWRF Laboratory | SM 2540 G-2011 | Solids, Total Suspended
WA | Spokane | Spokane Water Laboratory | SM 2540 C-2011 | Solids, Total Suspended
WA | Spokane Valley | Eurofins Spokane | SM 2540 C 21st ED (2005) | Solids, Total Suspended
WA | Spokane Valley | Eurofins Spokane | SM 2540 C-2011 | Solids, Total Suspended
WA | Spokane Valley | Eurofins Spokane | SM 2540 D-2011 | Solids, Total Suspended
WA | Spokane Valley | Kaiser Aluminum Trentwood Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Spokane Valley | Tshimakain Creek Laboratories | SM 2540 C-2011 | Solids, Total Suspended
WA | Spokane Valley | Tshimakain Creek Laboratories | SM 2540 D-2011 | Solids, Total Suspended
WA | Stanwood | Stanwood Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Stanwood | Warm Beach Campground Wastewater Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Steilacoom | McNeil Island WWTP Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Sultan | Sultan Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Sumner | Sonoco Products Company Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Sumner | Sumner Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Sunnyside | Port of Sunnyside Industrial Wastewater Laboratory | SM 2540 C-2011 | Solids, Total Suspended
WA | Sunnyside | Roza-Sunnyside Board of Joint Control WQ Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Sunnyside | Sunnyside Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Tacoma | Eurofins Seattle | SM 2540 B-2011 | Solids, Total Suspended
WA | Tacoma | Eurofins Seattle | SM 2540 C-2011 | Solids, Total Suspended
WA | Tacoma | Eurofins Seattle | SM 2540 D-2011 | Solids, Total Suspended
WA | Tacoma | Eurofins Seattle | SM 2540 F-2011 | Solids, Total Suspended
WA | Tacoma | Holroyd Company Laboratory | SM 2540 C-2011 | Solids, Total Suspended
WA | Tacoma | Holroyd Company Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Tacoma | Spectra Laboratories, LLC | SM 2540 B-2011 | Solids, Total Suspended
WA | Tacoma | Spectra Laboratories, LLC | SM 2540 C-2011 | Solids, Total Suspended
WA | Tacoma | Spectra Laboratories, LLC | SM 2540 D-2011 | Solids, Total Suspended
WA | Tacoma | Spectra Laboratories, LLC | SM 2540 F-2011 | Solids, Total Suspended
WA | Tacoma | Tacoma Central Treatment Plant No.1 Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Tacoma | Tacoma Central Treatment Plant No.1 Lab | SM 2540 G-2011 | Solids, Total Suspended
WA | Tacoma | Tacoma Environmental Services Laboratory | SM 2540 C-2011 | Solids, Total Suspended
WA | Tacoma | Tacoma Environmental Services Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Tacoma | Tacoma Environmental Services Laboratory | SM 2540 G-2011 | Solids, Total Suspended
WA | Tacoma | Tacoma North End - STP No.3 Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Tacoma | U.S. Oil & Refining Company Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Tacoma | Water Management Laboratories, Inc. | SM 2540 B-2011 | Solids, Total Suspended
WA | Tacoma | Water Management Laboratories, Inc. | SM 2540 C-2011 | Solids, Total Suspended
WA | Tacoma | Water Management Laboratories, Inc. | SM 2540 D-2011 | Solids, Total Suspended
WA | Tacoma | Water Management Laboratories, Inc. | SM 2540 E-2011 | Solids, Total Suspended
WA | Tacoma | Water Management Laboratories, Inc. | SM 2540 F-2011 | Solids, Total Suspended
WA | Tacoma | Water Management Laboratories, Inc. | SM 2540 G-2011 | Solids, Total Suspended
WA | Tacoma | Westrock Tacoma | SM 2540 D-2011 | Solids, Total Suspended
WA | Tenino | Tenino Water Reclamation Facility Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Toledo | Cowlitz Indian Tribal Housing WWTP | SM 2540 D-2011 | Solids, Total Suspended
WA | Toledo | Toledo Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Toutle | Toutle Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Tukwila | Analytical Resources, LLC | SM 2540 B-2011 | Solids, Total Suspended
WA | Tukwila | Analytical Resources, LLC | SM 2540 C-2011 | Solids, Total Suspended
WA | Tukwila | Analytical Resources, LLC | SM 2540 D-2011 | Solids, Total Suspended
WA | Tukwila | Analytical Resources, LLC | SM 2540 E-2011 | Solids, Total Suspended
WA | Tukwila | Analytical Resources, LLC | SM 2540 F-2011 | Solids, Total Suspended
WA | Tukwila | Analytical Resources, LLC | SM 2540 G-2011 | Solids, Total Suspended
WA | Tulalip | Tulalip Tribes Water Quality Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Twisp | Twisp Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Union Gap | Eurofins Cascade Analytical - Yakima | SM 2540 C-2011 | Solids, Total Suspended
WA | Union Gap | Eurofins Cascade Analytical - Yakima | SM 2540 D-2011 | Solids, Total Suspended
WA | University Place | Chambers Creek Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | University Place | Chambers Creek Wastewater Treatment Plant Lab | SM 2540 G-2011 | Solids, Total Suspended
WA | Usk | Ponderay Industries, LLC | SM 2540 D-2011 | Solids, Total Suspended
WA | Vader | Vader Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Vancouver | BSK Associates - Vancouver | SM 2540 B-2011 | Solids, Total Suspended
WA | Vancouver | BSK Associates - Vancouver | SM 2540 C-2011 | Solids, Total Suspended
WA | Vancouver | BSK Associates - Vancouver | SM 2540 D-2011 | Solids, Total Suspended
WA | Vancouver | BSK Associates - Vancouver | SM 2540 F-2011 | Solids, Total Suspended
WA | Vancouver | Salmon Creek Treatment Plant Lab - Vancouver | SM 2540 D-2011 | Solids, Total Suspended
WA | Vancouver | Vancouver Westside WWTP Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Vancouver | Vancouver Westside WWTP Laboratory | SM 2540 G-2011 | Solids, Total Suspended
WA | Vantage | Vantage Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Vashon | King County Wastewater Div S - Vashon Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Walla Walla | Walla Walla Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Wallula | Packaging Corporation of America | SM 2540 D-2011 | Solids, Total Suspended
WA | Wallula | Tyson Fresh Meats, Inc. Laboratory | SM 2540 C-2011 | Solids, Total Suspended
WA | Wallula | Tyson Fresh Meats, Inc. Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Warden | Warden Water Reclamation Facility | SM 2540 C-2011 | Solids, Total Suspended
WA | Warden | Warden Water Reclamation Facility | SM 2540 D-2011 | Solids, Total Suspended
WA | Washougal | Washougal Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Wenatchee | Eurofins Cascade Analytical - Wenatchee | SM 2540 B-2011 | Solids, Total Suspended
WA | Wenatchee | Eurofins Cascade Analytical - Wenatchee | SM 2540 C-2011 | Solids, Total Suspended
WA | Wenatchee | Eurofins Cascade Analytical - Wenatchee | SM 2540 D-2011 | Solids, Total Suspended
WA | Wenatchee | Eurofins Cascade Analytical - Wenatchee | SM 2540 F-2011 | Solids, Total Suspended
WA | Wenatchee | Eurofins Cascade Analytical - Wenatchee | SM 2540 G-2011 | Solids, Total Suspended
WA | Wenatchee | Lake Wenatchee Wastewater Treatment Plant Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Wenatchee | Tree Top - Wenatchee WWTP Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Wenatchee | Wenatchee Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | West Richland | West Richland WWTP Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Westport | Westport Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Wilkeson | Wilkeson Wastewater Treatment Facility Lab | SM 2540 D-2011 | Solids, Total Suspended
WA | Winlock | Cardinal FG Winlock Reclaimed Water Plant | SM 2540 D-2011 | Solids, Total Suspended
WA | Winlock | Winlock Wastewater Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Woodland | Woodland Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Yacolt | Larch Corrections Center Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Yakima | LabTest | SM 2540 C-2011 | Solids, Total Suspended
WA | Yakima | Yakima Regional Wastewater Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended
WA | Zillah | Zillah Wastewater Treatment Plant Laboratory | SM 2540 D-2011 | Solids, Total Suspended

## Ranking (hidden)
Source | Ecology | Blott | Clark | Eshel | Guo | Guo 2 | Kim | Li | Pitt | Selbig | Siu | Winston | Criteria | Drop Down | Score | Notes/Rational
Test Method | Modified SSC | - | - | - | TSS EPA | TSS | - |  |  |  | SSC |  | Test Method | Modified SSC method (based on ASTM Method D3977-97)d (TAPE method) | 1 | Modified to measure the concentration of four size categories: clay less than 3.9 microns, silt between 3.9 to 62.5 microns, very fine to fine sand between 62.5 and 250 microns, and medium to coarse sand greater than 250 microns (No. 60 sieve).
Test Score | 1 | - | - | - |  |  | - | [6 empty] | EPA’s TSS Method 160.2 | .5 | Sub-sample taken by pouring from the original bottle, though sub-sampling method not specified. Does not capture coarse particles as well. Correlates well with ASTM SSC Method for the 0-106 micron range.
Detection Levels | >3.9 um | - | - | >2 um |  |  |  | 2-3 um |  |  | 106 um |  |  | Standard TSS Method (also referred to as APHA’s TSS Method) 2540 D | .5 | Sub-sample taken using a pipette. Does not capture coarse particles as well. Correlates well with ASTM SSC Method for the 0-106 micron range.
Detection Score | 1 | - | - | 1 |  |  | 1 | 1 | 1 | 1 | 0.5 |  |  | ASTM’s SSC (suspended sediment concentration) Method D3977-97B | .5 | Uses whole water sampling. Most accurate according to Guo (2006). Does not measure specifically 3.9 to 62.5 microns like the TAPE method, however, it is the method that TAPE modified.
Method | Sieve | - | - | Laser Diffraction |  |  | Sieve and Laser Diffraction | Laser Diffraction | Sieve and Laser Diffraction | Sieve and Laser Diffraction | Sieve |  | Detection levels | Equivalent to ASTM Method D3977-97)d (TAPE method) | 1 | TAPE Method – We could change the criteria to “Measure the concentration of four size categories: clay less than 3.9 microns, silt between 3.9 to 62.5 microns, very fine to fine sand between 62.5 and 250 microns, and medium to coarse sand greater than 250 microns (No. 60 sieve)”
Method Score | 1 | - | - |  |  |  | 1 |  | 1 | 1 |  |  | Detection levels | Between 3.9 to 62.5 microns | .75 | Identified by TAPE as the range representative of Pacific Northwest stormwater.
Cost |  | - | - | 1 |  |  | 1 |  | 1
Accredited Labs | 1 | - | - | - |  |  |  | - |  |  | 1 |  | Detection levels | 0-100 Microns | .5 | Captures the target range specified in TAPE, but not as finely.
Shipping Costs |  | - | - | - |  |  |  | - |  |  |  |  | Method | Sieve | 1 | Method ASTM Method D3977-97)d uses
|  | Not applicable method | Not an applicable method |  | Compared multiple methods | [7 empty] | Method | Laser Diffraction | Need to determine | Guo (2006) reported that this method did not correlate with sieve methods. However, that may have changed since 2006 with improved tech. Particle Analysis Techniques Compared :: Microtrac.com shows comparable results between laser diffraction and sieve analysis.
[13 empty] | Method | Dynamic Image Analysis | Need to determine | Good correlation with sieve analysis per Particle Analysis Techniques Compared :: Microtrac.com
[13 empty] | Cost | High, Medium, Low | 0, 0.5, 1
[13 empty] | Accredited labs | Yes, No | 1, 0
[13 empty] | Lab Location | Within 100 miles, Greater than 100 miles | 1, 0
[13 empty] | Shipping Costs | High, Medium, Low | 0, 0.5, 1

## Ranking Criteria (hidden)
Criteria | Drop Down | Score | Notes/Rational
Test Method | Modified SSC method (based on ASTM Method D3977-97)d (TAPE method) | 1 | Modified to measure the concentration of four size categories: clay less than 3.9 microns, silt between 3.9 to 62.5 microns, very fine to fine sand between 62.5 and 250 microns, and medium to coarse sand greater than 250 microns (No. 60 sieve).
| EPA’s TSS Method 160.2 | .5 | Sub-sample taken by pouring from the original bottle, though sub-sampling method not specified. Does not capture coarse particles as well. Correlates well with ASTM SSC Method for the 0-106 micron range.
| Standard TSS Method (also referred to as APHA’s TSS Method) 2540 D | .5 | Sub-sample taken using a pipette. Does not capture coarse particles as well. Correlates well with ASTM SSC Method for the 0-106 micron range.
| ASTM’s SSC (suspended sediment concentration) Method D3977-97B | .5 | Uses whole water sampling. Most accurate according to Guo (2006). Does not measure specifically 3.9 to 62.5 microns like the TAPE method, however, it is the method that TAPE modified.
Detection levels | Equivalent to ASTM Method D3977-97)d (TAPE method) | 1 | TAPE Method – We could change the criteria to “Measure the concentration of four size categories: clay less than 3.9 microns, silt between 3.9 to 62.5 microns, very fine to fine sand between 62.5 and 250 microns, and medium to coarse sand greater than 250 microns (No. 60 sieve)”
Detection levels | Between 3.9 to 62.5 microns | .75 | Identified by TAPE as the range representative of Pacific Northwest stormwater.
Detection levels | 0-100 Microns | .5 | Captures the target range specified in TAPE, but not as finely.
Method | Sieve | 1 | Method ASTM Method D3977-97)d uses
Method | Laser Diffraction | Need to determine | Guo (2006) reported that this method did not correlate with sieve methods. However, that may have changed since 2006 with improved tech. Particle Analysis Techniques Compared :: Microtrac.com shows comparable results between laser diffraction and sieve analysis.
Method | Dynamic Image Analysis | Need to determine | Good correlation with sieve analysis per Particle Analysis Techniques Compared :: Microtrac.com
Cost | High, Medium, Low | 0, 0.5, 1
Accredited labs | Yes, No | 1, 0
Lab Location | Within 100 miles, Greater than 100 miles | 1, 0
Shipping Costs | High, Medium, Low | 0, 0.5, 1

## Blott, 2012
Article Title: | Particle size scales and classification of sediment types based on particle size distributions: Review and recommended procedures |  |  | General Purpose of Testing Method
Year Published: | 2012 |  |  | History of particle size scales and new proposals to a scale that makes the most sense related to particle size distribution.
File Name: | Blott (2012) Particle size scales and classification of sediment types based on particle size distributions: Review and recommended procedures
Testing Method Name: | No Testing method. Historical Scales
Reporting Limit Target:
Sample Container: |  |  |  | General Description of Testing Method
Preservative: |  |  |  | No real analysis or Particle Size Distribution methods. This just goes over different scales that have been used over time.
Pre-filtration Holding Time:
Total Holding Time:
Required Particle Size Distribution Size Categories for the Method: (USDA) | Size Category (mm) | Particle Distribution | Analysis Method
| 2000 | very coarse sand | None listed
| 1000 | coarse sand
| 500 | medium sand
| 250 | fine sand
| 100 | very fine sand
AMERICAN SCALE HISTORY
International or Atterberg Scale
Udden and Wentworth Scale

## Clark, 2007
Article Title: | Measuring Solids Concentration in Stormwater Runoff: Comparison of Analytical Methods |  |  | General Purpose of Testing Method
Year Published: | 2007 |  |  | Analyzing the difference of common PSD methods: including SSC ASTM D 3977-97, "whole sample bottle", TSS EPA 160.2 / ISO 11923, with "100mL by shake and pour" method, TSS EPA 160.2 / ISO 11923 with "250mL by shake and pour", SM 2540D, 100mL aliquot by wide-bore pipet, near bottom sampling, and SM 2540D, 100mL aliquot by wide-bore pipet with mid-depth sampling.
File Name: | Clark (2007) Measuring Solids Concentration in Stormwater Runoff: Comparison of Analytical Methods
Testing Method Name: | NJ Dep Laboratory Testing Protocol (sieve analysis) to test TSS EPA, SSC, and SM TSS 2540D
Reporting Limit Target:
Sample Container: |  |  |  | General Description of Testing Method
Preservative: |  |  |  | Using tests as listed above, further statistical analysis on each was done to determine potential errors or inaccuracies within the data.
Pre-filtration Holding Time:
Total Holding Time:
Required Particle Size Distribution Size Categories for the Method: | Size Category (mm) | Particle Distribution | Analysis Method
| 1-2 | Clay | Sieve
| 2-8 | Silt
| 8-50 | Silt
| 50-100 | Very fine sand
| 100-250 | Fine sand
| 250-500 | Medium Sand
| 500-1000 | Coarse Sand

## Ecology, 2018
Article Title: | Technical Guidance Manual for Evaluating Emerging Stormwater Treatment Technologies | [5 empty] | General Purpose of Testing Method
Year Published: | 2019 | [5 empty] | determine if the influent PSD to the treatment system consists primarily of silt-sized particles (i.e., 3.9 to 62.5 microns) and thus is representative of Pacific Northwest stormwater. PSD data can also provide information regarding solids transport during a storm.
File Name: | Ecology (2018) Technical Guidance Manual for Evaluating Emerging SW Treatment Technologies
Testing Method Name: | Modified SSC method (based on ASTM Method D3977-97)d
Reporting Limit Target: | NA
Sample Container: | plastic | [5 empty] | General Description of Testing Method
Preservative: | cool, ≤6◦C | [5 empty] | The SSC method uses wet sieve filtration (Method C) to measure the sand concentration by passing the entire sample (minimum volume of 1 liter) through a 62.5 micron (No. 230) sieve, and uses glass fiber filtration (Method B) to measure the fines (silt/clay) concentration by passing the wet sieve filtrate through a 1.5 micron glass fiber filter. A modification of this procedure is necessary to measure the concentration of four size categories: clay less than 3.9 microns, silt between 3.9 to 62.5 microns, very fine to fine sand between 62.5 and 250 microns, and medium to coarse sand greater than 250 microns (No. 60 sieve).
Pre-filtration Holding Time: | NA
Total Holding Time: | 7 days
Testing Method Name:
Required Particle Size Distribution Size Categories for the Method: | Size Category (mm) |  | Particle Distribution |  | Analysis Method
| > 250 |  | medium sand and larger |  | retained on #60 sieve
| 62.5 - 250 |  | Very fine to fine sand |  | Passing #60 sieve & retained on #230 sieve
| 3.9 - 62.5 |  | Silt |  | Passing #230 sieve & retained on 4-5 µm glass fiber |  | General Description of Sample Collection
| <3.9 |  | Clay |  | Passing 4-5 µm glass fiber filter & retained on 1 µm glass fiber filter |  | Composite samples are collected with automated samplers. Procedures for collecting TSS sample are follwed and the solids collected in these samples are used to measure particle size.
Quality Control Summary: | Field |  | Laboratory |  |  |  | Ecology Accredation Notes
| Equipment Rinsate Blanks | Field Duplicates | Laboratory Control Samples | Method Blanks | Laboratory Duplicates | MS/MSD | Ecology recognizes that few labs are accredited for ASTM D3977-97 for PSD analysis. If a lab is not accredited for ASTM D3977-97, Ecology will still accept PSD samples analyzed by that lab if they are able to follow the method and are accredited for soil and sediment analysis.
| NA | 10% of Samples | NA | NA | 1/batch | NA
Measurement Quality Objectives: | Laborary Control Sample (LCS) Recovery | Labortory Duplicate RPD | Matrix Spike (MS) Recovery | Matrix Spike Duplicate (MSD) RPD | Field Duplicate RPD
| NA | ≤20% | NA | NA | ≤20%
Note on A11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If there is a table, like the one pasted into this worksheet that provides information about the particle size tested, please add it in addition to typing in the information.
Note on H17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Most likely the articles you review will not have this information.

## Eshel, 2004
Article Title: | Critical Evluation of the Use of Laser Diffraction for Particle-Size Distribution Analysis |  |  | General Purpose of Testing Method
Year Published: | 2004 |  |  | Determination of soil PSD by sieving, hydrometer, and pipette methods as well as laser diffraction only yield estimates of PSD. This study aimed at determining whether a functional relationship exists bween sieve-pipette method and laser diffraction.
File Name: | Eshel (2004) Critical Evaluation of the Use of Laser Diffraction for Particle-Size Distribution Anlaysis
Testing Method Name: | Pipette method, Laser Diffraction
Reporting Limit Target:
Sample Container: |  |  |  | General Description of Testing Method
Preservative: |  |  |  | Pipette Method: 40g samples were disperesed in 50 g/L sodium hexametaphosphate solution. Sand particles were separated from suspensions by wet sieving through 53 um sieve. Fraction retained by sieve was dried and weighed. Clay fraction was determined using pipette method by Janitzky (1986). Silt fraction determined by difference. Coulter Counter was used from range 0.045 um to 2000 um.
Pre-filtration Holding Time:
Total Holding Time:
Required Particle Size Distribution Size Categories for the Method: | Size Category (mm) | Particle Distribution | Analysis Method
| >53 um | Sand | Did not pass 53 um sieve
| <53 um | Silt | silt + clay fraction obtained by wet sieving with a 53 um sieve
| <2 um | Clay | Silt was settled at bottom of settling cylinder | General Description of Sample Collection Method
42 soil samples were collected from California. Samples of each soil were collected, air dried, and crushed to pass 2.0 mm sieve.

## Guo, 2006
Article Title: | Correlation of Total Suspended Solids (TSS) and Suspended Sediment Concentration: Final Report |  |  | General Purpose of Testing Method
Year Published: | 2006 |  |  | Conduct an extensive laboratory evaluation of 3 different laboratory analytic methods: including ASTM's SSC method, Standard TSS Method, and EPA's TSS method.
File Name: | Guo (2006) Correlation of Total Suspended Solids (TSS) and Suspended Sediment Concentration- Final Report
Testing Method Name: | Sieve method, Coulter Particle Counter, and Laser Particle Counter
Reporting Limit Target:
Sample Container: |  |  |  | General Description of Testing Method
Preservative: |  |  |  | The particle size distribution of the manufactured solid materials were analyzed with 3 methods, including sieve method for particles larger than 53 microns, the Coulter counter particle counter for particles from 0 - 106 microns, and the laser particle counter for all sizes of particles.
Pre-filtration Holding Time:
Total Holding Time:
Required Particle Size Distribution Size Categories for the Method: | Size Category (mm) | Particle Distribution | Analysis Method
| 500-1000 |  | Sieve
250-500
106-250
53-106
| 8-53 |  | Coulter Counter
| 0-8 |  | Coulter Counter
| All sizes |  | Laser Counter
Notes
The Sieve was the most accurate, followed by Coulter Counter then Laser Counter.
For the very fine, fine, and medium-size particles (0 to 106 microns), both the TSS concentration analyzed by the EPA Method (TSS-EPA) and the TSS concentration analyzed by the Standard Method (TSS-SM) were well correlated with the true concentration (added by Mark)
I think this is an important paper that can be used to correlate data obtained using different testing methods. - Mark

## Kim, 2008
Article Title: | Particulate Matter Particle Size Distributions Transported in Urban Runoff |  | Compares Sieve and laser diffraction methods
Year Published: | 2008
File Name: | Kim (2008) Particulate Matter Particle Size Distributions Transported in Urban Runoff
Sieved PM represents PM that was captured by BMP, laser diffraction represents PM that went through.

## Hong, 2016 (hidden)
Article Title: | A new approach of monitoring and physically-based modelling to investigate urban wash-off process on a road catchment near Paris |  |  | General Purpose of Testing Method
Year Published: | 2016 |  |  | Purpose of this testing method is to accurately provide data for urban wash-off dynamics. Increasing urbanization requires better understanding of urban wash-off phenomenoms to produce more advanced management strategies.
File Name: | Hong (2016) A new approach of monitoring and physically-based modelling to investigate urban wash-off process on a road catchment near Paris
Testing Method Name: | Hairsine-Rose (H-R) model in combination with FULLSWOF (Full Shallow-Water equations for Overland flow) modelling system. Laser Diffractometer
Reporting Limit Target:
Sample Container: |  |  |  | General Description of Testing Method
Preservative: |  |  |  | Collect a wet sample from sewer inlet and also a dry sample of road dust. A particle size analysis is done using a laser diffractometer for the fraction below 2 mm (Malvern Mastersizer 3000), while volume distribution is calculated with Mie (1908) light scattering theory.
Pre-filtration Holding Time:
Total Holding Time:
Required Particle Size Distribution Size Categories for the Method: | Size Category (mm) | Particle Distribution | Analysis Method
| .01-2000 |  | Laser Diffractometer
Notes (by Mark)
This paper was focused mainly on modeling pollutant runoff from highway sites in Paris. The method used for determining PSD is only mentioned and not discussed in detail.

## Krishnappan, 1999 (hidden)
Article Title: | Seasonal size distributions of suspended solids in a stormwater management pond | [5 empty] | General Purpose of Testing Method
Year Published: | 1999 | [5 empty] | The instrument measures the size distribution of sediment flocs directly on site. This allows it to measure in ponds or under water without the possible disruption of moving or collecting sediment.
File Name: | Krishnappan (1999) Seasonal size distributions of suspended solids in a stormwater management pond
Testing Method Name: | Submersible Laser Particle Size Analyzer (SLPSA)
Reporting Limit Target:
Sample Container: | [6 empty] | General Description of Testing Method
Preservative: | [6 empty] | SLPSA works by laser diffraction, and consists of 2 mW laser, a receiving lens, a detector plate, an electronic interface, and a microcomputer. The distribution of diffracted light of a laser beam passing through the water sensing volume is used to calculate the distribution of particles. The laser measures the diameter of "spherical" particles by doing "sweeps" of light energy distributions.
Pre-filtration Holding Time:
Total Holding Time:
Required Particle Size Distribution Size Categories for the Method: | Size Category (mm) |  | Particle Distribution |  | Analysis Method
| Smallest floc size - 3.5 |  |  |  | Submersible Laser Particle Size Analzer
Largest floc size - 212
Quality Control Summary: | Field |  | Laboratory |  |  |  | Ecology Accredation Notes
| Equipment Rinsate Blanks | Field Duplicates | Laboratory Control Samples | Method Blanks | Laboratory Duplicates | MS/MSD
Measurement Quality Objectives: | Laborary Control Sample (LCS) Recovery | Labortory Duplicate RPD | Matrix Spike (MS) Recovery | Matrix Spike Duplicate (MSD) RPD | Field Duplicate RPD
Note on H16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Most likely the articles you review will not have this information.

## Li, 2005
Article Title: | Particle Size Distribution in Highway Runoff |  |  | General Purpose of Testing Method
Year Published: | 2005 |  |  | Develop specific methods to reduce bias and errors in water samples. Found hand washing of glass bottles to be accepetable method for preventing contamination of samples being analyzed for PSD. Gentle inversion (5-6 times) of sample bottom was acceptable mixing method which prevented sedimentation or particle shearing.
File Name: | Li (2005) Particle Size Distribution in Highway Runoff
Testing Method Name: | Nincomp Particle Sizing Systems AccuSizer 780 optical particle sizer module equipped with an autodilution system and a light scattering/ extinction sensor
Reporting Limit Target:
Sample Container: | collected with polypropylene container and held in 4L narrow mouthed amber glass bottles. |  |  | General Description of Testing Method
Preservative: |  |  |  | three monitoring sites were selected with catchment areas ranging from .39 to 1.69 ha and AADT of 260,000 veh/day. All sites were equipped with American Sigma 950 flow meters, tipping bucket rain gauges, and composite auto samplers. Manual grab samples were taken during precipitation events once every 15 minutes for first hour then once every hour. Flow weighted composite samples were also collected using 4L glass bottles by composite autosamplers. An advanced instrument was used for its range (2-1000 um), speed (<2 min/sample analysis), and auto dilution capability.
Pre-filtration Holding Time:
Total Holding Time: | within 6 hours of collection
Required Particle Size Distribution Size Categories for the Method: | Size Category (mm) | Particle Distribution | Analysis Method
| 2-3 |  | Optical particle sizer
3-5
5-7
7-10
10-20
20-30
30-50
50-100
100-200

## Pitt, 2017
Article Title: | Don’t Throw the Baby Out with the Bathwater—Sample Collection and Processing Issues Associated with Particulate Solids in Stormwater |  |  | General Purpose of Testing Method
Year Published: | 2017 |  |  | To use an analytical method to represent the complete range of particle sizes present in the water being sampled. How to match the correct particle size distribution with particulate solid concentrations for more accurate performance and characterization predictions.
File Name: | Pitt (2017) Don’t Throw the Baby Out with the Bathwater—Sample Collection and Processing Issues Associated with ParticulateSolids in Stormwater
Testing Method Name: | Cone splitter, Coulter Counter Multi-Sizer 3, and sieves
Reporting Limit Target:
Sample Container: | high density polyethylene bottles |  |  | General Description of Testing Method
Preservative: | Cooled in fridge or immediately processed |  |  | The Coulter Counter Multi Sizer 3 is done using a tube with a small aperture being placed in a container in which particles are supsended in low-concentration electrolyte. Two electrodes, one inside tube and one out, create electrical field in which suspended particles can be counted by passing through the tube. Mostly suitable for particles in range 1 um to 200 um. Larger particles settle to the bottom. Sieves were used to divide into three size categories. The .45 - 106 is used in the Coulter Counter without interference of larger particles.
Pre-filtration Holding Time:
Total Holding Time:
Required Particle Size Distribution Size Categories for the Method: | Size Category (mm) | Particle Distribution | Analysis Method
| >106 |  | Does not pass 106 um wet sieve.
| .45-106 |  | passes 106um wet sieve. Then used in Coulter Counter
| <.45 | TDS | glass fiber 2 um filter
General Description of Sampling Method
This paper analyzes several stormwater monitoring stuides that have been performed. There were several sampling methods discussed. The use of bedload samplers can quantify moving bedload material to supplement samples collected using automatic samplers. The sampler intake should be located several inches above bottom of pipe so large material in bedload is not double counted. Another method to obtain representative stormwater samples it create cascading and mixed flow at sampling location. The last approach for collecting samples is using depth-integrated sampler.

## Selbig, 2011
Article Title: | Characterizing the Size Distribution of Particles in Urban Stormwater by Use of Fixed-Point Sample-Collection Methods |  |  | General Purpose of Testing Method
Year Published: | 2011 |  |  | Using fixed point sample collection to compare six types of urban areas including parking lot, feeder street, collector street, arterial street, rooftop, and mixed use.
File Name: | Selbig (2011) Characterizing the Size Distribution of Particles in Urban Stormwater by Use of Fixed-Point Sample-Collection Methods
Testing Method Name: | Sieves, coulter Counter
Reporting Limit Target:
Sample Container: | Plastic |  |  | General Description of Testing Method
Preservative: | 4 C |  |  | These samples were then sieved to sizes. Material retained on each sieve was transferred into a clean, tared, heat-tolerant container and dried overnight in oven at 105 C. Anything less than 32 um were further separated with the Coulter Counter and separated into 14-32, 8-14, 5-8, 2-8, and <2 um.
Pre-filtration Holding Time:
Total Holding Time:
Required Particle Size Distribution Size Categories for the Method: | Size Category (mm) | Particle Distribution | Analysis Method
| >500 |  | Stacked nylon-mesh sieves
250-<500
125-<250
63-<125
32-<63
| 14 - 32 |  | Coulter Counter | General Description of Sampling method
| 8-14 |  |  | Using an intake nozzle approximately .5 in. above pipe floor, samples were collected at basin outlets of each source. Subsamples, 1L in volume, were transferred through the sample tubing into 10L glass jar. These were then split using a Teflon churn splitter into 4 Liter plastic containers. They were kept in a refrigerator at 4 C until delivered, usually within 48 hours
5-8
2-5
<2

## Selbig, 2015
Article Title: | Characterizing the distribution of particles in urban stormwater: advancements through improved sampling technology |  |  | General Purpose of Testing Method
Year Published: | 2015 |  |  | The purpose of this testing method is to use reliable tests to determine particle size distribution. The goal of DISA is to eliminate potential biases from sample collection to get accurate readings on particle size from stormwater.
File Name: | Selbig (2015) Characterizing the distribution of particles in urban stormwater: advancements through improved sampling technology
Testing Method Name: | Depth-integrated sampler arm (DISA) to collect sample; Wet sieve and Coulter Counter
Reporting Limit Target:
Sample Container: | Plastic containers |  |  | General Description of Sample Collection
Preservative: | 4 C |  |  | Automated monitoring station was set up to measure flow and collect samples near basin outlet. Each was equipped with storm-water-quality samplers and instruments to measure discharge. Precipitation data was collected using a tipping-bucket rain gauge. Sample collection was activated by rise in water level in the pipe during precipitation events. Once a threshld was exceeded, volume of water passing station was measured and accumulated at 1-minute increments until volumetric threshold was reached. DISA sampler would ten collect a discrete water sample and volumetric counter was reset. DISA is controlled by motorized actator that rotates a sample arm assembly to any vertical depth within water column. Once target depth is reached, a data logger activates autosampler to withdraw cycles to collect discrete water-quality sample. After collection of samples, the total mass correcting for container weight is measured. Use mass to approximate volume (1 ml = 1 g water). Further water density corrections are necessary if suspended sediment concrentation > 8000 mg/L.
Pre-filtration Holding Time:
Total Holding Time: | Within 48 hours
Required Particle Size Distribution Size Categories for the Method: | Size Category (mm) | Particle Distribution | Analysis Method
| 32-<63 |  | Wet Sieve
63-<125
125-<250
250-<500
>500
Required Particle Size Distribution Size Categories for the Method: Uses Coulter counter | Size Category (mm) | Particle Distribution | Analysis Method | General Description of Testing Method
| <2 |  | Coulter Counter | Based on adaption of methods done in Burton and Pitt (2002) Sample is wet sieved through stacked nylon-mesh sieves, which separated solid-phase material from the sample in 5 fractions.
2-<5
5-<8
8-<14
14-<32
Notes
This method is very similar to Selbig, 2011. The difference is how the sample was initially collected.
Note on H16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Most likely the articles you review will not have this information.
Note on H22: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Most likely the articles you review will not have this information.

## Siu, 2008
Article Title: | Errors associated with sampling and measurement of solids: Application to the evaluation of stormwater treatment devices |  |  | General Purpose of Testing Method
Year Published: | 2008 |  |  | The sources and magnitude of potential errors be understood and quantified during each stage of sampling and measurement.
File Name: | Siu (2008) Errors associated with sampling and measurement of solids: Application to the evaluation of stormwater treatment devices
Testing Method Name: | SSC analysis using Wet sieving, SSC analysis without wet sieving, TSS using wide-bore pipet
Reporting Limit Target:
Sample Container: |  |  |  | General Description of Testing Method
Preservative: |  |  |  | All the samples, excluding sand only ones, were analyzed by SSC without seiving and with seiving at 500um and 250 um. Sand only were analyzed by SSC but sieved at 106, 250, 500, and 1000 um.
Pre-filtration Holding Time:
Total Holding Time:
Required Particle Size Distribution Size Categories for the Method: | Size Category (mm) | Particle Distribution | Analysis Method
| Unseived |  | Unsieved
| 500 |  | Sieve
200
| 106 |  | Sieve (sand only mixture)
| 250 |  |  | Notes:
| 500 |  |  | Found the two splitting methods, churn splitter and cone splitter, to provide representative and consistent samples in volume, concentration, and PSD. The TSS US EPA/ISO method was adequate when data was unnecessary for larger particle sizes. However, SSC gives a better indication of actual concentrations when all particle sizes are relevant because it uses the whole sample bottle and no additional potential biases that were present in the TSS methods
1000
General Description of Sampling Method
Autosamplers were used with tubing lengths of 1.8, 7.6, and 8.0 m. Three sample mixtures were used including ground silica, sand and ground silica, and sand only. The samples were properly mixed. Three replicates of each mixture were made with conditions, (when sampler arm was equal to height of surface water level, when sampler arm was 1.1m above water surface, and when sampler arm was 6.3m avove water surface.

## Winston, 2017
Article Title: | Characterizing Runoff from Roads: Particle Size Distributions, Nutrients, and Gross Solids |  |  | General Purpose of Testing Method
Year Published: | 2017 |  |  | Measuring different particle sizes from roads in different envrionments including mountains, piedmont, and coastal plain.
File Name: | Winston (2017) Characterizing Runoff from Roads- Particle Size Distributions, Nutrients, and Gross Solids
Testing Method Name: | Laser Diffraction Particle Size analyzer
Reporting Limit Target:
Sample Container: |  |  |  | General Description of Testing Method
Preservative: | On ice |  |  | Particles were measured in a size range from .04 - 2000 um using a Beckman-Coulter 13-320 Laser Diffraction Particle Size Analyzer equipped with a Universal Liquid Module. The output was given in 117 bins.
Pre-filtration Holding Time:
Total Holding Time: | Within 24 hrs
Required Particle Size Distribution Size Categories for the Method: | Size Category (mm) | Particle Distribution | Analysis Method
| .04-2000 | Into 117 bins | Beckman-Coulter 13-320 Laser Diffraction Particle Size Analyzer

## Sheet9
Types of Sample Analysis | Type Sampler | EMC Calculation | Time of storm measured
Composite | Automatic | Composite | 3 hr
Discrete | Manual | Grab | Total event
Flow Composite
Time Composite