## Management Scenarios
Category | Strategy | Data availability | Potential Significance of contribution | Difficulty of modeling | Modeling Assumption/Limitation | Conclusions
Modeling Strategy
|  | Based on current available information. Classify into: Available, Maybe available, | Based on estimate of the loading from this pathway. Classify into: High, Medium, Low, Unknown (for further consideration/discussion) | Classify into: High, Medium, Low | Assumption and limitation needed to be considered | Can model: Will develop modeling scenarios Sensitivity Analysis: Will develop sensitivity analysis to evaluate its importance before developing modeling scenarios.
Stormwater Management | Enhanced stormwater conveyance maintenance (for solids reduction) | Maybe available | Medium | High | HSPF does not model storm drain pipe lines. It can be a post processing analysis. | Can model
| Watershed-specific storm solids reduction targets (e.g., watershed-wide TSS Effluent limit of 10 mg/L vs. 30 mg/L) | Available | Unknown | High |  | Can model
| Start of pipe/within pipe implementation: Structural/engineered treatment BMPs (basic treatment vs. enhanced treatment and PCB-specific treatment; e.g., media filtration) | Available | High | Low |  | Can model
| End of pipe implementation: Widespread installation of infiltration BMPs (e.g., rain gardens, permeable pavement, bioretention) | Maybe available | High | Low |  | Can model
Removal of Sources Stored in Infrastructure | Comprehensive removal of PCBs from infrastructure and building materials (e.g., removal/disposal of PCB-containing transformers, caulking, paint, and other exposed sources, throughout watershed) | Available | High | Low |  | Can model
| Removal of PAH-containing building supplies (creosote-treated pilings, railway ties, utility poles) throughout watershed | Available | Low-Medium | Medium |  | Sensitivity analysis
Upland Site Cleanup | Comprehensive upland contaminated site cleanup throughout watershed, with a focus on sites with LDW risk drivers (PCBs, PAHs, dioxin/furans, Arsenic). | Maybe available | Medium | High |  | Sensitivity analysis

## Not included
Strategy | Why not included?
Reduce Air Deposition Load | Hard to link it back to implementation
Comprehensive storm drain inlet and outfall treatment/protection | Implementation might be infeasible.
Removal illicit connections | Illicit connections are not known until discovered. When they are discovered, the MS4 permit requires elimination within 6 months.
Phthalate product replacement for outdoor products (road stickers, safety cones, bus wraps) | Unknown data on current usage of phthalate-containing products and possible reduction that could be achieved. Phthalates are also not a risk driver in the LDW ROD.
Treatment of runoff from bridges and highways | Limited proportion of the watershed occupied with those landuses.
Enhanced street sweeping (and other institutional controls) | Difficult to relate street sweeping to water quality improvements (i.e. quantify effectiveness). McKee et al. (2006) noted that street sweeping and washing are considered less effective because of the number of factors that constrain the implementation of these measures.
CSO control and wet weather treatment | All CSOs in the watershed discharge directly to the LDW (i.e. there are no CSO discharges into the tributaries), so the impact of CSOs will be considered in the receiving water model.