## Consumptive Use Calculator
Methods of Computing Consumptive Use
Consumptive Use Method Using Water System Data |  |  | Annual Consumptive Use Estimates for WRIA 10 - Preliminary
Average annual indoor use | 53 | gallons/day/capita (from metered water system data, see water use tab for examples) | Subbasin | Projected No. PE Wells |  |  | Annual CU Using Water System Estimate |  |  | Annual CU Using Standard Method
Average annual outdoor use | 32 | gallons/day/capita (from metered water system data, see tab) |  | King | Pierce | Total | Ac-ft | gpm | cfs | Ac-ft | gpm | cfs
Indoor loss | 10% | default is 10% | Carbon River | 0 | 109 | 109 | 9.4325 | 5.8474 | 0.013052 | 43.9443 | 27.241 | 0.060806
Outdoor loss | 80% | default is 80% | Lower Puyallup River | 0 | 102 | 102 | 8.8268 | 5.4719 | 0.012214 | 41.1222 | 25.4915 | 0.056901
People per household | 2.5 | varies by county, usually 2.5 | Lower White River | 0 | 52 | 52 | 4.4999 | 2.7896 | 0.0062267 | 20.9642 | 12.9957 | 0.029008
Total Consumptive Use | 77.25 | gallons/day/new PE well | Middle White River | 81 | 0 | 81 | 7.0095 | 4.3453 | 0.0096994 | 32.6558 | 20.2433 | 0.045186
| 0.086537 | acre-feet/year/new PE well | South Prairie Creek | 0 | 167 | 167 | 14.4517 | 8.9589 | 0.019997 | 67.3275 | 41.7361 | 0.093161
| 0.053646 | annual average gpm/new PE well | Upper Puyallup River | 0 | 165 | 165 | 14.2786 | 8.8516 | 0.019758 | 66.5212 | 41.2363 | 0.092045
| 0.00011975 | annual average cfs/new PE well | Upper White River | 0 | 12 | 12 | 1.0384 | 0.64375 | 0.0014369 | 4.8379 | 2.999 | 0.0066942
Consumptive Use Method Using Estimate of Landscape Area for new PE wells (Standard Method)
Average Irrigation Requirement | 16.1 | inches/year (see WAIG tab, used weighted average) | Totals | 81 | 607 | 688 | 59.5375 | 36.9083 | 0.082385 | 277.373 | 171.9429 | 0.3838
Average Landscape Area/lot | 0.27 | acres (see Irrigated Area tab)
Irrigation Efficiency | 75% | %, default is 75% | Annual Consumptive Use Estimates for WRIA 10 With Lower Growth Projections - Preliminary
Outdoor consumptive Use % | 80% | %, default is 80%
Indoor use | 60 | gallons per day per capita, default is 60 | Subbasin | Projected No. PE Wells |  |  | Annual CU Using Water System Estimate |  |  | Annual CU Using Standard Method
Indoor consumptive use % | 10% | %, default is 10% |  | King | Pierce | Total | Ac-ft | gpm | cfs | Ac-ft | gpm | cfs
Number people/household | 2.5 | people - default is 2.5, can vary by county | Carbon River | 0 | 87 | 87 | 7.5287 | 4.6672 | 0.010418 | 35.0748 | 21.7428 | 0.048533
Total consumptive use: | 359.8805 | gallons/day/new PE well | Lower Puyallup River | 0 | 53 | 53 | 4.5865 | 2.8432 | 0.0063465 | 21.3674 | 13.2456 | 0.029566
| 0.40316 | acre-feet/new PE well | Lower White River | 0 | 42 | 42 | 3.6346 | 2.2531 | 0.0050293 | 16.9327 | 10.4965 | 0.02343
| 0.24992 | annual average gpm/new PE well | Middle White River | 81 | 0 | 81 | 7.0095 | 4.3453 | 0.0096994 | 32.6558 | 20.2433 | 0.045186
| 0.00055785 | annual average cfs/new PE well | South Prairie Creek | 0 | 122 | 122 | 10.5575 | 6.5448 | 0.014609 | 49.1853 | 30.4899 | 0.068058
|  |  | Upper Puyallup River | 0 | 104 | 104 | 8.9998 | 5.5792 | 0.012453 | 41.9285 | 25.9914 | 0.058016
Note: Highlighted areas are user-defined input to consumptive use calculations. Modify the input to see the sensitivity of the Annual Consumptive Use estimates to inputs of indoor and outdoor demand. |  |  | Upper White River | 0 | 20 | 20 | 1.7307 | 1.0729 | 0.0023949 | 8.0632 | 4.9983 | 0.011157
|  |  | Totals | 81 | 428 | 509 | 44.0473 | 27.3057 | 0.06095 | 205.2077 | 127.2077 | 0.28395
Annual Consumptive Use Estimates for WRIA 10 With Higher Growth Projections - Preliminary
|  |  | Subbasin | Projected No. PE Wells |  |  | Annual CU Using Water System Estimate |  |  | Annual CU Using Ecology Method
|  |  |  | King | Pierce | Total | Ac-ft | gpm | cfs | Ac-ft | gpm | cfs
|  |  | Carbon River | 0 | 142 | 142 | 12.2883 | 7.6177 | 0.017004 | 57.2485 | 35.4882 | 0.079215
|  |  | Lower Puyallup River | 0 | 153 | 153 | 13.2402 | 8.2078 | 0.018321 | 61.6832 | 38.2373 | 0.085351
|  |  | Lower White River | 0 | 67 | 67 | 5.798 | 3.5943 | 0.0080229 | 27.0116 | 16.7444 | 0.037376
|  |  | Middle White River | 81 | 0 | 81 | 7.0095 | 4.3453 | 0.0096994 | 32.6558 | 20.2433 | 0.045186
|  |  | South Prairie Creek | 0 | 229 | 229 | 19.817 | 12.2849 | 0.027422 | 92.3233 | 57.231 | 0.12775
|  |  | Upper Puyallup River | 0 | 242 | 242 | 20.942 | 12.9823 | 0.028978 | 97.5644 | 60.4799 | 0.135
|  |  | Upper White River | 0 | 4 | 4 | 0.34615 | 0.21458 | 0.00047898 | 1.6126 | 0.99967 | 0.0022314
|  |  | Totals | 81 | 837 | 918 | 79.441 | 49.2469 | 0.10993 | 370.0995 | 229.4238 | 0.51211

## Seasonal Analysis
Input From CU Calculator Tab Using Water System Data (Do not change below numbers, change on CU Calc tab)
Indoor Use | 53 | gpd per capita (from CU Calc. tab)
Outdoor Use | 29200 | gallons, annual total (from CU calc tab multiplied by 365 times household size)
Indoor loss | 10% | From CU Calc. tab, default is 10% (Ecology recommendation)
Outdoor loss | 80% | From CU Calc. tab, default is 80% (Ecology recommendation)
People per household | 2.5 | From CU Calc. tab, varies by county, usually 2.5
Average Indoor CU | 5.3 | gallons/day/capita
Seasonal Distribution of Consumptive Use (cfs) Using Water System Data
Subbasin | Projected No. PE Wells (See PE Growth tab) | Month (see WAIG tab for distribution of irrigation demands)
|  | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Carbon River | 109 | 0.00089549 | 0.00089549 | 0.00089549 | 0.0094871 | 0.024709 | 0.032274 | 0.04843 | 0.034515 | 0.020413 | 0.00089549 | 0.00089549 | 0.00089549
Lower Puyallup River | 102 | 0.00083798 | 0.00083798 | 0.00083798 | 0.00083798 | 0.023122 | 0.030201 | 0.04532 | 0.032298 | 0.019103 | 0.00083798 | 0.00083798 | 0.00083798
Lower White River | 52 | 0.00042721 | 0.00042721 | 0.00042721 | 0.00042721 | 0.011788 | 0.015397 | 0.023104 | 0.016466 | 0.0097385 | 0.00042721 | 0.00042721 | 0.00042721
Middle White River | 81 | 0.00066546 | 0.00066546 | 0.00066546 | 0.00066546 | 0.018362 | 0.023983 | 0.035989 | 0.025649 | 0.01517 | 0.00066546 | 0.00066546 | 0.00066546
South Prairie Creek | 167 | 0.001372 | 0.001372 | 0.001372 | 0.001372 | 0.037857 | 0.049447 | 0.0742 | 0.052881 | 0.031276 | 0.001372 | 0.001372 | 0.001372
Upper Puyallup River | 165 | 0.0013556 | 0.0013556 | 0.0013556 | 0.0013556 | 0.037404 | 0.048855 | 0.073311 | 0.052247 | 0.030901 | 0.0013556 | 0.0013556 | 0.0013556
Upper White River | 12 | 9.8586e-05 | 9.8586e-05 | 9.8586e-05 | 9.8586e-05 | 0.0027203 | 0.0035531 | 0.0053317 | 0.0037998 | 0.0022474 | 9.8586e-05 | 9.8586e-05 | 9.8586e-05
Totals | 688 | 0.0056523 | 0.0056523 | 0.0056523 | 0.014244 | 0.15596 | 0.20371 | 0.30568 | 0.21786 | 0.12885 | 0.0056523 | 0.0056523 | 0.0056523
Note - currently using 30 days/month during irrigation season, will adjust each month to correct # of days
Input From CU Calculator Tab Using Data from Ecology Method (Do not change below numbers, change on CU Calc tab)
Indoor Use | 60 | Month (see WAIG tab for distribution of irrigation demands) Jan: gpd per capita (from CU Calc. tab)
Outdoor Use | 125881.3675 | Month (see WAIG tab for distribution of irrigation demands) Jan: gallons, annual total (from CU calc tab multiplied by 365 times household size)
Indoor loss | 10% | Month (see WAIG tab for distribution of irrigation demands) Jan: From CU Calc. tab, default is 10% (Ecology recommendation)
Outdoor loss | 80% | Month (see WAIG tab for distribution of irrigation demands) Jan: From CU Calc. tab, default is 80% (Ecology recommendation)
People per household | 2.5 | Month (see WAIG tab for distribution of irrigation demands) Jan: From CU Calc. tab, varies by county, usually 2.5
Average Indoor CU | 6 | Month (see WAIG tab for distribution of irrigation demands) Jan: gallons/day/capita
Seasonal Distribution of Consumptive Use (cfs) Using Ecology Method
Subbasin | Projected No. PE Wells (See PE Growth tab) | Month (see WAIG tab for distribution of irrigation demands) Jan: Month (see WAIG tab for distribution of irrigation demands)
|  | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Carbon River | 109 | 0.0010138 | 0.0010138 | 0.0010138 | 0.038052 | 0.10368 | 0.13629 | 0.20593 | 0.14595 | 0.085156 | 0.0010138 | 0.0010138 | 0.0010138
Lower Puyallup River | 102 | 0.00094866 | 0.00094866 | 0.00094866 | 0.035609 | 0.097017 | 0.12753 | 0.19271 | 0.13657 | 0.079687 | 0.00094866 | 0.00094866 | 0.00094866
Lower White River | 52 | 0.00048363 | 0.00048363 | 0.00048363 | 0.018153 | 0.04946 | 0.065017 | 0.098244 | 0.069626 | 0.040625 | 0.00048363 | 0.00048363 | 0.00048363
Middle White River | 81 | 0.00075335 | 0.00075335 | 0.00075335 | 0.028277 | 0.077043 | 0.10128 | 0.15303 | 0.10846 | 0.063281 | 0.00075335 | 0.00075335 | 0.00075335
South Prairie Creek | 167 | 0.0015532 | 0.0015532 | 0.0015532 | 0.0583 | 0.15884 | 0.2088 | 0.31551 | 0.22361 | 0.13047 | 0.0015532 | 0.0015532 | 0.0015532
Upper Puyallup River | 165 | 0.0015346 | 0.0015346 | 0.0015346 | 0.057602 | 0.15694 | 0.2063 | 0.31173 | 0.22093 | 0.12891 | 0.0015346 | 0.0015346 | 0.0015346
Upper White River | 12 | 0.00011161 | 0.00011161 | 0.00011161 | 0.0041893 | 0.011414 | 0.015004 | 0.022672 | 0.016068 | 0.009375 | 0.00011161 | 0.00011161 | 0.00011161
Totals | 676 | 0.0062872 | 0.0062872 | 0.0062872 | 0.23599 | 0.64298 | 0.84522 | 1.2772 | 0.90514 | 0.52812 | 0.0062872 | 0.0062872 | 0.0062872
Note - currently using 30 days/month during irrigation season, will adjust each month to correct # of days

## WAIG
WRIA 10 WIG Irrigation Requirements
Data Source: Washington State Irrigation Guide - Appendix B (December 1992)
Irrigation Requirement (Monthly)
Subbasin | Weather Station | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total Annual Requirement (in) | Average Daily Requirement (in) | Connections | weighted average
Carbon River | Puyallup | 0 | 0 | 0 | 0.92 | 2.55 | 3.36 | 5.09 | 3.6 | 2.09 | 0 | 0 | 0 | 17.61 | 0.048247 | 109 | 2.79
Lower Puyallup River | Puyallup | 0 | 0 | 0 | 0.92 | 2.55 | 3.36 | 5.09 | 3.6 | 2.09 | 0 | 0 | 0 | 17.61 | 0.048247 | 102 | 2.6108
Lower White River | Puyallup | 0 | 0 | 0 | 0.92 | 2.55 | 3.36 | 5.09 | 3.6 | 2.09 | 0 | 0 | 0 | 17.61 | 0.048247 | 52 | 1.331
Middle White River | Bukcley | 0 | 0 | 0 | 0.28 | 1.64 | 2.32 | 4.61 | 3.15 | 1.5 | 0 | 0 | 0 | 13.5 | 0.036986 | 81 | 1.5894
South Prairie Creek | Buckley | 0 | 0 | 0 | 0.28 | 1.64 | 2.32 | 4.61 | 3.15 | 1.5 | 0 | 0 | 0 | 13.5 | 0.036986 | 167 | 3.2769
Upper Puyallup River | Puyallup | 0 | 0 | 0 | 0.92 | 2.55 | 3.36 | 5.09 | 3.6 | 2.09 | 0 | 0 | 0 | 17.61 | 0.048247 | 165 | 4.2233
Upper White River | Buckley | 0 | 0 | 0 | 0.28 | 1.64 | 2.32 | 4.61 | 3.15 | 1.5 | 0 | 0 | 0 | 13.5 | 0.036986 | 12 | 0.23547
Average | [13 empty] | 15.8486 | 0.043421 |  | 16.0568
% of annual use for Puyallup Station |  | Irrigation Requirement (Monthly) Apr: 5.224%; Irrigation Requirement (Monthly) May: 14.48%; Irrigation Requirement (Monthly) Jun: 19.08%; Irrigation Requirement (Monthly) Jul: 28.9%; Irrigation Requirement (Monthly) Aug: 20.44%; Irrigation Requirement (Monthly) Sep: 11.87%

## PE Growth
Subbasin | Projected Total Connections - 20 years |  |  |  |  | Pierce County Higher Estimate 1999-2008 | Pierce County Lower Estimate 2009-2018 | Total Higher Estimate | Total Lower Estimate
|  | King |  | Pierce | Totals
Carbon River |  |  |  | 109 | 109 | 142 | 87 | 142 | 87
Lower Puyallup River |  |  |  | 102 | 102 | 153 | 53 | 153 | 53
Lower White River |  |  |  | 52 | 52 | 67 | 42 | 67 | 42
Middle White River |  | 81 |  |  | 81 |  |  | 81 | 81
South Prairie Creek |  |  |  | 167 | 167 | 229 | 122 | 229 | 122
Upper Puyallup River |  |  |  | 165 | 165 | 242 | 104 | 242 | 104
Upper White River |  |  |  | 12 | 12 | 4 | 20 | 4 | 20
Totals |  | 81 |  | 607 | 688 | 837 | 428 | 918 | 509
From HDR Spreadsheet
Preliminary Projected 2038 Total Wells Added Since 2018
Pierce County Portion | Based on Preliminary 1999-2008 Growth Rates | Based on Preliminary 2009-2018 Growth Rates | Based on Preliminary 1999-2018 Growth Rates
WRIA 10--All Subbasins | 837.7778 | 428.8889 | 688
WRIA 10--Lower White River | 66.6667 | 42.2222 | 51.5789
WRIA 10--Carbon River | 142.2222 | 86.6667 | 109.4737
WRIA 10--South Prairie Creek | 228.8889 | 122.2222 | 167.3684
WRIA 10--Upper Puyallup River | 242.2222 | 104.4444 | 165.2632
WRIA 10--Upper White River | 4.4444 | 20 | 11.5789
WRIA 10--Middle White River | 0 | 0 | 81
WRIA 10--Lower Puyallup River | 153.3333 | 53.3333 | 102.1053

## Water Use Data
Water System Data Collected in WRIAs 10, 12, 14, 15
| Indoor (gpd/HH) Annual Average | Outdoor (gpd/HH) Annual Average | Household Size | Indoor per capita (gpd) Annual Average | Outdoor per capita (gpd) Annual Average
Kitsap PUD - see table below for split of Group A and B Systems | 122 | 64 | 2.5 | 48.8 | 25.6
Mason County - Cherry Park | 156 | 39 | 2.44 | 63.9344 | 15.9836
Mason County - Union | 86 | 48 | 2.05 | 41.9512 | 23.4146
Mason County - Harstene Island | 87 | 32 | 2.48 | 35.0806 | 12.9032
Thurston County Prairie Ridge 2007 - 2010 | 164 | 176 | 2.5 | 65.6 | 70.4
Thurston County Prairie Ridge 2018 | 118 | 151 | 2.5 | 47.2 | 60.4
Pierce County - Spanaway Water System | 169 | 45 | 2.5 | 67.6 | 18
Average |  | 79.2857 |  | 52.8809 | 32.3859
USGS Groundwater Study - 10 years of data in Kitsap County
Indoor Use = | 66 gpd/capita
Outdoor Use = | 26 gpd/capita
USGS used 10% indoor and 90% outdoor consumptive use
Kitsap PUD (WRIA 15)
| Group A |  | Group B
Year | Indoor (GPD/HH) | Outdoor (GPD/HH) | Indoor (GPD/HH) | Outdoor (GPD/HH)
2017 | 125 | 73 | 123 | 55
2018 | 126 | 74 | 113 | 53
Average | 126 | 73 | 118 | 54
Note: HH = household, assume 2.5 people per household to estimate per capita use

## Irrigated Area Calcs
Name | Notes | Acres | Acres_0.05 Min
0119069017 | front yard delineated based on 7/15/2014 | 0.0829 | 0.0829
0420069010 | Selected areas based on 7/2014 and 8/2011 imagery. Wetland/stream appears to be located on eastern and NW portion of parcel. | 0.96421 | 0.96421
0518171032 | Area delineated | 0.18613 | 0.18613
0518205002 | yard area delineated 8/2006 and 11/2007 | 0.24445 | 0.24445
0519253007 | area delineated 8/2011 image | 0.077557 | 0.077557
0519285035 | area delineated 9/2009 and 8/2011 image | 0.085576 | 0.085576
0519312017 | area delineated. May be high ground water table but maintained lawn area does not go dormant in limited available imagery. | 0.10514 | 0.10514
0520036073 | area delineated | 0.039266 | 0.039266
0520069028 | Garden area delineated based on 9/2009 and 8/2011 imagery. Maitained areas around home not irrigated. | 0.1081 | 0.1081
0520069058 | Front yard delineated based on 9/2009 and 8/2011 imagery. | 0.088051 | 0.088051
0520153036 | Area delineated | 1.2847 | 1.2847
0520156002 | Area Delineated | 0.32072 | 0.32072
0520237026 | Area delineated | 0.45609 | 0.45609
0520254045 | area delineated. Approximate due to tree coverage | 0.43228 | 0.43228
0520263039 | area delineated 8/2011 image | 0.59404 | 0.59404
0520358008 | area delineated | 0.98323 | 0.98323
0619187001 | area delineated 8/2011 and 11/2011 | 0.33321 | 0.33321
0619321013 | area delineated | 0.37258 | 0.37258
0620069079 | Front fenced area delineated (9/2009 8/2011 imagery). Remaining parcel dormant | 1.5686 | 1.5686
0720069035 | Delineated (8/2011, 9/2009, 8/2006) | 0.60506 | 0.60506
0720069062 | Delineated (8/2011, 11/2011, 9/2009) | 0.17671 | 0.17671
0820069056 | delineated yard area (8/2006 image) | 0.30968 | 0.30968
0821049204 | front and back yards delineated 8/2011 and 7/2012imagery | 0.049243 | 0.049243
1099611140 | Yard area delineated. 7/2018 image | 0.1471 | 0.1471
1720069152 | Yard delineated 7/2012 and 8/2011 imagery. | 0.29584 | 0.29584
1920069017 | Yard delineated | 0.38155 | 0.38155
2821059010 | area delineated 7/2018 imagery | 0.46686 | 0.46686
3021059343 | area delineated 7/2018 imagery | 0.068467 | 0.068467
3221059044 | areas delineated 7/2018 imagery | 0.19272 | 0.19272
3353400170 | area delineated 7/2018 imagery | 0.1545 | 0.1545
3420069029 | area delineated 9/2009 and 8/2011 imagery | 1.2308 | 1.2308
3421059048 | area delineated 7/2017 imagery | 0.14831 | 0.14831
3520069048 | area delineated. | 0.34834 | 0.34834
3521049013 | area delineated 7/2014 imagery. Area no longer looks maintained in 7/2018 | 0.26401 | 0.26401
3750602435 | area delineated 7/2019 imagery | 0.25229 | 0.25229
8000330020 | area delineated | 0.099819 | 0.099819
0820069031 | area delineated | 0.13288 | 0.13288
0420069015 | zero irrigated area based on 9/2009 | 0 | 0.05
0420069070 | zero irrigated area (8/2011 imagery). More recent imagery is from early July. No imagery available for August or September 2014-2016 | 0 | 0.05
0619079021 | zero irrigated area (9/2009 and 11/2011 imagery). Storage in backyard. | 0 | 0.05
0620069031 | zero irrigated area (9/2009 imagery) | 0 | 0.05
0721049220 | zero irrigated footprint. 7/2018 | 0 | 0.05
0920069063 | zero irrigated footprint. 8/2011. vegetation not maintained or irrigated. | 0 | 0.05
0920069113 | zero irrigated footprint. Vegetation not maintained. Several areas of storage/debris. | 0 | 0.05
1220059019 | zero irrigated footprint. Vegetation dorment during summer months. | 0 | 0.05
2121059042 | Zero irrigated footprint | 0 | 0.05
3021059121 | zero irrigated footprint 7/2018 imagery | 0 | 0.05
3120079143 | zero irrigated footprint | 0 | 0.05
3221049148 | zero irrigated footprint | 0 | 0.05
3313600430 | zero irrigated footprint | 0 | 0.05
3320079014 | zero irrigated footprint. 7/2018 and 7/2006, 9/2009 imagery | 0 | 0.05
3321049002 | zero irrigated footprint 7/2018 | 0 | 0.05
3321059008 | zero irrigated footprint. 7/2018 and 9/2009 | 0 | 0.05
3521059027 | zero irrigated area 9/2009 | 0 | 0.05
3521059032 | zero irrigated footprint. 8/2011 and 11/2011 | 0 | 0.05
7135800030 | zero irrigated area. Drainagage and high water table likely causing green areas. Mostly unmaintained | 0 | 0.05
0320133073 | zero irrigated footprint. 8/2011 and 7/2018 | 0 | 0.05
0418134018 | zero irrigated footprint 7/2018 imagery | 0 | 0.05
0420174075 | zero irrigated footprint 7/2018 imagery | 0 | 0.05
0517061702 | zero irrigated footprint 7/2018 and 9/2009 | 0 | 0.05
0518091049 | zero irrigated footprint 7/2018. Most of parcel unmaintained vegetation. | 0 | 0.05
0518106016 | zero irrigated footprint | 0 | 0.05
0518305012 | zero irrigated footprint | 0 | 0.05
0519081063 | zero irrigated footprint | 0 | 0.05
0519094022 | zero irrigated footprint | 0 | 0.05
0519134001 | zero irrigated footprint and no maintained vegetation | 0 | 0.05
0519241011 | zero irrigated footprint | 0 | 0.05
0519244047 | zero irrigated footprint | 0 | 0.05
0519252703 | zero irrigated footprint. Storage and debris in yard. Dormant vegetation in summer. | 0 | 0.05
0519345038 | zero irrigated footprint | 0 | 0.05
0520328009 | zero irrigated footprint | 0 | 0.05
0619205006 | zero irrigated footprint. Vegetation dorment during summer months. | 0 | 0.05
0619305026 | zero irrigated footprint | 0 | 0.05
0619311019 | zero irrigated footprint | 0 | 0.05
0619321017 | zero irrigated footprint | 0 | 0.05
0619323701 | zero irrigated footprint (9/2009 and 8/2011) | 0 | 0.05
0717062047 | zero irrigated footprint (9/2009 and 9/2011 image) | 0 | 0.05
4925000135 | zero irrigated footprint | 0 | 0.05
0720069056 | zero irrigated footprint | 0 | 0.05
1920069008 | zero irrigated footprint | 0 | 0.05
| Total | 13.651 | 15.801
|  | 0.17064 | 0.19751