[Insert WRIA 15 photo]

Watershed Restoration and Enhancement Draft Plan

WRIA 15
Kitsap Watershed

January x, 2021 [insert final date once approved]

Publication Information

This document is available on the Department of Ecology’s website at: https://ecology.wa.gov/Water-Shorelines/Water-supply/Streamflow-restoration/Streamflow-restoration-planning

Cover photo credit

- Curley Creek Courtesy of Kenna Cox

Contact Information

Water Resources Program

### Address: 3190 160th Ave SE, Bellevue, WA 98008

### Phone: 425-649-7000

Website: Washington State Department of Ecology

ADA Accessibility

The Department of Ecology is committed to providing people with disabilities access to information and services by meeting or exceeding the requirements of the Americans with Disabilities Act (ADA), Section 504 and 508 of the Rehabilitation Act, and Washington State Policy #188. To request an ADA accommodation, contact Ecology by phone at 360-407-6872 or email at WRpubs@ecy.wa.gov. For Washington Relay Service or TTY call 711 or 877-833-6341.

Language Access

The Department of Ecology offers free language services about our programs and services for people whose primary language is not English. We can provide information written in your preferred language and qualified interpreters over the telephone. To request these services, or to learn more about what we can provide, contact our Language Access Coordinators by phone at 360-407-6177 or email at millie.piazza@ecy.wa.gov. When you call, please allow a few moments for us to contact an interpreter. Visit Ecology's website for more information.

[insert Spanish translation]

Table of Contents

List of Figures and Tables	iv

Figures	iv

Tables	iv

Acknowledgements	vi

Executive Summary	ii

Chapter 1 – Plan Overview	1

1.1 WRIA 15 Watershed Plan Purpose and Structure	1

1.2 Requirements of the WRIA 15 Watershed Restoration and Enhancement Plan	4

1.3 Overview of the WRIA 15 Committee	6

Chapter Two: Watershed Overview	10

2.1 Brief Introduction to WRIA 15	10

2.2 Watershed Planning in WRIA 15	20

2.3 Description of the Watershed – Geology, Hydrogeology, Hydrology, and Streamflow	22

Chapter Three: Subbasin Delineation	29

3.1 Introduction	29

3.2 Approach to Develop Subbasins	29

3.3 WRIA 15 Subbasins	30

Chapter Four: New Consumptive Water Use Impacts	33

4.1 Introduction to Consumptive Use	33

4.2 Projection of Permit-Exempt Well Connections (2018–2038)	33

4.3 Impacts of New Consumptive Water Use	39

Chapter Five: WRIA 15 Projects 	55

5.1 Description and assessment	55

5.2 Category I Projects 	57

5.3 Category II-IV Projects	83

5.3 Project Implementation Summary	87

Chapter 6. Additional Plan Recommendations	89

6.1 Policy and Regulatory Recommendations	89

6.2 Adaptive Management Recommendations	94

Chapter Seven: Net Ecological Benefit Evaluation	104

7.1 Water Offsets	104

7.2 Habitat Benefits	109

7.3 Adaptive Management	125

7.4 NEB Evaluation Findings	125

References	128

Glossary	135

Appendices	144

Appendix A – Committee Roster	145

Appendix B – Operating Principles	146

Appendix C – Aquifer Units within WRIA 15	156

Appendix D – Surface Water Quality Assessments Category 4 and 5 Listings in WRIA 15	157

Appendix E – TMDL Table for WRIA 15	164

Appendix F – Subbasin Delineation Memo	166

Appendix G – Growth Projections and Consumptive Use Memo	171

Appendix H – Project Inventory	188

Appendix I – Detailed Project Descriptions	211

## List of Figures and Tables

### Figures

Figure 1: Water Resource Inventory Area 15 Overview	11

Figure 2. Chico Creek Flow Exceedance.	26

Figure 3: WRIA 15 Subbasin Delineation for the Watershed Restoration and Enhancement Plan	31

Figure 4. WRIA 15 Projected New Permit-Exempt Wells (number and likely area) Under the Moderate Estimate Growth Scenario 2018-2038.	38

Figure 5. WRIA 15 Estimated Consumptive Use based on Moderate Estimate for Growth Projections and Irrigated Area Method, 2018-2038	54

Figure 6. r MAR diagram.	58

### Tables

Table 1: WRIA 15 Committee Participating Entities	7

Table 2: Salmonid Species and Status in WRIA 15	13

Table 3: Salmonid Presence and Life History Timing in Kitsap Basin	15

Table 4: WRIA 15 Subbasins	32

Table 5: Number of Permit-Exempt Connections Projected between 2018 and 2038	36

Table 6. Indoor and Outdoor Consumptive Use Estimates by Subbasin for 2038: Moderate Estimate for Growth Projection and Metered Data Method	45

Table 7.Indoor and Outdoor Consumptive Use Estimates by Subbasin for 2038: Lower- and Higher-Estimates for Growth Projections and Metered Data Method.	47

Table 8: Indoor and Outdoor Consumptive Use Estimates by Subbasin for 2038: Moderate Estimate for Growth Projection and USGS Groundwater Model Method	48

Table 9: Indoor and Outdoor Consumptive Use Estimates by Subbasin for 2038: Lower and Higher Estimates for Growth Projections and USGS Groundwater Model Method	49

Table 10: Indoor and Outdoor Consumptive Use Estimates by Subbasin for 2038: Moderate Estimate for Growth Projection and Irrigated Area Method	50

Table 11: Indoor and Outdoor Consumptive Use Estimates by Subbasin for 2038: Lower and Higher Estimates for Growth Projections and Irrigated Area Method	51

Table 12. Managed Aquifer Recharge Package	59

Table 13. Water Offsets from MAR Package	61

Table 14. Package of Community Forest Type Projects in WRIA 15	62

Table 15. [Placeholder] Target Number of Raingarden and LID Projects	64

Table 16. West Sound Subbasin Category I Projects.	67

Table 17. Bainbridge Island Subbasin Category I Projects.	70

Table 18. North Hood Canal Subbasin Category I Projects.	73

Table 19. South Hood Canal Subbasin Category I Projects.	75

Table 20. Vashon Maury Subbasin Category I Projects.	76

Table 21. South Sound Subbasin Category I Projects.	79

Table 22. South Sound Islands Subbasin Category I Projects.	82

Table 23. Summary of habitat benefits from Category II-IV projects.	83

Table 24. Implementation of Tracking and Monitoring Recommendation	96

Table 25. Implementation of Reporting and Adaptation Recommendation	99

Table 26. Summary of WRIA 15 Adaptive Management Funding Recommendation.	100

Acronyms

| Acronym | Definition |
| --- | --- |
| AE | Application Efficiency |
| AF/yr | Acre-Feet per Year |
| CFS | Cubic Feet per Second |
| CU | Consumptive Use |
| CUF | Consumptive Use Factor |
| GPD | Gallons per Day |
| GIS | Geographic Information System |
| IR | Irrigation Requirements |
| LID | Low Impact Development |
| LIO | Local Integrating Organization |
| MAR | Managed Aquifer Recharge |
| NEB | Net Ecological Benefit |
| PE | Permit-Exempt |
| RCW | Revised Code of Washington |
| WDFW | Washington Department of Fish and Wildlife |
| WRIA | Water Resource Inventory Areas |

## Acknowledgements

This watershed plan was written as a collaboration between the Department of Ecology, the WRIA 15 Committee, and the technical consultants. We express our sincere gratitude to those that supported the development of the plan and supplemental materials.

WRIA 15 Committee Members – Primary Representatives and Alternates

Dave Ward, Kitsap County

David Nash1, Kitsap County

Kathy Peters, Kitsap County

Commissioner Randy Neatherlin, Mason County

David Windom, Mason County

Dan Cardwell, Pierce County

Austin Jennings, Pierce County

Greg Rabourn, King County

Joe Hovencotter, King County

Eric Ferguson, King County

David Winfrey, Puyallup Tribe

Seth Book, Skokomish Tribe

Dana Sarff, Skokomish Tribe

Jeff Dickison, Squaxin Island Tribe

Paul Pickett, Squaxin Island Tribe

Erica Marbet, Squaxin Island Tribe

Leonard Forsman, Suquamish Tribe

Alison O’Sullivan, Suquamish Tribe

Sam Phillips, Port Gamble S’Klallam Tribe

Paul McCollum, Port Gamble S’Klallam Tribe

Jacki Brown, City of Port Orchard

Thomas Hunter2, City of Port Orchard

Zach Holt, City of Port Orchard

Trent Ward, City of Gig Harbor

Brienn Ellis, City of Gig Harbor

Michael Michael, City of Bainbridge Island

Christian Berg, City of Bainbridge Island

Christy Carr2, City of Bainbridge Island

Teresa Smith, City of Bremerton

Allison Satter, City of Bremerton

Mayor Becky Erikson3, City of Poulsbo

Joel Purdy, Kitsap Public Utility District

Mark Morgan, Kitsap Public Utility District

Bob Hunter, Kitsap Public Utility District

Brittany Gordon, Department of Fish and Wildlife

Nam Siu, Department of Fish and Wildlife

Stacy Vynne McKinstry, Department of Ecology

Russ Shiplet, Kitsap Building Association

Josie Cummings, Building Industry Association of Washington

Joy Garitone, Kitsap Conservation District

Nathan Daniel, Great Peninsula Conservancy

Sandra Staples-Bortner2, Great Peninsula Conservancy

Larry Boltz, Mason Kitsap Farm Bureau (ex officio)

Shawn O’Dell, Washington Water Service (ex officio)

WRIA 15 Technical Consultant Team

Bob Montgomery, Anchor QEA

Burt Clothier, Pacific Groundwater Group

Chad Wiseman, HDR

HDR, PGG and Anchor QEA Support Staff

Facilitation Team

Susan Gulick, Sound Resolutions

Angela Pietschmann, Cascadia Consulting

Additional support from Cascadia Consulting Staff

Department of Ecology Staff

Stacy Vynne McKinstry, Chair

John Covert, Lead Technical Support

Paulina Levy, Committee and Plan Development Support

Stephanie Potts, WRIA 15 Alternate Chair

Ria Berns, Regional Section Manager

Bennett Weinstein, Streamflow Section Manager

Mugdha Flores, Streamflow Communications Lead

Streamflow Section Technical Staff

Northwest Region Water Resources Section

Project Workgroup

Joy Garitone and Brian Stahl, Kitsap Conservation District

Jon Turk, Aspect (Consultant to Skokomish Tribe)

Joel Massman, Keta Waters (Consultant to Suquamish Tribe)

Alison O’Sullivan and John O’Leary2, Suquamish Tribe

Austin Jennings and Dan Cardwell, Pierce County

Brittany Gordon and Nam Siu, WDFW

David Nash1 and Kathy Peters, Kitsap County

David Windom, Mason County

Paul Pickett, Squaxin Island Tribe

Sam Phillips, Port Gamble S’Klallam Tribe

Thomas Hunter2 and Zach Holt, City of Port Orchard

Brenda Padgham, Bainbridge Island Land Trust

Greg Rabourn, King County

Seth Book and Dana Sarff, Skokomish Tribe

Bob Montgomery, Anchor QEA

Burt Clothier, PGG

Stacy Vynne McKinstry, Ecology

Erik Steffens, GPC

Joel Purdy, KPUD

Technical Workgroup

Eric Ferguson, King County

Jon Turk, Aspect (Consultant to Skokomish Tribe)

Joel Massman, Keta Waters (Consultant to Suquamish Tribe)

Suquamish Tribe rep

Alison O’Sullivan and John O’Leary2, Suquamish Tribe

Austin Jennings and Dan Cardwell, Pierce County

Brittany Gordon and Nam Siu, WDFW

David Nash1, Kitsap County

David Windom, Mason County

Paul Pickett, Squaxin Island Tribe

Sam Phillips, Port Gamble S’Klallam Tribe

Thomas Hunter2 and Zach Holt, City of Port Orchard

Joel Purdy and Bob Hunter, KPUD

Bob Montgomery, Anchor QEA

Burt Clothier, PGG

Stacy Vynne McKinstry, Ecology

Thank you to the Committee members that participated in short-term, ad hoc workgroups.

Thank you also to Tribal, city and county staff, Kitsap Public Health District, and USGS for providing resources and presentations throughout this process.

1David Nash, formerly with Kitsap County, is now deceased.

2No longer at entity.

3Withdrew from Committee.

## Executive Summary

In January 2018, the Washington State Legislature passed the Streamflow Restoration law (RCW 90.94) to help support robust, healthy, and sustainable salmon populations while ensuring rural communities have access to water. The law, as interpreted by the Department of Ecology, directs the Department of Ecology to lead local planning Committees to develop Watershed Restoration and Enhancement Plans that identify projects to offset potential consumptive impacts of new permit-exempt domestic groundwater withdrawals on instream flows over the next 20 years (2018 – 2038) and provide a net ecological benefit to the watershed. While not all members of the WRIA 15 Watershed Restoration and Enhancement Committee agreed with the Department of Ecology’s interpretations of the law, this Watershed Restoration and Enhancement Plan was written to meet the guidance and policy interpretations as provided by the Department of Ecology.

The Department of Ecology (Ecology) established the Watershed Restoration and Enhancement Committee to collaborate with tribes, counties, cities, state agencies, and special interest groups in the Kitsap watershed, also known as Water Resource Inventory Area (WRIA) 15. The WRIA 15 Committee met for over two years to develop a watershed plan.

To allow for meaningful analysis of the relationship between new consumptive use and offsets, the WRIA 15 Committee divided the watershed into seven subbasins. Subbasins help describe the location and timing of projected new consumptive water use, the location and timing of impacts to instream resources, and the necessary scope, scale, and anticipated benefits of projects.

This watershed plan projects 5,568 permit exempt (PE) well connections over the 20-year planning horizon. If implemented, the projects and policy recommendations in this watershed plan can offset the consumptive water use from those 5,568 PE well connections. The projected new consumptive water use associated with the new PE well connections is  766.4 acre-feet per year (1.06 cubic feet per second [cfs] or 684,150 gallons per day [gpd]) in WRIA 15. This is equal to 123 gpd per PE well connection. This watershed plan also sets an offset target of 1,218 acre-feet per year (equivalent to 177 gpd per connection) for project implementation in order to benefit streams.  That target is based upon a consumptive use of 195 gpd per PE well connection which equals 1.68 cfs and 1.087 million gallons per day.

This watershed plan includes projects that provide an anticipated offset of 1195.8 acre-feet per year to benefit streamflows and enhance the watershed. The WRIA 15 Committee aimed to find projects closest to anticipated impact, and to offset consumptive use within each subbasin. Table ES-1 presents a summary of the anticipate impacts and benefits by subbasin. Additional projects in the plan include benefits to fish and wildlife habitat, such several thousand feet of streambed improvements, dozens of acres of restoration and protection, and many miles of riparian restoration across WRIA 15.

| Subbasin | Consumptive Use Estimate (acre feet per year) | Higher Offset Target (acre feet per year) | Offset Benefits from Projects (acre feet per year) | Additional Benefits from Projects |
| --- | --- | --- | --- | --- |
| North Hood Canal | 90.3 | 136.5 | 264 | Projects would provide direct streamflow benefit, protection and restoration of habitat for fish critical streams. Over 1600 feet of stream restoration are included along with over ten acres of habitat restoration. |
| West Sound | 183.9 | 277.9 | 491.6 |  |
| South Hood Canal | 155.0 | 223.4 | 131 | Projects would provide direct streamflow benefit, protection and restoration of habitat for fish critical streams. This subbasin includes projects that will repair up to three miles of riparian area. |
| Bainbridge Island | 67.6 | 102.2 | 70.7 | Projects would provide direct streamflow benefit, protection and restoration of habitat for fish critical streams. |
| Vashon-Maury Island | 50.7 | 72.9 | 56 | Projects would provide direct streamflow benefit, water rights and land acquisition. |
| South Sound | 213.8 | 394.6 | 175.5 | Projects would provide direct streamflow benefit, protection and restoration of habitat for fish critical streams. Projects include up to nine miles of riparian restoration. |
| South Sound Islands | 5.2 | 11.1 | 7 | Projects would provide direct streamflow benefit, protection and restoration of habitat for fish critical streams. |
| Totals | 766.4 | 1218.7 | 1195.8 |  |

To increase the reasonable assurance for plan implementation and tracking progress, this watershed plan includes policy and regulatory recommendations and an adaptive management process. The eleven policy and regulatory recommendations are included to contribute to the goals of this watershed plan, including streamflow restoration and meeting net ecological benefit. These recommendations enhance water conservation efforts; improve research, monitoring, and data collection; support beaver habitat conservation; plan for better drought response; and finance plan implementation. The watershed plan describes an adaptive management approach, which identifies a lead organization to coordinate an ongoing implementation group to support implementation, a tracking and reporting structure to assess progress and make adjustments as needed, and a funding mechanism to adaptively manage implementation.

Based on the information and analyses summarized in this plan, the WRIA 15 Committee finds that the suite of projects in this plan, if successfully implemented, would achieve a net ecological benefit, as required by RCW 90.94.030 and defined by the Final NEB Guidance.

Figure ES 1: Summary of findings of the WRIA 15 Watershed Restoration and Enhancement Plan, including estimates for new domestic permit exempt well growth, consumptive use estimates, and project offset benefits.

## Chapter 1 – Plan Overview

### 1.1 WRIA 15 Watershed Plan Purpose and Structure

The purpose of the Water Resource Inventory Area (WRIA) 15 Watershed Restoration and Enhancement Plan is to identify projects and actions intended to offset the impacts of new domestic permit-exempt wells to streamflows. The Watershed Restoration and Enhancement Plan is one requirement of RCW 90.94.030. Watershed Restoration and Enhancement Plans must identify projects to offset the projected consumptive impacts of new permit-exempt domestic groundwater withdrawals on instream flows over 20 years (2018-2038) and provide a net ecological benefit to the WRIA. The WRIA 15 Watershed Restoration and Enhancement Plan (watershed plan) considers priorities for salmon recovery and watershed recovery, while ensuring it meets the intent of the law as interpreted by Ecology..

While not all members of the WRIA 15 Watershed Restoration and Enhancement Committee agreed with the Department of Ecology’s interpretations of the law, this Watershed Restoration and Enhancement Plan was written to meet the guidance and policy interpretations as provided by the Department of Ecology. References to meeting the requirements of the law throughout this plan refer to Ecology’s interpretation of the law and may not encompass the interpretations held by all members of the WRIA 15 Committee.

Pumping from wells can reduce groundwater discharge to springs and streams by capturing water that would otherwise have discharged naturally, reducing flows (Barlow and Leake 2012). Consumptive water use (the portion not returned to the aquifer) reduces streamflow, both seasonally and as average annual recharge. A well pumping from an aquifer connected to a surface water body can either reduce the quantity of water discharging to the river or increase the quantity of water leaking out of the river (Barlow and Leake 2012).

While this watershed plan is narrow in scope and not intended to address all water uses or related issues within the watershed, it may provide a path forward for future water resource planning.

[Language to be included when appropriate]: The WRIA 15 Committee, by completing the watershed plan, has developed, and come to consensus on, a technically and politically complex issue in water resource management. That success may set the stage for improved coordination of water resources and overall watershed health in our WRIA.

This watershed plan includes Seven Chapters:

- Plan overview;

- Overview of the watershed’s hydrology, hydrogeology, and streamflow;

- Summary of the subbasins;

- Growth projections and consumptive use estimates;

- Description of the recommended projects identified to offset the future permit-exempt domestic water use in WRIA 15;

- Explanation of recommended policy, monitoring, adaptive management, and implementation measures; and

- Evaluation and consideration of the net ecological benefits.

#### 1.1.1 Legal and Regulatory Background for the WRIA 15 Watershed Restoration and Enhancement Plan

In January 2018, the Washington State Legislature passed Engrossed Substitute Senate Bill (ESSB) 6091 (session law 2018 c 1). This law was enacted in response to the State Supreme Court’s 2016 decision in Whatcom County vs. Hirst, Futurewise, et al. (commonly referred to as the “Hirst decision”). As it relates to this Committee’s work, the law, now primarily codified as RCW 90.94, clarifies how local governments can issue building permits or approve subdivisions for homes intending to use a permit-exempt well for their domestic water supply. The law also requires local watershed planning in fifteen WRIAs across the state, including WRIA 15.

#### 1.1.2 Domestic Permit-Exempt Wells

This Watershed Restoration and Enhancement Plan, the law that calls for it, and the Hirst decision are all concerned with the effects of new domestic permit-exempt water use on streamflows. Several laws pertain to the management of groundwater permit-exempt wells in WRIA 15 and are summarized in brief here for the purpose of providing context for the WRIA 15 watershed plan.

First and foremost, RCW 90.44.050, commonly referred to as “the Groundwater Permit Exemption,” establishes that certain small withdrawals of groundwater are exempt from the state’s water right permitting requirements, including small indoor and outdoor water use associated with homes. Although these withdrawals do not require a state water right permit, the water right is still legally established by the beneficial use. Even though a water right permit is not required for small domestic uses under RCW 90.44.050, there is still regulatory oversight, including from local jurisdictions. Specifically, in order for an applicant to receive a building permit from their local government for a new home, the applicant must satisfy the provisions of RCW 19.27.097 for what constitutes evidence of an adequate water supply.

RCW 90.94.030 adds to the management regime for new homes using domestic permit-exempt well withdrawals in WRIA 15 and elsewhere. For example, local governments must, among other responsibilities relating to new permit-exempt domestic wells, collect a $500 fee for each building permit and record withdrawal restrictions on the title of the affected properties. Additionally, this law restricts new permit-exempt domestic withdrawals in WRIA 15 to a maximum annual average of up to 950 gallons per days per connection, subject to the five thousand gallons per day and ½-acre outdoor irrigation of non-commercial lawn/garden limits established in RCW 90.44.050. Ecology has published its interpretation and implementation of RCW 19.27.097 and RCW 90.94 in Water Resources POL 2094 (Ecology 2019a). For additional information, readers can review those laws and policy for comprehensive details and agency interpretations.

#### 1.1.3 Planning Requirements Under RCW 90.94.030

While supplementing the local building permit requirements, RCW 90.94.030(3) goes on to establish the planning criteria for WRIA 15. In doing so, it sets the minimum standard of Ecology’s collaboration with the WRIA 15 Committee in the preparation of this watershed plan. In practice, the process of plan development was one of broad integration, collectively shared work, and a striving for consensus described in the WRIA 15 Committee’s adopted operating principles, which are further discussed below.

In addition to these procedural requirements, the law and consequently this watershed plan, is concerned with the identification of projects and actions intended to offset the anticipated impacts from new permit-exempt domestic groundwater withdrawals over the next 20 years and provide a net ecological benefit. In establishing the primary purpose of this watershed plan, RCW 90.94.030 (3) also details both the required and recommended plan elements. Regarding the WRIA 15 Committee’s approach to selecting projects and actions, the law also speaks to “high and lower priority projects.” The WRIA 15 Committee understands that, as provided in the Final Guidance on Determining Net Ecological Benefit (Ecology 2019b), “use of these terms is not the sole critical factor in determining whether a plan achieves a NEB… and that plan development should be focused on developing projects that provide the most benefits… regardless of how they align with [these] labels” (page 12). For WRIA 15, this watershed plan recognizes the goal of protecting water quantity as the primary component of habitat for fish populations and aquatic life. In order to provide a benefit to the greatest length of stream channel, the highest priority projects are those in that provide protection or restoration of headwater streamflows. It is the perspective of the WRIA 15 Committee that this watershed plan, if fully implemented,  satisfies the requirements of RCW 90.94.030.

### 1.2 Requirements of the WRIA 15 Watershed Restoration and Enhancement Plan

Streamflow Restoration law RCW 90.94.030(3)

(b) At a minimum, the plan must include those actions that the committee determines to be necessary to offset potential impacts to instream flows associated with permit-exempt domestic water use. The highest priority recommendations must include replacing the quantity of consumptive water use during the same time as the impact and in the same basin or tributary. Lower priority projects include projects not in the same basin or tributary and projects that replace consumptive water supply impacts only during critical flow periods. The plan may include projects that protect or improve instream resources without replacing the consumptive quantity of water where such projects are in addition to those actions that the committee determines to be necessary to offset potential consumptive impacts to instream flows associated with permit-exempt domestic water use.

(c) Prior to adoption of the watershed restoration and enhancement plan, the department must determine that actions identified in the plan, after accounting for new projected uses of water over the subsequent twenty years, will result in a net ecological benefit to instream resources within the water resource inventory area.

(d) The watershed restoration and enhancement plan must include an evaluation or estimation of the cost of offsetting new domestic water uses over the subsequent twenty years, including withdrawals exempt from permitting under RCW 90.44.050.

(e) The watershed restoration and enhancement plan must include estimates of the cumulative consumptive water use impacts over the subsequent twenty years, including withdrawals exempt from permitting under RCW 90.44.050.

RCW 90.94.030 of the Streamflow Restoration law directs Ecology to establish a Watershed Restoration and Enhancement Committee in the Kitsap watershed and develop a watershed plan in collaboration with the WRIA 15 Committee. Ecology determined that the intent was best served through collective development of the watershed plan, using an open and transparent setting and process that builds on local needs.

At a minimum, the watershed plan must include projects and actions necessary to offset projected consumptive impacts of new permit-exempt domestic groundwater withdrawals on streamflows and provide a net ecological benefit (NEB) to the WRIA.

Ecology issued the Streamflow Restoration Policy and Interpretive Statement (POL-2094) and Final Guidance on Determining Net Ecological Benefit (GUID-2094) in July 2019 to ensure consistency, conformity with state law, and transparency in implementing RCW 90.94. The Final Guidance on Determining Net Ecological Benefit (hereafter referred to as Final NEB Guidance) establishes Ecology’s interpretation of the term “net ecological benefit.” It also informs planning groups on the standards Ecology will apply when reviewing a watershed plan completed under RCW 90.94.020 or RCW 90.94.030. The minimum planning requirements described by Ecology in the Final NEB Guidance include the following (pages 7-8):

- Clear and Systemic Logic. Watershed plans must be prepared with implementation in mind.

- Delineate Subbasins. [The Committee] must divide the WRIA into suitably sized subbasins to allow meaningful analysis of the relationship between new consumptive use and offsets.

- Estimate New Consumptive Water Uses. Watershed plans much include a new consumptive water use estimate for each subbasins, and the technical basis for such estimate.

- Evaluate Impacts from New Consumptive Water Use. Watershed plans must consider both the estimated quantity of new consumptive water use from new domestic permit-exempt wells initiated within the planning horizon and how those impacts will be distributed.

- Describe and Evaluate Projects and Actions for Their Offset Potential. Watershed plans must, at a minimum, identify projects and actions intended to offset impacts associated with new consumptive water use. Offset benefits must continue as long as the anticipated consumptive use impacts, which are assumed to be in perpetuity.

The WRIA 15 Committee prepared the WRIA 15 watershed plan with the intent that the plan is fully implemented. The law requires that all members of the WRIA 15 Committee approve the plan prior to submission to Ecology for review. Ecology must then determine that the plan’s recommended streamflow restoration projects and actions will result in a NEB to instream resources within the WRIA after accounting for projected use of new permit-exempt domestic wells over the 20-year period of 2018-2038.

RCW 90.94.030 (6). This section [90.94.030] only applies to new domestic groundwater withdrawals exempt from permitting under RCW 90.44.050 in the following water resource inventory areas with instream flow rules adopted under chapters 90.22 and 90.54 RCW that do not explicitly regulate permit-exempt groundwater withdrawals: 7 (Snohomish); 8 (Cedar-Sammamish); 9 (Duwamish-Green); 10 (Puyallup-White); 12 (Chambers-Clover); 13 (Deschutes); 14 (Kennedy Goldsborough); and 15 (Kitsap) and does not restrict the withdrawal of groundwater for other uses that are exempt from permitting under RCW 90.44.050.

### 1.3 Overview of the WRIA 15 Committee

#### 1.3.1 Formation

The Streamflow Restoration law instructed Ecology to chair the WRIA 15 Committee, and invite representatives from the following entities in the watershed to participate in the development of the watershed plan:

- Each federally recognized tribal government with reservation land or usual and accustomed harvest area within the WRIA.

- Each county government within the WRIA.

- Each city government within the WRIA.

- Washington State Department of Fish and Wildlife.

- The largest publicly owned water purveyor providing water within the WRIA that is not a municipality.

- The largest irrigation district within the WRIA.

Ecology sent invitation letters to each of the entities named in the law in September of 2018. Note that WRIA 15 does not have an irrigation district.

The law also required Ecology to invite local organizations representing agricultural interests, environmental interests, and the residential construction industry. Businesses, environmental groups, agricultural organizations, conservation districts, and local governments nominated interest group representatives. Local governments on the WRIA 15 Committee voted on the nominees in order to select local organizations to represent agricultural interests, environmental interests, and the residential construction industry. Ecology invited the selected entities to participate on the WRIA 15 Committee.

The WRIA 15 Committee members are included in Table 1. This list includes all of the members identified by the Legislature that agreed to participate on the WRIA 15 Committee.

Table 1: WRIA 15 Committee Participating Entities

| Entity Name | Representing |
| --- | --- |
| Kitsap County | County government |
| King County | County government |
| Mason County | County government |
| Pierce County | County government |
| Puyallup Tribe | Tribal government |
| Skokomish Tribe | Tribal government |
| Squaxin Island Tribe | Tribal government |
| Suquamish Tribe | Tribal government |
| Port Gamble S'Klallam Tribe | Tribal government |
| City of Port Orchard | City government |
| City of Bremerton | City government |
| City of Gig Harbor | City government |
| City of Bainbridge Island | City government |
| Kitsap Public Utility District | Water utility |
| Department of Fish and Wildlife | State agency |
| Department of Ecology | State agency |
| Kitsap Building Association | Residential construction industry |
| Kitsap Conservation District | Agricultural interest group |
| Great Peninsula Conservancy | Environmental interest group |
| Mason-Kitsap Farm Bureau - ex officio | Not applicable |
| Washington Water Service - ex officio | Not applicable |

The WRIA 15 Committee invited the Mason-Kitsap Farm Bureau and the Washington Water Service to participate as “ex-officio” members. Although not identified in the law, the ex-officio members provide valuable information and perspective as subject matter experts. The ex-officio members are active but non-voting participants of the WRIA 15 Committee.

The law does not identify a role for the Committee following development of the watershed plan.

#### 1.3.2 Committee Structure and Decision Making

The WRIA 15 Committee held its first meeting in October 2018. Between October 2018 and January 2021, the WRIA 15 Committee held 27 Committee meetings. All Committee and workgroup meetings were open to the public. The WRIA 15 Committee met monthly, and as needed, to meet deadlines.

The two and a half years of planning consisted of training, research, and developing plan components. Ecology technical staff, WRIA 15 Committee members, and partners presented on topics to provide context for components of the plan, such as an overview of WRIA 15 hydrogeology, water law, tribal treaty rights, salmon recovery, and local planning processes.

Ecology staff chaired the WRIA 15 Committee and provided administrative support and technical assistance. Ecology contracted with consultants to provide facilitation and technical support for the WRIA 15 Committee. The facilitator supported the WRIA 15 Committee’s discussions and decision-making and coordinated recommendations for policy change and adaptive management. The technical consultants developed products that informed WRIA 15 Committee decisions and development of the plan. Examples include working with counties on growth projections, calculating consumptive use based on multiple methods, preparing maps and other tools to support decisions, and researching project ideas. The technical consultants brought a range of expertise to the Committee including hydrogeology, GIS analysis, fish biology, engineering, and planning. The technical consultants developed the technical memorandums referenced throughout this plan.

The WRIA 15 Committee established two workgroups to support planning efforts and to achieve specific tasks. The Technical Workgroup focused on preparing recommendations for permit-exempt well projections and consumptive use estimates. The Project Workgroup focused on developing and reviewing projects within the Committee’s project inventory (additional workgroups that met only one time covered topics such as beaver management, policies, and adaptive management). The workgroups were open to all WRIA 15 Committee members as well as non-Committee members that brought capacity or expertise not available on the Committee. The workgroups made no binding decisions but presented information to the Committee as either recommendations or findings. The WRIA 15 Committee acted on workgroup recommendations, as it deemed appropriate.

During the initial WRIA 15 Committee meetings, members developed and agreed to operating principles. The operating principles set forward a process for meeting, participation expectations, procedures for voting, structure of the WRIA 15 Committee, communication, and other needs in order to support the WRIA 15 Committee in reaching consensus on a final plan.

This planning process, by statutory design, brought a diversity of perspectives to the table. Therefore, it was important for the Committee to identify a clear process for how it made decisions. The WRIA 15 Committee strived for consensus, and when consensus could not be reached, the chair and facilitator documented the Committee members’ positions. All consensus and dissenting opinions were documented in meeting summaries that were reviewed and agreed upon by the Committee. The Committee recognized that flexibility was needed in terms of timeline, and if a compromise failed to reach consensus within the identified timeline, the Committee agreed to allow the process for developing the plan to move forward while the work towards consensus continued. The Committee agreed to revisit decisions where consensus was not reached. The reason why the Committee strived for consensus is that the authorizing legislation requires that final plan itself must be approved by all members of the Committee prior to Ecology’s review (RCW 90.94.030[3] “...all members of a Watershed Restoration and Enhancement Committee must approve the plan prior to adoption”). Therefore, consensus on the foundational decisions during plan development served as the best indicators of the Committee’s progress toward an approved plan.

The WRIA 15 Committee reviewed components of the watershed plan iteratively throughout the process in addition to reviewing the draft plan as a whole. [Language to be included when appropriate]: The WRIA 15 Committee reached final approval on the Watershed Restoration and Enhancement Plan on THIS DATE 2021.

## Chapter Two: Watershed Overview

### 2.1 Brief Introduction to WRIA 15

Water Resource Inventory Areas (WRIAs) are large watershed areas formalized under Washington Administrative Code (Water Resources Code of 1971) for the purpose of administrative management and planning. WRIAs encompass multiple landscapes, hydrogeological regimes, levels of development, and variable natural resources. WRIA 15, also referred to as the Kitsap Watershed, is one of the 62 designated major watersheds in Washington State. WRIA 15 encompasses the entire Kitsap peninsula and surrounding islands, is 676 square miles, and includes Kitsap County and portions of Pierce, Mason, and King Counties (Figure 1). Major rivers of WRIA 15 include Union River, Tahuya River, and Dewatto River. All of these major rivers are located in the western part of the watershed and drain to Hood Canal. These rivers are home to Chinook, Summer Chum, and Steelhead, which are listed under the Endangered Species Act. Most of the area is drained by short streams that discharge directly into the surrounding marine waters of Puget Sound and Hood Canal.

#### 2.1.1 Land Use in WRIA 15

Approximately 10 percent of the watershed is within a designated urban growth area. Major cities in WRIA 15 include Bremerton, Port Orchard, Bainbridge Island, Gig Harbor, Poulsbo, Silverdale (unincorporated), Belfair, and Kingston (unincorporated). The area’s port districts are important as centers for commerce and military installations and as critical hubs for marine transportation (West Central LIO 2019). The area connects to Seattle by several ferry routes, and local jurisdictions anticipate increased growth with the designation of several high capacity transit communities (Puget Sound Regional Council 2019). Many people move to the area for its rural feel and choose to live outside of the incorporated areas (West Central LIO 2017).

Federal ownership makes up approximately two percent of the watershed. A number of naval installations occur in WRIA 15, including the active Puget Sound Naval Shipyard (part of the Naval Base Kitsap) at Bremerton. Approximately 12 percent of the watershed is under state ownership, primarily by Washington Department of Natural Resources and Washington Department of Fish and Wildlife. The largest areas of forestland use are in the southern and western Tahuya Peninsula in Mason County.

Figure 1: Water Resource Inventory Area 15 Overview

#### 2.1.2 Tribal Reservations and Usual and Accustomed Fishing Areas

The Port Gamble S’Klallam Tribe Reservation occupies approximately 1,700 acres and the Port Madison Indian Reservation (Suquamish Tribe) occupies approximately 7,458 acres within WRIA 15. Tribes with usual and accustomed fishing areas within WRIA 15 include the Suquamish, Port Gamble S’Klallam, Squaxin Island, Skokomish, Nisqually, and Puyallup Tribes (NWIFC 2019). Within WRIA 15, these Tribes hold Treaty reserved senior water rights and fishing rights under the federal government (Treaty of Medicine Creek, Treaty of Point No Point, Treaty of Point Elliot).

The Tribes hold Treaty-reserved federal water rights in WRIA 15 in quantities that are necessary to support healthy salmon populations. These water rights are necessary to carry out the purposes of their Treaties, which include the guarantee of a self-sustaining homeland and sufficient water to support the fishing right. These rights operate outside of the state water rights system and have the most senior priority date. While these water rights have not yet been quantified by a court, they likely exceed the amounts that are established by state instream flow rules. Indian water rights are property rights held in trust by the United States for the benefit of Indian Tribes.

Language provided by WRIA 15 Tribes.

#### 2.1.3 Salmon Distribution and Limiting Factors

WRIA 15 includes numerous small lowland stream systems draining to both Puget Sound and Hood Canal. The subbasins (further described in Chapter 3) that drain to Puget Sound are West Sound, South Sound, Bainbridge Island, Vashon-Maury Island, and McNeil-Anderson-Ketron Islands (also referred to as South Sound Islands). The North Hood Canal and South Hood Canal subbasins drain to Hood Canal. Primary streams in the West Sound subbasin include Olalla, Blackjack, Chico, and Grovers creeks. Primary streams in the South Sound subbasin include Coulter, Rocky, Burley, Purdy, Minter, and Crescent creeks. Primary streams in the North Hood Canal subbasin include Big Beef, Anderson, Gamble, and Stavis creeks. Primary rivers in the South Hood Canal subbasin include Dewatto River, Union River, and Tahuya River and Mission Creek (a more complete list of rivers and streams by subbasin is available in Chapter 3). The island subbasins generally have very small streams with only minor salmonid presence or use. The Puget Sound and Hood Canal drainages are described separately as different salmonid populations occupy the two areas.

The Puget Sound subbasins within WRIA 15 have anadromous salmon runs that include three of the five Pacific salmon species (WDF 1975, WDFW 2020); Chinook (Oncorhynchus tshawytscha), Coho (Oncorhynchus kisutch), and Chum salmon (Oncorhynchus keta). Chinook Salmon have been documented in Coulter, Rocky, Burley, Purdy, Curley, Crescent, Minter, Olalla, Blackjack, Gorst, Clear, Chico, Royal Valley, Barker, and Dogfish creeks (WDFW 2020), although spawning is only known in Burley, Purdy, Olalla, Curley, Blackjack and Gorst creeks. Both summer and fall-run Chum Salmon are present, with summer Chum Salmon occurring in Rocky, Coulter, Burley, Curley, and Blackjack creeks (WDFW 2020). Puget Sound subbasins are also inhabited by Steelhead Trout (Oncorhynchus mykiss) and Cutthroat Trout (Oncorhynchus clarki clarki).

The Hood Canal subbasins have anadromous salmon runs that include Chinook, Coho, Chum, and Pink (Oncorhynchus gorbuscha) salmon and Steelhead and Cutthroat trout. Both summer and fall-run Chum Salmon are present. Pink Salmon are only present in the Dewatto River and Union River (WDFW 2020).

Of these populations, three are federally listed as threatened species, Puget Sound Chinook Salmon, Puget Sound Steelhead Trout, and Hood Canal Summer Chum Salmon. Table 2 below lists the species present in WRIA 15 and their regulatory status.

Table 2: Salmonid Species and Status in WRIA 15

| Common Name | Scientific Name | Population1 | Critical Habitat | Regulatory Agency Status |
| --- | --- | --- | --- | --- |
| Puget Sound |  |  |  |  |
| Chinook Salmon | Oncorhynchus tshawytscha | Puget Sound Chinook | Designated in 2005; does not include Kitsap Basin | NMFS/ Threatened/1999 |
| Chum Salmon | Oncoryhnchus keta | Puget Sound Chum | No | Not listed |
| Coho Salmon | Oncorhynchus kisutch | Puget Sound/Strait of Georgia Coho | No | NMFS/Species of Concern/1997 |
| Steelhead Trout | Oncorhynchus mykiss | Puget Sound Steelhead | Yes/2016 | NMFS/ Threatened/2007 |
| Coastal Cutthroat Trout | Oncorhynchus clarki | No listing | No listing | No listing |
| Hood Canal |  |  |  |  |
| Chinook Salmon | Oncorhynchus tshawytscha | Puget Sound Chinook | Designated in 2005; does not include Kitsap Basin | NMFS/ Threatened/1999 |
| Chum Salmon | Oncoryhnchus keta | Hood Canal Chum | Yes/2005 | NMFS/ Threatened/1999 |
| Coho Salmon | Oncorhynchus kisutch | Puget Sound/Strait of Georgia Coho | No | NMFS/Species of Concern/1997 |
| Steelhead Trout | Oncorhynchus mykiss | Puget Sound Steelhead | Yes/2016 | NMFS/ Threatened/2007 |
| Coastal Cutthroat Trout | Oncorhynchus clarki | No listing | No listing | No listing |

Note: 1. Population indicates Evolutionary Significant Unit.

Table 3 below lists the run timing and life stages of anadromous salmon and trout present throughout WRIA 15.

Table 3: Salmonid Presence and Life History Timing in Kitsap Basin

| Species | Freshwater Life Phase | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Presence |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Chinook (fall) | Upstream migration |  |  |  |  |  |  |  |  |  |  |  |  | Puget Sound -- Coulter, Rocky, Burley, Purdy, McCormick, Curley, Crescent, Judd, Minter, Olalla, Blackjack, Gorst, Clear, Crouch, Chico, Royal Valley, Barker, and Dogfish creeks Hood Canal -- Dewatto, Tahuya, and Union rivers, Mission, Anderson, Boyce, Big Beef creeks |
|  | Spawning |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Incubation |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Juvenile rearing |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Juvenile outmigration |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Coho | Upstream migration |  |  |  |  |  |  |  |  |  |  |  |  | All |
|  | Spawning |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Incubation |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Juvenile rearing |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Smolt outmigration |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Chum (summer) | Upstream migration |  |  |  |  |  |  |  |  |  |  |  |  | Puget Sound -- Rocky, Coulter, Burley, Curley, and Blackjack creeks Hood Canal -- Dewatto, Tahuya and Union rivers; Anderson and Big Beef creeks |
|  | Spawning |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Incubation |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Juvenile rearing |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Juvenile outmigration |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Chum (fall) | Upstream migration |  |  |  |  |  |  |  |  |  |  |  |  | All |
|  | Spawning |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Incubation |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Juvenile rearing |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Juvenile outmigration |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pink | Upstream migration |  |  |  |  |  |  |  |  |  |  |  |  | Hood Canal - Dewatto and Union rivers |
|  | Spawning |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Incubation |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Juvenile rearing |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Juvenile outmigration |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Coastal Cutthroat | Upstream migration |  |  |  |  |  |  |  |  |  |  |  |  | All |
|  | Spawning |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Incubation |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Juvenile rearing |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Smolt outmigration |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Steelhead (winter) | Upstream migration |  |  |  |  |  |  |  |  |  |  |  |  | All |
|  | Spawning |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Incubation |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Juvenile rearing |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Smolt outmigration |  |  |  |  |  |  |  |  |  |  |  |  |  |

Table Data Sources: Heard 1998; Johnson 1999; Wydoski & Whitney 2003; HCCC 2005; NSD & ICF 2014; WDFW 2020

##### Limiting Factors

Development and population growth in the Puget Sound lowlands region has substantially altered WRIA 15 from its historic conditions and natural stream habitat forming processes. These lowland stream systems are rainfall dominated systems and many were historically sustained throughout the year by extensive wetland systems or lakes in their headwaters. Development has resulted in the removal of forest canopy cover, filling and draining of wetlands, channelization of streams, numerous road crossing and fish passage barriers, and created substantial areas of impervious surfaces, resulting in habitat loss and degradation.

In general, the primary limiting factors in freshwaters of WRIA 15 include the following (Kuttel 2003; May & Peterson 2003):

- Channel and streambed degradation

- Increased peak flows

- Low streamflow

- Loss of upland forest cover

- Loss of riparian forest

- Loss of floodplain connectivity and habitats

- Degradation of wetland and shoreline habitats

- Conversion of wetlands to open water habitats

- Fish passage barriers

- Lack of large wood

- Fine sediment

Past timber harvest and ongoing residential and commercial development have removed forest and riparian cover and increased impervious surfaces in most areas of the Kitsap Basin. This reduces infiltration and storage of groundwater and can contribute to reduced streamflow and increases runoff during storms that can scour streambeds and contribute to bank erosion and instability. Loss of functioning riparian corridors combined with low flows in summer results in high water temperatures that can reduce habitat suitability and cause sublethal physiological changes in adult and juvenile salmonids or even cause mortality at high temperatures (Shared Strategy 2007).

Roads and various land uses have straightened and constrained many streams leading to a loss of floodplain connectivity and off-channel habitats and simplification of in-stream habitats. Road crossings create fish passage barriers in many locations.

To address low streamflow, the Instream Resources Protection Program (IRPP) for WRIA 15 (Ecology 1981) through WAC173-515 set minimum instream flows for 21 streams and closed 54 streams and their tributaries including lakes to further appropriation of surface water. An additional 14 streams and their tributaries are closed to further appropriation of surface water for part of the year. A discussion of instream flows is contained in Section 2.3.3.

The East Kitsap Salmon Habitat Restoration Strategy Summary (Kitsap County 2005) identifies protection and/or restoration of hydrologic and riparian functional integrity as the highest priority for freshwater areas. Tier 1 streams of focus include Chico, Minter, and Rocky creeks. The East Kitsap Steelhead Recovery Plan (ESA and Suquamish Tribe 2020) prioritizes Blackjack, Chico, Clear, Curley, Gorst and Grovers creeks for water quantity and quality protection and restoration. The Kitsap Salmonid Refugia Report (May & Peterson 2003) identify Chico and Stavis creeks and the Dewatto River and Tahuya River as the highest quality refugia for salmonids that should be protected, especially for hydrologic functions. The Hood Canal Summer Chum Salmon Recovery Plan (HCCC 2005) identifies loss of channel complexity, lack of riparian forest, and high water temperatures as primary limiting factors in the Union River and Tahuya River. The Union River is home to ESA listed Chinook, Summer Chum, and Steelhead. Coho are a species of concern, and also spawn in this river. For the Dewatto River, Anderson, and Big Beef creeks the significant change in hydrology (increased peak flows, reduced low flows), channel instability and erosion, loss of channel complexity, and loss of floodplain habitats are primary limiting factors. Salmon recovery lead entities provide additional information on limiting factors and priorities for WRIA 15.

#### 2.1.4 Water System Distribution and Impacts in WRIA 15

Groundwater is the primary source of drinking water for most of the population of the Kitsap Watershed and demand for groundwater increases with population growth (Frans and Olsen 2016). According to the USGS, the quantity of usable groundwater is likely limited, mostly because of the geography and the potential for declines in water levels, decreases in groundwater discharge to streams, and seawater intrusion as groundwater usage increases (Frans and Olsen 2016).

The USGS estimates 14 percent of the population (43,400 people) on the Kitsap Peninsula are supplied by permit-exempt wells and the remainder (268,800 people) by water purveyors under Group A and Group B systems (Welch et al. 2014). No estimates are available for WRIA 15 areas outside of the Kitsap Peninsula. Casad Dam, located above McKenna Falls on the Union River, is the only major surface water diversion structure in Kitsap County. The Union River Reservoir, behind the dam, provides approximately 65 percent of Bremerton’s drinking water (City of Bremerton 2020).

Pumping from wells can reduce groundwater discharge to springs and streams by capturing water that would otherwise have discharged naturally. Surface water may be influenced by groundwater pumping such that flows are diminished. Consumptive water use (the portion not returned to the aquifer) potentially reduces streamflow, both seasonally and as average annual recharge. A well pumping from an aquifer connected to a surface water body can either reduce the quantity of water discharging to the river or increase the quantity of water lost from the river to groundwater (Barlow and Leake 2012).

### 2.2 Watershed Planning in WRIA 15

Citizens and local, state, federal, and tribal governments have collaborated on watershed and water resource management issues in WRIA 15 for decades. A brief summary of broad watershed planning efforts as they relate to the past, present, and future water availability in the Kitsap Watershed is provided in Section 2.2.1.

#### Current watershed planning efforts in WRIA 15

The WRIA 15 watershed plan builds on many previous and current watershed planning efforts, including previous watershed planning efforts under RCW 90.82. Other efforts include ecosystem recovery planning by local integrating organizations (LIOs) and salmon recovery planning by salmon recovery lead entities. WRIA 15 crosses boundaries with the West Central LIO (now merged with the West Sound Lead Entity and referred to as the West Sound Partners for Ecosystem Recovery), the Alliance for a Healthy South Sound, South Central LIO and the Hood Canal Coordinating Council. The LIOs have completed ecosystem recovery plans as part of the Action Agenda for Puget Sound Recovery and are actively working to implement holistic approaches to recovery including projects on salmon and orca recovery, stormwater runoff, shellfish protection, and forest conservation.

Several salmon recovery lead entities cross boundaries with WRIA 15, including the West Sound Partners for Ecosystem Recovery (previously known as West Sound Lead Entity), Hood Canal Lead Entity and Regional Organization, WRIA 9 Lead Entity (Green Duwamish), Puyallup Lead Entity, Nisqually Lead Entity, and South Sound Lead Entity. Each of the salmon recovery lead entities facilitates implementation of their watershed recovery chapter as part of the Puget Sound Salmon Recovery Plan and the Puget Sound Steelhead Recovery Plan. The Hood Canal Lead Entity and Regional Organization is also responsible for facilitating implementation of the Hood Canal Summer Chum Recovery Plan. The salmon recovery lead entities are activity working with local governments, tribal governments, and other partners to implement salmon recovery actions across WRIA 15.

The LIOs and salmon recovery lead entities include many of the same organizations and individuals that participated in the WRIA 15 Committee. Because the WRIA 15 Committee was a newly established committee and brought in entities involved in many other planning efforts, the Committee invested time in developing relationships and understanding priorities of the various entities participating in the watershed planning process.

The Public Water System Coordination Act of 1977 created Critical Water Supply Service Areas (CWSSA). This Act requires each water purveyor in a CWSSA to develop a water system plan for their service area, with boundaries in compliance with the provision of the Act. The Washington State Department of Health is primarily responsible for the water system plan approval; however, local governments ensure consistency with local growth management plans and development policies. Pierce County, Kitsap County, and King County have adopted coordinated water system plans that focus on the Group A water systems.. This Act and the water system plans are important for the WRIA 15 watershed planning process as water system service areas and related laws and policies can set stipulations regarding timely and reasonable service as to whether new homes connect to water systems or rely on new permit-exempt domestic wells.

#### 2.2.2 Coordination with existing plans

Throughout the development of the watershed plan, Ecology streamflow restoration staff have engaged with staff from the salmon recovery lead entities and the Puget Sound Partnership, providing briefings on the streamflow restoration law, scope of the watershed plan, and plan development status updates. The Committee chair conducted outreach to the lead entities in WRIA 15 regarding coordination with the Committee to ensure alignment of salmon recovery priorities and the streamflow planning process. While none of the lead entities participated as ex-officio members of the Committee, they reviewed project lists and provided feedback to the Committee.

County and city comprehensive planning under the Growth Management Act of 1990 identifies where and how future population, housing, and job growth is planned. The comprehensive plans set policy for development, housing, public services and facilities, and environmentally sensitive areas, among other topics. In WRIA 15 counties, comprehensive plans identify Kitsap, Pierce, Mason, and King counties’ urban growth areas, set forth standards for urban and rural development, and provide the basis for zoning districts. Because of the overlap in planning for twenty years of growth, the WRIA 15 county representatives helped ensure content of the WRIA 15 watershed plan was coordinated with the Kitsap, Pierce, Mason and King counties’ comprehensive plans.

The Growth Management Act addresses water resources through requirements related to water availability as well as ground and surface water protection.  Public facilities, which include domestic water systems, must be adequate to serve a proposed development at the time the development is available for occupancy.  The requirements also call for the protection of the water quality and quantity of groundwater used for public water systems in addition to critical areas including critical aquifer recharge areas.  In the rural area, GMA further requires a land use pattern that protects the natural water flows along with recharge and discharge areas for ground and surface waters.

### 2.3 Description of the Watershed – Geology, Hydrogeology, Hydrology, and Streamflow

#### 2.3.1 Geologic setting

Pleistocene glaciation (2.6 million to 11,700 years ago) played an important role in sculpting the landscape of the Puget Sound Lowlands. Reaching a maximum extent during the Vashon stage of the Fraser Glaciation approximately 16,000 years ago, an ice sheet advanced southward into present day Puget Sound (Futornick 2008). Multiple advances and retreats of the ice sheet formed the Puget Sound Lowlands, depositing a complex sequence of glacial and inter-glacial sediments on top of older sediments.

The landforms and subsurface area of WRIA 15 are dominated by a sequence of unconsolidated glacial and interglacial deposits. Depth to bedrock ranges from exposed at ground surface near the center of the WRIA to more than 2,000 feet below land surface (Welch et al. 2014).

Understanding the geologic setting allows characterization of surface and groundwater flow through the basin. Defining the relationships between surface water flow and deeper groundwater are important to understanding how to manage surface water resources and can be helpful in identifying strategies to offset the impacts of pumping from permit-exempt wells.

#### 2.3.2 Hydrogeologic setting

The U.S. Geological Survey (USGS) described the hydrogeology of WRIA 15 in a hydrogeologic framework report for the Kitsap Peninsula titled Hydrogeologic Framework, Groundwater Movement, and Water Budget of the Kitsap Peninsula, West-Central Washington (Welch et al. 2014). The study area covered all of WRIA 15, except for the southern Key Peninsula; Anderson, McNeil, and Ketron Islands; and Vashon-Maury Island. The hydrogeologic units of the area are described as being either water-bearing (“aquifer”) or non-water-bearing (“aquitard” or “confining layer”) sediments, without regard to geologic origin or age. Major groundwater aquifers are found in the unconsolidated glacial and interglacial sediments. Building on the hydrogeologic framework, USGS developed a numerical groundwater flow model to further understanding of water resources on the Kitsap Peninsula (Frans and Olsen 2016).

Groundwater in the aquifers generally flows radially outward from the peninsula to Puget Sound or Hood Canal. These generalized flow patterns are complicated by the presence of low permeability confining units and bedrock that separate discontinuous bodies of aquifer material and act as local groundwater-flow barriers (Welch et al. 2014). Summer base flows in the watershed are sustained by groundwater.

The USGS describes the hydrogeology of the watershed as 12 hydrogeologic units, typically alternating between aquifer and non-aquifer layers. All aquifer and confining units other than the Vashon Recessional Aquifer (Qvr) are present throughout the area, except in the center of the WRIA where bedrock is at or near ground surface. The five aquifer units defined by the USGS are summarized in Appendix C: Aquifer Units within WRIA 15. Of these, the relatively shallow and laterally extensive Vashon Advance Aquifer (Qva) and Sea Level Aquifer (QA1) are the most heavily used and most likely sources for new permit-exempt wells. The upper three aquifer units (Qvr, Qva, QC1) are also the main source of direct recharge or baseflow to the surface water system.

Given the proximity to Puget Sound or Hood Canal for much of the watershed, saltwater (or seawater) intrusion has been raised as a potential issue (Economic and Engineering Services Inc. 1997). Kitsap County has not noted specific areas where saltwater impacts are known, but manages coastal areas with this issue in mind. Likewise, Tacoma Pierce County Health Department manages a program focused on the Key Peninsula and the Gig Harbor areas where risks of saltwater intrusion may be higher. The largest risks are found on small, privately-owned housing lots found along many coastal areas. Individual wells in such areas may be closely spaced and are often shallow, tapping water table aquifers that could be subject to saltwater intrusion if over used or impacted by drought conditions. A summary of water resources (Suquamish Tribe 2016) noted that thus far no widespread or serious saltwater intrusion problems have been recognized.

The potential risks of saltwater intrusion due to municipal withdrawals on Bainbridge Island were modeled by the U.S. Geological Survey in 2011 (Frans, L.M. et al. 2011). The study found no risk of saltwater intrusion to the aquifers of interest through the year 2035. A more recent study (Kitsap PUD et al. 2018) on the Seabold Water Association on Bainbridge Island concludes that elevated chloride levels measured at a well (an early warning indicator of saltwater intrusion) is localized and not a regional problem. The elevated chloride levels may have been caused by disposal of water treatment brine.

#### 2.3.3 Hydrology and Streamflow

Due to its irregular configuration, relatively small size, and geologic and topographic characteristics, the Kitsap Peninsula is drained by hundreds of relatively small lowland stream and river systems. Most of the area is drained by short streams that discharge directly into surrounding marine waters. Over 580 streams and 180 lakes, reservoirs, ponds, and marshes have been inventoried in WRIA 15 (Garling et al. 1965). WRIA 15 is unique hydrologically, as only 12 streams in the area have surface drainage areas that exceed 10 square miles, and most are less than one square mile.

Addressing the complexity of groundwater and surface water systems in WRIA 15 requires analysis at many different hydrologic scales depending on the needs of the studies. Examples include the subbasins (discussed in Chapter 3), and USGS Hydrologic Units, such as Hydrologic Unit Code 12 (HUC-12) boundaries. In addition, there is evidence that some aquifers are continuous beneath several drainage basins (Ecology 1981; Kitsap Public Utility District 1997). At the time of writing, a City of Port Orchard modeling project is underway and demonstrates xxx

Temperatures rarely drop below freezing in WRIA 15; therefore, snowfall accumulation is minimal. There is no contribution from upstream watersheds because WRIA 15 is surrounded by marine waters. Because all streams are contained in the WRIA, upstream sources, snow, and snowpack are not influencing factors in the watershed, precipitation as rainfall is the dominant natural input of fresh water to the basin and streamflows are extremely sensitive to areal and seasonal variation in precipitation (Golder Associates 2004).

Annual precipitation varies considerably, ranging from an average of less than 30 inches in the northern tip of the peninsula to more than 80 inches along Hood Canal in the southwest portion of the WRIA. Most of the WRIA receives an average of 40 to 60 inches of precipitation annually (Kitsap PUD 2020). In general, precipitation increases by one inch for every mile southward from the northern tip of the Peninsula. On average, July is the driest month and December is the wettest month (Golder Associates and EES 2002).

In addition to directly contributing to streamflow maintenance, precipitation also contributes to storage in lakes and groundwater aquifers that serve as natural reservoirs, helping to moderate extreme high and low flows. Groundwater provides the majority of late summer flow to area streams. Practically all streams in WRIA 15 are augmented by groundwater discharge and many would go dry if groundwater recharge during precipitation became insufficient to maintain streamflow during dry periods (Ecology 1981). Small streams draining the east shore of Hood Canal typically originate in lakes and wetlands, have moderate gradients, and exhibit low flows in late summer and early fall (Kuttel 2003).

WAC173-515 set minimum instream flows for 21 streams and closed 54 streams and their tributaries including lakes to further appropriation of surface water. An additional 14 streams and their tributaries are closed to further appropriation of surface water for part of the year. Some of the streams with partial closures are in basins which also have minimum instream flows set (Ecology 1981). Streams subject to minimum instream flows are Union River, Tahuya River, Rendsland Creek, Dewatto River, Anderson Creek, Stavis Creek, Big Beef Creek, Anderson Creek (different creek than previously listed), Grover’s Creek, Steel Creek, Strawberry/Kochs/Cooks Creek, Dickerson Creek, Chico Creek, Gorst Creek, Curley Creek, Ollala Creek, Crescent Creek, Purdy Creek, Lackey Creek, Rocky Creek, and Coulter Creek.

The background of how instream flows and closures were set are described in the Instream Resources Protection Program (IRPP) for WRIA 15 (Ecology 1981). Instream flows were set for streams where continuous flow records existed or correlations of flow to other stream gages were possible and where average annual flows exceeded five cfs. Streams closed by the WAC were previously closed pursuant to water right recommendations or had average annual flows less than five cfs and a known high value for fish production, aesthetics, and other environmental values.

The IRPP does not describe the instream flow setting technique; instream flows are believed to have been set using a combination of Physical Habitat Simulation (PHABSIM), which is a suite of hydraulic and habitat models that compute an index to habitat suitability and discharge, and the toe-width method to determine a habitat based instream flow recommendation. The instream flow recommendations tended to use the 40-50 percent exceedance as a hydrologic limit to the habitat-based instream flow recommendation (Pacheco 2020).

In establishing instream flows by regulation, Ecology recognized that the recommended regulatory flows were higher than the flows normally seen in the stream and as such, cannot be met, 100 percent of the time. Instead, the intent of the regulation was to protect streams from further depletion (e.g., through subsequent appropriations) when flows approach or fall below the recommended discharges (Ecology 1981).

In Chico Creek, for example, minimum instream flows are often not met. Figure 2 shows the flow exceedance for Chico Creek plotted against the regulatory minimum instream flow. Minimum instream flows are greater than the median flow (50 percent exceedance) from March until September and exceed dry year (90 percent exceedance) flows for most of the year. Since Chico watershed has one of the largest salmon runs in Kitsap County, not meeting minimum flows during migration periods can negatively impact many fish species and result in massive pre-spawn mortalities of salmon. The inability to meet minimum instream flows similarly impacts Grovers Creek (Suquamish Tribe 2016).

Figure 2. Chico Creek Flow Exceedance.

Due to the sensitivity of the watershed to precipitation, the salmonid habitat in the streams of WRIA 15 are highly susceptible to hydrologic changes resulting from stormwater runoff (West Sound Watershed Council 2005). The increase in impervious surfaces associated with residential and commercial development increases surface runoff and the frequency, duration, and magnitude of peak stream flows. The result is that less water is available to sustain flows through the dry months, and the increased peak flows result in increased bank and streambed instability, channel scour, and loss of instream habitat diversity, which may adversely affect salmonid production (West Sound Watershed Council 2005).

Predictions of change in climate are available from The Climate Toolbox (climatetoolbox.org). The Climate Mapper on the website was used to obtain forecasts of changes in temperature and precipitation over WRIA 15 under future conditions. The Climate Mapper allows a comparison of future conditions to present conditions under assumptions of which Representative Concentration Pathway (RCP) greenhouse gas concentration trajectory is assumed, and which future time frame is selected. Assuming the RCP 8.5 pathway and a baseline of 1971-2000, mean annual precipitation is projected to increase by 2.2-2.6 percent for the 2010-2039 timeframe and 3.7-5.6 percent for the 2040-2069 timeframe. Precipitation is projected to increase in fall, winter and spring and decrease in summer. Mean annual air temperatures will increase by 2-2.6° F in the 2010-2039 timeframe and 4.6-6° F in the 2040-2069 timeframe. Temperatures will increase in all seasons. In addition, heavy rainfall events are projected to become more severe and occur more frequently (Mauger et al. 2015).

The Climate Impacts Group prepared climate forecasts for streamflow in the Puget Sound basin (Krosby et al. 2018). No streams in WRIA 15 had forecasts; the closest stream with forecasts is the North Fork Skokomish River (located in WRIA 16). There may be limitations in using these results for the smaller streams in WRIA 15, which may behave differently than larger rain-dominant systems under a changing climate.  Comparison of July through September streamflows between 1992 and 2011 with projections of streamflow for climate forecasts for 2070 – 2099 project a decline of 30 to 40 percent in streamflow during the low flow season (Krosby et al. 2018). It is likely with a reduction in summer precipitation and increases in temperature, streams in WRIA 15 will also experience declines in streamflow during summer although the extent of decline has not been predicted. Water temperatures are also expected to rise which will impact salmonid survival, growth, and fitness.

2.3.4	Water Quality

Ecology evaluates surface waters in WRIA 15 every two years with a water quality assessment. The assessment evaluates existing water quality data and classified waterbodies into the following categories:

- Category 1: Meets tested standards for clean waters.

- Category 2: Waters of concern; waters in this category have some evidence of a water quality problem, but not enough to show persistent impairment.

- Category 3: Insufficient Data.

- Category 4: Impaired waters that do not require a total maximum daily load (TMDL):

  - Category 4a: already has an EPA-approved TMDL plan in place and implemented.

  - Category 4b: has a pollution control program, similar to a TMDL plan, that is expected to solve the pollution problems.

  - Category 4c: is impaired by causes that cannot be addressed through a TMDL plan. Impairments in these water bodies include low water flow, stream channelization, and dams.

- Category 5: Polluted waters that require a water improvement project.

The latest water quality assessment classified many waterbodies in WRIA 15 (Ecology 2020a). Category 4 and 5 assessment results are listed in Appendix D. Category 5 listings are based on exceedance of water temperature, dissolved oxygen, pH, bacteria, copper, lead, and total phosphorus water quality standards. Of the Category 4 and 5 results, 62 waterbodies are listed for either temperature, dissolved oxygen, total phosphorus, or pH. These parameters are sensitive to low flows and could be improved with streamflow restoration.

Three TMDL studies have been prepared in WRIA 15 to address water quality impairments. All of the TMDLs address fecal coliform and are 1) Liberty Bay Tributaries, 2) Sinclair and Dyes Inlets, and 3) Union River Tributaries (Ecology 2002, 2012, 2014). The table is available in Appendix E.

## Chapter Three: Subbasin Delineation

### 3.1 Introduction

To allow for meaningful analysis of the relationship between new consumptive use and offsets, and per Ecology’s Final NEB Guidance (Ecology 2019b), the WRIA 15 Committee divided WRIA 15 into subbasins. This division was helpful in describing the location and timing of projected new consumptive water use, the location and timing of impacts to instream resources, and the necessary scope, scale, and anticipated benefits of projects. The WRIA 15 Committee set a goal of using the subbasins as boundaries for finding projects closest to anticipated impacts (i.e. finding enough offset benefit projects by subbasin to offset anticipated consumptive use). This approach is further discussed in Chapter 5.  In some instances, subbasins may not correspond with hydrologic or geologic basin delineations (e.g., watershed divides). This chapter is based on the Subbasin Delineation Technical Memorandum (Appendix F), which was finalized by the WRIA 15 Committee at the June 4, 2020 meeting.

### 3.2 Approach to Develop Subbasins

The WRIA 15 Committee divided WRIA 15 into seven subbasins for purposes of assessing projections for new permit-exempt wells, consumptive use, and project offsets. The basic considerations of the WRIA 15 Committee in delineating subbasin boundaries for this planning process were:

- WRIA 15 was initially divided into seven “regions” as an early delineation of subbasins. The Committee later agreed to accept the region delineations as subbasin boundaries.

- The subbasins are part of a nested approach –with further subdivision at the HUC12 and Puget Sound Watershed Assessment Unit scales—where projects will be placed as close to impacts as possible.

- Subbasin boundaries were used for generating growth projections and consumptive use estimates.

- Isolated areas like islands without connectivity should be included as their own subbasins.

Other considerations were:

- Right-sizing subbasins such that offset projects have some geographic relevance to the location of withdrawal (e.g., an offset project in Seabeck bears little relevance to withdrawals in Longbranch).

- Surface water flows and rainfall patterns should be included.

- Rural growth pattern projections will likely drive project and impact locations.

- Priority areas for salmon recovery should be included.

For some Committee members, it was also important to consider alignment of subbasins with Tribal Usual and Accustomed fishing areas and county jurisdiction. A more detailed description of the subbasin delineation is in the WRIA 15 Subbasin Delineation Technical Memorandum available in Appendix F.

### 3.3 WRIA 15 Subbasins

The WRIA 15 subbasin delineations are shown on Figure 3 and summarized below in Table 4.

Figure 3: WRIA 15 Subbasin Delineation for the Watershed Restoration and Enhancement Plan.

Table 4: WRIA 15 Subbasins

| Subbasin Name | Primary Rivers and Tributaries | County |
| --- | --- | --- |
| Bainbridge Island | Manzanita Creek, Issei Creek, Miemois Creek, Springbrook Creek, Murden Creek (Doe-qud-sake-qub), Mac’s Dam Creek, Cooper Creek, Schel Chelb Creek | Kitsap |
| McNeil Island, Anderson Island, Ketron Island | Luhr Creek, Bradley Creek, Schoolhouse Creek | Pierce |
| North Hood Canal | Boyce Creek, Anderson Creek, Stavis Creek, Seabeck Creek, Big Beef Creek, Little Beef Creek, Port Gamble Creek, Martha John Creek, Kinman Creek | Kitsap |
| South Hood Canal | Rendsland Creek, Dewatto River, Tahuya River, Stimson Creek, Mission Creek, Union River, Bear Creek, Hazel Creek, Tin Mine Creek | Kitsap and Mason |
| South Sound | Vaughn Creek, Rocky Creek, Coulter Creek, Huge Creek, Artondale Creek, Crescent Creek, Burley Creek, Purdy Creek | Pierce and Kitsap |
| Vashon - Maury Island | Judd Creek, Tahlequah Creek, Christensen Creek, Green Valley Creek, Shingle Mill Creek | King |
| West Sound | Olalla Creek, Fragaria Creek, Curley Creek, Wilson Creek, Salmonberry Creek, Beaver Creek, Black Jack Creek, Ruby Creek, Parish Creek, Lost Creek, Kitsap Creek, Wildcat Creek, Chico Creek, Mosher Creek, Enetai Creek, Pahrmann Creek, Silver Creek, Carpenter Creek, Osier Creek, Clear Creek, Crouch Creek, Barker Creek, Salmon Creek, Grovers Creek, Clear Creek, Crouch Creek, Illahee Creek, Steele Creek, Big Scandia Creek, Johnson Creek, Dogfish Creek, Bjorgen Creek, Klebeal Creek, Sam Snyder Creek, Gorst Creek | Kitsap |

## Chapter Four: New Consumptive Water Use Impacts

### 4.1 Introduction to Consumptive Use

The Final NEB Guidance states, “watershed plans must include a new consumptive water use estimate for each subbasin, and the technical basis for such estimate” (Ecology, 2019b, page 7). This chapter provides the WRIA 15 Committee’s projections of new domestic permit-exempt well connections (hereafter referred to as PE wells) and their associated consumptive use (CU) for the 20-year planning horizon. This chapter summarizes information from the technical memorandums prepared for and approved by the WRIA 15 Committee on June 4, 2020 and included in Appendix G.

### 4.2 Projection of Permit-Exempt Well Connections (2018–2038)

The watershed plan addresses new consumptive water use from projected new homes connected to PE wells. Generally, new homes are associated with wells drilled during the planning horizon. However, new uses can occur where new homes are added to existing wells serving group systems under RCW 90.44.050. The well use addressed in this plan refers to both these types of new well use. PE wells are used to supply houses and, in some cases, other equivalent residential units (ERUs) such as small apartments. For the purposes of this document, the terms “house” or “home” refer to any permit-exempt domestic groundwater use, including other ERUs.

To estimate new consumptive water use, the counties or technical consultants (depending on the county) developed projections for the number of new PE wells over the planning horizon in WRIA 15. The methods for projections were based on recommendations from Appendix A of the Final NEB Guidance.. The WRIA 15 Committee chose to include projections for low, moderate, and high numbers of PE wells, for select counties. WRIA 15 is predominantly rural and projections demonstrate a wide distribution of PE wells throughout the watershed.

The following sections provide the 20-year projections of new PE wells for each subbasin within WRIA 15, the methods used to develop the projections, and the uncertainties associated with the projections.

Addressing Uncertainties, Assumptions, and Limitations Associated with Projections for Growth and Consumptive Use. Uncertainties and limitations are inherent with any planning process. Understanding the limitations of the available data (and analyses that use that data) are important, as well as acknowledging the uncertainties associated with the analysis. The WRIA 15 Committee recognized and discussed uncertainties associated with projecting new PE well connections, models and methods used to calculate consumptive use associated with the PE well connections, as well with project implementation. Chapter 4 presents projections based on the best information available at the time. The WRIA 15 Committee recommends that if new information, modeling, or data becomes available, adjustments are made through adaptive management to provide greater certainty that this plan continues to meet NEB. This chapter does not describe uncertainty in detail, but instead identifies the assumptions used in making the projections to better inform adaptive management in the future.

#### 4.2.1 Projections of Permit-Exempt Well Connections by Subbasin

The WRIA 15 watershed plan compiles the growth projection data both at the WRIA scale and by subbasin. This section presents WRIA 15 growth projection data for Kitsap, King, Mason, and Pierce counties. Table 5 and Figure 4 show the projected number of new PE wells per subbasin and their distribution across WRIA 15. To capture the various projections for PE wells, this watershed plan refers to lower estimates, moderate estimates, and higher estimates of growth.

The moderate estimate for the number of new PE wells in unincorporated areas of the four counties:

- 2,921 new PE wells are projected in the unincorporated portions of Kitsap County in WRIA 15 over the planning horizon.

- 368 new PE wells are projected in the unincorporated portions of King County in WRIA 15 over the planning horizon.

- 1,301 new PE wells are projected in the unincorporated portions of Mason County in WRIA 15 over the planning horizon.

- 978 new PE wells are projected in the unincorporated portions of Pierce County in WRIA 15 over the planning horizon.

The total moderate estimate is 5,568 PE wells over the planning horizon, the lower estimate is 4,861 PE wells, and the higher estimate is 6,152 PE wells.

#### 4.2.2 Methodology

The WRIA 15 Committee gave deference to each county for identifying the most appropriate method of projecting PE wells. Different methods were used for calculating the projections for each county:

- Two methods were used for Kitsap County. The County’s method is based upon a land capacity analysis, using the Kitsap Regional Coordinating Council growth targets. Kitsap Public Utility District developed projections based on historical wells. The high and low projections are based on a five percent estimated margin of error.

- King County’s method is based upon historical building permit data. King County developed the projections.

- Mason County’s method is based upon Office of Financial Management (OFM) 2040 moderate growth population forecasts. The technical consultant team developed the projections.

- Pierce County projections are based on historical well permit data. The technical consultant team developed the projections. The high and low projections are based on different historical periods.

The WRIA 15 Permit-Exempt Growth and Consumptive Use Summary (HDR 2020) provides more detail on each of the growth projection methods.

Table 5: Number of Permit-Exempt Connections Projected between 2018 and 2038

| Subbasin | Moderate Estimate |  |  |  |  | Higher Estimate |  |  |  |  | Lower Estimate |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Kitsap | Pierce | Mason | King | Total | Kitsap | Pierce | Mason | King | Total | Kitsap | Pierce | Mason | King | Total |
| West Sound | 1,336 |  |  |  | 1,336 | 1,403 |  |  |  | 1,403 | 1,142 |  |  |  | 1,142 |
| North Hood Canal | 656 |  |  |  | 656 | 689 |  |  |  | 689 | 561 |  |  |  | 561 |
| South Hood Canal | 49 |  | 1,077 |  | 1126 | 52 |  | 1077 |  | 1,128 | 42 |  | 1077 |  | 1,119 |
| Bainbridge Island | 491 |  |  |  | 491 | 516 |  |  |  | 516 | 491 |  |  |  | 491 |
| South Sound | 389 | 940 | 224 |  | 1,553 | 406 | 1,360 | 224 |  | 1,992 | 332 | 602 | 224 |  | 1,158 |
| Vashon-Maury Island |  |  |  | 368 | 368 |  |  |  | 368 | 368 |  |  |  | 368 | 368 |
| South Sound Islands |  | 38 |  |  | 38 |  | 56 |  |  | 56 |  | 22 |  |  | 22 |
| Total | 2,921 | 978 | 1,301 | 368 | 5,568 | 3,066 | 1,416 | 1,301 | 368 | 6,152 | 2,568 | 624 | 1,301 | 368 | 4,861 |

#### 4.2.3 Distribution of New PE Wells

The WRIA 15 Committee mapped potential locations of new PE wells in the watershed based on parcels available for residential development dependent on PE wells. The resulting heat map (Figure 4) shows the most likely areas where new residential development dependent on PE wells will occur.

#### 4.2.4 Summary of Assumptions

The methods described in Appendix A of the Final NEB Guidance for projecting new PE wells include several assumptions. The assumptions shared here provide transparency in the planning process and deliberations of the Committee to support any future adaptive management undertaken by entities implementing the plan. The WRIA 15 Permit-Exempt Growth and Consumptive Use Summary (HDR 2020) provides a detailed listing of the assumptions used to project new PE wells.

Kitsap, King, and Pierce counties relied on historical data, and assumed that these historical trends will continue into the future. To provide greater certainty in the assumption, this watershed plan includes additional PE well scenarios using different periods in the historical Tacoma-Pierce County Health Department (TPCHD) well database. The high-growth scenario uses the 1999–2008 data, which was a time of relatively healthy economic growth resulting in more rapid rural development. The low-growth scenario uses the 2009–2018 data, which was a time of relatively slower rural development and corresponds with the recession and housing downturn. The technical consultants applied a plus or minus five percent to calculate the high- and low-growth scenarios for Kitsap County. Five percent is the assumed margin of error in the County’s land capacity analysis. Mason and King County requested no high- or low-growth scenarios calculations. All three growth scenarios were used in the deliberations by the Committee to determine the most likely consumptive use estimate for the planning horizon.

To estimate the distribution of PE wells in Kitsap County, it was assumed growth in each subbasin is based upon the proportion of the historical number of building permits for each subbasin for the period of 2002-2019. Assumptions were made as to the developable parcels that would use PE wells by only counting parcels greater than 0.75 acre that are outside a 200-foot water or sewerline buffer. Within King County, the percentage of houses with PE wells was based on the historical trends in 2000-2017. Within Mason County it was assumed the proportion of houses with PE wells is equal to the proportion of buildout capacity in rural areas compared to urban growth areas. In Pierce County, it was assumed that the same historic growth rate in PE wells by subbasin would occur in the future.  Wells were projected within UGAs or existing water system boundaries if the parcels met the criteria discussed above. Methods are further discussed in the Growth and Consumptive Use Summary (HDR 2020), available in Appendix G.

#### 4.2.5 Projected Growth Map

Below are figures representing the distribution of new PE wells under the moderate estimate (Figure 4).

Figure 4. WRIA 15 Projected New Permit-Exempt Wells (number and likely area) Under the Moderate Estimate Growth Scenario 2018-2038. The “heat” map is generated based on modeled growth projections that considers zoning, land use, and distance from existing water lines. The results are highly generalized but help illustrate the approximate location and relative growth of new domestic permit exempt wells.

### 4.3 Impacts of New Consumptive Water Use

The watershed plan used the 20-year projections of new PE wells to estimate the consumptive water use that this watershed plan must address and offset. As above, this section uses “new PE wells” as a shorthand for new domestic permit-exempt well connections unless otherwise described. This section includes an overview of the methods to estimate new consumptive water use (consumptive use), an overview of the anticipated impacts of new consumptive use in WRIA 15 over the planning horizon, and other considerations by the WRIA 15 Committee, such as assumptions. The WRIA 15 Permit-Exempt Growth and Consumptive Use Summary provides a more detailed description of the analysis and alternative scenarios considered (Appendix G).

The Committee considered all three growth scenarios (lower estimate, moderate estimate, and higher estimate) as well as three methods for estimating consumptive use. Based on the deliberations of the Committee, this watershed plan recommends a consumptive use estimate of 766.4 acre feet per year (684,150 gallons per day [gpd]). This estimate is based on the moderate growth projection for the irrigated area method and is viewed as the most likely consumptive use based on historical information and current understanding of water use in WRIA 15. Some members of the WRIA 15 Committee believed that a higher consumptive use estimate of 1,218 AF/yr (177 gpd per PE well connection) is necessary to ensure that offsets are met and streams are benefited. The Committee reached consensus that achieving an offset target of 1,218 AF/yr through project implementation would be beneficial to streams. Based on data presented, some members of the Committee supported a lower consumptive use estimate and others supported a higher number, but the Committee ultimately agreed that 766.4 acre-feet per year (AF/yr) should be the consumptive use estimate. Section 4.3.4 provides additional information on the consumptive use estimate as well as considerations for a higher offset target with a breakdown by subbasin. This section provides an overview and results from the various methods used to estimate consumptive use.

#### 4.3.1 Methodology to Estimate Indoor and Outdoor Consumptive Water Use

##### To calculate indoor and outdoor consumptive use, the technical consultants presented three different methods to the Committee for consideration: Metered Data Method, USGS Groundwater Model Method, and the Irrigated Area Method. This section presents an overview and results on the three methods. While the consumptive use estimate presented in this plan relies on the irrigated area method, some members of the Committee preferred the alternative methods. All three methods are presented in this Chapter due to the lack of consensus on which method to use, to account for uncertainity associated with each method, and the level of analysis used to provide a consumptive use estimate and higher offset target. Additional information is available in Appendix G.

##### Metered Data Method

HDR estimated consumptive use using metered connections from water systems. HDR requested data from Committee members for water systems that use (or have used) a flat rate billing structure and were similar in character to the rural environments in which households may connect to PE wells. In WRIA 15, Kitsap PUD provided consumption data for all Kitsap PUD water systems for years 2017 and 2018.

This method assumed that average daily use in December, January, and February is representative of year-round daily indoor use. Average daily system-wide use was divided by the number of connections (assuming all connections are residential), to estimate average daily indoor use per connection. It was also assumed that 10 percent of the indoor use is consumptively used. That factor was applied to the average daily use in the winter months to determine the consumptive portion of indoor water use per connection.

Average daily indoor use was multiplied by the number of days in a year to estimate total annual indoor use. Total annual indoor use was subtracted from total annual use by a water system to estimate total annual outdoor use. It was assumed 80 percent of the outdoor use is consumptively used. That factor was applied to estimate the consumptive portion of outdoor use.

Outdoor consumptive use was also estimated on a seasonal basis. The Washington Irrigation Guide reports irrigation requirements between the months of April and September for representative weather stations in WRIA 15. Therefore, seasonal outdoor water use was assumed to occur over a period of six months. Average daily indoor use was multiplied by the number of days in the irrigation season to calculate total indoor use for the irrigation season. Total irrigation season indoor use was then subtracted from total season use to determine total outdoor use for the irrigation season. The value was proportionally allocated to each month in the irrigation season using the requirements from the Washington Irrigation Guide.

The annual average consumptive use values are 0.0138 acre-foot (AF)  (0.000019 cubic foot per second [cfs]) for indoor use per well and 0.0583 AF (0. 000081 cfs)  for outdoor use per well. The corresponding values in gallons are 4,470 gallons for indoor consumptive use and 18,980 gallons for outdoor consumptive use per well per year. The combined indoor and outdoor consumptive use equates to 64.25 gpd per PE well connection.

##### USGS Groundwater Model Method

The USGS Groundwater Model method refers to water use data collected for a groundwater-flow model of the Kitsap Peninsula. A report prepared by the USGS (Welch, Frans, and Olsen 2014) provides a survey of consumption from select water utilities serving more than 221,700 people with more than 88,500 residential connections on the Kitsap Peninsula. The USGS study differentiated between the indoor and outdoor portions of use. Estimated indoor use (based on November–April pumping values) was 66 gallons per person per day. Outdoor use was estimated for the outdoor growing season and varied by month from four gallons per person per day in May to 97 gallons per person per day in September. Estimates for average annual outdoor use are 26 gallons per person per day. For the purposes of groundwater modeling USGS assumed the consumptive use rate for indoor domestic use is 10 percent in non-sewered areas, and the consumptive use rate for outdoor use is 90 percent.

The annual average consumptive use values are 0.0185 acre-foot (AF) (0.000026 cubic foot per second [cfs]) for indoor use per well and 0.0655 AF (0.000091 cfs) for outdoor use per well. The corresponding values in gallons are 6,023 gallons for indoor consumptive use and 21,350 gallons for outdoor consumptive use per well. The combined indoor and outdoor consumptive use equates to 75 gpd per PE well connection. These are annual averages, and the Committee expects that outdoor use will occur mainly in summer.

##### Irrigated Area Method

Appendix A of the Final NEB Guidance describes the Irrigated Area method that assumes average indoor use per person per day, and reviews aerial imagery to provide a basis to estimate irrigated area of outdoor lawn and garden areas. Use patterns for indoor uses versus outdoor uses are different. Indoor use is generally constant throughout the year, while outdoor use occurs primarily in the summer months. In addition, the portion of water use that is consumptive varies for indoor and outdoor water uses. The Irrigated Area method accounts for indoor and outdoor consumptive use variances by using separate approaches to estimate indoor and outdoor consumptive use.

To develop the consumptive use estimate, the WRIA 15 Committee used the Irrigated Area method and relied on assumptions for indoor use and outdoor use from Appendix A of the Final NEB Guidance. This chapter provides a summary of the technical memo, which is available in Appendix G of the watershed plan.

Consistent with the Final NEB Guidance (Final NEB Guidance Appendix B), the Committee assumed that impacts from consumptive use on surface water are steady-state, meaning impacts to the stream from pumping do not change over time. The wide distribution of future well locations and depths across varying hydrogeological conditions led to this assumption.

New Indoor Consumptive Water Use

Indoor water use refers to the water that households use (such as in kitchens, bathrooms, and laundry) and that leave the house as wastewater (Kenny and Juracek 2012 2012). The Technical Consultants used Ecology’s recommended assumptions for indoor daily water use per person and local data to estimate the average number of people per household, and applied Ecology’s recommended consumptive use factor (CUF) to estimate new indoor consumptive water use (Ecology 2019b):

- 60 gpd per person, as recommended by Ecology.

- 2.5 persons per household assumed for rural portions of WRIA 15, based on the Office of Financial Management and County data.

- 10 percent of indoor use is consumptively used (or a CUF of 0.10), based on the assumption that homes on PE wells are served by onsite sewage systems. Onsite sewage systems percolate back to groundwater; a fraction of that water is lost to the atmosphere through evaporation in the drain field.

The equation used to estimate household consumptive indoor water use is:

60 gpd × 2.5 people per house × 365 days × 0.10 CUF

This results in an average indoor consumptive use of 15 gpd (0.000023 cfs) and an annual average of 0.0168 AF (5,475 gallons) per year per well.

New Outdoor Consumptive Water Uses

Most outdoor water is used to irrigate lawns, gardens, and landscaping. To a lesser extent, households use outdoor water for car and pet washing, exterior home maintenance, pools, and other water-based activities. Water from outdoor use does not enter onsite sewage systems, but instead infiltrates into the ground or is lost to the atmosphere through evapotranspiration (Ecology 2019b, page 19).

The WRIA 15 Committee used aerial imagery to measure the irrigated areas of 80 randomly selected parcels served by PE wells to develop an average outdoor irrigated area. This analysis returned more than one-half of the parcels with no visible irrigation, resulting in irrigated area values of zero. The average irrigated area for the 80 randomly selected parcels was 0.08 acre. The Committee believes that 0.08 acre represents the irrigated areas for PE wells in WRIA 15 and adopted that value for consumptive use calculations. This is based on the understanding that the consumptive use calculation likely overestimates water use and the independent analyses performed to confirm the measurements of irrigated acreage.

The WRIA 15 Committee used the following assumptions, recommended in Appendix A of the Final NEB Guidance, to estimate outdoor consumptive water use:

- Crop irrigation requirements (IR) for turf grass according to Washington Irrigation Guide (WAIG) (NRCS-USDA 1997): 16.84 inches per year for the Bremerton WAIG station. This value was rounded up to 17 inches (1.42 feet) per year and used to estimate the amount of water needed for outdoor irrigation.

- An irrigation application efficiency (AE) to account for water that does not reach the turf: 75 percent. This increases the amount of water used to meet the crop’s IR by 25 percent.

- CUF of 0.8, reflecting 80 percent consumption for outdoor use. This means a return of 20 percent of outdoor water to the immediate water environment.

- Outdoor irrigated area based on existing homes using PE wells: 0.08 acre.

The equation used to estimate household consumptive outdoor water use is:

Household Outdoor CU=1.42 feet0.75 AEx 0.08 acre x 0.8 CUF

First, water loss is accounted for by dividing the IR by the AE. Next, the total water volume used to maintain turf is multiplied by the area that is irrigated. Finally, the volume of water is multiplied by 80 percent to produce the outdoor consumptive water use.

This results in an average outdoor consumptive use of 108 gpd (0.00017 cfs) and an annual average of 0.121 AF (39,400 gallons) per year per PE well for the WRIA. This is an average for the year; however, the Committee expects that more water use will occur in the summer and less in winter as outdoor water use will occur mainly in summer. The outdoor consumptive use will vary by subbasin because of differences in temperature and precipitation across the watershed. The same IR for turf grass is used to simplify the calculations. The outdoor consumptive use equals 43.2 gpd per person.

#### 4.3.2 Assumptions with Calculating Consumptive Use

The law calls for an estimate of “consumptive water use impacts” (RCW 90.94.030(3)(e). However, the process of estimating impacts is complex, and therefore the Committee agreed to use the estimated amount of new consumptive use for the offset amount and the impacts of that use. This approach is consistent with Appendix A of the Final NEB Guidance (Ecology 2019b).

Below is a discussion of assumptions for each method. An assumption used in all three methods is an average household size of 2.5 people. The household size may vary across the WRIA and may change over time. In addition, all three methods considered future indoor and outdoor water use per household to be the same as estimated for current conditions. While the Committee recognized that climate change may lead to more frequent hotter and drier summers, calculations of consumptive use were based on data available. More information on uncertainties and limitations is presented in the technical memo available in Appendix G.

##### Metered Data Method

This method uses data collected by Kitsap PUD for all connections (about 15,700) within their service area in Kitsap County. Use of this method in calculating consumptive use for PE wells assumes that water use data for metered connections is comparable to PE wells with no meter. As the KPUD data covers Kitsap County, it is assumed the data are applicable to Pierce and Mason County areas in WRIA 15. This method calculated an indoor use of 49 gpd per person, and outdoor use of 26 gpd per person. Metered data from other areas of the South Sound region ranged from 35 to 68 gpd per person for indoor use, and from 13 to 60 gpd per person for outdoor use. The Metered Data Method uses an assumption that the indoor water use is consistent throughout the year in order to estimate outdoor water use. Assumptions on the consumptive portion of water use (10 percent for indoor, 80 percent for outdoor) are also used.

##### USGS Groundwater Model Method

USGS collected data from select water utilities serving more than 221,700 people with more than 88,500 residential connections on the Kitsap Peninsula. Use of this method in calculating consumptive use for PE wells assumes that water use data for metered connections is comparable to PE wells with no meter. As the USGS study did not include the Key Peninsula or the islands of Vashon Maury, Fox, Anderson, McNeil and Ketron, this method also assumes the data from Kitsap Peninsula is relevant to those areas. Assumptions on the consumptive portion of water use (10 percent for indoor, 90 percent for outdoor) are also used.

##### Irrigated Area Method

The irrigated area method relies on a measured factor and assumed values from literature or research to estimate consumptive water use, as described in Section 4.3.1. The measured factor is the average outdoor irrigated area per parcel. The average outdoor irrigated area estimate relies on a sample size of 80 parcels distributed by location and property values. The WRIA 15 Committee recognized the small sample size and to further test the assumption that the 80 parcels was fairly representative of outdoor irrigation in WRIA 15, Kitsap Public Utility District (PUD) and the Suquamish Tribe performed independent analyses on the list of parcels to confirm the findings of the irrigated area analysis. HDR compared the results of the analysis with similar analyses undertaken by other Watershed Restoration and Enhancement Committees (GeoEngineers and HDR 2020). While the results showed that on average, HDR’s methods resulted in a lower outdoor irrigation estimate, the Committee concluded that the results were within a reasonable range for WRIA 15.

The outdoor consumptive use calculation uses assumptions about irrigation amounts and irrigation efficiencies. The outdoor consumptive use calculation for the Irrigated Area method assumes that homeowners water their lawns and gardens at the rate needed for commercial turf grass (i.e., watering at rates that meet crop IR per the WAIG).  Although the WAIG provides estimates of crop IRs using meteorological data prior to 1985 this assumption likely results in an overestimate, as the irrigated area analysis demonstrated that many people irrigate their lawns enough to keep the grass alive through the dry summers, but not at the levels that commercial turf grass requires. The method also assumes that residential pop-up sprinkler systems irrigate lawns with an efficiency of 75 percent. In reality, households apply water to their lawns and gardens in many different ways, some more efficient than a 25 percent water loss, and some less efficient. Assumptions on the consumptive portion of water use (10 percent for indoor, 80 percent for outdoor) are also used. Members of the WRIA 15 Committee conducted their own analysis to evaluate assumptions and uncertainties with the consumptive use methods.

#### 4.3.3 Summary of Consumptive Use Estimates

Below is a summary of consumptive use estimates by method.

##### Metered Data Method

The total consumptive use estimate for WRIA 15 is the number of PE wells projected (see Section 4.2) multiplied by the total indoor and outdoor consumptive use per PE well. The combined indoor and outdoor consumptive use per PE well for the baseline growth projection is .072 AF/yr (.0001 cfs, 64 gpd). The total consumptive use estimate for WRIA 15 for the medium-growth projection using the Metered Data Method is 401 AF/yr (0.55 cfs, 357,700 gpd). The total consumptive use for the low-growth projection is 350 AF/yr (0.48 cfs, 312,300 gpd) and for the high-growth projection is 443 AF/yr (0.61 cfs, 395,300 gpd). Table 6 summarizes the estimated indoor and outdoor consumptive use by subbasin for the moderate estimate of growth projection. Table 7 summarizes the consumptive use by subbasin for the lower and higher estimates for growth projections. The Committee expects the highest consumptive use to occur in the South Sound subbasin, which has the most projected new PE wells, as presented in Table 7.

Table 6. Indoor and Outdoor Consumptive Use Estimates by Subbasin for 2038: Moderate Estimate for Growth Projection and Metered Data Method

| Subbasin | Projected PE wells | Indoor CU |  | Outdoor CU |  | Total CU in 2038 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | (AF/yr | GPD | AF/yr | GPD | AF/yr | GPD |
| West Sound | 1,336 | 18.3 | 16,366 | 77.8 | 69,472 | 96.2 | 85,838 |
| North Hood Canal | 656 | 9.0 | 8,036 | 38.2 | 34,112 | 47.2 | 42,148 |
| South Hood Canal | 1,126 | 15.5 | 13,794 | 65.6 | 58,552 | 81.0 | 72,346 |
| Bainbridge Island | 491 | 6.7 | 6,015 | 28.6 | 25,532 | 35.3 | 31,547 |
| South Sound | 1,553 | 21.3 | 19,024 | 90.5 | 80,756 | 111.8 | 99,780 |
| Vashon-Maury Island | 368 | 5.0 | 4,508 | 21.4 | 19,136 | 26.5 | 23,644 |
| South Sound Islands | 38 | 0.5 | 466 | 2.2 | 1,976 | 2.7 | 2,442 |
| Total | 5,568 | 76.4 | 68,208 | 324.3 | 289,536 | 400.8 | 357,744 |

Table 7.Indoor and Outdoor Consumptive Use Estimates by Subbasin for 2038: Lower- and Higher-Estimates for Growth Projections and Metered Data Method.

| Subbasin | Lower Estimate |  |  |  |  | Higher Estimate |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Projected PE wells | Indoor CU (AF/yr) | Outdoor CU (AF/yr) | Total CU in 2038 |  | Projected PE wells | Indoor CU (AF/yr) | Outdoor CU (AF/yr) | Total CU in 2038 |  |
|  |  |  |  | (AF/yr) | GPD |  |  |  | (AF/yr) | GPD |
| West Sound | 1,142 | 15.7 | 66.5 | 82.2 | 73,374 | 1,403 | 19.3 | 81.7 | 101.0 | 90,143 |
| North Hood Canal | 561 | 7.7 | 32.7 | 40.4 | 36,044 | 689 | 9.5 | 40.1 | 49.6 | 44,268 |
| South Hood Canal | 1,119 | 15.4 | 65.2 | 80.5 | 71,896 | 1,128 | 15.5 | 65.7 | 81.2 | 72,474 |
| Bainbridge Island | 491 | 6.7 | 28.6 | 35.3 | 31,547 | 516 | 7.1 | 30.1 | 37.1 | 33,153 |
| South Sound | 1,158 | 15.9 | 67.5 | 83.3 | 74,402 | 1,992 | 27.3 | 116.0 | 143.4 | 127,986 |
| Vashon-Maury Island | 368 | 5.0 | 21.4 | 26.5 | 23,644 | 368 | 5.0 | 21.4 | 26.5 | 23,644 |
| South Sound Islands | 22 | 0.3 | 1.3 | 1.6 | 1,414 | 56 | 0.8 | 3.3 | 4.0 | 3,598 |
| Total | 4,861 | 66.7 | 283.2 | 349.9 | 312,319 | 6,152 | 84.4 | 358.4 | 442.8 | 395,266 |

##### USGS Groundwater Model Method

The total consumptive use estimate for WRIA 15 is the number of PE wells projected (see Section 4.2) multiplied by the total indoor and outdoor consumptive use per PE well. The combined indoor and outdoor consumptive use per PE well is .084 AF/yr (.000116 cfs, 75 gpd). The total consumptive use estimate for WRIA 15 for the medium-growth projection using the USGS Groundwater Model Method is 468 AF/yr (0.65 cfs, 417,600 gpd). The total consumptive use for the lower estimate for growth projection is 408 AF/yr (0.57 cfs, 364,600 gpd) and for the higher estimate for growth projection is 517 AF/yr (0.72 cfs, 461,400 gpd). Table 8 summarizes the estimated indoor and outdoor consumptive use by subbasin for the moderate estimate for growth projection. Table 9 summarizes the consumptive use by subbasin for the lower and higher estimates. The Committee expects the highest consumptive use to occur in the South Sound subbasin, which has the most projected new PE wells, as presented in Table 6.

Table 8: Indoor and Outdoor Consumptive Use Estimates by Subbasin for 2038: Moderate Estimate for Growth Projection and USGS Groundwater Model Method

| Subbasin | Projected PE wells | Indoor CU |  | Outdoor CU |  | Total CU in 2038 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | (AF/yr | GPD | AF/yr | GPD | AF/yr | GPD |
| West Sound | 1,336 | 24.7 | 22,044 | 87.6 | 78,156 | 112.2 | 100,200 |
| North Hood Canal | 656 | 12.1 | 10,824 | 43.0 | 38,376 | 55.1 | 49,200 |
| South Hood Canal | 1,126 | 20.8 | 18,579 | 73.8 | 65,871 | 94.6 | 84,450 |
| Bainbridge Island | 491 | 9.1 | 8,102 | 32.2 | 28,724 | 41.3 | 36,825 |
| South Sound | 1,553 | 28.7 | 25,625 | 101.8 | 90,851 | 130.5 | 116,475 |
| Vashon-Maury Island | 368 | 6.8 | 6,072 | 24.1 | 21,528 | 30.9 | 27,600 |
| South Sound Islands | 38 | 0.7 | 627 | 2.5 | 2,223 | 3.2 | 2,850 |
| Total | 5,568 | 102.9 | 91,872 | 364.9 | 325,728 | 467.8 | 417,600 |

Table 9: Indoor and Outdoor Consumptive Use Estimates by Subbasin for 2038: Lower and Higher Estimates for Growth Projections and USGS Groundwater Model Method

| Subbasin | Lower Estimates |  |  |  |  | Higher Estimates |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Projected PE wells | Indoor CU (AF/yr) | Outdoor CU (AF/yr) | Total CU in 2038 |  | Projected PE wells | Indoor CU (AF/yr) | Outdoor CU (AF/yr) | Total CU in 2038 |  |
|  |  |  |  | (AF/yr) | GPD |  |  |  | (AF/yr) | GPD |
| West Sound | 1,142 | 21.1 | 74.8 | 95.9 | 85,650 | 1,403 | 25.9 | 91.9 | 117.9 | 105,225 |
| North Hood Canal | 561 | 10.4 | 36.8 | 47.1 | 42,075 | 689 | 12.7 | 45.2 | 57.9 | 51,675 |
| South Hood Canal | 1,119 | 20.7 | 73.3 | 94.0 | 83,925 | 1,128 | 20.8 | 73.9 | 94.8 | 84,600 |
| Bainbridge Island | 491 | 9.1 | 32.2 | 41.3 | 36,825 | 516 | 9.5 | 33.8 | 43.4 | 38,700 |
| South Sound | 1,158 | 21.4 | 75.9 | 97.3 | 86,850 | 1,992 | 36.8 | 130.5 | 167.4 | 149,400 |
| Vashon-Maury Island | 368 | 6.8 | 24.1 | 30.9 | 27,600 | 368 | 6.8 | 24.1 | 30.9 | 27,600 |
| South Sound Islands | 22 | 0.4 | 1.4 | 1.8 | 1,650 | 56 | 1.0 | 3.7 | 4.7 | 4,200 |
| Total | 4,861 | 89.8 | 318.6 | 408.4 | 364,575 | 6,152 | 113.7 | 403.2 | 516.9 | 461,400 |

##### Irrigated Area Method

The total consumptive use estimate for WRIA 15 is the number of PE wells projected (see Section 4.2) multiplied by the total indoor and outdoor consumptive use per PE well. The combined total indoor and outdoor consumptive use is 0.138 AF/yr (.00019 cfs, 123 gpd). The total consumptive use estimate for WRIA 15 for the medium-growth projection is 766 AF/yr (1.06 cfs, 684,200 gpd). The total consumptive use for the lower estimates for growth projection is 669 AF/yr (0.93 cfs, 597,300 gpd) and for the higher estimates for growth projection is 847 AF/yr (1.17 cfs, 755,900 gpd). Table 10 summarizes the estimated indoor and outdoor consumptive use by subbasin for the moderate estimates for growth projection. Table 11 summarizes the consumptive use by subbasin for the lower and higher estimates. The Committee expects that highest consumptive use to occur in the South Sound subbasin, which has the most projected new PE wells, as presented in Table 11.

Table 10: Indoor and Outdoor Consumptive Use Estimates by Subbasin for 2038: Moderate Estimate for Growth Projection and Irrigated Area Method

| Subbasin | Projected PE wells | Indoor CU |  | Outdoor CU |  | Total CU in 2038 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | (AF/yr | GPD | AF/yr | GPD | AF/yr | GPD |
| West Sound | 1,336 | 22.4 | 19,987 | 161.5 | 144,175 | 183.9 | 164,161 |
| North Hood Canal | 656 | 11.0 | 9,814 | 79.3 | 70,792 | 90.3 | 80,606 |
| South Hood Canal | 1,126 | 18.9 | 16,845 | 136.1 | 121,513 | 155.0 | 138,358 |
| Bainbridge Island | 491 | 8.2 | 7,345 | 59.4 | 52,986 | 67.6 | 60,332 |
| South Sound | 1,553 | 26.0 | 23,233 | 187.7 | 167,592 | 213.8 | 190,825 |
| Vashon-Maury Island | 368 | 6.2 | 5,505 | 44.5 | 39,713 | 50.7 | 45,218 |
| South Sound Islands | 38 | 0.6 | 568 | 4.6 | 4,101 | 5.2 | 4,669 |
| Total | 5,568 | 93.3 | 83,297 | 673.1 | 600,872 | 766.4 | 684,170 |

Table 11: Indoor and Outdoor Consumptive Use Estimates by Subbasin for 2038: Lower and Higher Estimates for Growth Projections and Irrigated Area Method

| Subbasin | Lower Estimate |  |  |  |  | Higher Estimate |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Projected PE wells | Indoor CU (AF/yr) | Outdoor CU (AF/yr) | Total CU in 2038 |  | Projected PE wells | Indoor CU (AF/yr) | Outdoor CU (AF/yr) | Total CU in 2038 |  |
|  |  |  |  | (AF/yr) | GPD |  |  |  | (AF/yr) | GPD |
| West Sound | 1,142 | 19.1 | 138.1 | 157.2 | 140,324 | 1,403 | 23.5 | 169.6 | 193.1 | 172,394 |
| North Hood Canal | 561 | 9.4 | 67.8 | 77.2 | 68,933 | 689 | 11.5 | 83.3 | 94.8 | 84,661 |
| South Hood Canal | 1,119 | 18.8 | 135.3 | 154.0 | 137,497 | 1,128 | 18.9 | 136.4 | 155.3 | 138,603 |
| Bainbridge Island | 491 | 8.2 | 59.4 | 67.6 | 60,332 | 516 | 8.6 | 62.4 | 71.0 | 63,404 |
| South Sound | 1,158 | 19.4 | 140.0 | 159.4 | 142,290 | 1,992 | 33.4 | 240.8 | 274.2 | 244,768 |
| Vashon-Maury Island | 368 | 6.2 | 44.5 | 50.7 | 45,218 | 368 | 6.2 | 44.5 | 50.7 | 45,218 |
| South Sound Islands | 22 | 0.4 | 2.7 | 3.0 | 2,703 | 56 | 0.9 | 6.8 | 7.7 | 6,881 |
| Total | 4,861 | 81.5 | 587.6 | 669.1 | 597,297 | 6,152 | 103.1 | 743.7 | 846.8 | 755,929 |

#### 4.3.4 Summary of Consumptive Use Estimate

This watershed plan uses a consumptive use estimate of 766.4 AF/yr. This estimate is based on the moderate estimate for growth projection for the irrigated area method and is viewed as the most likely consumptive use. Figure 5 shows the distribution of consumptive use across the WRIA.. Based on data presented, some members of the Committee supported a lower consumptive use estimate and others supported a higher number, but the Committee ultimately reached consensus that 766.4 AF/yr (123 gpd per PE well connection) should be the consumptive use estimate.

The Committee also reached consensus that achieving an offset target of 1,218 AF/yr (177 gpd per well connection) through project implementation would be beneficial to streams. To obtain the consumptive use estimate of 766.4 AF/yr, HDR used the measured average of 0.08 acres for the outdoor irrigated area along with the moderate growth estimate. The area appears low due to a high number of non-irrigated parcels. The higher number of 1,218 AF/yr is based on a higher estimate for growth projections and a substitution of 0.12 acres for the average irrigated area under the irrigated area method. HDR performed statistical analyses of the irrigated acreage to characterize the potential range in the irrigated area measurements. The 0.12 acre number was obtained by substituting 0.05 acre for every parcel with no irrigated acreage measured and recalculating the mean and upper confidence limits (95 percent). The 0.12 acre number is the upper confidence limit. The substitution of 0.05 acre for parcels with no irrigated acreage measured was made to account for a minimum amount of outdoor irrigation that might occur but not be observable on aerial photos. Table 12 provides the higher offset target by subbasin.

As data on actual growth, climate change and water use, experience with project implementation and new information is collected over time, adaptive management of plan implementation will need to support adjustments of the proposed approach and water offsets in order to meet NEB.

Table 12. Summary of higher offset target by subbasin when substituting .12 acres for outdoor irrigation using the irrigated area method. While there was not consensus to use the higher estimate for consumptive use, this table provides the summary of how the higher target applies to well projects, indoor and outdoor consumptive use and total consumptive use across subbasins. Reaching these offset targets for each subbasin through project implementation would be beneficial to streams

| Subbasin | Higher Estimate of PE Wells, Average Irrigated Area = 0.12 acre |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Projected PE wells | Indoor CU (AF/yr) | Outdoor CU (AF/yr) | Total CU in 2038 |  |
|  |  |  |  | (AF/yr) | GPD |
| West Sound | 1,403 | 23.5 | 254.4 | 277.9 | 248,097 |
| North Hood Canal | 689 | 11.5 | 124.9 | 136.5 | 121,838 |
| South Hood Canal | 1,128 | 18.9 | 204.5 | 223.4 | 199,468 |
| Bainbridge Island | 516 | 8.6 | 93.6 | 102.2 | 91,246 |
| South Sound | 1,992 | 33.4 | 361.2 | 394.6 | 352,251 |
| Vashon-Maury Island | 368 | 6.2 | 66.7 | 72.9 | 65,075 |
| South Sound Islands | 56 | 0.9 | 10.2 | 11.1 | 9,903 |
| Total | 6,152 | 103.1 | 1115.6 | 1218.7 | 1,087,876 |

Figure 5. WRIA 15 Estimated Consumptive Use based on Moderate Estimate for Growth Projections and Irrigated Area Method, 2018-2038

## Chapter Five: WRIA 15 Projects

### 5.1 Description and assessment

Watershed plans must identify projects that offset the potential impacts future PE wells will have on streamflows and provide a net ecological benefit to the WRIA. This chapter provides recommendations for projects to offset consumptive use and meet NEB and describes water offset projects and habitat projects. Water offset projects have a quantified streamflow benefit and contribute to offsetting consumptive use. Habitat projects contribute toward achieving NEB by improving the ecosystem function and resilience of aquatic systems, supporting the recovery of threatened or endangered salmonids, and protecting instream resources including important native aquatic species. The habitat projects included in this watershed plan will also result in an increase in streamflow, but the water offset benefits for these projects is difficult to quantify. Therefore, this watershed plan does not rely on habitat projects to contribute toward offsetting consumptive use.

To identify the projects summarized in this chapter, as well as the complete project inventory in Appendix H, Committee members and WRIA 15 partners brought project suggestions forward to the project workgroup and Committee for discussion. Ecology and the technical consultants also identified projects with potential streamflow benefit from the Puget Sound Action Agenda near term actions, salmon recovery lead entity four-year workplans, streamflow restoration grant applications, and public works programs. The Committee used a project inventory to capture and track all project ideas, no matter their phase of development, throughout the planning process. To receive feedback on project alignment with other planning processes and identify any projects of concern for inclusion in the watershed plan, Ecology distributed the project inventory to conservation districts, LIOs and salmon recovery lead entities in WRIA 15. At any point in the process, Committee members or WRIA 15 partners could identify projects of concern for inclusion in the watershed plan and recommend removal of the project from the project inventory. Ecology and the technical consultants reached out to all identified project sponsors prior to including the project in the watershed plan.

Based on initial information available on projects, the Committee identified a subset of offset projects that showed promise for quantitative streamflow benefits. The technical consultants developed detailed analysis on the subset of projects and the Committee determined the offset value to attribute to each project. This chapter presents summaries of those projects with additional detail on each project in Appendix I.

In a separate effort, Ecology contracted with Pacific Groundwater Group (PGG) to support identification of water right acquisition opportunities for WRIA 15. In coordination with the Committee, PGG narrowed down the list of opportunities. The Committee provided input on the revised list of projects for PGG to develop detailed project descriptions for water right acquisition opportunities that appeared the most valid. For each water right acquisition project, the Committee used the estimate generated by PGG for their consumptive use portion of the right. Before these rights are acquired and put into Trust, they will go through a full extent and validity analysis to determine the consumptive use offset component. As this analysis cannot happen until the owner of the right has agreed to sell, the Committee is relying on the PGG evaluations to estimate the offset volumes described in section 5.2. PGG developed a more detailed description of the water rights analysis, which is provided in Appendix J.

For projects that did not provide a measurable streamflow benefit, the WRIA 15 Committee chose not to invest technical consultant resources to further develop the projects during this planning period. Information presented on these projects is based on available information from WRIA 15 partners. The Committee instead focused the technical resources and expertise on finding projects that provide quantifiable offset benefits.

The projects identified in this plan are consistent with the project type examples listed in the Final NEB Guidance: (a) water right acquisition offset projects; (b) non-acquisition water offset projects; and (c) habitat and other related projects (Ecology 2019b). This watershed plan presents projects in the following four categories:

- Water right acquisition offset projects and non-acquisition water offset projects that are ready to proceed. These projects provide a quantitative streamflow benefit.

- Projects that provide habitat and streamflow benefits, but streamflow benefits are difficult to quantify.

- Projects that primarily benefit habitat.

- Projects that currently are not implementable (e.g., legal restriction) or are highly conceptual.

Projects in Category I are presented in this chapter. All other projects are presented in the project inventory in Appendix H. The WRIA 15 Committee recommends implementation of projects in this chapter as well as in Appendix I in order to meet the offset need and NEB for WRIA 15. Many of the projects in this plan are conceptual, as Committee members and partners brought the ideas forward during the planning process. The Committee recognizes that once these projects are further developed, some may no longer be feasible. Through the adaptive management process recommended in Chapter 6, an implementation group and project sponsors may need to find alternative projects that provide the same types of benefits in the same locations as the projects identified in this Chapter and the project inventory.

### 5.2 Category I Projects

The WRIA 15 Committee set a goal of meeting the offset target by subbasin. This watershed plan also has an offset target of 1,218 AF/yr for project implementation in order to benefit to streams. The projects presented below have quantifiable streamflow benefit and the Committee identified these projects as having the greatest potential for implementation and achieving the required offset need. It is recognized that some of these project benefits may span across subbasins, but detailed modeling of streamflow benefits was not completed during this planning process. Detailed descriptions of each of the projects presented in Section 5.2. are available in Appendix I. A summary of projects and offset benefits by subbasin are presented at the end of this section in Tables 16-22.

#### 5.2.1 Managed Aquifer Recharge Package

Managed Aquifer Recharge (MAR) projects are being considered in WRIA 15 as a method to increase infiltration to aquifers to improve streamflow and to offset the water use from future permit exempt (PE) wells in the watershed. A detailed description of the project is available in Appendix I.

There are different types of MAR projects. Aquifer Storage and Recovery (ASR) projects are a type of MAR project that actively inject water into aquifers for storage and recovery through pumping later. Passive MAR projects infiltrate water into shallow aquifers, with the intent that water discharges from the shallow aquifer into streams on a delayed basis and improves streamflow during low-flow periods (see Figure 6). For WRIA 15, only passive MAR projects are being considered. The source of water for the passive MAR projects in WRIA 15 may be recycled water (highly treated wastewater), stormwater, or diverted surface water.

Figure 6. MAR Diagram from Golder and Associates.

The planning, implementation and operations and maintenance of MAR projects is complex, leading to uncertainty as to their potential use as water offset projects and inclusion in the watershed plan. This watershed plan addresses uncertainty by including a portfolio of MAR projects that have different locations, project sponsors, water sources, and size. Uncertainty is also addressed by qualitatively assessing the potential for implementation on a high, medium, and low basis and then assigning a probability to the potential offset from each project. The overall potential for MAR in WRIA 15 is the sum of the potential offsets multiplied by their probability. MAR projects in WRIA 15 have been identified through different sources and are estimated to have a total potential water offset of 1,741 AF/yr. The overall potential, accounting for likelihood of implementation, is estimated to be 631 AF/yr. Considering MAR projects that can be implemented within the next 10 years, the estimated potential offset is 546 AF/yr. The remaining MAR projects would likely take longer than 10 years to implement.

MAR projects implemented in WRIA 15 should be specifically designed to enhance streamflows and to avoid a negative impact to ecological functions and/or critical habitat needed to sustain threatened or endangered salmonids.

Table 12 provides a summary of the MAR projects identified in WRIA 15 and Table 13 a summary of water offsets adjusted by probability of implementation. More detailed descriptions of the projects are available in Appendix I. A description of the work required to implement a MAR project is provided in the detailed project descriptions.

Table 13. Managed Aquifer Recharge Package with Potential Offset Benefit and Adjusted Offset Benefit Based on Certainty and Feasibility. Additional break down of certainty and feasibility is available in Appendix I.

| Subbasin | MAR Project Name (sponsor, if identified) |  | Potential Offset (AF/yr) |  | Adjusted Offset Benefit Based on Certainty and Time to Implementation (AF/y)3 |  | Anticipated Timing of Streamflow Benefit (if known) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| West Sound | Kingston Treatment Plant Recycled Water (Kitsap County)* |  | 328 |  | 262.4 |  | Summer low streamflows predicted to be increased |
|  | Grovers Creek MAR |  | 201 |  | 2 |  | To be determined (TBD) |
|  | Central Kitsap Treatment Plant2* (Silverdale Water District) |  | 167 |  | 83.5 |  | Variable, can be designed to time benefits |
| North Hood Canal | Central Kitsap Treatment Plant, includes Asbury Parcel 2* (Silverdale Water District) |  | 333 |  | 166.5 |  | Variable, can be designed to time benefits |
| South Hood Canal | Tahuya River MAR |  | 200 |  | 20 |  | TBD |
|  | Oak Lake Storage and MAR |  | 75 |  | 7 |  | TBD |
|  | Shoe Lake Storage and MAR |  | 62 |  | 6.2 |  | TBD |
| Bainbridge Island | M & E Farm Storage, MAR* |  | 17 |  | 8.5 |  | TBD |
|  | Johnson Farm Storage, MAR* |  | 90 |  | 9 |  | TBD |
|  | Winslow Treatment Plant Recycled Water* |  | 45 |  | 22.5 |  | Can be configured to benefit summer low streamflow |
|  | Miller Rd MAR |  | 19 |  | 1.9 |  | TBD |
| South Sound | Port Orchard Airport MAR* |  | 100 |  | 10 |  | TBD |
|  | Belfair WWTP MAR* |  | 70 |  | 7 |  | TBD |
|  | Rocky Creek south of Trophy Lake Golf Course MAR |  | 150 |  | 15 |  | TBD |
|  | Minter Creek MAR |  | 201 |  | 2 |  | TBD |
|  | Rocky Creek between Wye and Koeneman Lakes MAR |  | 201 |  | 2 |  | TBD |
| Vashon – Maury Island | Judd Creek MAR |  | 201 |  | 2 |  | TBD |
| South Sound Islands | - |  | - |  | - |  |  |
| Totals |  | 1,741 | 631 |  |

1Potential offset not estimated yet; 20 acre-feet/year assumed based upon ¼ acre total size infiltration basin at each project site.

2 Central Kitsap Treatment Plant could provide water offsets to both West Sound and North Hood Canal Subbasins. An assumption of the split in benefits was made (2/3 North Hood Canal, 1/3 West Sound).

3 Adjusted offset benefit is based on high relative certainty and less than 5 years to implement (80%), medium relative certainty and 5-10 years to implement (50%), and low relative certainty and greater than 10 years to implement (10%)

*Detailed project description available at end of document.

#### 5.2.2 Community Forest Package

Community Forest projects entail the acquisition of forest lands or change in forest management practices to preserve stands or emphasize a longer harvest interval. Preserving or maintaining forests with stand ages more than 40 years can increase dry-season low flows.

Table 14 presents the acreage of potential community forest projects identified by sponsors by subbasin, as well as a target acreage in each subbasin that will provide water offsets to help meet the Watershed Plan goal of offsetting future consumptive use within each subbasin. The total target acreage is 1,723 acres, which will provide an estimated 241 acre-feet of water offset. More detailed descriptions of the projects are available in Appendix I. The projects identified by sponsors need further confirmation to determine whether the projects would meet the criteria of having forest stands greater than 40 years old and subject to harvest.

Table 15. Package of Community Forest Type Projects in WRIA 15

| Subbasin | Project Name (Sponsor, if known) | Acreage | Potential Streamflow Restoration Increase (Acre-feet/year) |
| --- | --- | --- | --- |
| Bainbridge Island | Springbrook Creek Protection and Restoration (Bainbridge Island Land Trust) | 22.85 | 3.2 |
| North Hood Canal | Community Forest Projects, including: - Crabapple Creek Habitat Acquisition and Restoration - Little Anderson Creek Habitat Protection - Divide Block Habitat Acquisition and Restoration - West Port Gamble Block Habitat Protection - Port Gamble Heritage Park Timber Rights Acquisition1 - Gamble Creek Parcel - Boyce Anderson DNR Parcel - Seabeck DNR Parcel - Grovers Creek Mainstem protection and restoration (Sponsors may be Great Peninsula Conservancy and Port Gamble S’Klallam Tribe) | Approx. 2100 acres has been identified as potential projects by sponsors, target for Community Forest in this subbasin is 500 acres | 70 |
| South Hood Canal | Community Forest Projects, including: - Bear Creek Protection - Tahuya Headwaters (Sponsors may be Great Peninsula Conservancy and others) | Target is 500 acres in South Hood Canal Subbasin | 70 |
| South Sound | Community Forest Projects, including: - Rocky Creek Preserve - Coulter Creek Overton Lands - Key Peninsula Forest Lands (Sponsors may be Great Peninsula Conservancy and others) | Target is 500 acres in South Sound Subbasin | 70 |
| Vashon Maury | Community Forest Projects, including: - Judd Creek Headwaters - Shinglemill Creek Headwaters - Mileta Creek Headwaters - Christiansen Creek Headwaters - Fisher Creek Headwaters - Tahlequah Creek Headwaters (Sponsors may be Vashon-Maury Island Land Trust or King County) | Target is 100 acres in Vashon Maury Subbasin | 14 |
| West Sound | Community Forest Projects, including: - East Branch Ostrich Bay Creek along Skylark Drive W. - Strawberry and L. Anderson Creek Parcel (Sponsors may be Great Peninsula Conservancy and others) | Target is 50 acres in West Sound Subbasin | 7 |
| South Sound Islands | Anderson Island Community Forest Projects - Near Idie Ulsh Park (40 acres total) - Other areas (Sponsors may include Anderson Island Parks and Recreation District, Great Peninsula Conservancy, Nisqually Land Trust) | Target is 50 acres in South Sound Islands Subbasin | 7 |
| Totals |  | Overall Target is 1,723 acres | 241 |

1 Subject to existing agreements.

#### 5.2.3 Rain Garden and Low Impact Development Package

This project entails installing Rain Garden and Low Impact Development (LID) projects at existing homes and driveways, roadways, parking lots and other impervious areas that generate stormwater. A detailed project description is available in Appendix I. The projects would focus on critical WRIA 15 stream basins in which PE well numbers are projected to be high. The techniques include rain gardens and other low impact development practices such as bio-infiltration swales, permeable pavement, and reductions in the footprint of roadways and replacement with permeable surfaces.

Kitsap Conservation District (KCD) has a Rain Garden and Low Impact Development (LID) Program that works cooperatively with county services, landowners, and local communities to expand knowledge and use of LID practices throughout Kitsap County, including some cities. Since 2010, the KCD Rain Garden and LID cost-share program has helped landowners fund and install 320 rain gardens. Pierce Conservation District (PCD) and Mason Conservation District (MCD) have similar programs but do not implement as many projects per year as KCD.

KCD can implement 50 projects a year with existing staff resources provided funding for the program is obtained. The capacity of PCD and MCD is less, but with funding is assumed to be 10 per year per district. The average offset will vary with precipitation, soils and other factors but is likely about 0.15 acre-foot per residential rain garden. Other LID practices can infiltrate more water, depending on the impervious surface treated.

Table 15 presents a recommended target and distribution of rain garden projects per year and potential range of water offsets over the life of the plan (18 years).

Table 16. Target Number of Raingarden and LID Projects

| Subbasin | Targeted Number of Projects per year | Target % of Projects | Total Amount of Potential Offset Benefit by 2038 (18 years of projects), acre-feet/year |
| --- | --- | --- | --- |
| North Hood Canal | 10 | 14% | 27 |
| West Sound | 20 | 29% | 54 |
| Bainbridge Island | 5 | 7% | 13.5 |
| South Sound | 25 | 36% | 67.5 |
| South Hood Canal | 10 | 14% | 27 |
| Totals | 70 |  | 189 |

5.2.4 Vashon-Maury Island Water Right Acquisition Package

This project is the acquisition (fee and conservation easements) of sensitive habitats and water rights in the Vashon-Maury Island sub-basin with the intent of enhancing instream flows and mitigating out of stream uses (i.e., reductions in flows associated with permit-exempt wells). Assuming property acquisition is coupled with water right acquisition, associated habitat benefits could include removal of structures and impervious surfaces, wetland and riparian protection and restoration, and decommissioning permit exempt wells. A description of this project is included in Appendix I.

The range of potential offset benefit from the water right acquisition opportunities on Vashon Maury is approximately 56 to 279 AF/yr. The Committee accounts for 10 percent of the total potential available water rights as the offset benefit, or 27.9 AF/yr (10 percent was applied for the water right acquisition opportunities in the Nisqually plan).

#### 5.2.5 Beall Creek Flow Improvement

The Beall Creek project is located on Vashon Island, in the Vashon-Maury Island Subbasin. The outcome of this project will a more accurate measurement of the Water District 19 water requirements at their diversion on Beall Creek. This project will improve bypass flow at the diversion, resulting in flow improvements to Beall Creek at a rate of an estimated 26 AF/yr. A more detailed project description is provided in Appendix I.

#### 5.2.6 Bainbridge Island Water Right Acquisitions

This project is the acquisition of two water rights on Bainbridge Island. The water rights identified as targets for acquisition total 90 acre-feet. This watershed plan accounts for 10 percent of the total potentially available water rights as the offset benefit, or 9 AF/yr. This watershed plan does not present the details of the potential water rights in order to protect the privacy of the water right holders.

5.2.7 Pierce County Project Assessment

In partnership with groups like the Great Peninsula Conservancy, South Puget Sound Salmon Enhancement Group, the Squaxin Island Tribe, the Puyallup Tribe of Indians, and the Nisqually Indian Tribe, Pierce County proposes to develop a streamflow restoration strategy and project prioritization for the Pierce County portion of the South Sound and South Sound Islands subbasins. This work would happen in conjunction with adaptive management to ensure the projects align with the WRIA 15 watershed plan. The project will constitute the first phase of a multiphase approach to restoring streamflow. The main purpose of this first phase will be to assess habitat and hydrologic functions of several priority stream reaches, and align them with potential opportunities for habitat improvement, water rights acquisition, and MAR. The focus will be on projects that can provide multiple benefits, such as increased streamflow and salmon habitat improvement, while at the same time leveraging existing plans, resources, and opportunities. The result of the functional assessment will be a better understanding of groundwater/surface water interactions, which restoration strategies would be most effective, and a prioritized list of specific restoration actions and opportunities across the South Sound and South Sound Island subbasin. The project will identify high-priority stream reaches, and develop conceptual designs for at least three high priority restoration opportunities. The information generated from the assessment will inform prioritization of future projects and programs that would improve streamflow and salmon habitat in WRIA 15. Future phases will include final design and construction, and design of additional restoration opportunities identified in this project. No offset benefit is currently attributed to this project.

5.2.8 Koch Creek Regional Stormwater Facility

Kitsap County completed the Koch Creek Stormwater Facility Improvement Project (also referred to as the Koch Creek Regional Pond Improvement Project) in 2019. This project enlarged and reconstructed the existing storage pond on the northeast corner of the property owned by Silverdale Water District 16 and Central Kitsap Fire and Rescue. The project also improved conveyance of piped runoff into detention that previously discharged directly to the headwaters of Koch Creek. The purpose was to reduce the flows into Koch Creek that were causing downstream erosion and to improve water quality. The pond was expanded from 27.56 acres to 68.46 acres. Based on extensive studies on hydrographs, flow analysis, impermeability and infiltration, the project is anticipated to provide a streamflow benefit in the West Sound Subbasin. The offset benefit is not known at this time. No additional funding is needed for this project.

5.2.9 Ridgetop Boulevard Stormwater

As a part of a regional effort to improve water quality and aquatic habitat in streams and the

Puget Sound, Kitsap County has implemented a plan for low impact development stormwater

retrofit improvements in the Silverdale urban growth area. One of these improvements proposes to retrofit Ridgetop Blvd NW (from State Hwy 303/NW Waaga Way to Silverdale Way NW) with water quality treatment and infiltration. There are three phases to the project. Two phases are complete and the third phase is seeking funding. Extensive studies on the hydrography and infiltration rates have been conducted. The project expects to provide an offset benefit of 82.7 AF/year in the West Sound Subbasin. Phase 3 of the project needs an additional funding amount of $2,000.000.

More information on the project is available at:

Ridgetop Boulevard Project Page - KCPW Projects (arcgis.com)

Herrera Environmental Consultants, Inc. 2013. Silverdale Low Impact Development Retrofit

Plan. Prepared for Kitsap County.

Kindred Hydro. 2014. Infiltration Testing and Assessment – Ridgetop Boulevard Green

Stormwater Project, Silverdale, Washington. Prepared for Kitsap County.

Table 17. West Sound Subbasin Category I Projects.

| Project Name |  |  | Project Type and Description |  |  | Estimated Water Offset AF/yr |  | Timing of Benefit (if known) |  | Project Sponsor | Estimated Project Cost | Readiness to Proceed |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Kingston Treatment Plant Recycled Water |  |  | Use recycled water for irrigation on a golf course and infiltrate groundwater to improve streamflow. Benefits Grovers Creek. |  |  | 262.4 |  | Summer low streamflows predicted to be increased |  | Kitsap County | $13.65M | Funding and agreement on O&M needed. Likely 5 year implementation schedule |
| Central Kitsap Water Treatment Plant |  |  | Use recycled water to infiltrate near Newberry Road. Could benefit West Sound and North Hood Canal subbasins. Possible benefits to Johnson, Wildcat, and Chico creeks. |  |  | 83.5 |  | Variable, can be designed to time benefits |  | Silverdale Water District | $14.7-15.4M (project cost also included in North Hood Canal Subbasin) | Funding needed and Water Quality issues need resolution. Likely 5 year implementation schedule |
| Raingarden and LID Projects |  |  | Install residential raingardens and LID projects to infiltrate water from existing impervious surfaces |  |  | 54 |  | Variable, because of wide distribution benefits likely to occur year-round |  | Kitsap Conservation District | $1.0-1.8M | Ready to proceed; some additional funding may be necessary. |
| Koch Creek Stormwater Facility |  |  | Expand stormwater pond for additional infiltration benefit. |  |  | TBD |  | TBD |  | Kitsap County | None | Completed. |
| Ridgetop Blvd Stormwater Improvements |  |  | Improve stormwater management and infiltration. |  |  | 82.7 |  | TBD |  | Kitsap County | $2,000,000 | Design and partial funding completed. Ready to proceed. |
| Grovers Creek MAR |  |  | MAR, will benefit Grovers Creek |  |  | 2 |  | TBD |  | TBD | $100,000 | Funding needed, Likely >10 year implementation schedule |
| Community Forest Package |  |  | Acquire forest lands or change forest management practices to preserve stands or emphasize a longer harvest interval. Target is 50 acres. |  |  | 7 |  | Would likely benefit summer low streamflow |  | Great Peninsula Conservancy and others | $500-750,000 | Funding needed. |
| Total Offset Benefit from Projects |  |  |  |  |  | 491.6 |  |  |  |  |  |  |
| Offset Need for Subbasin |  |  |  |  |  | 183.9 |  |  |  |  |  |  |
| Higher Offset Target for Subbasin |  |  |  |  |  | 277.9 |  |  |  |  |  |  |

Table 18. Bainbridge Island Subbasin Category I Projects.

| Project Name | Project Type and Description |  |  |  |  | Estimated Water Offset AF/yr |  |  | Timing of Benefit (if known) |  |  | Project Sponsor |  | Estimated Project Cost |  | Readiness to Proceed |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| M&E Farm Storage, MAR | MAR, will benefit Manzanita Creek |  |  |  |  | 9 |  |  | TBD |  |  | City of Bainbridge Island |  | $270,000 |  | Funding needed, likely 5-10 year implementation schedule. |  |
| Miller Road MAR | MAR, will benefit Manzanita Creek |  |  |  |  | 2 |  |  | TBD |  |  | City of Bainbridge Island |  | $270,000 |  | Funding needed, likely >10 year implementation schedule. |  |
| Johnson Farm Storage, MAR | MAR, will benefit |  |  |  |  | 9 |  |  | TBD |  |  | Not yet identified |  | $540,000 |  | Funding Needed, likely >10 year implementation schedule. |  |
| Winslow Treatment Plant Recycled Water | MAR, location to be determined |  |  |  |  | 22.5 |  |  | Can be configured to benefit summer low streamflow |  |  | City of Bainbridge Island |  | $6,500,000 |  | Likely >10 year implementation schedule |  |
| Raingarden and LID Projects | Install residential raingardens and LID projects to infiltrate water from existing impervious surfaces |  |  |  |  | 13.5 |  |  | Variable, because of wide distribution benefits likely to occur year-round |  |  | Kitsap Conservation District |  | $270-450,000 |  | Ready to proceed; some additional funding may be needed. |  |
| Water Rights | Acquire water rights |  |  |  |  | 9 |  |  | During permitted time of use, likely summer irrigation season |  |  | Washington Water Trust |  | $25,000 |  | Further analysis and water right holder agreement needed. |  |
| Community Forest Package | Acquire forest lands to preserve stands. 22.85 acres identified. |  |  |  |  | 3.2 |  |  | Would likely benefit summer low streamflow |  |  | Bainbridge Island Land Trust |  | $230-350,000 |  | Funding needed. |  |
| Total Offset Benefit from Projects |  |  |  |  | 70.7 |  |  |  |  |  |  |  |  |  |  |  |
| Offset Need for Subbasin |  |  |  |  | 67.6 |  |  |  |  |  |  |  |  |  |  |  |
| Higher Offset Target for Subbasin |  |  |  |  | 102.2 |  |  |  |  |  |  |  |  |  |  |  |

Table 19. North Hood Canal Subbasin Category I Projects.

| Project Name | Project Type and Description |  |  | Estimated Water Offset AF/yr |  | Timing of Benefit (if known) |  | Project Sponsor | Estimated Project Cost | Readiness to Proceed |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Community Forest Package | Acquire forest lands or change forest management practices to preserve stands or emphasize a longer harvest interval. Target is 500 acres. |  |  | 70 |  | Would likely benefit summer low streamflow |  | Great Peninsula Conservancy, Jamestown S’Klallam Tribe and others | $5.0-7.5M | Funding needed. |
| Central Kitsap Water Treatment Plant | Use recycled water to infiltrate near Newberry Road. Could benefit West Sound and North Hood Canal subbasins. Possible benefits to Little Anderson, Anderson and Big Beef creeks. |  |  | 167 |  | Variable, can be designed to time benefits |  | Silverdale Water District | $14.7-15.4M (project cost also included in West Sound Subbasin) | Funding needed and Water Quality issues need resolution. Likely 5 year implementation schedule |
| Raingarden and LID Projects | Install residential raingardens and LID projects to infiltrate water from existing impervious surfaces |  |  | 27 |  | Variable, because of wide distribution benefits likely to occur year-round |  | Kitsap Conservation District | $540-900,000 | Ready to proceed; some additional funding may be necessary. |
| Total Offset Benefit from Projects |  |  |  | 264 |  |  |  |  |  |  |
| Offset Need for Subbasin |  |  |  | 90.3 |  |  |  |  |  |  |
| Higher Offset Target for Subbasin |  |  |  | 136.5 |  |  |  |  |  |  |

Table 20. South Hood Canal Subbasin Category I Projects.

| Project Name |  | Project Type and Description |  |  |  | Estimated Water Offset AF/yr |  |  | Timing of Benefit (if known) |  |  | Project Sponsor |  | Estimated Project Cost |  | Readiness to Proceed |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Raingarden and LID Projects |  | Install residential raingardens and LID projects to infiltrate water from existing impervious surfaces |  |  |  | 27 |  |  | Variable, because of wide distribution benefits likely to occur year-round |  |  | Mason Conservation District |  | $540-900,000 |  | Ready to proceed; some additional funding may be necessary. |  |
| Community Forest Package |  | Acquire forest lands or change forest management practices to preserve stands or emphasize a longer harvest interval. Target is 500 acres. |  |  |  | 70 |  |  | Would likely benefit summer low streamflow |  |  | Great Peninsula Conservancy and others |  | $5.0–7.5M |  | Funding Needed. |  |
| Tahuya River MAR |  | MAR, will benefit Tayuha River |  |  |  | 20 |  |  | TBD |  |  | Washington Water Trust (potential) |  | $700,000 |  | Funding Needed, likely >10 year implementation schedule |  |
| Oak Lake Storage and MAR |  | MAR, will benefit Dewatto River |  |  |  | 8 |  |  | TBD |  |  | Not yet identified |  | $300,000 |  | Funding Needed, likely >10 year implementation schedule |  |
| Shoe Lake Storage and MAR | MAR, will benefit Dewatto River |  |  |  | 6 |  | TBD |  |  |  | Not yet identified |  | $250,000 |  | Funding Needed, likely >10 year implementation schedule |  |
| Total Offset Benefit from Projects |  |  |  |  | 131 |  |  |  |  |  |  |  |  |  |  |  |
| Offset Need for Subbasin |  |  |  |  | 155 |  |  |  |  |  |  |  |  |  |  |  |
| Higher Offset Target for Subbasin |  |  |  |  | 223.4 |  |  |  |  |  |  |  |  |  |  |  |

Table 21. Vashon Maury Subbasin Category I Projects.

| Project Name |  | Project Type and Description |  |  |  | Estimated Water Offset AF/yr |  |  | Timing of Benefit (if known) |  |  | Project Sponsor |  | Estimated Project Cost |  | Readiness to Proceed |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Beall Creek | Water management to improve streamflow in Beall Creek |  |  | 26 |  | Summer low flow period |  | Water District 19 | $110,000 | Funding needed, can proceed within a year. |
| Judd Creek MAR |  | MAR, could benefit Judd Creek and other streams |  |  |  | 2 |  |  | TBD |  |  | Washington Water Trust (potential) |  | $100,000 |  | Funding Needed, likely >10 year implementation schedule |  |
| Water Right Acquisition Package |  | Acquire property and water rights, could benefit multiple streams |  |  |  | 28 |  |  | During permitted time of use, likely summer irrigation season |  |  | Vashon Maury Island Land Trust, King County, others |  | $75,000 |  | Funding needed |  |
| Total Offset Benefit from Projects |  |  |  | 56 |  |  |  |  |  |  |
| Offset Need for Subbasin |  |  |  | 50.7 |  |  |  |  |  |  |
| Higher Offset Target for Subbasin |  |  |  | 72.9 |  |  |  |  |  |  |

Table 22. South Sound Subbasin Category I Projects.

| Project Name |  |  | Project Type and Description |  |  |  |  | Estimated Water Offset AF/yr |  | Timing of Benefit (if known) |  | Project Sponsor |  | Estimated Project Cost |  | Readiness to Proceed |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MAR Package including - Port Orchard Airport MAR - Belfair WWTP MAR - Rocky Creek south of Trophy Lake Golf Course MAR - Minter Creek MAR - Rocky Creek between Wye and Koeneman Lakes MAR |  |  | MAR, could benefit multiple streams |  |  |  |  | 38 |  | TBD, if multiple projects are implemented there would likely be benefits year-round |  | Washington Water Trust and others |  | $1.3M |  | Funding Needed, likely >10 year implementation schedule |  |
| South Sound and South Sound Island Planning Project |  | Identify priority projects to benefit streamflow and habitat. |  |  | NA |  | TBD | SSSEG, GPC, Others |  | Ready, some funding needed. |
| Community Forest Package |  |  | Acquire forest lands or change forest management practices to preserve stands or emphasize a longer harvest interval. Target is 500 acres. |  |  |  |  | 70 |  | Would likely benefit summer low streamflow |  | Great Peninsula Conservancy and others |  | $5.0-7.5M |  | Funding needed. |  |
| Raingarden and LID Projects |  |  | Install residential raingardens and LID projects to infiltrate water from existing impervious surfaces |  |  |  |  | 67.5 |  | Variable, because of wide distribution benefits likely to occur year-round |  | Kitsap Conservation District, Pierce Conservation District |  | $1.4-2.3M |  | Ready to proceed; some additional funding may be necessary. |  |
| Total Offset Benefit from Projects |  |  |  |  | 175.5 |  |  |  |  |  |
| Offset Need for Subbasin |  |  |  |  | 213.8 |  |  |  |  |  |
| Higher Offset Target for Subbasin |  |  |  |  | 394.6 |  |  |  |  |  |

Table 23. South Sound Islands Subbasin Category I Projects.

| Project Name |  |  | Project Type and Description |  |  |  | Estimated Water Offset AF/yr |  |  | Timing of Benefit (if known) |  | Project Sponsor |  | Estimated Project Cost |  | Readiness to Proceed |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Community Forest Package |  |  | Acquire forest lands or change forest management practices to preserve stands or emphasize a longer harvest interval. Target is 50 acres. |  |  |  | 7 |  |  | Would likely benefit summer low streamflow |  | Nisqually Land Trust, Great Peninsula Conservancy, Anderson Island Parks and Recreation District, and others |  | $500-750,000 |  | Funding needed. |  |
| Total Offset Benefit from Projects |  |  |  |  |  | 7 |  |  |  |  |  |  |  |  |  |  |
| Offset Need for Subbasin |  |  |  |  |  | 5.2 |  |  |  |  |  |  |  |  |  |  |
| Higher Offset Target for Subbasin |  |  |  |  |  | 11.1 |  |  |  |  |  |  |  |  |  |  |

### 5.3 Category II-IV Projects

The WRIA 15 watershed plan includes an inventory of additional projects to meet the offset needs and NEB for the watershed. The remaining categories include the following:

- Projects that provide habitat and streamflow benefits, but streamflow benefits are difficult to quantify.

- Projects that primarily benefit habitat.

- Projects that currently are not implementable (e.g., legal restriction) or are highly conceptual.

There are 61 projects included in the project inventory that will support the watershed plan in meeting NEB. These projects include habitat restoration and protection, stream augmentation, riparian restoration, reclaimed water expansion, storage, and other project types. The projects are presented in the project inventory in Appendix H.

Table 23 provides a summary of the number of projects per category by subbasin and estimated quantitative benefits provided by projects by subbasin.

Table 24. Summary of habitat benefits from Category II-IV projects. Does not include habitat benefits of Category I projects, which are provided in the detailed project descriptions.

| Subbasin | No. Projects Categories II-IV | Description of projects in Categories II-IV |
| --- | --- | --- |
| Bainbridge Island | 3 | This subbasin contains projects that, if implemented, would provide direct streamflow benefit, protection and restoration of habitat for fish critical streams. |
| North Hood Canal | 5 | This subbasin contains projects that, if implemented, would provide direct streamflow benefit, protection and restoration of habitat for fish critical streams. Over 1600 feet of stream restoration are included along with over ten acres of habitat restoration. |
| South Hood Canal | 2 | This subbasin contains projects that, if implemented, would provide direct streamflow benefit, protection and restoration of habitat for fish critical streams. This subbasin includes projects that will repair up to three miles of riparian area. |
| South Sound | 26 | This subbasin includes projects that, if implemented, would provide direct streamflow benefit, protection and restoration of habitat for fish critical streams. Projects include up to nine miles of riparian restoration. |
| South Sound Islands | 2 | This subbasin contains projects that, if implemented, would provide direct streamflow benefit, protection and restoration of habitat for fish critical streams. |
| Vashon Maury | 4 | This subbasin contains projects that, if implemented, would provide direct streamflow benefit, water rights and land acquisition. |
| West Sound | 19 | This subbasin contains over projects that, if implemented, would provide direct streamflow benefit, protection and restoration of habitat for fish critical streams. Project include over 2800 feet of stream restoration, riparian restoration, over 100 acres of land protection, and over 140 acres of habitat restoration. |

#### 5.2.3 Prospective Projects and Actions

In addition to the projects described in this chapter and the project inventory in Appendix H, the WRIA 15 Committee supports future projects and actions in the following categories:

Climate Adaptation and Resiliency. The WRIA 15 Committee recognizes the potential impacts of climate change on streamflow. The WRIA 15 Committee recommends that projects and actions themselves are resilient to the impacts of climate change and that projects include components that help improve the resiliency of our stream systems.

Water Right Acquisitions. The WRIA 15 Committee supports the full and partial acquisition of water rights to increase streamflows and offset the impacts of PE wells. Water rights should be permanently and legally held by Ecology in the Trust Water Rights Program to ensure that the benefits to instream resources are permanent. The WRIA 15 Committee acknowledges that all water right transactions rely on willing sellers and willing buyers. The WRIA 15 Committee recognizes the importance of water availability for producers and the limited available water supply.

Land Acquisitions and Conservation Easements. The WRIA 15 Committee supports acquisitions and conservation easements of land to increase streamflows and offset the impacts of PE wells. The WRIA 15 Committee recommends focusing acquisitions and easements in areas with wetlands and headwaters, for the purposes of preventing new permit exempt wells, decommissioning old permit exempt wells, and for extending time between harvest of timber.

Managed Aquifer Recharge and Other Storage Projects. The WRIA 15 Committee supports projects such as managed aquifer recharge that re-time flood-level flows to provide streamflow benefits during low-flow periods. The WRIA 15 Committee encourages storage projects in the headwaters or high in the system, as well as those that provide multiple benefits (e.g., flood reduction, habitat benefits). See section 5.2.1 above on more information regarding MAR projects.

Connections to Public Water Systems and Permit Exempt Well Decommissioning. Projects or programs that support connections of existing homes on exempt wells to public water systems without impacting critical areas or indirectly encouraging development outside of UGAs.  Projects could provide financial incentives for homes using PE wells to connect to public water service and decommission the well; and/or provide financial support for water purveyors to extend water distribution systems further into their individual service areas, particularly where PE wells are concentrated or rapid rural growth is anticipated. The purveyor will need to demonstrate how they plan to connect PE users to the extended line. The purveyor will need to agree to forgo the consolidation of the groundwater right(s) exempt from the permit requirement under RCW 90.44.050 (the groundwater right associated with the formerly exempt well) through the RCW 90.44.105 process.

### 5.3 Project Implementation Summary

#### 5.3.1 	Summary of Projects and Benefits

As specified in Chapter 4, this watershed plan estimates 766.4 AF/yr of new consumptive use from new PE wells over the planning horizon. This watershed plan also has an offset target of 1,218 AF/yr for project implementation in order to benefit to streams. The projects included in Tables in Section 5.2 provide an estimated offset of 1,196 AF/yr and exceed the consumptive use estimate offset need for the WRIA, but fall short of the offset for some subbasins. In addition, the watershed plan falls short of meeting the higher offset target for project implementation in some subbasins. To support meeting the offset need by subbasin, as was the goal of the Committee, as well as the offset target, the watershed plan lays out an adaptive management and implementation process in Chapter 6.

A total of xx projects with quantified streamflow benefit, unquantified streamflow benefit, and habitat improvement, have been identified by the Committee and are included in Chapter 5.1 Appendix H and I. The ecological and streamflow benefits from habitat projects are supplemental to the quantified water offsets required by RCW.90.94.030.

#### 5.3.2	Cost Estimate for offsetting new domestic water use over 20 Year Planning Horizon

Per RCW 90.94.030(3)(d), this watershed plan must include an evaluation or estimation of the cost of offsetting new domestic water uses over the subsequent twenty years. To satisfy this requirement, the technical consultants developed planning-level cost estimates for each of the water offset projects listed in Section 5.1. The technical consultants also included costs estimates for project inventory when that information was readily available.

The estimated cost for implementing individual water offset projects range from $25,000 for acquiring a small set of water rights to over $15 million for the Central Kitsap Water Treatment Plant MAR project.  The total estimated cost for implementing the water offset projects listed and described in this chapter is $53 - $64 million. However, that cost includes many MAR projects that have a low likelihood of being implemented for reasons such as site feasibility. By assigning the same certainty of implementation of the MAR projects to the costs of those projects, the estimated cost becomes $49 to $61 million. Assuming 1,196 AF/yr of water offset is achieved through implementation of these projects, the average cost per AF/yr ranges from $41,100 to $50,600.

The estimated cost for implementing projects in Categories II-IV range from $10,000 (single site for stream augmentation) to several million dollars for large land acquisition and restoration projects. The total estimated cost for implementing projects in Categories II-IV is unknown due to the highly conceptual nature of many projects. A general project cost per acre of acquisition or restoration is challenging to provide given the different costs associated across the WRIA (e.g. land costs in one county may differ in another). However, the West Sound Partners for Ecosystem Recovery provide an average cost of $1.4 million for projects submitted as Near Term Actions in the 2018-2022 Puget Sound Action Agenda. Their projects address stormwater improvements, habitat restoration and protection, floodplain restoration, shoreline restoration, monitoring and modeling, and fish barrier removal. This average cost may be applicable for the range of projects included in the WRIA 15 watershed plan. Details on known costs for individual projects are provided in the project inventory.

#### 5.3.3	Certainty of Implementation

The watershed plan also provides adaptive management recommendations (see Chapter 6) to increase reasonable assurance that the projects and actions in the plan will be implemented.

## Chapter 6. Additional Plan Recommendations

### 6.1 Policy and Regulatory Recommendations

The Streamflow Restoration law lists optional elements Committees may consider including in the plan to manage water resources for the WRIA or a portion of the WRIA (RCW 90.94.030(3)(f)). The WRIA 15 Committee included “policy and regulatory recommendations” in the watershed plan to show support for programs, policies, and regulatory actions that would contribute to the goals of this watershed plan, including streamflow restoration and meeting NEB. All projects the WRIA 15 Committee intended to count toward the required consumptive use offset or NEB are included in Chapter 5 and Appendix H: Project Inventory. When similar concepts arose from multiple Watershed Restoration and Enhancement Committees, the WRIA 15 Committee coordinated with those other Committees to put forward common language for inclusion in the watershed plans, when appropriate. Coordination also occurred for jurisdictions that cross multiple watersheds.

As recommended by the NEB Guidance, the WRIA 15 Committee prepared the plan with implementation in mind. However, as articulated in the Streamflow Restoration Policy and Interpretive Statement (POL-2094), “RCW 90.94.020 and 90.94.030 do not create an obligation on any party to ensure that plans, or projects and actions in those plans or associated with rulemaking, are implemented" (Ecology 2019a). The identification and listing of these policy and regulatory recommendations is directly from the WRIA 15 Committee members and is not endorsed or opposed by Ecology.

The WRIA 15 Committee initially identified a list of potential recommendations based on proposals brought forward by members of the Committee. After iterative rounds of discussion and feedback during Committee meetings, in one on one conversations, and using a survey tool, the Committee narrowed the recommendations to those presented below. Unless otherwise specified, the proposed implementing entity is not obligated by this plan to implement the recommendation; however, the WRIA 15 Committee requests consideration of each recommendation by the identified implementing entity.

The WRIA 15 Committee provides the following recommendations. Please note that these are not listed in order of priority:

#### Track the number and location of permit-exempt wells

Proposed implementing entity: Department of Ecology

Recommendation: Change Department of Ecology’s well tracking system in the following ways, in order to track the number and location of permit-exempt wells in use:

- Collect latitude and longitude of wells on well report forms;

- Identify permit-exempt wells on well log form; and

- Provide Well ID Tag numbers to older wells, and associate well decommissioning, replacement, or other well activities with the Well ID Tag.

Purpose: Accurate tracking of the locations and features of permit-exempt wells will support the WRIA 15 Committee’s desire to engage in monitoring and adaptive management after plan adoption.

Funding source: If Ecology does not have capacity do this work with existing staffing and resources, the Committee recommends the legislature provide additional funding.

A detailed description of the recommendation is available in Appendix J.

#### Monitoring and Research

Proposed implementing entity: Multiple agencies would likely be involved in monitoring. Ecology would coordinate the development of the strategy.

Recommendation: Develop a research and monitoring strategy for WRIA 15 that addresses topics such as the following:

- Streamflow monitoring

- Groundwater monitoring

- Precipitation and drought conditions

- Water usage and water supply data

- Improvements in modeling of surface and groundwater hydrology

Given the cost and effort involved in developing a comprehensive strategy, this effort may need to be phased and prioritized to address most urgent needs first.

Purpose: The WRIA 15 Committee desires comprehensive monitoring data on the overall health of the watershed, including status and trends.

Funding source: Funding is needed either through legislative appropriations, grants, pooling of resources by Committee members and other stakeholders, or other means.

#### Annual Report on Monitoring

Proposed implementing entity: Department of Ecology, with support from Kitsap Public Utility District, Squaxin Island Tribe, and any other jurisdictions collecting flow data under an approved Quality Assurance Project Plan.

Recommendation: Annually compile monitoring data on the status of water resources and water quality in the basin over the past year that has been collected by Ecology or provided by Partner jurisdictions. Partner jurisdictions are encouraged to provide relevant data to Ecology for inclusion. Monitoring of streamflows, groundwater, precipitation and drought conditions, water usage, and water supply could be included. This information should be provided to the WRIA 15 Committee or a new implementation group if established.

Purpose: This provides additional information on water resources that will provide context for addressing adaptive management.

Funding source:  It is assumed this can be completed with existing resources.

#### Report on Additional Water Resource Information

Proposed implementing entity: Department of Ecology

Recommendation: By September of 2026, Ecology reports the following information with the support of the State Department of Health and local jurisdictions:

- Estimates of:

  - The total number of connections to PE wells currently in use, as described in RCW 90.94.030(3)(b).

  - The number domestic and municipal water rights in use and their current quantity of use, including estimates of inchoate water remaining in municipal water rights, and categorized by whether they are mitigated or not and which subbasin they are in, as described in RCW 90.94.030(3)(c).

  - The cumulative consumptive water use impacts on instream flows from all pre-2018 PE wells and unmitigated municipal water rights, as described in RCW 90.94.030(3)(d)(e).

- An evaluation of the costs of offsetting all new domestic water uses over the next 20 years, as described in RCW 90.94.030(3)(d). The initiation of adjudication would be considered an acceptable substitute for this study.

Purpose: This provides additional information on water resources that will provide context for addressing adaptive management.

Funding source: Grant funding or a legislative appropriation will be necessary to hire consultant assistance to Ecology for this effort.

#### South Sound and South Hood Canal Planning Study

Proposed implementing entity: State, local and tribal governments in WRIA 15

Recommendation: Prepare a study of how planning and permitting by Counties and local governments influences water management within WRIA 15, and potential opportunities to improve:

- Water management outcomes that support aquatic habitat and human needs.

- Efficiencies and potential cost savings. and

- Information sharing among the various governmental entities.

The study should focus on how management can protect and enhance streamflows, groundwater recharge, and other water resource management efforts that support aquatic habitat and water supply.

Purpose: This study could identify opportunities for improved outcomes at potentially lower costs.

Funding source: Grant funding or a legislative appropriation will be necessary to hire consultants to complete this study.

#### Drought Response Planning

Proposed implementing entity: Local governments

Recommendation: Local governments develop and implement a drought response plan if they do not already have one. Local governments review existing drought response plans for potential updates.

- Ecology and Department of Health provide technical assistance.

- The plans should include an education and outreach program to educate and notify the public about water conservation and drought water use limitations and practices.

Purpose: Drought response will be an important component of protecting streamflows. Clear plans and education by all local governments will better prepare the watershed for droughts.

Funding source: Grant funding or other funding may be needed by some local governments.

#### Recycled Water

Proposed implementing entity: Washington State Legislature and/or Department of Ecology

Recommendation: Enact state policies that encourage the development and use of reclaimed water.

Purpose: Using reclaimed water will:

- Offset water that would otherwise be diverted from rivers and streams, thus preserving natural high-quality instream flow;

- Reduce the amount of treated wastewater that is discharged into receiving water bodies; and

- Create water supply options, which makes the water supply system more resilient against drought and climate change.

Funding source: Funding is needed either through legislative appropriations, grants, pooling of resources by Committee members and other stakeholders, or other means. Individual projects and construction components will have to be funded with a market-based approach.

#### Water Conservation Education

Proposed implementing entity: Ecology and counties; with support from conservation districts and non-governmental organizations.

Recommendation: Ecology should partner with counties and conservation districts to develop and implement outreach and incentives programs that encourage rural landowners with PE wells to (1) reduce their indoor and outdoor water use through water conservation best practices; and (2) comply with drought and other water use restrictions.

Purpose: Raise awareness of the impacts PE well water usage has on (1) groundwater levels and (2) the connection to streams and rivers. Supplement water offset and restoration projects.

Funding source: Funding is needed either through legislative appropriations, grants, pooling of resources by Committee members and other stakeholders, or other means.

#### Water Conservation Statewide Policy

Proposed implementing entity: Ecology and/or local governments

Recommendation: Implement mandatory water conservation measures in unincorporated areas of the state during drought events. Measures would focus on limiting outdoor water use, with exemptions for growing food.

Purpose: Reduce water usage in key sub-basins, especially during drought; reduce impacts on stream flows; and increase climate change resilience.

Funding source: Funding is needed either through legislative appropriations, grants, pooling of resources by Committee members and other stakeholders, or other means.

#### Beaver Habitat and Streamflow

Proposed implementing entity: Varies; see details below.

Recommendation: The Committee recommends three elements:

- Map and protect likely beaver habitat: The Committee recommends a pilot project with Kitsap County and Great Peninsula Conservancy to identify potential easements to purchase and protect as beaver habitat. The Committee recommends combining mapping and modeling to understand both the water holding potential and beaver habitat suitability of selected areas. The Committee recognizes that easements would be purchased on a voluntary basis and that certain areas of the WRIA need to be protected for drinking water.

- Education & outreach: The Committee recommends a partnership between local organizations to develop and implement an education and outreach program to landowners regarding beavers and beaver management. The partners could also reach out to entities to address known concerns (e.g., tree loss, hazard trees, encroaching on farmland, change of vegetation, flooding) associated with beavers and discuss management options.

- Monitoring & research: The Committee recommends developing a monitoring program for beaver habitats which may including collecting information on fish passage, groundwater levels, vegetation types, permits, BDA vs natural beaver habitat. Streamflow and habitat benefits should be quantified where possible to help define the benefit from a surface water / habitat perspective (e.g., temperature, streamflows, salmon, riparian vegetation, etc.). Implementing entities could include local jurisdictions, Tribes, federal or state agencies.

Purpose: Beaver habitat can provide benefits to streamflows. A multi-faceted approach would provide additional tools for jurisdictions and landowners to help manage beavers.

Funding source: Funding is needed either through legislative appropriations, grants, pooling of resources by Committee members and other stakeholders, or other means.

#### Financing

Proposed implementing entity: Legislature and/or Committee Members or other stakeholders

Recommendation: The WRIA 15 Committee recommends the Legislature provides funding for plan implementation, monitoring and adaptive management of the plan, including:

- Annual tracking of new PE wells and project implementation by subbasin.

- Staffing for the ongoing Committee.

- Ongoing Committee member participation; and

- Developing a process to adaptively manage implementation if NEB is not being met as envisioned by the watershed plan (e.g., identification and development of alternative projects, etc.).

If necessary, the Committee may also recommend additional funding, including grants, fees, shared contributions from members and other stakeholders, and other sources that may emerge.

Purpose: Plan implementation is key to success and it will take ongoing funding.

Funding source: Legislature or others.

### 6.2 Adaptive Management Recommendations

The WRIA 15 Committee recommends an adaptive management process for implementation of the WRIA 15 watershed plan. Adaptive Management is defined in the Final NEB Guidance as “an interactive and systematic decision-making process that aims to reduce uncertainty over time and help meet project, action, and plan performance goals by learning from the implementation and outcomes of projects and actions” (Ecology 2019b).

Adaptive management will:

- Help address uncertainty.

- Ensure that the goals of this plan are being met.

- Provide more reasonable assurance for plan implementation.

- Provide information to improve implementation of streamflow restoration projects and actions.

- Track implementation costs and developing grant funding opportunities; and

- Adaptively manage emerging plan implementation needs.

To support implementation of the watershed plan, RCW 90.94 includes a statement on the Legislature’s intent. RCW 90.94 Intent—2018 c 1: "The legislature intends to appropriate three hundred million dollars for projects to achieve the goals of this act until June 30, 2033. The department of ecology is directed to implement a program to restore and enhance streamflows by fulfilling obligations under this act to develop and implement plans to restore streamflows to levels necessary to support robust, healthy, and sustainable salmon populations." [ 2018 c 1 § 304.]”

#### Project, Policy, and Permit-Exempt Well Tracking

The WRIA 15 Committee recommends tracking the growth of permit-exempt (PE) wells in the watershed as well as the projects and policies that were planned to offset the impacts of these PE wells. This data will allow the Committee to determine whether planning assumptions were accurate and whether adjustments to plan implementation are needed.

- The WRIA 15 Committee recommends tracking the following information on an ongoing basis:

- New building permits issued that include permit-exempt wells and total number of permits issued since January 2018.

- Status of implementation for each project included in the plan.

- Status of policy recommendations included in the plan.

- An ongoing list of new PE wells in the WRIA since the enactment of RCW 90.94.

  - The lists of building permits and projects will be organized by subbasin, and if feasible represented on a map that includes subbasin delineations. Counties are encouraged to provide parcel or other geographic information in their reports to Ecology to support mapping by subbasin. Data may be evaluated at a more refined scale to improve understanding of the impacts and benefits (e.g., Watershed Assessment Unit).

- To assess the status of project implementation, the Committee recommends using the Salmon Recovery Portal (https://srp.rco.wa.gov/about), managed by the Washington State Recreation and Conservation Office (RCO), to support project tracking.

- The Washington Department of Fish & Wildlife (WDFW), in collaboration with the Washington Department of Ecology and RCO, could coordinate the implementation of project tracking through the Salmon Recovery Portal.

- Project sponsors are expected to support project tracking efforts and data sharing.

- Local salmon recovery Lead Entity Coordinators will not be expected to provide ongoing support for project entry, maintenance, or reporting. To improve harmonization of streamflow restoration with ongoing salmon recovery efforts, local salmon recovery Lead Entity Coordinators will be consulted prior to initial data uploads.

- University of Washington data stewards, contracted by WDFW, will conduct data entry, quality assurance, and quality control. If this approach changes, WDFW will propose an alternative method for completing this task.

- Entities with representation in the WRIA 15 Committee (or an implementation group, if created) are encouraged to assist as needed with coordination, data gathering and input, and tracking.

Table 24 summarizes the entities responsible for implementing the tracking and monitoring recommendation and associated funding needs.

Table 25. Implementation of Tracking and Monitoring Recommendation

| ### Action | ### Entity or Entities Responsible | ### Funding Considerations |
| --- | --- | --- |
| Track building permits issued with PE wells (including new connections). | Ecology (via reporting from counties and cities). | The number of building permits and associated fees are transmitted to Ecology annually. No additional funding is needed. |
| Maintain an ongoing list and map of new PE wells within each sub-basin. | Ecology | Information included with data on new PE wells, provided by local governments. No additional funding is needed. |
| Maintain a summary of the status of implementation for each project. | Ecology via the Salmon Recovery Portal, with support from WDFW, RCO, and project sponsors | WDFW may need additional funding to support maintaining the Salmon Recovery Portal. |
| Maintain a summary of the status of each policy recommendation. | Implementation Group | Additional funding may be needed to gather status updates. |

#### Reporting and Adaptation

The Committee recommends that Ecology provides the data collected above to all entities represented on the Committee and other interested parties through annual reporting and a self-assessment as described below. These reports and assessments will help determine whether the plan’s recommendations are being implemented and whether they are having the intended impacts.

- The WRIA 15 Committee recommends annual reporting as follows:

- By September of each year, Ecology will prepare an annual report that includes:

  - A list of total building permits issued in the prior calendar year along with the total number of associated new domestic PE wells, using the information provided to Ecology by the local jurisdictions.

  - A brief description of the status of WRIA 15 projects and actions included in this plan (descriptions may be drawn from the Salmon Recovery Portal, if available).

    - If the project as implemented differs significantly from the original description and assumptions included in the plan, the annual report will also include an estimate of changes to the offset benefit.

  - Other implementation actions to date, including any changes in approach since the last report and any challenges identified that may require adaptation in plan implementation.

  - The lists of building permits and projects will be organized by subbasin, and if feasible represented on a map that includes subbasin delineations. Counties are encouraged to provide parcel or other geographic information in their reports to Ecology to support mapping by subbasin.

- The first annual report should include an estimate of expenses necessary for plan implementation and associated funding options. Funding options could include:

  - Local or state fees, including PE well fees

  - Grants

  - State funding

  - Other options

- Ecology will share the report with Committee members and other interested parties.

- The WRIA 15 Committee recommends preparing a self-assessment every five years as follows:

- By September of 2026, and every five years thereafter during the planning horizon period, Ecology will compile and report based on available information from previous reports and partners:

  - All cumulative information required in the annual report.

  - Estimated water offset quantities, consumptive use, and instream flow benefits, realized through implementation of projects and actions identified in this plan.

  - A comparison of each item above to the original assumptions included in the plan and a summation of overall ecological benefit (i.e., greater than expected, less than expected, or about the same as expected).

- The WRIA 15 Committee believes a group of engaged stakeholders and tribal representatives are needed to continue collaboration on the implementation of this plan. The Committee recommends continuing to meet as needed, with participation from all interested WRIA 15 representatives.

- Interested WRIA 15 Committee members, or a new implementation group if established, will convene annually via telephone to:

  - Review and discuss the annual report.

  - Share updates on project and policy implementation.

  - Discuss or develop recommendations for revisions, additions, or deletions to planned projects or actions.

- Every five years interested WRIA 15 Committee members, or a new implementation group if established, will hold a series of meetings to conduct the self-assessment, which includes:

  - Reviewing the five-year assessment report from Ecology.

  - Developing recommendations to adapt projects and actions to meet NEB.

  - Updating data and assumptions.

  - Other items identified by Committee members.

- Additional meetings may be scheduled as needed.

- The Kitsap PUD has offered to play the role of coordinating an implementation group for WRIA 15. Kitsap PUD will use existing capacity as well as seek funding opportunities to support their role, Kitsap PUD will convene interested member entities of the WRIA 15 Committee to form the implementation group in the summer of 2021. This group will consider the following activities related to plan implementation:

  - Redefining the WRIA 15 Committee, which could include a new name, charter, and supporting interlocal agreement.

  - Identifying project development lead(s) and supporting project development;

  - Identifying triggers for adaptive management and developing responses to emerging challenges;

  - Coordinating monitoring and research;

  - Coordinating reporting;

  - Identifying funding mechanisms to provide capacity for the Committee members and facilitator; and

  - Other tasks as needed.

- Table 25 summarizes the entities responsible for carrying out the reporting and adaptation recommendation and associated funding needs.

Table 26. Implementation of Reporting and Adaptation Recommendation

| ### Action | ### Entity or Entities Responsible | ### Funding Considerations |
| --- | --- | --- |
| Annual Reports | - Local jurisdictions provide building permit information to Ecology. - Ecology compiles information on project status, drawn from the Salmon Recovery Portal. - Entities provide monitoring data to Ecology for inclusion in reports. - Ecology combines monitoring data from within the agency with data provided by other entities. - Ecology compiles information into a single report for distribution to the Committee and other interested parties. | - Local jurisdictions are already required to provide building permit information to Ecology (no additional funding needed). - Ecology staff would compile reports using existing resources. - WDFW may need additional funds to manage the Salmon Recovery Portal. |
| Five-Year Self-Assessment: | - Local jurisdictions provide building permit information to Ecology. - Ecology compiles information on project status, drawn from the Salmon Recovery Portal. - Entities provide monitoring data to Ecology for inclusion in reports. - Ecology combines monitoring data from within the agency with data provided by other entities. - Ecology prepares estimates of the quantity of water, instream flow, and habitat benefits realized through implementation of projects and actions identified in this plan. - Ecology compiles information into a single report for distribution to Committee and other interested parties. - WRIA 15 Committee convenes to prepare adaptation recommendations on changes to planned projects or actions. | - Local jurisdictions are already required to provide building permit information to Ecology (no additional funding needed). - Ecology may need funding to complete the estimate of realized benefits. - State funding or staff support will be needed to reconvene a group to prepare recommendations. - Committee members who cannot participate in meetings using existing resources will need additional funding. - KPUD may need additional funding to support their role in convening the implementation group. |

#### 3. Funding

The WRIA 15 Committee recommends ongoing implementation oversight and a process to adaptively manage the plan as new information emerges. The Committee recommends the Legislature provides funding for monitoring and adaptively managing the plan, including:

- Annual tracking of new PE wells and project implementation by subbasin.

- Staffing for the ongoing Committee.

- Ongoing Committee member participation; and

- Developing a process to adaptively manage implementation if NEB is not being met as envisioned by the watershed plan (e.g., identification and development of alternative projects, etc.).

Table 26 summarizes the entities responsible for carrying out this recommendation and associated funding needs.

Table 27. Summary of WRIA 15 Adaptive Management Funding Recommendation.

| ### Action | ### Entity or Entities Responsible | ### Funding Considerations |
| --- | --- | --- |
| Funding of Adaptive Management | Legislature | The legislature should provide funding and authorize plan implementation to adaptively manage implementation if NEB is not being met as envisioned by the watershed plan. |

### 6.3 Assurance of Plan implementation

The WRIA 15 Committee prepared the WRIA 15 watershed plan with the intent that the plan is fully implemented. Members of the Committee provided the following statements to support implementation of the watershed plan:

- Washington Department of Ecology

  - Ecology follows NEB Guidance in reviewing the watershed plan and considering plan adoption.

  - Ecology administers the streamflow restoration competitive grant program as authorized under RCW 90.94.060 and Chapter 173-566 WAC.

  - Ecology considers watershed plan recommendations where Ecology is identified as the lead.

  - Ecology reports to the legislature as required under RCW 90.94.050 in 2020 and 2027.

- King County

  - King County supports and participates in implementation activities as staff capacity allows, including:

    - Participating in implementation group meetings.

    - Coordination between meetings, including:

      - Supporting project development and seek project opportunities

      - Seeking and supporting funding opportunities to achieve implementation

      - Tracking implementation and identify areas for improvement

- Kitsap County

  - Language forthcoming.

- Mason County

  - Mason County supports collaboration among WRIA 15 members to implement a comprehensive strategy for balancing competing demands for water, while at the same time preserving and enhancing the future integrity of the WRIA 15 watershed basin.

  - Mason County adopts this watershed plan by resolution, formalizing our support of the plan contents.

  - Mason County supports and participates in implementation activities as staff capacity and funding allows, including:

    - Participating in implementation group meetings.

    - Coordination between meetings, including:

      - Supporting project development and seek project opportunities

      - Seeking and supporting funding opportunities to achieve implementation

      - Tracking implementation and identify areas for improvement

- Pierce County

  - Pierce County adopts this watershed plan by ordinance, formalizing our support of the plan contents.

  - Watershed plan becomes one of the guiding project implementation plans for the Surface Water Improvement Plan (SWIP).

  - Pierce County evaluates and prioritizes capital projects included in this plan for placement into the Capital Facilities Plan.

  - Pierce County supports and participates in implementation activities as staff capacity allows, including:

    - Participating in annual implementation group meetings.

    - Coordination between meetings, including:

      - Supporting project development and seeking project opportunities;

      - Seeking and supporting funding opportunities to achieve implementation; and

      - Tracking implementation and identifying areas for improvement.

- City of Bremerton

  - City of Bremerton supports and participates in implementation activities as staff capacity allows, including participating in annual implementation group meetings.

- Squaxin Island Tribe

  - Participating in implementation group meetings

  - Support project development and seek project opportunities

  - Seek and support funding opportunities that support implementation

  - Monitor implementation and identify areas for improvement

## Chapter Seven: Net Ecological Benefit Evaluation

### 7.1 Water Offsets

This watershed plan projects a total of 5,568 new PE wells to be installed within WRIA 15 during the planning horizon, resulting in an estimated 766.4 AF/yr of new consumptive water use in WRIA 15. However, the Committee sought projects to offset 1,218 AF/yr, a higher target that reflects use of the 95% upper confidence limit of the average measured irrigated area (see Chapter 4).  This higher offset target provides greater certainty that streams are benefited. Although there was not consensus around the higher offset target, the Committee agreed that reaching an offset target of 1218 AF/yr would be beneficial to streams.

The Committee’s approach was to develop a list of potential offset projects that exceed the anticipated impacts by a margin large enough to give reasonable assurance that this plan will be successful over the planning timeline. The watershed plan demonstrates that the water offset project portfolio, if implemented, can succeed in offsetting consumptive use impacts at the WRIA scale.

While the Committee also set a goal of offsetting consumptive use estimates by subbasin, this watershed plan falls short in the South Hood Canal and South Sound subbasins, in part due to the approach to account for certainty that a project will be implemented. Estimated project offset potential was discounted by 90% for longer term and highly conceptual projects with greater uncertainty of implementation. Water offset potential for more certain MAR projects were discounted by 20% to 50%.

The water offset project portfolio with associated discounts does not achieve the higher WRIA wide target with a deficit of 23 AF/yr.  The higher offset target is not achieved in five of seven subbasins. However, the adaptive management and implementation approaches laid out in Chapter 6, including a robust project tracking protocol, will help to ensure that projects are dispersed throughout the watershed to address offset needs across numerous small streams.

In summary, while this watershed plan demonstrates the water offset portfolio will offset consumptive use impacts at a WRIA scale, it is unlikely to meet the goal of some Committee members for offset benefit by subbasins. This watershed plan does, however, meet NEB as defined by Ecology.

The projects identified in this watershed plan are consistent with the project type examples listed in the Final NEB Guidance: (a) water right acquisition offset projects; (b) non-acquisition water offset projects; and (c) habitat and other related projects (Ecology 2019b). Chapter 5 presents projects in the following four categories:

- Water right acquisition offset projects and non-acquisition water offset projects that are ready to proceed. These projects provide a quantitative streamflow benefit.

- Projects that provide habitat and streamflow benefits, but streamflow benefits are difficult to quantify.

- Projects that primarily benefit habitat.

- Projects that currently are not implementable (e.g., legal restriction) or are highly conceptual.

Projects in Category I are described in Chapter 5, Tables 16-22 and used to estimate a total water offset For WRIA 15. Projects in Categories II-IV are presented in the project inventory in Appendix I and support this watershed plan in meeting NEB. The WRIA 15 Committee recommends implementation of projects in Chapter 5 as well as the project inventory in order to offset consumptive use and achieve NEB for WRIA 15.

The WRIA 15 Committee projects a total water offset of 1196 AF/yr from Category I water offset projects (described in Chapter 5 and listed in Tables 16-22), a surplus offset of 429.4 AF/yr above the consumptive use estimate and 22.9 AF/yr below the higher offset target.  Consumptive use and the higher offset target are compared to Category I project offsets at the subbasin scale in Table y. Surplus water offset is achieved in all but 2 subbasins (South Hood Canal and South Sound). When looking at the higher offset target based on a high growth scenario, a deficit in water offset occurs in a total of 5 of 7 subbasins (Bainbridge Island, South Sound Islands, South Hood Canal, South Sound and Vashon-Maury Island).

Table 1. Subbasin Water Offset Totals from Category I Projects Compared to Permit-Exempt Well Consumptive Use Estimates and Offset Targets. The projected new consumptive water use associated with the new PE well connections is 123 gallons per day (gpd) which equals 766.4 acre-feet per year (1.06 cubic feet per second [cfs] or 684,150 gpd) in WRIA 15. This watershed plan also sets an offset target of 1,218 acre-feet per year (equivalent to 177 gpd per connection) for project implementation in order to benefit streams.

| Subbasin | Offset Project Totals (AF/YR) | Consumptive Use Estimate (AF/YR)1 | CU Estimate Surplus/ Deficit (AF/YR) 3 | Higher Offset Target – (AF/YR) 2 | Higher Target Surplus/ Deficit (AF/YR)3 | County |
| --- | --- | --- | --- | --- | --- | --- |
| Bainbridge Island | 70.7 | 67.6 | 3.1 | 102.2 | -31.5 | Kitsap |
| South Sound Islands | 7 | 5.2 | 1.8 | 11.1 | -4.1 | Pierce |
| North Hood Canal | 264 | 90.3 | 173.7 | 136.5 | 127.5 | Kitsap |
| South Hood Canal | 131 | 155.0 | -24 | 223.4 | -92.4 | Kitsap and Mason |
| South Sound | 175.5 | 213.8 | -38.3 | 394.6 | -219.1 | Pierce and Kitsap |
| Vashon - Maury Island | 56 | 50.7 | 5.3 | 72.9 | -16.9 | King |
| West Sound | 491.6 | 183.9 | 307.7 | 277.9 | 213.7 | Kitsap |
| WRIA 15 Total | 1195.8 | 766.4 | 429.4 | 1218.7 | -22.9 |  |

Notes:
1 Values in table have been rounded, which is why totals may differ. AF/Yr in 2038

2Offset Target is equivalent to PE consumptive use associated with high growth scenario and increased irrigated acreage to reflect uncertainty in estimates
3Surplus water offset is associated with a positive value and a deficit in water offset is associated with a negative value. Surplus and Deficit equal to Offset Project Totals less Offset Target.

The water offset projects listed in Tables 16-22 in Chapter 5 provide additional benefits to instream resources beyond those necessary to offset the impacts from new consumptive water use within the WRIA. For the project types planned in WRIA 15, additional benefits could include the following:

- Water right acquisition projects: Aquatic habitat improvements during key seasonal periods; reduction in groundwater withdrawals and associated benefit to aquifer resources; and/or beneficial use of reclaimed water. Many water right acquisition opportunities in WRIA 15 are associated with land acquisitions which provide additional conservation-related habitat benefits.

- MAR projects: Aquatic habitat improvements during key seasonal periods; increased hydration of wetlands and headwaters; increased groundwater recharge; reduction in summer/fall stream temperature; increased groundwater availability to riparian and near-shore plants; and/or contribution to flood control. Improvements to water quality may also occur as a result of infiltration.

- Community Forests Projects: Conservation, preservation and protection will increase habitat value of existing forestland.  May include restoration of streams, riparian areas and wetlands.

- Raingarden and LID, projects: Provide habitat for wildlife and improvement of water quality.

- Stormwater projects: Water quality improvements and erosion control benefits.

### 7.2 Benefits from Category II-IV Projects

The WRIA 15 watershed plan includes an inventory of additional projects to meet the offset needs and NEB for the watershed. The remaining categories include the following:

- Projects that provide habitat and streamflow benefits, but streamflow benefits are difficult to quantify.

- Projects that primarily benefit habitat.

- Projects that currently are not implementable (e.g., legal restriction) or are highly conceptual.

There are 61 projects included in the project inventory that will support the watershed plan in meeting NEB. The projects are presented in the project inventory in Appendix H.  Table 23 in Chapter 5 summarizes the number of Category II and IV projects and the respective benefits of those projects by subbasin. Habitat improvement attributes associated with these projects include a combination of aquatic habitat restoration and protection, stream augmentation, riparian restoration, reclaimed water expansion, managed aquifer recharge, stormwater management and other types of projects.

These projects provide additional benefits to instream resources that, together with direct water offsets, are beyond those necessary to offset the impacts from new consumptive water use within the WRIA. These additional benefits include increased hydraulic/aquatic habitat diversity, restored native vegetation, restored water temperature, erosion abatement, improved spawning and rearing habitat, improved passage, and water quality benefits, among others.

Factors limiting salmonid distribution and survival in WRIA 15 are summarized in Chapter 2.1.3.  Habitat and water offset projects in the plan address all limiting factors throughout the basin with the exception of fish passage barriers (as determined by Committee), and in some circumstances, the lack of large wood.  Highest priority for freshwater areas such as Chico, Minter, Rocky Creeks is to protect and/or restore hydrologic and riparian functional integrity. In Hood Canal subbasins, the loss of channel complexity, lack of riparian forest and high water temperatures in Union and Tahuya Creeks are of most concern. In creeks such as Dewatto, Anderson and Big Beef, loss of floodplain habitat and channel complexity, hydrologic regime, and channel instability and erosion are the most limiting for species recovery.

The watershed plan also includes a number of policy recommendations, described in Chapter 6. Some of these recommendations are expected to result in additional benefits to habitat, fish and wildlife. Benefits include reduced water consumptive, increased water conservation, improved water quality, habitat protection and restoration, and direct streamflow benefits.

PLACEHOLDER FOR NEW GRAPHIC SHOWING LOCATION OF PROJECTS IN CATEGORIES I-IV – working on a map that will show location of  Category 1 projects and a summary of the Category II-IV.

### 7.3 Adaptive Management

The WRIA 15 Committee identified a number of challenges related to watershed plan implementation. These challenges include the impact of climate change, uncertainty in consumptive use estimates, uncertainty in offsets associated with specific project types, project implementation challenges, narrowness in the scope of the watershed plan, and other factors. This watershed plan recommends adaptive management measures for the purpose of addressing uncertainty in plan implementation (See Chapter 6.2).  Implementation recommendations include increased legislative funding for plan implementation and funding for adaptive management, funding and project implementation tracking, PE well tracking and reporting, continued monitoring of streamflow and groundwater levels, and project effectiveness monitoring. These measures, in addition to the project portfolio and associated benefits described in Chapter 5, increase the resiliency of the plan and increase the certainty that sufficient additional water from projects is available to achieve NEB by protecting, restoring and enhancing streamflows in addition to offsetting new consumptive use from PE wells anticipated during the planning horizon.

### 7.4 NEB Evaluation Findings

The WRIA 15 watershed plan provides projects that, if implemented, can offset an estimated 766.4 AF/yr of new consumptive water use and come close to offsetting a higher target of 1218 AF/yr. The watershed plan primarily achieves this offset through a total of 29 water offset projects with a cumulative offset projection of 1196 AF/yr. The estimate of cumulative water offset is conservative in that the calculated water offset potential of a project was discounted by 20-90% based on the level of uncertainty associated with its implementation (see Chapter 5).  The projected water offset from all projects, after accounting for the discount, yields a surplus offset of 429.4 AF/yr above the consumptive use estimate of 766 AF/yr and a deficit of 22.9 AF/yr below the more conservative offset target of 1218 AF/yr in WRIA 15. On a subbasin basis, the watershed plan provides projects that will offset consumptive use in 5 of 7 subbasins and offset the higher target in 2 of 7 subbasins.

Within this watershed plan, water offset projects are complimented by a total of 61 habitat improvement projects, which provide numerous additional benefits to aquatic and nearshore habitat. While many of these habitat improvement projects have potential streamflow benefits, the WRIA 15 Committee chose to exclude any associated water offset from the watershed plan’s accounting due to uncertainty in quantifying the benefit. Water offset projects are further complimented by the policy and regulatory recommendations addressed in Chapter 6.

The projects in this plan have not been prioritized for funding and implementation at this time. As project sponsors pursue project implementation, it is possible that some projects in this plan will not be constructed due to feasibility and design constraints, or other factors. The WRIA 15 Committee has recommended adaptive management measures to provide greater certainty that the watershed plan will adequately address new consumptive use impacts anticipated during the planning horizon. Adaptive management can also address unforeseen future developments, climate change, and provide additional water for streams, despite inevitable challenges that will arise during project implementation, operation, and maintenance.

This WRIA 15 watershed plan describes the projects to be implemented to offset the anticipated new consumptive use over the planning horizon and achieve NEB.  Based on the information and analyses summarized in this plan and the overriding assumption that projects in the plan will be implemented, the WRIA 15 Committee finds that this plan achieves a net ecological benefit, as required by RCW 90.94.030, and defined by the Final NEB Guidance (Ecology 2019b).

### References

Bainbridge Island Land Trust. 2018. Springbrook Creek Watershed Assessment, Final Report December 26, 2018. SRFB Project #14-1517. Available from: https://www.bi-landtrust.org/wp-content/uploads/2019/02/Springbrook-Creek-Assessment-Report-Narrative-1.pdf.

Barlow and Leake. 2012. Streamflow Depletion by Wells - Understanding and Managing the Effects of Groundwater Pumping on Streamflow: U.S. Geological Survey Circular 1376, p. 83. https://pubs.usgs.gov/circ/1376/pdf/circ1376_barlow_report_508.pdf.

Berg, Christian. 2020. Personal Communication, June 24, 2020.

Booth, D.B., and Goldstein, B. 1994. Patterns and processes of landscape development by the Puget lobe ice sheet. In Lasmanis, Raymond; Cheney, E.S., conveners, Regional Geology of Washington State; Washington Division of Geology and Earth Resources Bulletin 80, p. 207-218.

Brown and Caldwell. 2019. Kingston Recycled Water Facility Plan. Prepared for Kitsap County Public Works.

City of Bremerton. 2020. Casad Dam Fact Sheet. https://www.bremertonwa.gov/297/Casad-Dam. Accessed June 2020.

Climate Impacts Group, University of Washington. 2009. The Washington Climate Change Impacts Assessment. Available: http://cses.washington.edu/db/pdf/wacciareport681.pdf.

Climate Toolbox. 2020. Available at: https://climatetoolbox.org.

Covert, John. 2019. Presentation to Watershed Restoration and Enhancement Committee. Managed Aquifer Recharge Opportunities.

Economic and Engineering Services, Inc. 1997. Seawater Intrusion Issue Paper, published in Kitsap County Groundwater Management Plan, Volume IV, Appendix 2.ESA (Environmental Science Associates) and Suquamish Tribe, 2020. Puget Sound Steelhead East Kitsap Recovery Plan. May 2020.

ESA and Suquamish Tribe. 2020. Puget Sound Steelhead East Kitsap DIP Recovery Plan. https://westsoundwatersheds.org/pdfs/3%20Executive%20Summary%20Puget%20Sound%20Steelhead%20East%20Kitsap%20DIP%20RP%20May2020_web.pdf. Accessed December 23, 2020.

Evans, S.H. 1996. Geohydrologic Review of the Cedar River Ground-water Basin. Washington Geology, vol. 24. no. 4. December.

Fisheries Engineers. 2018. Beall Creek Fish Passage Project Preliminary Design Report. Prepared for Water District 19. June 2018.

Frans, L.M. et al. 2011. Conceptual Model and Numerical Simulation of the Groundwater-Flow System of Bainbridge Island, Washington. Prepared in cooperation with the City of Bainbridge Island. Available: https://pubs.usgs.gov/sir/2011/5021/pdf/sir20115021.pdf

Frans, L.M. and Olsen, T.D. 2016. Numerical Simulation of the Groundwater-Flow System of the Kitsap Peninsula, West-Central Washington. U.S. Geological Survey Scientific Investigations Report 2016-5052.

Futornick, Z. O., Barry S. Goldstein, Brittany L. Parker, and Patrick T. Pringle. 2008. "Sedimentologic evidence for a glacial outburst flood and resulting debris flow; Puget Lowland, Washington State." Abstracts With Programs - Geological Society Of America 40 (11).

Garling, M.E., Molenaar, D.E. and others. 1965. Water Resources and Geology of the Kitsap Peninsula and Certain Adjacent Islands. WA State Division of Water Resources, Water Supply Bulletin No. 18, 309p., 5 plates.

GeoEngineers and HDR. 2020. Draft Irrigated Acreage Comparability Study.

Golder Associates and Engineering and Economic Services (EES). 2002. Kitsap Basin (WRIA 15) Phase II – Level 1 Assessment. Data Compilation and Preliminary Assessment. Prepared for WRIA 15, Planning Unit. Port Orchard, WA. June 21, 2002.

Golder Associates. 2004. Draft WRIA 15 Watershed Management Plan. Prepared for the WRIA 15 Planning Unit. August 31, 2004.

HDR. 2020. WRIA 15 Permit-Exempt Growth and Consumptive Use Summary, HDR 2020.

Heard, W.R. 1998. Life History of Pink Salmon (Oncorhynchus gorbuscha). In Groot, C. and L. Margolis, eds, Pacific Salmon Life Histories. University of British Columbia Press, Vancouver, BC.

Hood Canal Coordinating Council. 2005. Hood Canal and Eastern Strait of Juan de Fuca Summer Chum Salmon Recovery Plan. Prepared by S. Brewer, J. Watson, D. Christensen, and R. Brocksmith. November 2005.

Johnson, O.W., M.H. Ruckelshaus, W.S, Grant, F.W. Waknitz, A.M. Garrett. G.J. Bryant, K. Neely, and J.J. Hard. 1999. Status review of coastal cutthroat trout from Washington. Oregon, and California. U.S. Dept. of Commerce., NOAA Tech Memo. NMFS-NWFSC-37, 292 p.,

Kenny, J.F., and Juracek, K.E. 2012. Description of 2005–10 domestic water use for selected U.S. cities and guidance for estimating domestic water use: U.S. Geological Survey Scientific Investigations Report 2012–5163, 31 p.

Kerwin, John and Nelson, Tom S. (Eds.). 2000. Habitat Limiting Factors and Reconnaissance Assessment Report, Green/Duwamish and Central Puget Sound Watersheds (WRIA 9 and Vashon Island). Washington Conservation Commission and the King County Department of Natural Resources.

Kitsap Conservation District (KCD). 2020. 2010-18 KCD RG Program Practices – South, North, and Central Districts. https://kitsapcd.org/programs/raingarden-lid. Accessed September 28, 2020.

Kitsap County. 2005. East Kitsap Salmon Habitat Restoration Strategy Summary. https://westsoundwatersheds.org/pdfs/Strategy_Summary_2005_final.pdf. Accessed December 23, 2020.

Kitsap Public Utility District. 1997. Kitsap County Initial Basin Assessment. October 1997. https://fortress.wa.gov/ecy/publications/documents/oftr9704a.pdf.

Kitsap Public Utility District. 2018. Seabold Potential Seawater Intrusion Investigation. Information available at: Kitsap Public Utility District, 2019. Seabold Potential Seawater Intrusion Investigation. Accessed December 2020.

Kitsap Public Utility District. 2020. Data accessed from http://64.146.148.103/Kitsap_Hybrid_Maps/Kitsap_Mean_Rain.pdf. Accessed Nov 19, 2020.

Kitsap Public Utility District. 2020. Hydrological Data. Available at: http://kpudhydrodata.kpud.org/.

Krosby, M., Hegewisch, K.C., Norheim, R., Mauger, G., Yazzie, K., H. Morgan. 2018."Tribal Climate Tool" web tool. Climate Impacts Group (https://cig.uw.edu/resources/tribal-vulnerability-assessment-resources/) and NW Climate Toolbox (https://climatetoolbox.org/) accessed on May 25, 2020.

Kuttel, Michael. 2003. Salmonid Habitat Limiting Factors Water Resource Inventory Area 15, (West), Kitsap Basin and 14 (North), Kennedy-Goldsborough Basin. Washington Conservation Commission. June 2003.

Mauger, G.S., J.H. Casola, H.A. Morgan, R.L. Strauch, B. Jones, B. Curry, T.M. Busch Isaksen, L. Whitely Binder, M.B. Krosby, and A.K. Snover. 2015. State of Knowledge: Climate Change in Puget Sound. Report prepared for the Puget Sound Partnership and the National Oceanic and Atmospheric Administration. Climate Impacts Group, University of Washington, Seattle. doi:10.7915/CIG93777D

May, C.W. and G. Peterson. 2003. Kitsap Salmonid Refugia Report. Available: https://salishsearestoration.org/images/c/c7/May_%26_Peterson_2003_kitsap_salmon_refugia_report.pdf

Minter Creek Watershed Strategies Group (MCWSG). 2014. Minter Creek Watershed Strategies: A Coordinated Approach to Land Use Planning in the Watershed. March 2014.

Moore, G. W., Bond, B. J., Jones, J. A., Phillips, N., & Meinzer, F. C. 2004. Structural and compositional controls on transpiration in 40-and 450-year-old riparian forests in western Oregon, USA. Tree physiology, 24(5), 481-491.

Nisqually Watershed Planning Unit. 2019. Nisqually Watershed Response to the 2018 Streamflow Restoration Act (RCW 90.94): Addendum to the Nisqually Watershed Management Plan. Olympia, WA.

Northwest Indian Fisheries Commission. 2014. Understanding Tribal Treaty Rights in Western Washington. Available: https://nwifc.org/w/wp-content/uploads/downloads/2014/10/understanding-treaty-rights-final.pdf.

Northwest Indian Fisheries Commission. 2016. State of Our Watersheds Report. Available: State of Our Watersheds 2016 (nwifc.org).

Northwest Indian Fisheries Commission. 2019. Annual Report: Treaty Indian Tribes in Western Washington. Available: https://nwifc.org/publications/annual-report/

NOAA (National Oceanic and Atmospheric Administration, National Marine Fisheries Service). 2007. Puget Sound Salmon Recovery Plan. Volume I. Adopted by the National Marine Fisheries Service, January 19, 2007.

NOAA (National Oceanic and Atmospheric Administration, National Marine Fisheries Service).  2019. ESA Recovery Plan for the Puget Sound Steelhead Distinct Population Segment (Oncorhynchus mykiss). December 30, 2019. Available from: https://www.fisheries.noaa.gov/resource/document/esa-recovery-plan-puget-sound-steelhead-distinct-population-segment-oncorhynchus.

NRCS (Natural Resource Conservation Service). 1997. Washington Irrigation Guide (WAIG). U.S. Department of Agriculture.

NSD and ICF (Natural Systems Design and ICF). 2014. Chico Creek Watershed Assessment for the Identification of Restoration and Protection Actions. Prepared for the Suquamish Tribe. Available at: http://westsoundwatersheds.org/default.aspx?ID=2.

Pacheco, Jim. 2020. Personal Correspondence, August 21, 2020.

Perry, T.D. and Jones, J. A. 2016. Summer streamflow deficits from regenerating Douglas-fir forest in the Pacific Northwest, USA. Ecohydrology, doi: 10.1002/eco.1790.

Pierce County. 2005. Pierce County Public Works and Utilities Gig Harbor Basin Plan – Volume 1 – Basin Plan and SEIS. Available from: https://www.co.pierce.wa.us/ArchiveCenter/ViewFile/Item/1218.

Pierce County. 2015. Pierce County Comprehensive Plan: Gig Harbor Community Plan Background. Available from: https://www.co.pierce.wa.us/AgendaCenter/ViewFile/Item/793?fileID=976.

Puget Sound Partnership. 2018. The 2018-2022 Action Agenda for Puget Sound. Available: https://www.govlink.org/sc-puget-sound-action-area/Index.htm.

Puget Sound Partnership. 2020. Action Agenda. Available from: https://actionagenda.pugetsoundinfo.wa.gov/Project/Detail/13327.

Puget Sound Regional Council. 2019. Vision 2050 (Draft). Available at: https://www.psrc.org/sites/default/files/draft-vision2050-mpp-rgs.pdf.

Revised Code of Washington (RCW). 2019. Streamflow Restoration, Chapter 90.94 RCW. Accessed on June 23, 2019. Available: https://app.leg.wa.gov/RCW/default.aspx?cite=90.94.

Revised Code of Washington (RCW). 2019. Watershed Planning, Chapter 90.82 RCW. Accessed on June 23, 2019. Available: https://app.leg.wa.gov/rcw/default.aspx?cite=90.82.

Segura, C., Bladon, K.D., Hatten, J.A., Jones, J.A., Hale, C., Ice, G.G. 2020. Long-term effects of forest harvesting on summer low flow deficits in the Coast Range of Oregon. Journal of Hydrology, Volume 585, June 2020.

Shared Strategy. 2007. Puget Sound Salmon Recovery Plan. Adopted by the National Marine Fisheries Service, January 19, 2007.

Suquamish Tribe. 2016. State of Our Watersheds Report, Kitsap Basin. Available: https://geo.nwifc.org/SOW/SOW2016_Report/Suquamish.pdf.

U.S. Geological Survey and U.S. Department of Agriculture, Natural Resources Conservation Service (USGS). 2013. Federal Standards and Procedures for the National Watershed Boundary Dataset (WBD) (4 ed.): Techniques and Methods 11–A3, 63 p., https://pubs.usgs.gov/tm/11/a3/.

Washington State Department of Ecology (Ecology). 1981. Instream Resources Protection Program Kitsap.

Washington State Department of Ecology (Ecology). 2002. Union River Fecal Coliform Total Maximum Daily Load Submittal Report. Publication Number 01-10-022.

Washington State Department of Ecology (Ecology). 2003. Washington Water Acquisition Program. Publication No. 03-11-005. March 2003. Available: https://www.whatcomcounty.us/DocumentCenter/View/4760/Exhibit-9-PDF?bidId=.

Washington State Department of Ecology (Ecology). 2012. Sinclair and Dyes Inlets Fecal Coliform Bacteria Total Maximum Daily Load: TMDL and Water Quality Implementation Plan. Publication Number 11-10-051.

Washington State Department of Ecology (Ecology). 2014. Liberty Bay Watershed Fecal Coliform Bacteria Total Maximum Daily Load: TMDL and Water Quality Implementation Plan. Publication Number 13-10-014.

Washington State Department of Ecology (Ecology). 2019a. Streamflow Restoration Policy and Interpretive Statement. July 31, 2019. Available: https://appswr.ecology.wa.gov/docs/WaterRights/wrwebpdf/pol-2094.pdf.

Washington State Department of Ecology (Ecology). 2019b. Final Guidance for Determining Net Ecological Benefit, GUID-2094 Water Resources Program Guidance. Washington State, Department of Ecology, Publication 19-11-079.

Washington State Department of Ecology (Ecology). 2020a. Current EPA-Approved Water Quality Assessment. Queried on August 21, 2020. https://ecology.wa.gov/Water-Shorelines/Water-quality/Water-improvement/Assessment-of-state-waters-303d/EPA-approved-assessment.

Washington State Department of Ecology (Ecology). 2020b. Focus on: How the Foster decision affects our work. July, 2020. Available: https://fortress.wa.gov/ecy/publications/documents/2011083.pdf.

Washington Department of Ecology. 2020c. Existing Washington State permit-exempt well metering programs and metering data from permit-exempt wells. April 17, 2020.

Washington State Department of Ecology (Ecology). 2020. Water Availability. Copyright © 1994-2020. Washington State Department of Ecology. All rights reserved. Web Communications Manager, Washington State Department of Ecology, PO Box 47600, Olympia, WA 98504-7600, 360-407-6590. Available: https://ecology.wa.gov/Water-Shorelines/Water-supply/Water-availability.

Ecology (Washington Department of Ecology). 2020. 303(d) Listed Waterbodies. Available at: https://ecology.wa.gov/Water-Shorelines/Water-quality/Water-improvement/Assessment-of-state-waters-303d.

Washington Department of Ecology. 2020. Water Rights Viewer. Available from: https://appswr.ecology.wa.gov/waterresources/map/WaterResourcesExplorer.aspx.

Washington State Department of Fish and Wildlife. 2020. SalmonScape Web Map. Accessed August 18, 2020. Accessed at: http://apps.wdfw.wa.gov/salmonscape/.

Washington State Department of Fish and Wildlife. 2020. Salmonscape mapping of fish distribution. Available at: http://apps.wdfw.wa.gov/salmonscape/.

Washington State Department of Fish and Wildlife. 2020. Statewide Washington Integrated Fish Distribution. Available at: http://geo.wa.gov/datasets/4ed1382bad264555b018cc8c934f1c01_0?geometry=-122.777%2C47.430%2C-122.518%2C47.471.

Washington State Department of Fisheries. 1975. “A Catalog of Washington Streams and Salmon Utilization, WRIA 15.” Accessed at: https://www.streamnetlibrary.org/?page_id=95.

Water Resource Inventory Area (WRIA) 15. 1981. Including Proposed Administrative Rules. Prepared by Water Resources Policy Development Section, WA State Department of Ecology. June 1981.

Welch, W.B, L.M. Frans, and T.D. Olsen. 2014. Hydrogeologic Framework, Groundwater Movement and Water Budget of the Kitsap Peninsula, West-Central Washington, Scientific Investigation Report 2014-5106.

West Central Local Integrating Organization. 2016. Ecosystem Recovery Plan. December 29, 2016. Available from: https://pspwa.app.box.com/s/nxli7o61pnjxx4rkmo7nokcjh9huc0kf/file/293115183651.

West Sound Watershed Council. 2005. East Kitsap Peninsula WRIA 15 Salmon Habitat Restoration Strategy Summary. Available from: https://westsoundwatersheds.org/pdfs/Strategy_Summary_2005_final.pdf

Wild Fish Conservancy. 2014. Watertyping Interactive Maps. West Sound Watersheds, Kitsap Peninsula (WRIA 15). Available from: http://www.moonlitgeo.com/wfc/?lat=47.785&lng=-122.54&zoom=12.

Wydoski, R.S. and R.R. Whitney. 2003. Inland Fishes of Washington. American Fisheries Society and University of Washington Press. 332 pp.

### Glossary

Acre-feet (AF): A unit of volume equal to the volume of a sheet of water one acre in area and one foot in depth. (USGS)

Adaptive Management: An iterative and systematic decision-making process that aims to reduce uncertainty over time and help meet project, action, and plan performance goals by learning from the implementation and outcomes of projects and actions. (NEB)

Annual Average Withdrawal: RCW 90.94.030 (4)(a)(vi)(B) refers to the amount of water allowed for withdrawal per connection as the annual average withdrawal. As an example, a homeowner could withdraw 4,000 gallons on a summer day, so long as they did not do so often enough that their annual average exceeds the 950 gpd.

Beaver Dam Analogue (BDA): BDAs are man-made structures designed to mimic the form and function of a natural beaver dam. They can be used to increase the probability of successful beaver translocation and function as a simple, cost-effective, non-intrusive approach to stream restoration. (From Anabranch Solutions)

Critical Flow Period: The time period of low streamflow (generally described in bi-monthly or monthly time steps) that has the greatest likelihood to negatively impact the survival and recovery of threatened or endangered salmonids or other fish species targeted by the planning group. The planning group should discuss with Ecology, local tribal and WDFW biologists to determine the critical flow period in those reaches under the planning group’s evaluation. (NEB)

Cubic feet per second (CFS): A rate of the flow in streams and rivers. It is equal to a volume of water one foot high and one foot wide flowing a distance of one foot in one second (about the size of one archive file box or a basketball). (USGS)

Domestic Use: In the context of Chapter 90.94 RCW, “domestic use” and the withdrawal limits from permit-exempt domestic wells include both indoor and outdoor household uses, and watering of a lawn and noncommercial garden. (NEB)

ESSB 6091: In January 2018, the Legislature passed Engrossed Substitute Senate Bill (ESSB) 6091 in response to the Hirst decision. In the Whatcom County vs. Hirst, Futurewise, et al. decision (often referred to as the "Hirst decision"), the court ruled that the county failed to comply with the Growth Management Act requirements to protect water resources. The ruling required the county to make an independent decision about legal water availability. ESSB 6091 addresses the court’s decision by allowing landowners to obtain a building permit for a new home relying on a permit-exempt well. ESSB 6091 is codified as Chapter 90.94 RCW. (ECY)

Evolutionarily Significant Unit (ESU):  A population of organisms that is considered distinct for purposes of conservation. For Puget Sound Chinook, the ESU includes naturally spawned Chinook salmon originating from rivers flowing into Puget Sound from the Elwha River (inclusive) eastward, including rivers in Hood Canal, South Sound, North Sound and the Strait of Georgia. Also, Chinook salmon from 26 artificial propagation programs. (NOAA)

Foster Pilots and Foster Task Force: To address the impacts of the 2015 Foster decision, Chapter 90.94 RCW established a Task Force on Water Resource Mitigation and authorized the Department of Ecology to issue permit decisions for up to five water mitigation pilot projects. These pilot projects will address issues such as the treatment of surface water and groundwater appropriations and include management strategies to monitor how these appropriations affect instream flows and fish habitats. The joint legislative Task Force will (1) review the treatment of surface water and groundwater appropriations as they relate to instream flows and fish habitat, (2) develop and recommend a mitigation sequencing process and scoring system to address such appropriations, and (3) review the Washington Supreme Court decision in Foster v. Department of Ecology. The Task Force is responsible for overseeing the five pilot projects. (ECY)

Four Year Work Plans: Four year plans are developed by salmon recovery lead entities in Puget Sound to describe each lead entity’s accomplishments during the previous year, to identify the current status of recovery actions, any changes in recovery strategies, and to propose future actions anticipated over the next four years. Regional experts conduct technical and policy reviews of each watershed’s four year work plan update to evaluate the consistency and appropriate sequencing of actions with the Puget Sound Salmon Recovery Plan. (Partnership)

Gallons per day (GPD): An expression of the average rate of domestic and commercial water use. 1 million gallons per day is equivalent to 1.547 cubic feet per second.

Group A public water systems: Group A water systems have 15 or more service connections or serve 25 or more people per day. Chapter 246-290 WAC (Group A Public Water Supplies), outlines the purpose, applicability, enforcement, and other policies related to Group A water systems. (WAC)

Group B public water systems: Group B public water systems serve fewer than 15 connections and fewer than 25 people per day. Chapter 246-291 WAC (Group B Public Water Systems), outlines the purpose, applicability, enforcement, and other policies related to Group B water systems. (WAC)

Growth Management Act (GMA): Passed by the Washington Legislature and enacted in 1990, this act guides planning for growth and development in Washington State. The act requires local governments in fast growing and densely populated counties to develop, adopt, and periodically update comprehensive plans.

Home: A general term referring to any house, household, or other Equivalent Residential Unit. (Policy and Interpretive Statement)

Hydrologic Unit Code (HUC): Hydrologic unit codes refer to the USGS’s division and sub-division of the watersheds into successively smaller hydrologic units. The units are classified into four levels: regions, sub-regions, accounting units, and cataloging units, and are arranged within each other from the largest geographic area to the smallest. Each unit is classified by a unit code (HUC) composed of two to eight digits based on the four levels of the classification in the hydrologic unit system (two digit units are largest, and eight digits are smallest). (USGS)

Impact: For the purpose of streamflow restoration planning, impact is the same as new consumptive water use (see definition below). As provided in Ecology WR POL 2094 “Though the statute requires the offset of ‘consumptive impacts to instream flows associated with permit-exempt domestic water use’ (RCW 90.94.020(4)(b)) and 90.94.030(3)(b)), watershed plans should address the consumptive use of new permit-exempt domestic well withdrawals. Ecology recommends consumptive use as a surrogate for consumptive impact to eliminate the need for detailed hydrogeologic modeling, which is costly and unlikely feasible to complete within the limited planning timeframes provided in chapter 90.94 RCW. ” (NEB)

Instream Flows and Instream Flow Rule (IFR): Instream flows are a specific flow level measured at a specific location in a given stream. Seasonal changes cause natural stream flows to vary throughout the year, so instream flows usually vary from month to month rather that one flow rate year-round. State law requires that enough water in streams to protect and preserve instream resources and uses. The Department of Ecology sets flow levels in administrative rules. Once instream flow levels are established in a rule, they serve as a water right for the stream and the resources that depend on it. Instream flow rules do not affect pre-existing, or senior, water rights; rather, they protect the river from future withdrawals. Once an instream flow rule is established, the Department of Ecology may not issue water rights that would impair the instream flow level. (ECY)Instream flows are a specific flow level measured at a specific location in a given stream. Seasonal changes cause natural stream flows to vary throughout the year, so instream flows usually vary from month to month rather than one flow rate year-round.Instream flows are a specific flow level measured at a specific location in a given stream. Seasonal changes cause natural stream flows to vary throughout the year, so instream flows usually vary from month to month rather than one flow rate year-round.Instream flows are a specific flow level measured at a specific location in a given stream. Seasonal changes cause natural stream flows to vary throughout the year, so instream flows usually vary from month to month rather than one flow rate year-round.Instream flows are a specific flow level measured at a specific location in a given stream. Seasonal changes cause natural stream flows to vary throughout the year, so instream flows usually vary from month to month rather than one flow rate year-round.

Instream Resources Protection Program (IRPP): The IRPP was initiated by the Department of Ecology in September 1978 with the purpose of developing and adopting instream resource protection measures for Water Resource Inventory Areas (WRIAs) (see definition below) in Western Washington as authorized in the Water Resources Act of 1971 (RCW 90.54), and in accordance with the Water Resources Management Program (WAC 175-500).

Instream Resources: Fish and related aquatic resources. (NEB)

Large woody debris (LWD): LWD refers to the fallen trees, logs and stumps, root wads, and piles of branches along the edges of streams, rivers, lakes and Puget Sound. Wood helps stabilize shorelines and provides vital habitat for salmon and other aquatic life. Preserving the debris along shorelines is important for keeping aquatic ecosystems healthy and improving the survival of native salmon. (King County)

Lead Entities (LE): Lead Entities are local, citizen-based organizations in Puget Sound that coordinate salmon recovery strategies in their local watershed. Lead entities work with local and state agencies, tribes, citizens, and other community groups to adaptively manage their local salmon recovery chapters and ensure recovery actions are implemented. (Partnership)

Listed Species: Before a species can receive the protection provided by the Endangered Species Act (ESA), it must first be added to the federal lists of endangered and threatened wildlife and plants. The List of Endangered and Threatened Wildlife (50 CFR 17.11) and the List of Endangered and Threatened Plants (50 CFR 17.12) contain the names of all species that have been determined by the U.S. Fish and Wildlife Service (Service) or the National Marine Fisheries Service (for most marine life) to be in the greatest need of federal protection. A species is added to the list when it is determined to be endangered or threatened because of any of the following factors: the present or threatened destruction, modification, or curtailment of its habitat or range; overutilization for commercial, recreational, scientific, or educational purposes; disease or predation; the inadequacy of existing regulatory mechanisms; or other natural or manmade factors affecting its survival. (USFWS)

Local Integrating Organizations (LIO): Local Integrating Organizations are local forums in Puget Sound that collaboratively work to develop, coordinate, and implement strategies and actions that contribute to the protection and recovery of the local ecosystem. Funded and supported by the Puget Sound Partnership, the LIOs are recognized as the local expert bodies for ecosystem recovery in nine unique ecosystems across Puget Sound. (Partnership)

Low Impact Development (LID): Low Impact Development (LID) is a stormwater and land-use management strategy that tries to mimic natural hydrologic conditions by emphasizing techniques including conservation, use of on-site natural features, site planning, and distributed stormwater best management practices (BMPs) integrated into a project design. (ECY)

Managed Aquifer Recharge (MAR): Managed aquifer recharge projects involve the addition of water to an aquifer through infiltration basins, injection wells, or other methods. The stored water can then be used to benefit stream flows, especially during critical flow periods. (NEB)

National Pollutant Discharge Elimination System (NPDES): The NPDES permit program addresses water pollution by regulating point sources that discharge pollutants to waters of the United States. Created by the Clean Water Act in 1972, the EPA authorizes state governments to perform many permitting, administrative, and enforcement aspects of the program. (EPA)

Net Ecological Benefit (NEB): Net Ecological Benefit is a term used in ESSB 6091 as a standard that watershed plans (see below for definition) must meet. The outcome that is anticipated to occur through implementation of projects and actions in a plan to yield offsets that exceed impacts within: a) the planning horizon; and, b) the relevant WRIA boundary. See Final Guidance for Determining Net Ecological Benefit - Guid-2094 Water Resources Program Guidance. (NEB)

Net Ecological Benefit Determination: Occurs solely upon Ecology’s conclusion after its review of a watershed plan submitted to Ecology by appropriate procedures, that the plan does or does not achieves a NEB as defined in the Net Ecological Benefit guidance. The Director of Ecology will issue the results of that review and the NEB determination in the form of an order.(NEB)

Net Ecological Benefit Evaluation: A planning group’s demonstration, using NEB Guidance and as reflected in their watershed plan, that their plan has or has not achieved a NEB. (NEB)

New Consumptive Water Use: The consumptive water use from the permit-exempt domestic groundwater withdrawals estimated to be initiated within the planning horizon. For the purpose of RCW 90.94, consumptive water use is considered water that is evaporated, transpired, consumed by humans, or otherwise removed from an immediate water environment due to the use of new permit-exempt domestic wells. (NEB)

Office of Financial Management (OFM): OFM is a Washington state agency that develops official state and local population estimates and projections for use in local growth management planning. (OFM)

Offset: The anticipated ability of a project or action to counterbalance some amount of the new consumptive water use over the planning horizon. Offsets need to continue beyond the planning horizon for as long as new well pumping continues. (NEB)

Permit exempt wells: The Groundwater Code (RCW 90.44), identified four “small withdrawals” of groundwater as exempt from the permitting process. Permit-exempt groundwater wells often provide water where a community supply is not available, serving single homes, small developments, irrigation of small lawns and gardens, industry, and stock watering.

Permit-exempt uses: Groundwater permit exemptions allow four small uses of groundwater without a water right permit: domestic uses of less than 5,000 gallons per day, industrial uses of less than 5,000 gallons per day, irrigation of a lawn or non-commercial garden, a half-acre or less in size, or stock water. Although exempt groundwater withdrawals don’t require a water right permit, they are always subject to state water law. (ECY)

Planning groups: A general term that refers to either initiating governments, in consultation with the planning unit, preparing a watershed plan update required by Chapter 90.94.020 RCW, or a watershed restoration and enhancement committee preparing a plan required by Chapter 90.94.030 RCW. (NEB)

Planning Horizon: The 20-year period beginning on January 19, 2018 and ending on January 18, 2038, over which new consumptive water use by permit-exempt domestic withdrawals within a WRIA must be addressed, based on the requirements set forth in Chapter 90.94 RCW. (NEB)

Projects and Actions: General terms describing any activities in watershed plans to offset impacts from new consumptive water use and/or contribute to NEB. (NEB)

Puget Sound Acquisition and Restoration (PSAR) fund:  This fund supports projects that recover salmon and protect and recover salmon habitat in Puget Sound. The state legislature appropriates money for PSAR every 2 years in the Capital Budget. PSAR is co-managed by the Puget Sound Partnership and the Recreation and Conservation Office, and local entities identify and propose PSAR projects. (Partnership)

Puget Sound Partnership (Partnership): The Puget Sound Partnership is the state agency leading the region’s collective effort to restore and protect Puget Sound and its watersheds. The organization brings together hundreds of partners to mobilize partner action around a common agenda, advance Sound investments, and advance priority actions by supporting partners. (Partnership)

Puget Sound Regional Council (PSRC): PSRC develops policies and coordinates decisions about regional growth, transportation and economic development planning within King, Pierce, Snohomish and Kitsap counties. (PSRC)

RCW 90.03 (Water Code): This chapter outlines the role of the Department of Ecology in regulating and controlling the waters within the state. The code describes policies surrounding surface water and groundwater uses, the process of determining water rights, compliance measures and civil penalties, and various legal procedures.

RCW 90.44 (Groundwater Regulations): RCW 90.44 details regulations and policies concerning groundwater use in Washington state, and declares that public groundwaters belong to the public and are subject to appropriation for beneficial use under the terms of the chapter. The rights to appropriate surface waters of the state are not affected by the provisions of this chapter.

RCW 90.54 (Addresses groundwater permit exemption): This code states that any withdrawal of public groundwaters after June 6, 1945 must have an associated water right from the Department of Ecology. However, any withdrawal of public groundwaters for stock-watering purposes, or for the watering of a lawn or of a noncommercial garden not exceeding one-half acre in area, or for single or group domestic uses in an amount not exceeding five thousand gallons a day, or for an industrial purpose in an amount not exceeding five thousand gallons a day, is exempt from the provisions of this section and does not need a water right.

RCW 90.82 (Watershed Planning): Watershed Planning was passed in 1997 with the purpose of developing a more thorough and cooperative method of determining what the current water resource situation is in each water resource inventory area of the state and to provide local citizens with the maximum possible input concerning their goals and objectives for water resource management and development.

RCW 90.94 (Streamflow Restoration): This chapter of the Revised Code of Washington codifies ESSB 6091, including watershed planning efforts, streamflow restoration funding program and the joint legislative task force on water resource mitigation and mitigation pilot projects (Foster task force and pilot projects).

Reasonable Assurance: Explicit statement(s) in a watershed plan that the plan’s content is realistic regarding the outcomes anticipated by the plan, and that the plan content is supported with scientifically rigorous documentation of the methods, assumptions, data, and implementation considerations used by the planning group. (NEB)

Revised Code of Washington (RCW):  The revised code is a compilation of all permanent laws now in force for the state of Washington. The RCWs are organized by subject area into Titles, Chapters, and Sections.

Salmon Recovery Funding Board (SRFB):  Pronounced “surfboard”, this state and federal board provides grants to protect and restore salmon habitat. Administered by a 10-member State Board that includes five governor-appointed citizens and five natural resource agency directors, the board brings together the experiences and viewpoints of citizens and the major state natural resource agencies. For watersheds planning under Section 203, the Department of Ecology will submit final draft WRE Plans not adopted by the prescribed deadline to SRFB for a technical review (RCO and  Policy and Interpretive Statement).

Section 202 or Section 020: Refers to Section 202 of ESSB 6091 or Section 020 of RCW 90.94 respectively. The code provides policies and requirements for new domestic groundwater withdrawals exempt from permitting with a potential impact on a closed water body and potential impairment to an instream flow. This section includes WRIAs 1, 11, 22, 23, 49, 59 and 55, are required to update watershed plans completed under RCW 90.82 and to limit new permit-exempt withdrawals to 3000 gpd annual average.

Section 203 or Section 030: Refers to Section 203 of ESSB 6091 or Section 030 of RCW 90.94 respectively. The section details the role of WRE committees and WRE plans (see definitions below) in ensuring the protection and enhancement of instream resources and watershed functions. This section includes WRIAs 7, 8, 9, 10, 12, 13, 14 and 15. New permit-exempt withdrawals are limited to 950 gpd annual average.

SEPA and SEPA Review: SEPA is the State Environmental Policy Act. SEPA identifies and analyzes environmental impacts associated with governmental decisions. These decisions may be related to issuing permits for private projects, constructing public facilitates, or adopting regulations, policies, and plans. SEPA review is a process which helps agency decision-makers, applications, and the public understand how the entire proposal will affect the environment. These reviews are necessary prior to Ecology adopting a plan or plan update and may be completed by Ecology or by a local government. (Ecology)

Subbasins: A geographic subarea within a WRIA, equivalent to the words “same basin or tributary” as used in RCW 90.94.020(4)(b) and RCW 90.94.030 (3)(b). In some instances, subbasins may not correspond with hydrologic or geologic basin delineations (e.g. watershed divides). (NEB)

Trust Water Right Program:  The program allows the Department of Ecology to hold water rights for future uses without the risk of relinquishment. Water rights held in trust contribute to streamflows and groundwater recharge, while retaining their original priority date. Ecology uses the Trust Water Right Program to manage acquisitions and accept temporary donations. The program provides flexibility to enhance flows, bank or temporarily donate water rights. (ECY)

Urban Growth Area (UGA): UGAs are unincorporated areas outside of city limits where urban growth is encouraged. Each city that is located in a GMA fully-planning county includes an urban growth area where the city can grow into through annexation. An urban growth area may include more than a single city. An urban growth area may include territory that is located outside of a city in some cases. Urban growth areas are under county jurisdiction until they are annexed or incorporated as a city. Zoning in UGAs generally reflect the city zoning, and public utilities and roads are generally built to city standards with the expectation that when annexed, the UGA will transition seamlessly into the urban fabric. Areas outside of the UGA are generally considered rural. UGA boundaries are reviewed and sometimes adjusted during periodic comprehensive plan updates. UGAs are further defined in RCW 36.70.

WAC 173-566 (Streamflow Restoration Funding Rule): On June 25, 2019 the Department of Ecology adopted this rule for funding projects under RCW 90.94. This rule establishes processes and criteria for prioritizing and approving grants consistent with legislative intent, thus making Ecology’s funding decision and contracting more transparent, consistent, and defensible.

Washington Administrative Code (WAC): The WAC contains the current and permanent rules and regulations of state agencies. It is arranged by agency and new editions are published every two years. ( Washington State Legislature)

Washington Department of Ecology (DOE/ECY): The Washington State Department of Ecology is an environmental regulatory agency for the State of Washington. The department administers laws and regulations pertaining to the areas of water quality, water rights and water resources, shoreline management, toxics clean-up, nuclear and hazardous waste, and air quality.

Washington Department of Fish and Wildlife (WDFW): An agency dedicated to preserving, protecting, and perpetuating the state’s fish, wildlife, and ecosystems while providing sustainable fish and wildlife recreational and commercial opportunities. Headquartered in Olympia, the department maintains six regional offices and manages dozens of wildlife areas around the state, offering fishing, hunting, wildlife viewing, and other recreational opportunities for the residents of Washington. With the tribes, WDFW is a co-manager of the state salmon fishery. (WDFW)

Washington Department of Natural Resources (WADNR or DNR): The department manages over 3,000,000 acres of forest, range, agricultural, and commercial lands in the U.S. state of Washington. The DNR also manages 2,600,000 acres of aquatic areas which include shorelines, tidelands, lands under Puget Sound and the coast, and navigable lakes and rivers. Part of the DNR's management responsibility includes monitoring of mining cleanup, environmental restoration, providing scientific information about earthquakes, landslides, and ecologically sensitive areas. (WADNR)

Water Resources (WR): The Water Resources program at Department of Ecology supports sustainable water resources management to meet the present and future water needs of people and the natural environment, in partnership with Washington communities. (ECY)

Water Resources Advisory Committee (WRAC): Established in 1996, the Water Resources Advisory Committee is a forum for issues related to water resource management in Washington State. This stakeholder group is comprised of 40 people representing state agencies, local governments, water utilities, tribes, environmental groups, consultants, law firms, and other water stakeholders. (ECY)

Watershed Plan: A general term that refers to either: a watershed plan update prepared by a WRIA’s initiating governments, in collaboration with the WRIA’s planning unit, per RCW 90.94.020; or a watershed restoration and enhancement plan prepared by a watershed restoration and enhancement committee, per RCW 90.94.030. This term does not refer to RCW 90.82.020(6). (NEB)

Watershed Restoration and Enhancement Plan (WRE Plan):  The Watershed Restoration and Enhancement Plan is directed by Section 203 of ESSB 6091 and requires that by June 30, 2021, the Department of Ecology will prepare and adopt a watershed restoration and enhancement plan for WRIAs 7, 8, 9, 10, 12, 13, 14 and 15, in collaboration with the watershed restoration and enhancement committee. The plan should, at a minimum, offset the consumptive impact of new permit-exempt domestic water use, but may also include recommendations for projects and actions that will measure, protect, and enhance instream resources that support the recovery of threatened and endangered salmonids. Prior to adoption of an updated plan, Department of Ecology must determine that the actions in the plan will result in a “net ecological benefit” to instream resources in the WRIA. The planning group may recommend out-of-kind projects to help achieve this standard.

WRIA: Water Resource Inventory Area. WRIAs are also called basins or watersheds. There are 62 across the state and each are assigned a number and name. They were defined in 1979 for the purpose of monitoring water availability. A complete map is available here: https://ecology.wa.gov/Water-Shorelines/Water-supply/Water-availability/Watershed-look-up

## Appendices

Still in development and need cross referencing with text.

### Appendix A – Committee Roster

| Entity Representing | Primary Representative Name | First Alternate Name |
| --- | --- | --- |
| Kitsap County | Dave Ward | Kathy Peters |
| Mason County | Randy Neatherlin | Kevin Shutty, David Windom |
| Pierce County | Dan Cardwell | Austin Jennings |
| Puyallup Tribe | David Winfrey |  |
| Skokomish Tribe | Alex Gouley | Seth Book, Dana Sarff |
| Squaxin Island Tribe | Jeff Dickison | Paul Pickett |
| Suquamish Tribe | Leonard Forsman | Alison O'Sullivan |
| Port Gamble S'Klallam Tribe | Sam Phillips | Paul McCollum |
| City of Port Orchard | Jacki Brown | Mark Dorsey, Zach Holt |
| City of Bremerton | Teresa Smith | Allison Satter |
| City of Gig Harbor | Trent Ward | Jeff Langhelm, Brienn Ellis |
| City of Bainbridge Island | Michael Michael | Christian Berg |
| Kitsap Public Utility District | Joel Purdy | Mark Morgan |
| Department of Fish and Wildlife | Brittany Gordon | Nam Siu |
| Department of Ecology | Stacy Vynne McKinstry | Stephanie Potts |
| King County | Greg Rabourn |  |
| Kitsap Building Association | Russ Shiplet | Ellen Ross-Cardoso |
| Kitsap Conservation District | Joy Garitone | Brian Stahl |
| Great Peninsula Conservancy | Nathan Daniel | Erik Steffens |
| Mason-Kitsap Farm Bureau ex officio | Larry Boltz |  |
| Washington Water Service ex officio | Shawn O'Dell |  |

### Appendix B – Operating Principles

Watershed Restoration Enhancement Committee

Water Resource Inventory Area (WRIA) 15

Operating Principles

Approved Version Sent for Signature February 12, 2019

Revised and Approved August 6, 2020

SECTION 1: PURPOSE

The purpose of the operating principles is to establish the watershed restoration and enhancement committee, as authorized under RCW 90.94.030, for the purpose of developing the watershed restoration and enhancement plan. The document sets forward a process for meeting, participation expectations, procedures for voting, structure of the Committee, communication and other needs in order to support the Committee in reaching agreement on a final plan.

Section 2. Agreement and amendments to the operating Principles

The formal establishment of an agreement to the operating principles will take place via a member decision, with all members of the watershed restoration and enhancement committee (Committee) approving the operating principles. Participants will work in good faith to participate productively in the development of the operating principles. By approving the operating principles, members of the Committee agree to uphold the principles as outlined in this document.

The Committee may review the operating principles periodically. Any member of the Committee may bring forward a recommendation for an amendment to the operating principles. Amendments will be brought for discussion when a quorum (2/3 of the membership) is present and take effect only if decided on unanimously by the full Committee for inclusion in the operating principles.

Nothing contained herein or in any amendment developed under the Agreement shall prejudice the legal claims of any party hereto, nor shall participation in this planning process abrogate any party’s authority or the reserved or other rights of tribal governments, except where the obligation has been accepted in writing.

Section 3.PARTICIPATION expectations And Ground Rules

Participation expectations

Each entity invited by Ecology to participate on the Committee, and which has responded indicating their commitment to participate, shall identify a representative and up to two alternates to participate on the Committee. Committee members will, in good faith and using their best professional judgement:

- Actively participate in Committee meetings;

- Review materials in preparation for the meetings;

- Review materials following the meetings;

- Engage in workgroups (if applicable);

- Come prepared for discussions and decisions (when applicable); and

- Commit to implementing the Committee ground rules (see below).

The chair will consult with the Committee to ensure that adequate time is given for review of materials. The chair will provide meeting materials at least 7 days before meetings, with additional time given for longer documents. The chair recognizes that members may need to discuss decisions with their organizations prior to bringing forward a decision to the Committee and the chair and facilitator will work with Committee members to establish reasonable review time for materials prior to reaching a decision. Members of the Committee will actively work with their decision making authorities to receive feedback on decisions in a timely manner as to not delay decisions coming before the Committee. When possible, Committee members will provide the chair reasonable notice if additional review time is needed prior to making a decision.

Committee meetings will take place on a monthly basis for an initial period, with the interval of meetings being modified as needed to meet the deadlines (either more or less frequently). The chair will hold meetings at a convenient location in the watershed. Meetings are expected to last for approximately 4 hours, with the length modified as needed to meet deadlines.

The chair or facilitator will contact Committee members that miss meetings. A lack of participation does not mean the process to develop the plan will be stalled. However, it is recognized that if a quorum is not present, meetings may be cancelled or decisions postponed which may impact the overall timeline for plan approval. If an entity misses multiple meetings, the chair or facilitator will work with the entity to identify reasonable accommodations to support reengagement.

Remote Participation

It is the expectation that Committee representatives shall attend all meetings in person. In person participation is essential to efficiency, clarity, and honest communication. Although it should not be routine, remote participation can be accommodated when necessary to facilitate Committee member participation and when possible given technology availability. Remote participants may engage in decision-making; however the primary purpose of remote participation is listening to the Committee meeting, as it may be difficult to fully participate in discussion. If there are difficulties with technology, the chair’s priority is to continue the meeting with the in-person participants and not delay the meeting to address technology challenges. Representatives are strongly encouraged to attend meetings in-person.

The Committee chair will allow for remote participation (e.g. via phone, web, video conference) if:

- Notice is provided to the chair or facilitator at least 1 week in advance of the meeting (except in the case of emergencies such as illness, weather event, etc.), AND

- Representative and alternates are not available to attend in person, AND

- Meeting room accommodates remote participation.

If extraordinary events, such as a pandemic or natural disaster, require the committee to meet remotely, all meetings will be held remotely and the operating procedures will remain in force, except portions that assume in-person versus remote participation.

Ground rules

Water management is inherently complicated and the Committee is striving for consensus on the watershed restoration and enhancement plan. Therefore, given the range of members’ diverse perspectives, the Committee has established the following to ensure good faith and productive participation amongst its members:

- Be Respectful

- Listen when others are speaking. Do not interrupt and do not participate in side conversations. One person speaks at a time.

- Recognize the legitimacy of the concerns and interests of others, whether or not you agree with them.

- Cooperate with the facilitator to ensure that everyone is given equitable time to state their views. Present your views succinctly and try not to repeat or rephrase what others have already said.

- Silence cell phones and limit use of cell phones and laptops during the meeting.

- Respect other communication styles and needs.

- Assume good intent of other Committee members.

- Be Constructive

- Participate in the spirit of giving the same priority to solving the problems of others as you do to solving your own problems.

- Share comments that are solution focused. Avoid repeating past discussions.

- Do not engage in personal attacks or make slanderous statements. Do not give ultimatums.

- Ask for clarification if you are uncertain of what another person is saying. Ask questions rather than make assumptions.

- Work towards consensus. Identify areas of common ground and be willing to compromise.

- Minimize the use of jargon and acronyms. Attempt to use language observers and laypersons will understand.

- It is okay to disagree, but strive to reach common ground.

- Be Productive

- Adhere to the agenda. Respect time constraints and focus on the topic being discussed.

- Bring a Sense of Humor and Have Fun.

Interpersonal conflict resolution

In the event a conflict arises amongst members or established workgroups of the Committee, the following steps should be taken by individuals:

- Communicate directly with the person or persons whose actions are the cause of the conflict.

- If the circumstance is such that the person with a conflict is unable or unwilling to communicate directly with the person or persons whose actions are the cause of the conflict, the person shall speak with the Committee chair and facilitator.

- The conflict should first be brought up verbally. If this does not lead to satisfactory resolution, the impacted parties should describe the conflict in writing to the chair.

- If such matters are brought to the chair and facilitator, the chair in consultation with the facilitator, will address the conflict as appropriate and may seek outside or independent assistance as needed.

Section 4. Alternates, EX OFFICIO membership AND WORKGROUPs

Alternates

Committee members shall provide to the chair, in writing, up to two designated alternate committee members from their organization or government. Committee members shall inform the chair in writing of any changes to the main representative or alternates. If the primary representative cannot attend a meeting, they should, if possible, send the designated alternate and notify the Committee chair and the facilitator as early as possible. It is the responsibility of the primary representative to brief the alternate on previous meetings and key topics arising for discussion in order for the alternate to participate productively.

Representatives may call on alternates that attend the meeting at any time to speak. Only one representative from the government or entity shall sit at the table and participate in a decision. If the primary representative and alternates are no longer able to attend (staffing change, ongoing scheduling conflicts), the government or organization shall work with the chair to quickly identify alternative representation from the same government or organization. If no alternative representative is available from the government or organization, an alternate entity that can represent the same interest is allowed and shall be brought forward by the departing entity to the chair for approval. Replacement members are subject to latecomer provisions.

Latecomers

Ecology invited all entities identified in 90.94.030 to participate on the Committee and all entities in WRIA 15 have accepted the invitation to participate. A replacement entity is allowed to join the Committee at a later date under the following conditions:

- The entity cannot request to revisit items previously decided on by the Committee;

- The entity signs an intent to participate, provides primary and alternate Committee representatives;

- The entity agrees to and abides by the operating principles; and

- The entity joins the Committee and participates in meetings no later than six months prior to final plan approval.

Removal from the Committee

Entities must participate in the committee process after September 1, 2020 to retain membership on the committee. If an entity does not attend at least one committee or workgroup meeting over any three-month period it will be assumed they have withdrawn from the committee and will be removed as members, unless the member provides a written explanation and requests to remain on the committee. The Chair, via electronic communication, will inform any committee member who has not been participating for two months with this information to provide a minimum of one-month notice before removal.

Resignation from the Committee

If an entity no longer wishes to participate in the committee process or the final plan approval, they should send written notice (electronic or mailed notice) to the chair as early as possible prior to their resignation. Advance notice will support the chair and facilitator in managing consensus building and voting procedures.

Ex-Officio and Ad-Hoc Members

The Committee may decide by full consensus to invite an additional entity to join the Committee as an ex officio non-voting member. Ex Officio members are invited to sit at the Committee table and participate actively in discussions and review of documents, but shall not make decisions on any items.  Ex-officio members shall adhere to the operating procedures.

The Committee may decide by consensus to invite an individual or organization to participate in select meetings or agenda items where additional expertise or perspective is desired. Ad hoc members will be invited by the chair to sit at the Committee table, participate actively in discussions, and review of documents for the specified agenda items. They shall not make decisions on any items.

Workgroups and Advisory Groups

The Committee may establish workgroups or subcommittees as it sees fit. Workgroups may be temporary, established to achieve a specific purpose within a finite time frame, or a standing workgroup addressing the goals of the Committee. The decision to form a workgroup is not required by the legislation and may be developed at the discretion of the Committee or the chair in order to support Committee decision making. All Committee workgroups are workgroups of the whole, meaning their role is to support the efforts of the Committee and all Committee members are welcome to participate in any workgroup formed by the Committee. The chair or Committee may also engage established workgroups in the watershed or invite non-Committee members to participate on the workgroups if they bring capacity or expertise not available on the Committee. No binding decisions will be made by the workgroups; all issues discussed by workgroups shall be communicated to the Committee as either recommendations or findings as appropriate. The Committee may, or may not, act on these workgroup outcomes as it deems appropriate.

Section 5. Role of the chair and committee support

RCW 90.94.030 (2b) states that “The department shall chair the watershed restoration and enhancement committee…” Ecology’s streamflow restoration implementation lead chairs the Committee on behalf of the agency. In the event that the chair is unable to attend a scheduled meeting due to illness or other unanticipated absence, Ecology will designate an interim chair to avoid cancelling the meeting. The interim chair may make decisions coming before the Committee.

The chair shall make decisions on all items coming before the Committee. The role of the chair is to help the Committee complete the plan with the goal to attain full agreement from the Committee members. If full agreement cannot be obtained, the chair shall ensure all opinions inform future decision making for the final plan.

The chair, with assistance from Ecology technical staff, contractors, members of the Committee, and/or workgroups, shall prepare the watershed restoration and enhancement plan for the Committee’s review, comment, and approval.

Ecology may provide the Committee a facilitator. The role of the facilitator is to focus on process and support the Committee in productive discussions and decision-making. Ecology will provide administrative support for the Committee as well as technical assistance through Ecology staff and consultants.

Ecology may provide the Committee with technical support in the form of Ecology staff or hired consultants. Ecology will seek input from the Committee on consultant selection prior to entering into contract.

Section 6. Decision making

This planning process, by statutory design, brings a diversity of perspectives to the table. It is therefore important the Committee identifies a clear process for how it will make decisions. Committee members shall always strive for consensus, and when consensus cannot be reached, the chair and facilitator will document agreement and dissenting opinions. The reason why Committee members will strive for consensus is that the authorizing legislation requires that final plan itself must be approved by all members of the Committee prior to Ecology’s review (RCW 90.94.030[3] “…all members of a watershed restoration and enhancement committee must approve the plan prior to adoption”). Therefore it follows that consensus during the foundational decisions upon which the plan is constructed will serve as the best indicators of the Committee’s progress toward an approved plan.

Quorum

A quorum is constituted when two-thirds of the entities represented on the Committee are present (either in person or on the phone). A quorum must be present for decisions to occur. Each member of the Committee may record a single formal opinion.

Decisions leading up to the final plan approval

In recognition that consensus can be difficult to achieve and in some cases decisions need to be made within a limited period of time to stay on track to meet the plan deadline, the following process will be used to make decisions leading up to plan approval:

- The Committee will strive toward consensus. The levels of consensus include:

- I can say an unqualified "yes"!

- I can accept the decision.

- I can live with the decision.

- I do not fully agree with the decision; however, I will not block it.

- The Committee will spend adequate time for substantive discussion of issues prior to asking for a decision. After substantive discussion, the chair will ask consensus.

- When consensus cannot be reached, the facilitator will identify the members in disagreement at the meeting. The chair and/or facilitator will support coordination of the following actions, but the responsibility is on the disagreeing members. Disagreeing members agree to:

  - meet within seven days of the meeting;

  - develop a summary paper on the issue and needs; and

  - develop a draft timeline for resolution or a recommendation back to the Committee.

As appropriate, the chair and/or facilitator will work with the parties in disagreement to reach a resolution using whatever means are necessary and within reason (in person meetings, conference calls, identifying additional research needs, etc.). Members unable to reach consensus must agree to work cooperatively with the chair and facilitator in this process. The Committee recognizes that flexibility is needed in terms of timeline and presentation of resolution depending on the nature of the disagreement. If requested, Ecology may provide a facilitator to help develop the compromise language.

- If the compromise fails to reach consensus within the identified timeline, the Committee will agree to allow the process for developing the plan to move forward while the work toward consensus continues. The Committee agrees to revisit decisions where consensus is not reached at a later date.

- Throughout the process, the chair and facilitator will ensure that areas of concern and disagreement are documented within meeting summaries and other materials as necessary.

Decision process

- Thumbs up – approval

- Thumbs down – disapproval

- Thumbs sideways – (accept, can live with, will not object)

- Five fingers – abstain

The facilitator will record all decisions and, where there are dissenting or ambivalent opinions, the meeting summary will document the concerns.

Conflict of Interest

Committee members shall abstain from making a decision if they have a vested personal financial interest in a decision. The committee acknowledges that each entity represents stakeholders that have an interest in the outcomes of this process.

Electronic decision making

In the case a decision is needed prior to the next Committee meeting, the chair can request a opinion or decision via email or survey. This approach will only be used for time-critical items or when a quorum was not present to come to a decision. The chair will allow a minimum of 3 working days for responses. A non-response is considered an “abstention”.

The result of an electronic decision will be reported at the next Committee meeting and the chair or facilitator may request a decision to reaffirm the electronic decision.

Straw poll

From time to time, the chair or the facilitator may ask for a straw poll to gather information on group needs. These polls do not need to follow the formal decision-making protocols of this section. Informal polls will be used solely for information-gathering and will not result in a decision.

Letters of Support for Projects

The Committee may choose to submit a letter of support for streamflow restoration projects applying for funding through Ecology’s Streamflow Restoration Funding program or other sources. The decision to submit a letter of support on behalf of the Committee shall be by consensus. If the Committee does not approve a letter of support for a project, individual Committee representatives may submit a letter of support from their entity or government.

Final approval of the plan

RCW 90.94 (3) states that “… all members of a watershed restoration and enhancement committee must approve the plan prior to adoption.”   This means that each and all committee members get to record their decision (quorum is not applicable for final approval) and that all committee members must  support the plan in order for it to be approved and provided to Ecology for “net ecological benefit” review and potential adoption by Ecology.

The final plan approval will be shown by hands:

- Thumbs up – approval

- Thumbs down – disapproval

The final plan approval may also be given verbally or in writing when in-person participation is not possible:

- Approve

- Disapprove

The facilitator will record all decisions.

Section 7. Public comments and public meeting notice

The agenda will provide time for public comment at each meeting. Members of the public may only speak during public comment. The chair and facilitator will determine the time and extent of the public comment period based on the agenda for each meeting, with input from the Committee. While the Committee is not explicitly required to follow the requirements of the Open Public Meetings Act, reasonable efforts will be made to post information and materials on the pertinent website in a timely manner to keep the public informed.

Section 8. Committee and media communication

To support clear communication with the Committee, Ecology will:

- Operate a listserv  for Committee members and interested parties;

- Develop and manage a website for members of the Committee to access documents such as agendas, meeting summaries, technical reports, calendar, and other items as requested by the Committee;

- Conduct briefing calls with the Committee ahead of each meeting; and

- Conduct follow up calls with Committee members unable to attend meetings or with differing opinions.

The facilitator and Ecology shall prepare, distribute and post on the Committee webpage a written meeting summary for each Committee meeting within 10 business days of the last Committee meeting. The summary, at a minimum, will include a list of attendees, decisions, discussion points, assignments, and action items. If comments are cited in such summaries, each speaker will be identified as appropriate or requested. Meeting summaries will capture areas of agreement and disagreement within the group. The Committee will approve the meeting summary at the following meeting.

Communication with the media

When speaking to the media or other venues, the Committee members will clearly identify any opinions expressed as their personal opinions and not necessarily those of the other Committee members or the Committee as a whole. The Committee members will not attempt to speak for other members of the group or to characterize the positions of other members to the media or other venues. Comments to the media will be respectful of other Committee members.

Following significant accomplishments, the Committee may request Ecology to issue formal news releases or other media briefing materials. All releases and information given to the media will accurately represent the work of the Committee. Ecology will make every effort to provide the Committee with materials in advance for input, recognizing that media timelines may not allow for adequate review by the Committee.

### Appendix C – Aquifer Units within WRIA 15

| Aquifer | Description | Typical Thickness |
| --- | --- | --- |
| Qvr – Vashon Recessional Aquifer | Found at land surface where present, this aquifer consists of sand, gravel, and silt, with lenses of silt and clay derived from recessional glacial outwash. Presence is limited to former outwash channels, primarily found along major surface water drainages in the WRIA. | Thickness, where present, ranges from a few feet up to about 120 feet with an average of about 22 feet. |
| Qva – Vashon Advance Aquifer | This aquifer is mainly composed of deposits from the Vashon advance outwash (Qva). The deposits are usually well-sorted sand or sand and gravel, sometimes with lenses of silt or clay. The unit is generally unconfined, but confining conditions exist where the aquifer is fully saturated and overlain by the Vashon Till confining unit (Qvt). | The thickness typically ranges from 20 to about 240 feet, with some areas exceeding 300 feet. |
| QA1 – Sea-Level Aquifer | This aquifer consists primarily of glacial (pre-Vashon) sand and gravel with silt interbeds. This unit is generally confined by the overlying Upper Confining Unit (QC1). The upper surface of this aquifer ranges from several hundred feet below sea level to 300 feet above sea level, with an average elevation of about 20 feet. | The thickness typically ranges from 50 to about 250 feet, with an average of about 84 feet. |
| QA2 – Glaciomarine Aquifer | Composition of this aquifer ranges from sand and gravel to silt. This unit is confined by the overlying Middle Confining Unit (QC2). Few wells tap this aquifer, given its greater depth and lower productivity than the overlying Qvr and QA1 aquifers. The upper surface of this aquifer ranges from 600 feet below sea level to less than 200 feet below sea level. | The thickness typically ranges from less than 20 to more than 300 feet, with an average of about 85 feet. |
| QA3 – Deep Aquifer | This aquifer consists mostly of sand and gravel with silt interbeds. This unit is confined by the overlying Lower Confining Unit (QC3). The upper surface of this aquifer ranges from more than 900 feet below sea level to slightly more than 200 feet below sea level. | The thickness typically ranges from 50 to 350 feet, with an average of about 128 feet. |

### Appendix D – Surface Water Quality Assessments Category 4 and 5 Listings in WRIA 15

| WATERBODY | CURRENT CATEGORY | PARAMETER | TMDL_NAME | MEDIUM_NAME |
| --- | --- | --- | --- | --- |
| ANDERSON CREEK | 4C | Fish And Shellfish Habitat |  | Habitat |
| ANNAPOLIS CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4A | Bacteria | Sinclair & Dyes Inlets Tributaries Bacteria TMDL | Water |
| BARKER CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4A | Bacteria | Sinclair & Dyes Inlets Tributaries Bacteria TMDL | Water |
| ARRANTES CREEK | 5 | Temperature |  | Water |
|  | 4A | Bacteria | Liberty Bay Watershed Bacteria TMDL | Water |
| BEAR CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4B | Bacteria | Bear, Burley, and Purdy Creeks 4b Project | Water |
| BEAVER CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4A | Bacteria | Sinclair & Dyes Inlets Tributaries Bacteria TMDL | Water |
| BELFAIR CREEK | 4A | Bacteria | Union River Bacteria TMDL | Water |
| BIG ANDERSON CREEK | 5 | pH |  | Water |
|  | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| BIG BEEF CREEK | 5 | Temperature |  | Water |
|  |  | Dissolved Oxygen |  | Water |
|  |  | pH |  | Water |
| BIG MISSION CREEK | 5 | Temperature |  | Water |
| BIG SCANDIA CREEK | 5 | Temperature |  | Water |
|  |  | Dissolved Oxygen |  | Water |
| BIG SCANDIA CREEK | 4A | Bacteria | Liberty Bay Watershed Bacteria TMDL | Water |
| BJORGEN CREEK | 5 | Dissolved Oxygen |  | Water |
|  |  | Temperature |  | Water |
|  | 4A | Bacteria | Liberty Bay Watershed Bacteria TMDL | Water |
| BLACKJACK CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4A | Bacteria | Sinclair & Dyes Inlets Tributaries Bacteria TMDL | Water |
| BOYCE CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| BURLEY CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4B | Bacteria | Bear, Burley, and Purdy Creeks 4b Project | Water |
| CARPENTER CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 5 | Temperature |  | Water |
|  | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| CHICO CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 5 | Temperature |  | Water |
|  | 4A | Bacteria | Sinclair & Dyes Inlets Tributaries Bacteria TMDL | Water |
| CLEAR CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4A | Bacteria | Sinclair & Dyes Inlets Tributaries Bacteria TMDL | Water |
| CLEAR CREEK, W.F. | 5 | Dissolved Oxygen |  | Water |
| COULTER CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 5 | pH |  | Water |
| COWLING CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| CURLEY CREEK | 5 | Dissolved Oxygen |  | Water |
|  |  | Temperature |  | Water |
|  | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| DANIELS CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| DEWATTO RIVER | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| DICKERSON CREEK | 5 | Temperature |  | Water |
|  |  | Dissolved Oxygen |  | Water |
| DOGFISH CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4B | Bacteria | Dogfish Creek 4b Project | Water |
| DOGFISH CREEK, E.F. | 5 | Dissolved Oxygen |  | Water |
|  | 4B | Bacteria | Dogfish Creek 4b Project | Water |
| DOGFISH CREEK, S.F. | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| DUNCAN CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| ENETAI CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| FISHER CREEK | 5 | Temperature |  | Water |
| GAMBLE CREEK | 5 | Temperature |  | Water |
|  |  | Dissolved Oxygen |  | Water |
| GORST CREEK | 5 | Dissolved Oxygen |  | Water |
| GROVERS CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| HUGE CREEK | 5 | Dissolved Oxygen |  | Water |
| ILLAHEE CREEK | 5 | Dissolved Oxygen |  | Water |
| INDIANOLA CREEK | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| JOHNSON CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4A | Bacteria | Liberty Bay Watershed Bacteria TMDL | Water |
| JUDD CREEK | 5 | Temperature |  | Water |
| JUMPOFF JOE CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| KARCHER CREEK | 4A | Bacteria | Sinclair & Dyes Inlets Tributaries Bacteria TMDL | Water |
| KEYPORT CREEK | 4A | Bacteria | Liberty Bay Watershed Bacteria TMDL | Water |
| KINMAN CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| KITSAP CREEK | 5 | Dissolved Oxygen |  | Water |
|  |  | Temperature |  | Water |
|  | 4A | Bacteria | Sinclair & Dyes Inlets Tributaries Bacteria TMDL | Water |
|  | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| KITSAP LAKE | 4A | Bacteria | Sinclair & Dyes Inlets Tributaries Bacteria TMDL | Water |
| LAGOON CREEK | 5 | pH |  | Water |
| LEMOLO CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4A | Bacteria | Liberty Bay Watershed Bacteria TMDL | Water |
| LITTLE MINTER CREEK | 5 | Bacteria |  | Water |
| LITTLE MISSION CREEK | 5 | Bacteria |  | Water |
| LITTLE SCANDIA CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4A | Bacteria | Liberty Bay Watershed Bacteria TMDL | Water |
| LOFALL CREEK | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| LONG LAKE | 5 | Total Phosphorus |  | Water |
|  | 4C | Invasive Exotic Species |  | Habitat |
| MARTHA-JOHN CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4B | Bacteria | Martha John and Gamble Creeks 4b Project | Water |
| MAYO CREEK | 5 | Bacteria |  | Water |
|  |  | Temperature |  | Water |
| MINTER CREEK | 5 | Bacteria |  | Water |
|  |  | Dissolved Oxygen |  | Water |
| MISSION LAKE | 4C | Invasive Exotic Species |  | Habitat |
| MURDEN CREEK | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| OSTRICH BAY CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4A | Bacteria | Sinclair & Dyes Inlets Tributaries Bacteria TMDL | Water |
| OSTRICH BAY CREEK, W.B. | 4A | Bacteria | Sinclair & Dyes Inlets Tributaries Bacteria TMDL | Water |
| PAHRMANN CREEK | 4A | Bacteria | Sinclair & Dyes Inlets Tributaries Bacteria TMDL | Water |
| PERRY CREEK | 4A | Bacteria | Liberty Bay Watershed Bacteria TMDL | Water |
| PHINNEY CREEK | 4A | Bacteria | Sinclair & Dyes Inlets Tributaries Bacteria TMDL | Water |
| PICNIC CREEK | 5 | Bacteria |  | Water |
|  |  | pH |  | Water |
| PRIVATE CREEK | 5 | Bacteria |  | Water |
|  |  | pH |  | Water |
| PURDY CREEK | 5 | Bacteria | Bear, Burley, and Purdy Creeks 4b Project | Water |
|  |  | Dissolved Oxygen |  | Water |
| RAVINE CREEK | 5 | Bacteria |  | Water |
|  | 5 | Bacteria |  | Water |
| RIDGETOP CREEK | 4A | Bacteria | Sinclair & Dyes Inlets Tributaries Bacteria TMDL | Water |
| ROSS CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4A | Bacteria | Sinclair & Dyes Inlets Tributaries Bacteria TMDL | Water |
| ROYAL VALLEY CREEK | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| SACCO CREEK | 5 | pH |  | Water |
|  | 4A | Bacteria | Sinclair & Dyes Inlets Tributaries Bacteria TMDL | Water |
| SALMONBERRY CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| SEABECK CREEK | 5 | Dissolved Oxygen |  | Water |
| SHOOFLY CREEK | 5 | Bacteria |  | Water |
| SPRINGBROOK CREEK | 4A | Bacteria | Sinclair & Dyes Inlets Tributaries Bacteria TMDL | Water |
| SQUARE LAKE | 4C | Invasive Exotic Species |  | Habitat |
| STATE PARK CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4A | Bacteria | Sinclair & Dyes Inlets Tributaries Bacteria TMDL | Water |
| STAVIS CREEK | 5 | Dissolved Oxygen |  | Water |
| STEELE (CROUCH) CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| STEELE CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| STRAWBERRY CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4A | Bacteria | Sinclair & Dyes Inlets Tributaries Bacteria TMDL | Water |
| TAHUYA LAKE | 4C | Invasive Exotic Species |  | Habitat |
| TAHUYA RIVER | 5 | Dissolved Oxygen |  | Water |
|  |  | Temperature |  | Water |
|  |  | Dissolved Oxygen |  | Water |
| UNION RIVER | 5 | Dissolved Oxygen |  | Water |
|  |  | Temperature |  | Water |
|  | 4A | Bacteria | Union River Bacteria TMDL | Water |
| UNNAMED CREEK (IN THE ANDERSON CREEK SYSTEM) | 4C | Fish And Shellfish Habitat |  | Habitat |
| UNNAMED CREEK (IN THE BIG BEEF CREEK SYSTEM) | 4C | Fish And Shellfish Habitat |  | Habitat |
| UNNAMED CREEK (IN THE BOYCE CREEK SYSTEM) | 4C | Fish And Shellfish Habitat |  | Habitat |
| UNNAMED CREEK (IN THE HARDING CREEK SYSTEM) | 4C | Fish And Shellfish Habitat |  | Habitat |
| UNNAMED CREEK (IN THE LITTLE ANDERSON CREEK SYSTEM) | 4C | Fish And Shellfish Habitat |  | Habitat |
| UNNAMED CREEK (IN THE STAVIS CREEK SYSTEM) | 4C | Fish And Shellfish Habitat |  | Habitat |
| UNNAMED CREEK (TRIB TO AMSTERDAM BAY) | 5 | Bacteria |  | Water |
| UNNAMED CREEK (TRIB TO BANGOR TRIDENT LAKE OUTLET CREEK) | 4A | Bacteria | Sinclair & Dyes Inlets Tributaries Bacteria TMDL | Water |
| UNNAMED CREEK (TRIB TO DOGFISH CREEK) | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| UNNAMED CREEK (TRIB TO DUTCHER COVE) | 5 | Bacteria |  | Water |
| UNNAMED CREEK (TRIB TO FILUCY BAY) | 5 | Bacteria |  | Water |
| UNNAMED CREEK (TRIB TO GREAT BEND/LYNCH COVE) | 5 | Bacteria |  | Water |
| UNNAMED CREEK (TRIB TO HOOD CANAL) | 5 | Bacteria |  | Water |
| UNNAMED CREEK (TRIB TO KITSAP LAKE) | 4A | Bacteria | Sinclair & Dyes Inlets Tributaries Bacteria TMDL | Water |
|  | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| UNNAMED CREEK (TRIB TO LIBERTY BAY) | 5 | Temperature |  | Water |
| UNNAMED CREEK (TRIB TO LIBERTY BAY) | 4A | Bacteria | Liberty Bay Watershed Bacteria TMDL | Water |
| UNNAMED CREEK (TRIB TO NORTH CREEK) | 5 | Lead |  | Water |
|  |  | Copper |  | Water |
| UNNAMED CREEK (TRIB TO ORO BAY) | 5 | Bacteria |  | Water |
| UNNAMED CREEK (TRIB TO UNION RIVER) | 5 | Dissolved Oxygen |  | Water |
|  |  | Temperature |  | Water |
| UNNAMED CREEK (TRIB TO VAUGHN BAY) | 5 | Bacteria |  | Water |
| VAUGHN CREEK | 5 | Bacteria |  | Water |
| WILSON CREEK | 5 | Dissolved Oxygen |  | Water |
|  | 4B | Bacteria | Kitsap County Bacteria 4B | Water |
| WYE LAKE | 4C | Invasive Exotic Species |  | Habitat |

### Appendix E – TMDL Table for WRIA 15

Category 5, 303(d) listed streams in WRIA 15

| WATERBODY_NAME | Temp | DO | pH | Bacteria | Copper | Lead | TP |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ANNAPOLIS CREEK |  | X |  |  |  |  |  |
| BARKER CREEK |  | X |  |  |  |  |  |
| BARRANTES CREEK | X |  |  |  |  |  |  |
| BEAR CREEK |  | X |  |  |  |  |  |
| BEAVER CREEK |  | X |  |  |  |  |  |
| BIG ANDERSON CREEK |  |  | X |  |  |  |  |
| BIG BEEF CREEK | X | X | X |  |  |  |  |
| BIG MISSION CREEK | X |  |  |  |  |  |  |
| BIG SCANDIA CREEK | X | X |  |  |  |  |  |
| BJORGEN CREEK | X | X |  |  |  |  |  |
| BLACKJACK CREEK |  | X |  |  |  |  |  |
| BOYCE CREEK |  | X |  |  |  |  |  |
| BURLEY CREEK |  | X |  |  |  |  |  |
| CARPENTER CREEK | X | X |  |  |  |  |  |
| CHICO CREEK | X | X |  |  |  |  |  |
| CLEAR CREEK |  | X |  |  |  |  |  |
| CLEAR CREEK, W.F. |  | X |  |  |  |  |  |
| COULTER CREEK |  | X | X |  |  |  |  |
| COWLING CREEK |  | X |  |  |  |  |  |
| CURLEY CREEK | X | X |  |  |  |  |  |
| DANIELS CREEK |  | X |  |  |  |  |  |
| DICKERSON CREEK | X |  |  |  |  |  |  |
| DOGFISH CREEK |  | X |  |  |  |  |  |
| DOGFISH CREEK, E.F. |  | X |  |  |  |  |  |
| DUNCAN CREEK |  | X |  |  |  |  |  |
| ENETAI CREEK |  | X |  |  |  |  |  |
| FISHER CREEK | X |  |  |  |  |  |  |
| GAMBLE CREEK | X | X |  |  |  |  |  |
| GORST CREEK |  | X |  |  |  |  |  |
| GROVERS CREEK |  | X |  |  |  |  |  |
| HUGE CREEK |  | X |  |  |  |  |  |
| ILLAHEE CREEK |  | X |  |  |  |  |  |
| JOHNSON CREEK |  | X |  |  |  |  |  |
| JUDD CREEK | X |  |  |  |  |  |  |
| JUMPOFF JOE CREEK |  | X |  |  |  |  |  |
| KINMAN CREEK |  | X |  |  |  |  |  |
| KITSAP CREEK | X | X |  |  |  |  |  |
| LAGOON CREEK |  |  | X |  |  |  |  |
| LEMOLO CREEK |  | X |  |  |  |  |  |
| LITTLE MINTER CREEK |  |  |  | X |  |  |  |
| LITTLE MISSION CREEK |  |  |  | X |  |  |  |
| LITTLE SCANDIA CREEK |  | X |  |  |  |  |  |
| LONG LAKE |  |  |  |  |  |  | X |
| MARTHA-JOHN CREEK |  | X |  |  |  |  |  |
| MAYO CREEK | X |  |  | X |  |  |  |
| MINTER CREEK |  | X |  | X |  |  |  |
| OSTRICH BAY CREEK |  | X |  |  |  |  |  |
| PICNIC CREEK |  |  | X | X |  |  |  |
| PRIVATE CREEK |  |  | X | X |  |  |  |
| PURDY CREEK |  | X |  | X |  |  |  |
| RAVINE CREEK |  |  |  | X |  |  |  |
| ROSS CREEK |  | X |  |  |  |  |  |
| SACCO CREEK |  |  | X |  |  |  |  |
| SALMONBERRY CREEK |  | X |  |  |  |  |  |
| SEABECK CREEK |  | X |  |  |  |  |  |
| SHOOFLY CREEK |  |  |  | X |  |  |  |
| STATE PARK CREEK |  | X |  |  |  |  |  |
| STAVIS CREEK |  | X |  |  |  |  |  |
| STEELE (CROUCH) CREEK |  | X |  |  |  |  |  |
| STEELE CREEK |  | X |  |  |  |  |  |
| STRAWBERRY CREEK |  | X |  |  |  |  |  |
| TAHUYA RIVER | X | X |  |  |  |  |  |
| UNION RIVER | X | X |  |  |  |  |  |
| TRIB TO AMSTERDAM BAY |  |  |  | X |  |  |  |
| TRIB TO DUTCHER COVE |  |  |  | X |  |  |  |
| TRIB TO FILUCY BAY |  |  |  | X |  |  |  |
| TRIB TO GREAT BEND/LYNCH COVE |  |  |  | X |  |  |  |
| TRIB TO HOOD CANAL |  |  |  | X |  |  |  |
| TRIB TO LIBERTY BAY | X |  |  |  |  |  |  |
| TRIB TO NORTH CREEK |  |  |  |  | X | X |  |
| TRIB TO ORO BAY |  |  |  | X |  |  |  |
| TRIB TO UNION RIVER | X | X |  |  |  |  |  |
| TRIB TO VAUGHN BAY |  |  |  | X |  |  |  |
| VAUGHN CREEK |  |  |  | X |  |  |  |
| WILSON CREEK |  | X |  |  |  |  |  |

### Appendix F – Subbasin Delineation Memo

2

### Appendix G – Growth Projections and Consumptive Use Memo

### Appendix H – Project Inventory

WRIA 15 Project Inventory for Inclusion in the Watershed Restoration and Enhancement Plan

As discussed in Chapter 5 and 7, these projects support the watershed plan in meeting NEB.

CATEGORIES (does not reflect prioritization)

I. Ready to implement and provides quantitative offset value (see Chapter 5).

II. Ready to implement and provides habitat benefit and un-quantifiable streamflow benefit.

III. Provides habitat only benefit.

IV. Unable to implement at this time because the project is highly conceptual or not currently legal.

| Category | Project Name | Type of Project | Project Location | Project Description | Estimated Water Offset Amount (acre feet) | Habitat Value (no set value) | Project Hyperlink (if applicable) | Existing Sponsor | Potential Sponsor (Where No Existing Sponsor Exists) | Project Stage | Estimated Cost | Existing Funding (as of Dec 2020) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Bainbridge Island Subbasin |  |  |  |  |  |  |  |  |  |  |  |  |
| III | Springbrook Creek Bridge | Habitat no Offset | 47°38'35.0"N 122°34'02.5"W | Reconnect side channel habitat and minor flood plain restoration. (Part of a larger barrier removal project.) |  |  |  |  | City of Bainbridge Island/Bainbridge Island Land Trust | Final Design / Construct | $1,200,000 (includes barrier removal costs) | $200,000 |
| IV | Transfer surface water right to groundwater for public farmland | Water Rights Acquisition | 47°37'50.8"N 122°33'27.9"W | Switch irrigation source from surface reservoir to existing or new well to re-time stream flows and improve stream temperature issues. | TBD |  |  |  | City of Bainbridge Island/Friends of the Farms | Feasibility |  |  |
| IV | KPUD Stream Augmentation Project | Offset no Habitat |  | Kitsap Public Utility District (KPUD) currently owns and operates 54 public water systems throughout rural Kitsap County. KPUD is proposing to augment streams that are located near water mains of their systems. The water would be produced from either existing water-supply wells or new wells installed to be dedicated only for stream augmentation. The objective of the project is to provide “water-for-water” offset for future permit-exempt wells (PEWs) by discharging water indirectly into the stream to augment streamflow. KPUD has systems located in West Sound, North Hood Canal and Bainbridge Island subbasins of WRIA 15. Some members of the WRIA 15 Committee support further exploration of this project through feasibility studies. There are a number of concerns, including impact on deep aquifers and water quality. If KPUD decides to pursue this project, close coordination with the WRIA 15 Tribes and WRIA 15 partners is recommended. | 67.6 |  |  | Kitsap PUD |  | Conceptual | $10,000 per site plus $8000 annual O&M |  |
| North Hood Canal Subbasin |  |  |  |  |  |  |  |  |  |  |  |  |
| II | Big Beef Creek Restoration | Habitat with Offset | Multiple Parcels (hidden for privacy) | Restore wetlands, floodplain, and riparian along this ditched segment of upper Big Beef Creek. Acquisition likely needed. |  |  |  |  |  | Scoping |  | $667,092 |
| II | Grovers Creek and Leyman Wetland Restoration | Habitat with Offset | Robinson and Duncans parcels | Stream channel and wetland restoration are proposed on 1,600 feet of Grovers Creek and 10 acres of wetlands. Two parcels owned by the Robinson and Duncans were historically farmed, reed canary grass established and stream channel ditched. The project will improve fish passage and establish wetland and riparian vegetation. The project will also enhance water infiltration and improve floodplain function. This project will benefit Coho, Chum, steelhead and cutthroat habitat. Funding for restoration design has been obtained and preliminary design is in progress. Funding for final design and construction are needed. |  | 1600 ft of stream restoration; 10 acres wetland |  | Kitsap Conservation District (KCD) |  | Design | $300,000 |  |
| II | Hansville Wetland Enhancement | Habitat with Offset | Hansville | Degraded wetland could be restored. |  |  | Link |  |  | Conceptual |  |  |
| IV | Big Beef Refugia Acquisitions | Habitat no Offset |  |  |  |  |  | Kitsap County |  | Conceptual |  |  |
| IV | KPUD Stream Augmentation Project | Offset no Habitat |  | Kitsap Public Utility District (KPUD) currently owns and operates 54 public water systems throughout rural Kitsap County. KPUD is proposing to augment streams that are located near water mains of their systems. The water would be produced from either existing water-supply wells or new wells installed to be dedicated only for stream augmentation. The objective of the project is to provide “water-for-water” offset for future permit-exempt wells (PEWs) by discharging water indirectly into the stream to augment streamflow. KPUD has systems located in West Sound, North Hood Canal and Bainbridge Island subbasins of WRIA 15. Some members of the WRIA 15 Committee support further exploration of this project through feasibility studies. There are a number of concerns, including impact on deep aquifers and water quality. If KPUD decides to pursue this project, close coordination with the WRIA 15 Tribes and WRIA 15 partners is recommended. | 90.3 |  |  | Kitsap PUD |  | Conceptual | $10,000 per site plus $8000 annual O&M |  |
| South Hood Canal Subbasin |  |  |  |  |  |  |  |  |  |  |  |  |
| II | Tahuya Headwaters | Habitat with Offset | Tahuya River (South Kitsap) | Purchase of fee and/or easement of up to 3 miles of riparian corridor in the upper Tahuya River and tributaries. Floodplain restoration including potential for LWD placement and BDA. Currently under one timberland owner. |  | 3 miles riparian corridor protected |  |  |  | Acquisition |  |  |
| IV | Bremerton Reclaimed Water/Water Reuse Feasibility Study | Offset no Habitat |  | Pursue feasibility studies for reclaimed and reuse water opportunities. |  |  |  |  |  |  |  |  |
| South Sound Subbasin |  |  |  |  |  |  |  |  |  |  |  |  |
| II | Coulter Creek Protection | Habitat with Offset | Coulter Creek | Coulter Creek. Protection (acquisition of fee or easement) of riparian buffer and floodplain restoration of 3-5 mile riparian corridor owned by single landowner. |  | 3-5 miles riparian protection and restoration |  | GPC |  | Acquisition |  |  |
| III | Gig Harbor Golf Club Artondale Creek Habitat Improvement | Habitat with Offset | Artondale Creek | A portion of Artondale Creek and approximately 2 acres of the floodplain would be restored by replacing two existing bridges to open up the floodplain and plantings to increase shade, improve instream habitat, reduce stream temperature, and improve riparian buffers and upland habitat conditions. The restoration project may also be extended downstream if needed to improve fish passage to the project site. The project is located in the South Sound subbasin of WRIA 15 on the Gig Harbor Peninsula. |  | Improve instream and floodplain habitat conditions; improve water temperatures. |  |  | Gig Harbor Golf Club, Pierce Co, Tribe | Conceptual | $500,000 (with offset improvements) |  |
| III | Rocky Creek Protection and Riparian Buffer | Habitat no Offset | Rocky Cr | Rocky Creek. Protection (acquisition of fee or easement) of riparian buffer and floodplain restoration of ~4 mile riparian corridor owned by single landowner. |  | 4 miles riparian corridor protection and restoration |  | GPC |  | Acquisition |  |  |
| IV | Upper Little Minter Creek watershed acquisition and floodplain/wetland restoration project | Habitat with Offset | Little Minter Creek - 15311 and 12521 94TH AV NW | Reconnecting ditches, more sinuosity, beaver habitat; potential water right. |  |  |  |  |  | Conceptual |  |  |
| IV | Upper Burley Creek Floodplain/ Wetland Restoration | Habitat with Offset | East of Bethel Burley Road, south of Holman Road. Kitsap Co Parcels: 242301-3-016-2006, 242301-3-017-2005, 252301-2-009-2006, 252301-2-038-2001, 252301-2-039-2000, 252301-2-047-2000 | Restore wetlands, floodplain, and riparian along this segment of Burley Creek that has been ditched and drained. Acquisition likely needed also. |  |  |  |  |  | Conceptual |  |  |
| IV | Mid Burley Creek Floodplain/ Wetland Restoration | Habitat with Offset | East of Bethel Burley Road, south of Swofford Lane. Kitsap Co Parcels: 362301-2-004-2008, 362301-2-003-2009, 9000-010-192-0008, 362301-2-021-2007, 362301-2-022-2006, 362301-2-012-2008, 362301-2-005-2007, 362301-2-014-2006, 362301-3-021-2005, 362301-3-020-2006 | Restore wetlands, floodplain, and riparian along this segment of Burley Creek that has been ditched and drained. Acquisition likely needed also. |  |  |  |  |  | Conceptual |  |  |
| IV | 360 Trails/Gateway Park | Habitat with Offset | Minter Creek - E of Gateway Park, N of SR 302, W of 94th Ave NW | Education/outreach, land acquisition, conservation easement, beaver enhancement opportunity. |  |  |  |  | WDFW or Kitsap Conservation District | Conceptual |  |  |
| IV | Burley Creek Drainage Floodplain and Ag Restoration | Habitat with Offset | North of Bethel Burley and Burley Olalla intersection. |  |  |  |  |  |  | Conceptual |  |  |
| IV | Pierce County parcels near Belfair - 186th Ave | Habitat with Offset | Pierce County property - undeveloped woodland/riparian on Rocky Creek. 13711 186th Ave NW, Gig Harbor | Assess riparian area for floodplain or wetland enhancement |  |  |  |  |  | Conceptual |  |  |
| IV | Filucy Bay Floodplain Enhancement | Habitat with Offset |  | Restore/improve floodplain and surrounding wetlands on a Pierce Co owned property. |  |  |  |  |  | Scoping |  |  |
| IV | Coulter Tree Farm | Habitat with Offset | Coulter Creek |  |  |  |  |  |  | Conceptual |  |  |
| IV | Pierce County parcel near Belfair - Elgin Clifton Road | Habitat with Offset | Pierce County property - undeveloped woodland near south branch of Rocky Creek | Assess wetland area for enhancement or beavers |  |  |  |  |  | Conceptual |  |  |
| IV | Floodplain enhancement on multiple sites | Habitat with Offset | Rocky, Curley, L. Anderson, Irene, Grovers | Floodplain restoration on existing properties owned by GPC. Large Woody Debris placement on Rocky Creek, Curley Creek, Little Anderson Creek, Irene Creek. Beaver Dam Analogs on Rocky Creek and Grovers creek preserves. |  |  |  | Great Peninsula Conservancy |  | Conceptual |  |  |
| IV | Artondale Creek Preservation | Habitat no Offset | Parcel removed for privacy. | Identified in the Wild Fish Conservancy (WFC) watershed typing exercise for potential preservation. Land owner is interested. |  |  |  |  | Great Peninsula Conservancy; Wild Fish Conservancy | Conceptual |  |  |
| IV | Pierce County parcel near Belfair - Elgin Clifton Road | Offset no Habitat | Pierce County property - public works site. https://epip.co.pierce.wa.us/cfapps/atr/epip/summary.cfm?parcel=0022244000 | Stormwater retrofit or MAR at sand/gravel pit. | TBD |  |  |  |  | Conceptual |  |  |
| IV | Pierce County parcel near Belfair - Elgin Clifton Road | Offset no Habitat | Pierce County property - undeveloped woodland near south branch of Rocky Creek | Preserve forest for infiltration benefit (conservation easement in trust). |  |  |  |  |  | Conceptual |  |  |
| IV | Pierce County parcel near Home - 18th St NW | Offset no Habitat | Pierce County property - undeveloped woodland. Corner of 18th St NW and 180th Ave NW | Preserve forest for infiltration benefit (conservation easement in trust). |  |  |  |  |  | Conceptual |  |  |
| IV | Burley Creek Watershed Mine Reclamation Options | Offset no Habitat | West of Bethel Burley Rd, north of High Ridge Ct. Kitsap Co Parcels: 4799-000-009-0008, 4799-000-001-0303, 4799-000-020-0102, 262301-1-039-2001, 262301-1-041-2007, 262301-1-013-2001 | Review mine reclamation plan and determine whether infiltration or wetland restoration are options. |  |  |  |  |  | Conceptual |  |  |
| IV | Horseshoe Lake Golf Course Water Use Options | Water Rights Acquisition | Parcel: 5349-000-007-0002 | Review water use at Horseshoe Lake Golf Course and consider options for water use reductions, transfer of water rights, etc. |  |  |  |  |  | Scoping |  |  |
| IV | Trophy Lake Golf Course Water Use Options | Water Rights Acquisition | Parcel: 202301-3-010-2006 | Review water use at Trophy Lake Golf Course and consider options for water use reductions, transfer of water rights, etc. |  |  |  |  |  | Scoping |  |  |
| IV | Coulter Creek / Estuary |  | Coulter / Estuary | Opportunities for land acquisition and habitat restoration. |  |  | Acquisition + Develop natural storage on GPC properties |  | Great Peninsula Conservancy | Acquisition | $350,000 | $0 |
| IV | Burley Creek |  | Burley Ck | Opportunities for land acquisition and habitat restoration. |  |  | Acquisition + Develop natural storage on GPC properties |  | Great Peninsula Conservancy | Conceptual |  |  |
| IV | Purdy Creek |  | Purdy Ck | Opportunities for land acquisition and habitat restoration. |  |  | Acquisition + Develop natural storage on GPC properties |  | Great Peninsula Conservancy | Conceptual |  |  |
| IV | Minter Creek |  | Minter Ck | Opportunities for land acquisition and habitat restoration. |  |  | Acquisition + Easement to increase average stand age for higher baseflows |  | Great Peninsula Conservancy | Acquisition | $225,000 | $105,000 |
| IV | Rocky Creek |  | Rocky Creek | Opportunities for land acquisition and habitat restoration. |  |  | Develop natural storage on GPC properties |  | Great Peninsula Conservancy | Conceptual |  |  |
| IV | Filucy Bay projects |  | Filucy Bay tributaries (Schoolhouse Ck) | Opportunities for land acquisition and habitat restoration. |  |  | Develop natural storage on GPC properties |  | Great Peninsula Conservancy | Conceptual |  |  |
| South Sound Islands Subbasin |  |  |  |  |  |  |  |  |  |  |  |  |
| II | Schoolhouse Creek Restoration | Habitat with Offset | Anderson Island | The Anderson Island Parks District and Pierce County has been working on this Creek for many years. The County replaced two culverts in 2013. There are two remaining barriers on County road that the County is seeking funding from the fish barrier removal board for and one partial barrier on a private road. The Parks District has also been looking for funding to creek meandering and wetland restoration on a section of creek that was previously ditched and used for agriculture. |  |  |  |  |  | Construction |  |  |
| II | East Oro Bay Barrier Removal | Habitat with Offset | Anderson Island, East Oro Bay near Jacobs Point Park | There is an earthen dam that impounds the top of the estuary in East Oro Bay. |  |  |  |  |  | Construction |  |  |
| Vashon Maury Subbasin |  |  |  |  |  |  |  |  |  |  |  |  |
| IV | Maury Island Initiative | Water Rights Acquisition | Maury | Property associated with the WR first acquired in 2008 and later in 2019. Portion of the WR may have already been forfeited and remaining portion may be small. Likely .05 CFS instantaneous flow certificate for group domestic supply; Parcel numbers 3222039011, 3222039027 | TBD |  |  |  |  | Conceptual |  |  |
| IV | Frog Holler Forest Water Right Acquisition | Water Rights Acquisition | South Vashon | Forest was acquired by VLT in 2016. There may be a water right associated with the property that is at risk of relinquishment in 2021. Likely 6 irrigated acres. Beneficial Use is for irrigation and domestic; Long Claim; Parcel Number 2522029016 | 6? |  |  |  | King County or Vashon Maury Island Land Trust | Conceptual |  |  |
| IV | Piner Point | Water Rights Acquisition | South Vashon | Property was acquired by King County Parks in 2014. There is a small cabin on the property and the water right supports domestic water supplies across three properties. Small, but may be important since V-M is a single source aquifer. Est at 1.5 annual acre feet. Parcel 6175800300; Certificate: Domestic Use Multiple | 1.5 |  |  |  |  | Conceptual |  |  |
| IV | Forest Glen Natural Area | Water Rights Acquisition | Vashon | Property acquired in 2014 and converted into a park owned by King County. May be forfeited already or coming up in 2022; Long Claim for domestic supply and irrigation; 16 annual acre feet; 10 GPM instantaneous flow | 16 |  |  |  |  | Conceptual |  |  |
| West Sound Subbasin |  |  |  |  |  |  |  |  |  |  |  |  |
| II | Mid Olalla Creek Floodplain/Wetland restoration | Habitat with Offset | Parcels removed for privacy | Restore wetlands, floodplain, and riparian along this segment of Olalla Creek that has been ditched and drained. Acquisition likely needed also. |  |  |  |  |  | Conceptual |  |  |
| II | Ruby Creek Restoration | Habitat with Offset | Ruby Creek | Approximately .44 miles of stream will be enhanced by excavating reed canary grass from the channel which is also inhibiting fish passage in this stream section. Installation of LWD, excavation of planting mounds and riparian planting are also proposed. The overall project involves restoration and enhancement of 11.7 acres of stream and wetland habitat. Chum, Coho, cutthroat trout and steelhead are documented in this reach of Ruby Creek. Design is complete and funding is needed for construction. Part of a larger fish barrier removal project. |  | Open access to 3.5 miles; improve 11.7 acres of stream and wetland habitat |  |  | Kitsap Conservation District | Construction |  | 635000 (includes barrier removal) |
| II | Dogfish Creek Wetland Restoration | Habitat no Offset | Malone parcel | This project involves enhancement of 2,832 feet of Dogfish Creek and enhancement of 24 acres of mapped wetland. The 80 acres owned by Malone was historically farmed, reed canary grass established and stream channel ditched. The project will enhanced beaver activity and establish wetland and riparian vegetation. This project will also improve stream flow and floodplain function. This project will benefit Coho, Chum, steelhead and cutthroat habitat. Funding for restoration design has been obtained and preliminary design is in progress. Funding for final design and construction are needed. Part of a larger fish barrier removal project. |  | Enhance 2832 feet of creek and 24 acres of wetland |  | Kitsap Conservation District (KCD) |  | Design |  |  |
| II | Lower Blackjack Creek Subbasin Restoration and Remediation Actions | Habitat with Offset | Lower Blackjack Cr | This project proposes restoration and remediation of stream corridor habitat within the lower Blackjack Creek Subbasin as a subset of the Foster Pilot program within WRIA 15. Each restoration and remediation action has been identified and vetted by the Suquamish Tribe in their Blackjack Creek Watershed Protection and Restoration Plan composed in December, 2017. |  |  |  | Port Orchard Public Works |  | Design | $2,133,500 |  |
| II | Lower Blackjack Creek Infrastructure Removal and Habitat Remediation | Habitat with Offset | Lower Blackjack Cr | Assess the feasibility, perform due diligence, then construction/remediation of infrastructure in Blackjack Creek. This is part of the WRIA 15 Foster Pilot program. Projects include: 1. Rehabilitating an existing water main crossing over the creek by directionally drilling the water main to cross underneath the creek and removing the old infrastructure 2. Cleaning up debris from abandoned transient camps and replanting 3. Update old storm drainage to creek/tributary with LID principles |  |  |  | Port Orchard Public Works |  | Feasibility | $3,130,000 |  |
| II | Blackjack Watershed Protection & Restoration Feasibility Plan | Habitat with Offset |  | This project will build on the 2017 "Blackjack Creek Watershed Assessment, Protection, and Restoration Plan", and identify the highest priority tax parcels for protection or restoration based on a systematic evaluation of their value to salmon recovery. This evaluation will include a literature review of existing studies and GIS desktop analysis to identify the riparian and wetland habitats with the most value to salmon, highest connectivity to other salmon habitat, and greatest threat of development. The project will use this evaluation to rank parcels, and conduct outreach to landowners of the highest ranked parcels. |  |  |  | Great Peninsula Conservancy |  | Planning/Design | $200,000 | $0 |
| III | Salmonberry Creek and Wetland Protection Project | Habitat no Offset | Salmonberry Creek | Great Peninsula Conservancy (GPC) will protect 90 acres of riparian, wetland, and fish habitat through purchasing a conservation easement on property on Salmonberry Creek in Kitsap County. Salmonberry Creek is located in an ESSB 6091 prioritized basin (WRIA 15), and contains Endangered Species Act-listed steelhead trout. |  | 90 acres protection |  | Great Peninsula Conservancy |  | Acquisition | $420,000 |  |
| III | Floodplain Restoration Upstream of Navy RR Trestle | Habitat with Offset | Link | This action will aim to restore floodplain connectivity, riparian processes, and instream habitat conditions. Restoration actions should focus on removal of artificial fill along the abandoned road grade constricting the channel at RS 11100, restoring riparian forest conditions, and targeted wood placements to increase channel complexity and restore natural stream grade. Restoration of riparian processes will require negotiation of conservation easements or acquisition of the streamside parcel along the northern (left) bank. The parcel totals 6 acres and has an assessed value of $240,000 per 2012 tax records. This action is constrained, in part, by channel confinement at the Navy RR trestle. The channel reach upstream of this segment flows through parcels that are part of the Mountaineers Foundation Rhododendron Preserve, where riparian conditions are more intact, instream wood is more abundant, and a broader floodplain exists due to the lack of bank protection. |  | 6 acres restoration |  |  |  | Construction |  | $255,000 |
| III | Curley Creek Acquisition | Habitat no Offset | Link | This project will build upon work done through the SRFB Curley Creek Estuary Acquisition and Curley Creel Feasibility study. Project will acquire highest quality remaining Chinook and steelhead habitat available on lower Curley Creek. |  |  |  |  |  | Feasibility |  | $200,000 |
| III | Instream Habitat Enhancement at the Confluence with Chico Creek | Habitat no Offset |  | Large wood placements to create additional complexity near the tributary confluence will improve habitat conditions in the near term while concurrent efforts to set back constraints to floodplain processes can be implemented. |  |  |  |  |  | Conceptual |  |  |
| III | Grovers Creek Protection Phase II | Habitat no Offset |  | Great Peninsula Conservancy's Lower Grovers Creek Habitat Protection Project aims to protect and restore 10.5 acres of riparian and wetland habitat along Grovers Creek and Miller bay in north Kitsap County for the benefit of people, salmon, and other wildlife. This project includes two properties in the Grovers Creek Watershed of north Kitsap County, including the 1.5-acre Tucker property and 9-acre Grovers Creek Durham Preserve Project owned by GPC. The Puget Sound Nearshore Ecosystem Restoration Project has prioritized the Grovers Creek Watershed as a "Protect High" watershed under its Coastal Inlet Strategy due to the fact that it remains relatively undeveloped. |  | 10.5 acres protection |  | Great Peninsula Conservancy |  | Acquisition | $685,650 |  |
| III | Curley Creek prioritized restoration | Habitat no Offset |  | In November 2017 the Suquamish Tribe released a completed watershed assessment and protection and restoration plan for Curley Creek, one of the three high priority freshwater streams in the East Kitsap shoreline. This Near Term Action proposes to use this plan to work with partners to identify which of the high priority protection and restoration actions are feasible to move forward to implementation and then to carry out that work. |  |  |  | Midsound Fisheries Enhancement Group |  | Planning/Design | $625,000 | $0 |
| IV | Floodplain Restoration Upstream of Kitsap Lake | Habitat no Offset |  |  |  |  |  |  |  | Conceptual |  |  |
| IV | Acquisition of Johnson Creek headwaters | Habitat no Offset |  | The headwater wetlands of Johnson Creek (a salmon stream) in Poulsbo is relatively intact and undeveloped, however it is at risk of being developed. There is opportunity to acquire for preservation (GPC) or recreation (Parks). |  |  |  |  |  | Conceptual |  |  |
| IV | Lower Strawberry Creek Restoration Design | Habitat no Offset | Strawberry Creek - Dyes Inlet |  |  |  |  |  |  | Design |  |  |
| IV | Mid-Upper Blackjack Creek Floodplain/Wetland Restoration | Habitat with Offset | Parcels removed for privacy | Restore wetlands, floodplain, and riparian along this segment of Blackjack Creek that has been ditched and drained. Acquisition likely needed also. |  |  |  |  |  | Conceptual |  |  |
| IV | Remove infrastructure from outlet of Kitsap Lake | Offset no Habitat | Link | Remove infrastructure from the channel at the lake outlet to prevent future manipulation of lake levels. Fish screens at the outlet of Kitsap Lake previously restricted anadromous fish passage. The screens were removed in 1999; however, the concrete pieces that supported the screens remain in the channel. At times, this infrastructure has been altered by local residents to control the lake level without authorization. Such action results in rapid drawdown of streamflow in downstream segments of Kitsap Creek. |  |  |  |  |  | Conceptual |  |  |
| IV | Long Lake Augmentation | Offset no Habitat | Long Lake | Potential flow augmentation and BDAs. |  |  |  |  |  | Conceptual |  |  |
| IV | KPUD Stream Augmentation Project | Offset no Habitat |  | Kitsap Public Utility District (KPUD) currently owns and operates 54 public water systems throughout rural Kitsap County. KPUD is proposing to augment streams that are located near water mains of their systems. The water would be produced from either existing water-supply wells or new wells installed to be dedicated only for stream augmentation. The objective of the project is to provide “water-for-water” offset for future permit-exempt wells (PEWs) by discharging water indirectly into the stream to augment streamflow. KPUD has systems located in West Sound, North Hood Canal and Bainbridge Island subbasins of WRIA 15. Some members of the WRIA 15 Committee support further exploration of this project through feasibility studies. There are a number of concerns, including impact on deep aquifers and water quality. If KPUD decides to pursue this project, close coordination with the WRIA 15 Tribes and WRIA 15 partners is recommended. | 183.9 |  |  | Kitsap PUD |  | Conceptual | $10,000 per site plus $8000 annual O&M |  |

### Appendix I – Detailed Project Descriptions

#### Managed Aquifer Recharge Project Portfolio for WRIA 15

Summary

Managed Aquifer Recharge (MAR) projects are being considered in WRIA 15 as a method to increase infiltration to aquifers to improve streamflow and to offset the water use from future permit exempt (PE) wells in the watershed. The planning and implementation of MAR projects is complex, leading to uncertainty as to their potential use as water offset projects and inclusion in the Watershed Restoration and Enhancement Plan. A potential approach to addressing uncertainty is to include a portfolio of MAR projects that have different locations, project sponsors, water sources, and size. Uncertainty is addressed by qualitatively assessing the potential for implementation on a high, medium, and low basis and then assigning a probability to the potential offset from each project. The overall potential for MAR in WRIA 15 is the sum of the potential offsets multiplied by their probability. MAR projects in WRIA 15 have been identified through different sources and are estimated to have a total potential water offset of 1,741 acre-feet/year. The overall potential, accounting for uncertainty, is estimated to be 631 acre-feet/year. Considering MAR projects that can be implemented within the next 10 years, the estimated potential offset is 546 acre-feet/year. The remaining MAR projects would likely take longer than 10 years to implement.

WRIA 15 MAR Projects

There are different types of MAR projects. Aquifer Storage and Recovery (ASR) projects are a type of MAR project that actively injects water into aquifers for storage and recovery by pumping later. Passive MAR projects infiltrate water into shallow aquifers, with the intent that water discharges from the shallow aquifer into streams on a delayed basis and improves streamflow during low-flow periods. For WRIA 15, only passive MAR projects are being considered. The source of water for the passive MAR projects in WRIA 15 may be recycled water (highly treated wastewater), stormwater or diverted surface water.

MAR projects have the potential to recharge a significant volume of water into shallow aquifers, greater than the estimated consumptive use of PE wells forecast for the next 20 years. However, the planning and implementation of individual MAR projects is complex, leading to uncertainty as to their potential use as water offset projects and inclusion in the Watershed Restoration and Enhancement Plan. Proposing a portfolio of potential MAR projects is an approach which will provide projects in most subbasins in WRIA 15, have different water sources, different scales and different implementing entities. Table 1 lists the current portfolio of MAR projects and includes the potential water offset, the estimated timeframe for implementation and the relative certainty of implementation. The estimated timeframe is included to address whether the project can provide water offsets on a timely basis consistent with growth in PE connections. The relative certainty of implementation is a qualitative assessment based upon the project sponsor’s ability to perform the project, the relative cost, and potential issues in design, permitting and funding.

For WRIA 15, projects should be specifically designed to enhance streamflows and to avoid a negative impact to ecological functions and/or critical habitat needed to sustain threatened or endangered salmonids.

Table 1. Portfolio of Potential Managed Aquifer Recharge Projects

| Subbasin | MAR Project | Potential Sponsor | Potential Offset (ac-ft/year) | Estimated Timeframe for Implementation | Relative Certainty of Implementation (High, Medium, Low) |
| --- | --- | --- | --- | --- | --- |
| West Sound | Kingston Treatment Plant Recycled Water* | Kitsap County Public Works | 328 | 5 years | High |
|  | Grovers Creek MAR | Not yet identified | 201 | >10 years | Low |
|  | Central Kitsap Water Treatment Plant 2* | Silverdale Water District | 167 | 5 years | Medium |
| North Hood Canal | Central Kitsap Water Treatment Plant, includes Asbury Parcel2 * | Silverdale Water District | 333 | 5 years | Medium |
| South Hood Canal | Tahuya River MAR | Washington Water Trust | 200 | 5-10 years | Low |
|  | Oak Lake Storage and MAR | Not yet identified | 75 | >10 years | Low |
|  | Shoe Lake Storage and MAR | Not yet identified | 62 | >10 years | Low |
| Bainbridge Island | M & E Farm Storage* | City of Bainbride Island | 17 | 5-10 years | Medium |
|  | Johnson Farm Storage* | Not yet identified | 90 | >10 years | Low |
|  | Winslow Treatment Plant Recycled Water | City of Bainbridge Island | 45 | >10 years | Medium |
|  | Miller Rd MAR* | Not yet identified | 19 | >10 years | Low |
| South Sound | Port Orchard Airport MAR* | Washington Water Trust | 100 | >10 years | Low |
|  | Belfair WWTP MAR* | Not yet identified | 70 | >10 years | Low |
|  | Rocky Creek south of Trophy Lake Golf Course MAR | Not yet identified |  | 150 |  | >10 years |  | Low |  |
|  | Minter Creek MAR | Washington Water Trust | 201 | >10 years | Low |
|  | Rocky Creek between Wye and Koeneman Lakes MAR | Washington Water Trust | 201 | >10 years | Low |
| Vashon – Maury Island | Judd Creek MAR | Washington Water Trust | 201 | >10 years | Low |
| McNeil Island, Anderson Island, Ketron Island | None |  |  |  |  |
| Totals |  |  | 328 |  | High Relative Certainty |
|  |  |  | 567 |  | Medium Relative Certainty |
|  |  |  | 846 |  | Low Relative Certainty |

1Potential offset not estimated yet; 20 acre-feet/year assumed based upon ¼ acre total size infiltration basin at each project site. 2 Central Kitsap Water Treatment Plant Project could provide water offsets to both West Sound and North Hood Canal Subbasins. An assumption of the split in benefits was made (2/3 North Hood Canal, 1/3 West Sound). *Detailed project description available at end of document.

One MAR project, the Kingston Recycled Water Project, is thought to have a high relative certainty. The potential water offset from the project is 328 acre-feet per year. Four potential MAR projects are thought to have a medium relative certainty. Those projects have a potential water offset of 567 acre-feet per year. The remainder have a low relative certainty but should remain on the list until more is found out about those projects.

A method of predicting outcomes from the portfolio of projects is to assign a probability to each level of relative certainty and multiply that probability by the potential offset. That calculation is shown in Table 2. Probabilities of 80 percent, 50 percent, and 10 percent are used in the calculation to represent high through low relative certainty. Using this calculation, the likely offset that will occur from pursuing a portfolio of MAR projects is 631acre-feet per year. The calculation can be adjusted by changing the relative certainty of a project or by using a different probability to represent the different levels of relative certainty.

Table 2. Water Offsets Adjusted by Probability of Implementation

| Relative Certainty of Implementation (High, Medium, Low) | Total Estimated Offset (acre-feet/year) | Probability | Adjusted Offset (acre-feet/year) |
| --- | --- | --- | --- |
| High Relative Certainty | 328 | 80% | 262 |
| Medium Relative Certainty | 567 | 50% | 284 |
| Low Relative Certainty | 846 | 10% | 85 |
| Totals |  |  | 631 |

The high and medium relative certainty projects could be implemented in the next ten years, providing an estimated potential offset of 546 acre-feet/year. The remaining MAR projects would likely take longer than 10 years to implement.

Work Required to Implement a MAR Project

The successful implementation of a MAR project is complex and involves several critical steps prior to actual construction (Covert 2019):

- Identification of potential locations that:

  - Have available aquifer capacity such that water infiltration can occur without creating overflows to the surface,

  - Have soils and underlying geology with suitable hydraulic properties,

  - Are located such that enough infiltrated water will discharge to surface water during low streamflow periods, and

  - Are available for permanent use through acquisition or easements.

- Identification of a physically and legally available water source.

- Characterization and evaluation of site-specific hydrogeologic properties.

- Assessment of source water and aquifer compatibility, potential water quality changes during infiltration, and other water quality considerations.

- Development of preliminary MAR project designs and implementation cost estimates.

- Identification of project permitting requirements and potential hurdles.

- Assessment of ongoing operation and maintenance (O&M) costs, and identification of potential funding sources to support O&M.

References

Covert, John. Presentation to Watershed Restoration and Enhancement Committee. Managed Aquifer Recharge Opportunities, January 14, 2019

##### Detailed Descriptions for Larger MAR Projects

###### Kingston Treatment Plant Recycled Water And Managed Aquifer Recharge Project- West Sound Subbasin

Description

Kitsap County is proposing to produce Class A recycled water at the existing Kingston Treatment Plant, which would be used for summer irrigation at the White Horse Golf Course (WHGC) and winter indirect groundwater recharge to the area north of WHGC. The stated objective of the County for the project is to “treat water as a resource rather than a waste stream” to address water quality and quantity concerns specific to Kingston, and other related water resource issues throughout the county. This project is in the West Sound subbasin of WRIA 15.

Quantitative or qualitative assessment of how the project will function, including anticipated offset benefits, if applicable. Show how offset volume(s) were estimated.

Currently, irrigation water for WHGC is purchased from the Kitsap Public Utility District (KPUD) and is sourced from groundwater wells in the area that pump from a sea-level aquifer. Quantity of usable groundwater is limited and, eventually, as the local demand for groundwater supplies increases, this water source could decline because it is not being adequately replenished. Additionally, with increased withdrawals from the sea-level aquifer, there is a concern of saltwater intrusion and the associated impacts to groundwater quality over time. Delivery of recycled water to WHGC would preserve 29 million gallons per year (89 acre-feet) of potable water from KPUD’s groundwater supply system and eliminate the stress to the supply system imposed by large swings in potable water system demands during the irrigation season. Recycled water use will also decrease the risk of saltwater intrusion within the regional sea-level aquifer and extend the useful life of existing potable water infrastructure. The proposed Project would infiltrate about 107 million gallons per year (328 acre-feet) of highly treated recycled water into the shallow aquifer that provides baseflow to Grovers Creek and its tributaries. Assuming an average infiltration volume of 0.3 million gallons per day, the Project could increase baseflow in Grovers Creek by roughly 0.5 cfs. The water use and infiltration numbers are obtained from the Kingston Recycled Water Plan (Brown & Caldwell 2019).

The water offset quantity for the WRIA 15 Watershed Plan would be 328 acre-feet per year.

Conceptual-level map and drawings of the project and location.

Figure 1 shows the location of the facilities proposed for the project. Additional maps and drawings can be obtained in the Kingston Recycled Water Facility Plan.

Figure 1. Location of pipeline to WHGC and to infiltration area (from Brown & Caldwell, 2019)

Description of the anticipated spatial distribution of likely benefits

Water infiltration at the White Horse Golf Course could increase groundwater levels over approximately 500 acres of the headwaters of the South Fork of Grovers Creek and provide increased groundwater inputs and flows into nearly three miles of perennial streams (Grovers Creek and SF Grovers Creek) and up to 1.5 miles of intermittent streams (tributaries to Grovers Creek and SF Grovers Creek). Water infiltration could also enhance or restore wetlands associated with the creeks or headwater areas.

Location relative to future PE well demand

The forecast consumptive use for the West Sound subbasin using the irrigated area method and baseline growth assumptions is listed in Table 1.

Table 1. Forecast PE Consumptive Use Demand for West Sound Subbasin

| Acre-feet per year | Gallons per minute | Cubic feet per second |
| --- | --- | --- |
| 183.9 | 114.0 | 0.2545 |

A copy of the PE growth heat map from the WRIA 15 webmap is shown in Figure 2.

Source: https://hdr.maps.arcgis.com/apps/webappviewer/index.html?id=d7d02dedb57241aa81dd7eb376c8625a

Figure 2. WRIA 15 PE Growth Heat Map

Performance goals and measures.

The performance goals are to reduce groundwater use by 89 acre-feet per year during summer by switching the source of supply from Kitsap PUD to recycled water and to increase infiltration by 328 acre-feet per year to improve baseflow in Grovers Creek. The measures will be an increase in baseflow in summer in Grovers Creek and South Fork Grovers Creek by about 0.5 cfs. The increased baseflow should reduce water temperatures in those streams.

Descriptions of the species, life stages and specific ecosystem structure, composition, or function addressed.

The Washington Department of Fish and Wildlife (WDFW 2020) has identified that coho salmon are present in both Grovers Creek and the SF Grovers Creek; the Endangered Species Act (ESA) listed Puget Sound winter steelhead are present in Grovers Creek (although Grovers Creek is not listed as critical habitat); and chum salmon are present at the mouth of Grovers Creek below the fish hatchery weir/dam operated by the Suquamish Tribe near Miller Bay Road (barrier ID: 930696), for Grovers Creek Hatchery. The Washington Stream Catalog (WDF 1975) indicates that both coho and chum salmon were historically present in Grovers Creek. These North Kitsap streams were noted in the Stream Catalog (WDF 1975) as having good steady base flows at the time (likely due to the glacial outwash soils and infiltration of water).

Increased base streamflow and reduced water temperatures would primarily benefit juvenile salmonid rearing habitats by providing increased area and quality of summer stream rearing habitat. This would improve both productivity and survival of juveniles. The alteration of natural stream hydrology has been identified as a high priority limiting factor in WRIA 15 (NOAA 2007) and streamflow is important for supporting riparian vegetation and wetlands that provide shading, food web support, and flood and sediment attenuation functions.

Identification of anticipated support and barriers to completion.

A stakeholder coordination and public involvement program was completed and is described in the Water Facility Plan. Support was expressed for the recycled water, WHGC irrigation and winter infiltration option. The project is also believed to be in alignment with the broader goals of Ecology, Governor Jay Inslee’s Shellfish Initiative, West Central Local Integrating Organization, and the Puget Sound Partnership’s Strategic Initiatives to prevent pollution, protect and restore habitat, and recover shellfish beds. The main barrier to completion is funding for construction and O&M costs.

Potential budget and O&M costs.

The total construction costs of water treatment, conveyance, irrigation and infiltration are estimated to be $13.65 million (includes engineering and construction costs). The construction costs for conveyance and infiltration basins total $3.3 million and infrastructure needed for irrigation at WHGC is $1.6 million. An additional 35 percent would be added for design, construction services and administrative costs. The annual O&M cost for winter infiltration and summer irrigation is estimated to be $151,000.

Anticipated durability and resiliency.

The project would have lasting benefits as it would be actively managed by Kitsap County Public Works, O&M would likely be funded through ratepayers, and the source of water (domestic wastewater) will increase with increasing population and will not vary substantially from year to year due to climate factors.

Project sponsor(s) (if identified) and readiness to proceed/implement.

The project sponsor would be Kitsap County Public Works Department. A pre-design study was completed (Brown & Caldwell 2019). In addition, stakeholder coordination and public involvement was performed and there is general support for this project, but additional details (particularly around O&M) need to be addressed prior to proceeding.

References

Brown and Caldwell, November 14, 2019. Kingston Recycled Water Facility Plan. Prepared for Kitsap County Public Works.

NOAA (National Oceanic and Atmospheric Administration, National Marine Fisheries Service), 2007. Puget Sound Salmon Recovery Plan. Volume I. Adopted by the National Marine Fisheries Service, January 19, 2007.

WDF (Washington Department of Fisheries), 1975. “A Catalog of Washington Streams and Salmon Utilization, WRIA 15.” Accessed at: https://www.streamnetlibrary.org/?page_id=95.

WDFW (Washington Department of Fish and Wildlife), 2020. Salmonscape mapping of fish distribution. Available at: http://apps.wdfw.wa.gov/salmonscape/

###### Central Kitsap Treatment Plant (Silverdale Water District No. 16 Recycled Water Project) – North Hood Canal and West Sound Subbasins

Description

Silverdale Water District No. 16 (SWD) is building infrastructure to move recycled water throughout most of their service area. The source of the recycled water is wastewater that originates from surrounding communities of Poulsbo, Bangor, Silverdale, and Central Kitsap, and flows to the Central Kitsap Treatment Plant (CKTP). Currently, the treated effluent discharges into Puget Sound approximately 3,200 feet offshore at Port Orchard Bay. The average daily rate of discharge is about 3.4 million gallons per day (MGD). The goal for the project is for zero discharge into Puget Sound.

The CKTP will produce recycled water (“Class A” reclaimed water) using a sand filtration system with a capacity of 4 MGD. SWD will distribute the recycled water for various uses, including irrigation, dual-plumbing (flushing toilets), construction, streamflow augmentation and aquifer recharge. SWD has installed 7.4 miles of the planned 13.7 miles of purple pipe, the universal color for recycled water pipes. When completed, SWD will have the ability to move 3.5 MGD through the system.

The stated objective of the project is to provide “water-for-water” offset for future permit-exempt (PE) wells. This can be accomplished by infiltrating water and indirectly augmenting streamflow or by direct augmentation to a surface water body such as a stream or wetland. The key element of SWD’s recycled water infrastructure pertinent to an offset for PE wells is the pipeline that runs along Newberry Hill Road. By extending this portion of pipeline and connecting it to the recycled water source, the recycled water would reach three potential infiltration sites that could indirectly augment streams. These are the sand and gravel facilities at Dickey Road, the Asbury Soils site and a stormwater retention pond along Newberry Hill Road at the end of the pipeline. The benefitting streams are within the West Sound and North Hood Canal subbasins of WRIA 15. They are potentially Little Anderson, Anderson, Big Beef, Strawberry, Wildcat, and Chico creeks. Direct augmentation could also occur along the pipeline route. Strawberry Creek is along the path of a recycled water pipeline and is a candidate for direct augmentation. In other parts of SWD’s service area with recycled water pipelines Clear and Barker creeks are candidates for direct augmentation. For this project description only the infiltration projects along Newberry Hill Road are described.

Quantitative or qualitative assessment of how the project will function, including anticipated offset benefits, if applicable. Show how offset volume(s) were estimated. SWD estimates the total amount available for stream augmentation through infiltration at the Newberry Hill Road sites is approximately 0.5 MGD, equivalent to 0.77 cubic feet per second (CFS), 560 acre-feet per year (AFY) and 347 gallons per minute (GPM). The reclaimed water system will be equipped with a Supervisory Control and Data Acquisition (SCADA) system that includes weather monitoring and forecasting. The SCADA systems will allow SWD to regulate flow at all points of discharge/augmentation.

Map of the project and location.

Figure 1 shows the location of existing and proposed recycled water system pipe within the SWD service area, the three potential sites along the proposed Newberry Hill Road pipeline, and the costs for future elements of the planned recycled water system.

Description of the anticipated spatial distribution of likely benefits

The potential infiltration site at the Dickey gravel pit would likely benefit Strawberry Creek in the West Sound subbasin. The Asbury infiltration site would likely benefit Johnson, Wildcat and Chico Creek in the West Sound subbasin. The stormwater retention pond along Newberry Road would likely benefit Little Anderson Creek in the North Hood Canal subbasin and could enhance the nearby wetland at the headwaters of Anderson Creek and a tributary to Big Beef Creek.

Locations relative to future PEW demand

The estimated consumptive use for future PE wells for the West Sound and North Hood Canal subbasins are provided in Table 1. The quantities assume the median growth estimate and use of the irrigated area method.

Table 1. Estimated Future Consumptive Use Quantity Using Median Growth Estimate and Irrigated Area Method

| Subbasin | Estimated Future Consumptive Use (AFY) |
| --- | --- |
| West Sound | 183.9 |
| North Hood Canal | 90.3 |

The potential water offset quantity for this project is much greater (285 AFY greater) than the PE well consumptive use estimates for the West Sound and North Hood Canal subbasins combined. Additional recycled water could be available for Clear and Barker Creeks,

The Anderson Creek subbasin appears to have a relatively high concentration of PE wells just north of the project area. The stormwater retention pond augmentation site at the headwaters of Little Anderson Creek would address is located in an area with especially high potential for future PE wells.

A copy of the PE well growth heat map from the WRIA 15 webmap is shown in Figure 2.

Approx. Project Area

Figure 2. WRIA 15 PE Growth Heat Map

Performance goals and measures.

The stream augmentation amount will be measured and recorded using totalizing flow meters. The performance goals are to augment streams that are located near the infiltration sites. KPUD currently maintains 29 stream gaging stations in Kitsap County. KPUD’s monitoring of Little Anderson Creek is on a monthly basis, not continuously, because of the stream channel conditions and access. KPUD does not currently monitor Strawberry Creek. However, the indirect augmentation may not be obviously detectible or measurable at a stream gage that is typically located near the mouth given the variability of stream flow in Kitsap County that is dependent on the timing and amount of precipitation (daily, monthly, seasonally, year-to-year) in these drainage basins. The increased baseflow should be most detectible in the upper reaches of the stream if the augmentation occurs near the headwaters of the stream. The increased baseflow, although small, should reduce water temperatures in those streams.

Descriptions of the species, life stages and specific ecosystem structure, composition, or function addressed.

The Washington Department of Fish and Wildlife (WDFW 2020) has identified that coho and chum salmon and the Endangered Species Act (ESA) listed Puget Sound winter steelhead are present in both Anderson Creek and Strawberry Creek; Big Beef Creek and Wildcat Creek contain these species plus the ESA-listed Puget Sound Chinook salmon.; and chum salmon are present at the mouth of Koch Creek below Highway 3. The Washington Stream Catalog (WDF 1975) indicates that both coho and chum salmon were historically present in all of these creeks, although due to their size, only Big Beef Creek produced large numbers of salmon. These streams (except Big Beef Creek) were noted in the Stream Catalog (WDF 1975) as having substantial low flow problems including intermittent flows.

Big Beef Creek is listed for high water temperatures on Ecology’s 303(d) list of impaired waterbodies and Strawberry Creek is listed for dissolved oxygen and bacteria (Ecology 2020).

Increased base streamflow and reduced water temperatures would benefit both adult migrants to spawning grounds and juvenile salmonid rearing habitats by providing increased area and quality of summer stream rearing habitat. This would improve survival of adults and both productivity and survival of juveniles. The alteration of natural stream hydrology has been identified as a high priority limiting factor in WRIA 15 (NOAA 2007) and streamflow is important for supporting riparian vegetation and wetlands that provide shading, food web support, and flood and sediment attenuation functions.

The headwaters of Big Beef Creek and Anderson Creek include wetland areas that could also benefit from increased groundwater levels, further supporting cold water volumes to the creek.

Identification of anticipated support and barriers to completion.

SWD is the stakeholder who will coordinate the operations and maintenance of the infiltration/augmentation sites. SWD will collect, compile, share and report the metering data.

The primary barrier is the availability of funding for the construction and operations and maintenance (O&M) costs. Other barriers include water quality issues (concerns regarding trace chemicals, such as pharmaceuticals and personal care products) and the feasibility of infiltration. Feasibility issues would need to be studied and addressed during a feasibility study phase.

Potential budget and O&M costs.

As of today, the construction costs for building the elements to get the reclaimed water to the end of the Newberry Hill section is $12.8 million. These costs include $5.1 million for the conveyance and metering along Newberry Hill Road. The annual O&M cost for the reclaimed water system is estimated to be $100,000. Additional costs for feasibility studies, design, permitting and construction management would be incurred, typically 15-20 percent of the construction cost, or $1.92 -$2.56 million. The total implementation costs would be approximately $14.7 million to $15.4 million.

Anticipated durability and resiliency.

The project would have lasting benefits. SWD will manage the augmentation. The SCADA system will allow for adaptive management of the augmentation rate. It is proposed to use only a portion of the recycled water available, ensuring a reliable supply. Assuming an O&M funding source is found, SWD will manage the infiltration and provide a reliable, long-term operator.

Project sponsor(s) (if identified) and readiness to proceed/implement.

SWD would sponsor the project. The project is in agreement with their plans for recycled water and is a continuation of pipeline already constructed. A feasibility study is needed to analyze and plan for conditions at the sites, as well as work through easements or acquisitions of sites suitable for infiltration. The overall feasibility, planning, permitting and design stage would take up to 2 years. Funding for the project will also need to be secured. As this project will help remove a wastewater outfall into Puget Sound, we assume the Departments of Ecology and Health will support it and provide grant funding for implementation.

Sources of Information

Ecology (Washington Department of Ecology), 2020. 303(d) Listed Waterbodies. Available at: https://ecology.wa.gov/Water-Shorelines/Water-quality/Water-improvement/Assessment-of-state-waters-303d

NOAA (National Oceanic and Atmospheric Administration, National Marine Fisheries Service), 2007. Puget Sound Salmon Recovery Plan. Volume I. Adopted by the National Marine Fisheries Service, January 19, 2007.

WDF (Washington Department of Fisheries), 1975. “A Catalog of Washington Streams and Salmon Utilization, WRIA 15.” Accessed at: https://www.streamnetlibrary.org/?page_id=95.

WDFW (Washington Department of Fish and Wildlife), 2020. Salmonscape mapping of fish distribution. Available at: http://apps.wdfw.wa.gov/salmonscape/

###### Port Orchard Airport Stormwater Infiltration Project – South Sound Subbasin

Description

The proposed project would divert stormwater from the 104-acre Port Orchard Airport to a nearby infiltration facility which could be at several locations, including the airport, off-site at a nearby Kitsap County-owned parcel or off-site at an area south of the airport.

Future development at the airport would increase stormwater runoff and can provide the opportunity to construct stormwater facilities that could infiltrate stormwater or convey stormwater to an off-site infiltration facility.  An option would be to capture runoff from existing impervious areas. The airport site is located along Sidney Road SW in Port Orchard and was rezoned as REC – Rural Employment Center in 2016. This zone provides for isolated areas of industrial and commercial type uses in the rural areas of Kitsap County and are designated to promote the rural economy by providing and creating jobs close to where people live. This zoning allows future development at the airport including a wider range of commercial, industrial, and institutional uses such as offices, retail, and restaurants.

The project is in the South Sound subbasin of WRIA 15. The site is mostly within a Category II Critical Aquifer Recharge Area (CARA), with a small area of Category I CARA at the southerly end of the site. The streams that could potentially benefit are Minter and Burley creeks and their tributaries in the vicinity of the project site.

Quantitative or qualitative assessment of how the project will function, including anticipated offset benefits, if applicable. Show how offset volume(s) were estimated.

The project would function by collecting stormwater runoff from impervious surfaces and conveying it to an infiltration facility. Water quality treatment of the stormwater would also be required before infiltration to settle out fine particles which may plug an infiltration facility. Three potential areas for infiltration and groundwater recharge have been identified. They are on-site at the south end of the airport, east of the airport at a County-owned parcel that was used as a gravel pit and south of the airport. Although there are active gravel pits adjacent to the airport, use of those pits for infiltration is not proposed as an option as it is believed those pits will be in operation for years and will not likely to be suitable for infiltration.

Figure 1 provides a conceptual plan view for the project and Figure 2 provides a geologic map clipped from the WRIA 15 web map. An initial geologic review of an infiltration project was performed and indicated there is potential for groundwater recharge. A more detailed geotechnical evaluation would be required to confirm the site suitability and provide recommendations on the design of the infiltration facility.

To estimate the volume of stormwater runoff that may be available for recharge, streamflow data on Burley Creek from Kitsap PUD was used (KPUD 2020). Average monthly flows in Burley Creek were multiplied by the ratio of the drainage area at the point of diversion to the Burley Creek drainage area. Table 1 summarizes the anticipated average monthly yield at the project site based on the area-discharge relationship from Burley Creek. This is a conservative (low) estimate of stormwater runoff as impervious surfaces will generate much more runoff per acre than that of the Burley Creek basin.

Table 1
Estimated Average Monthly Yield at Port Orchard Airport (acre-feet)

| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 44 | 35 | 38 | 31 | 24 | 19 | 17 | 16 | 16 | 25 | 38 | 40 |

Two assumptions were made in estimating the potential groundwater recharge. The first is the infiltration facility would operate in the winter and early spring (November to March) and the second is 50 percent of the runoff could be infiltrated. The quantity that can be infiltrated will not be known until more detailed hydrological and geotechnical investigations are completed. With those assumptions, up to 98 acre-feet per year could be recharged. The average rate of recharge would be 0.33 cfs (148 gpm). Averaged throughout the entire year, the average rate of recharge would be 0.135 cfs (61 gpm).

The water offset quantity for the WRIA 15 Watershed Plan is preliminarily estimated to be up to 98 acre-feet per year. If suitable infiltration areas are identified, it is likely additional water would be available for recharge to groundwater.

Conceptual-level map and drawings of the project and location.

Figure 1 shows the locations of the potential infiltration facilities proposed for the project.

Description of the anticipated spatial distribution of likely benefits

Stormwater storage and infiltration could provide additional groundwater input and flows to the Minter and Burley Creek stream systems. Water infiltration could also enhance or restore wetlands associated with groundwater discharge areas. Depending on the location of the infiltration facility, there is approximately 5 miles of tributaries to Burley Creek and Burley Creek that could benefit from groundwater recharge, or approximately 4.5 miles of tributaries to Minter Creek and Minter Creek that could benefit.

Location relative to future PE well demand

The forecast consumptive use for the South Sound subbasin using the irrigated area method and baseline growth assumptions is listed in Table 2.

Table 2. Forecast PE Consumptive Use Demand for South Sound Subbasin

| Acre-feet per year | Gallons per minute | Cubic feet per second |
| --- | --- | --- |
| 213.8 | 132.5 | 0.2958 |

A copy of the PE growth heat map from the WRIA 15 webmap is shown in Figure 3. The project site is in an area predicted to have a lesser level of growth in PE wells, however higher levels of growth is predicted in both the Minter Creek and Burley Creek basins. The estimated water offset benefit of 98 acre-feet per year is 46 percent of the offset estimated for the South Sound subbasin.

Project Site

Source: https://hdr.maps.arcgis.com/apps/webappviewer/index.html?id=d7d02dedb57241aa81dd7eb376c8625a

Figure 3. WRIA 15 PE Growth Heat Map

Performance goals and measures.

The performance goals are to increase groundwater recharge by 98 acre-feet per year to improve baseflow in Minter and Burley Creeks. The measures will be an increase in baseflow in summer in the creeks by about 0.13 cfs, assuming the water infiltrated discharges to creeks at a steady-state rate equal to the annual average recharge. The average flow in Burley Creek from July to September is 17 cfs, with low flows about 9 cfs. There is less streamflow data available for Minter Creek, however data reviewed indicates streamflow levels about the same as Burley Creek. The increased streamflow from recharge will be a very small increase in either stream but may benefit tributaries receiving increased groundwater discharge relatively more.

Descriptions of the species, life stages and specific ecosystem structure, composition, or function addressed.

Minter and Burley creeks support a variety of species and life stages including the Endangered Species Act-listed Puget Sound winter steelhead and its critical habitat (NOAA 2016). Tributaries of the East Kitsap Peninsula are part of the Central and South Puget Sound Demographically Independent Population (DIP; NOAA 2019). Other anadromous salmonid species found in the watershed that would benefit from this project include Coho, coastal cutthroat trout, fall and summer chum, and fall Chinook salmon (WDFW 2020).

The salmonids and other aquatic species in the Burly/Minter watershed are subject to degraded ecosystem function due to limiting factors present at the site. In the Puget Sound Salmon Recovery Plan, NOAA identifies the alteration of natural stream hydrology as a high priority limiting factor in WRIA 15 (NOAA 2007), and streamflow is important for supporting riparian vegetation and wetlands that provide shading, food web support, and flood and sediment attenuation functions. Increased base streamflow and reduced water temperatures would primarily benefit juvenile salmonid rearing habitats by providing increased area and quality of summer stream rearing habitat. This would improve the survival of juveniles. Addressing the streamflow limiting factor and improving habitat conditions would help support salmonids at various life stages and increase presence, recruitment, and survival in the area of the project. Along with the habitat restoration actions and regional planning efforts already undertaken in the Minter/Burly watersheds, addressing increasing base streamflow could contribute to the VSP parameters of abundance, productivity, spatial structure, and diversity for the ESA-listed Distinct Population Segment of Puget Sound winter steelhead.

Identification of anticipated support and barriers to completion.

The project was proposed by members of the Watershed Restoration and Enhancement Committee as a potential project that would fit the goals of the committee. There is not currently a sponsor. The primary barrier would be the availability of funding for the construction and operations and maintenance (O&M) costs. Other barriers include the feasibility of infiltration and whether the timing of development and subsequent project matches the time frame for water offsets. Owners of the airport also have not been contacted to ascertain their interest in a project.

It is anticipated that the project would be supported by both the Minter Creek Watershed Strategies Group, the Puget Sound Partnership, and the West Sound Watersheds Council (the lead entity in this region of WRIA 15). The Minter Creek Watershed Strategies Group (MCWSG) conducted a regional planning effort for the Minter/Burley Creek basin. The goals of this project to increase base streamflows and reduce temperatures in the basin align with the priorities for land use identified in the MCWSG’s 2014 report, Minter Creek Watershed Strategies: A Coordinated Approach to Land Use Planning in the Watershed (MCWSG 2014). Section 8 of the same plan identifies intersections with the Puget Sound Partnership’s Action Agenda, with which this project also aligns. West Sound Watersheds Council aligns salmon strategies with Puget Sound Salmon Recovery Plans and implements the Puget Sound Partnership’s Action Agenda in coordination with the West Central Local Integrating Organization. The West Central Local Integrating Organization’s 2016 Ecosystem Recovery Plan identifies actions in the basin to implement salmon recovery actions. Two theories of change identified in this plan are directly addressed by the proposed project: “7.2 Decrease water withdrawal, diversion, per capital water use,” and “10.3 Fix problems caused by development” (WCLIO 2016). Minter and Burley creeks are not directly identified in the plan, but the project fits into general strategies for improving streamflow and habitat conditions for salmonids in WRIA 15. The project also addresses strategies identified in NOAA’s Recovery Plan for Puget Sound Steelhead (NOAA 2019). Recovery Strategy 3.3.2 specifically identifies improving hydrologic conditions and restoring groundwater recharge areas as important to improving survival for steelhead in South Puget Sound.

Potential budget and O&M costs.

The construction costs of an infiltration facility separate from stormwater facilities constructed for future development at the airport is estimated to be around $400,000. An additional 35 percent would be added for design, construction services and administrative costs, for a total of $540,000. The annual O&M cost is estimated to be $30,000. All costs are based upon a conceptual level of understanding of the project and will change once additional feasibility studies are completed. The size of the infiltration facility will have the largest effect on construction costs. No entity that will pay the annual O&M costs has been identified. It is assumed project costs would be covered through grants.

Anticipated durability and resiliency.

The project would have lasting benefits. The source of water (stormwater runoff) will vary from year to year due to climate factors, however the project benefits were described assuming a conservative amount of stormwater is captured and infiltrated.

Project sponsor(s) (if identified) and readiness to proceed/implement.

Washington Water Trust is willing to explore sponsorship for a limited number of MAR sites. The project is also in a very conceptual level of detail and additional studies will be needed to determine its feasibility or arrangement.

References

Kitsap PUD Hydrological Data, 2020. Available at: http://kpudhydrodata.kpud.org/

Minter Creek Watershed Strategies Group (MCWSG), 2014. Minter Creek Watershed Strategies: A Coordinated Approach to Land Use Planning in the Watershed. March 2014.

NOAA (National Oceanic and Atmospheric Administration, National Marine Fisheries Service), 2007. Puget Sound Salmon Recovery Plan. Volume I. Adopted by the National Marine Fisheries Service, January 19, 2007.

NOAA, 2019. ESA Recovery Plan for the Puget Sound Steelhead Distinct Population Segment (Oncorhynchus mykiss). December 30, 2019. Available from: https://www.fisheries.noaa.gov/resource/document/esa-recovery-plan-puget-sound-steelhead-distinct-population-segment-oncorhynchus

WDFW (Washington Department of Fish and Wildlife), 2020. Statewide Washington Integrated Fish Distribution. Available at: http://geo.wa.gov/datasets/4ed1382bad264555b018cc8c934f1c01_0?geometry=-122.777%2C47.430%2C-122.518%2C47.471

###### Belfair Wastewater Reclamation Facility – South Sound Subbasin

Description

A potential project was identified that would use recycled water from the Belfair Wastewater and Water Reclamation Facility and infiltrate the water to provide an offset. Research into the operations of the current treatment facility is summarized below.

The Belfair Wastewater and Water Reclamation Facility is authorized to distribute Class A reclaimed water to public and private entities for commercial and industrial uses, to apply reclaimed water to land for irrigation at agronomic rates, and/or for groundwater recharge by surface percolation at locations listed in the permit. Current authorized uses are shown in the following table.

| Customer | Use | Location | Average Monthly Flow |
| --- | --- | --- | --- |
| Mason County – Forest Irrigation Field | Irrigation and groundwater recharge | 39-acre irrigation site just east of reclamation plant | 0.125 MGD |
| Mason County – Belfair Reclamation Plant | Supply to hose bibs, equipment wash, toilet flushing, plant processes, fire flow, and irrigation | 25200 NE State Route 3 |  |

The irrigation site is in the West Fork Coulter Creek basin. Currently, the plant is at about ½ capacity and treats/irrigates about 70 acre-feet per year.

Issues

Potential issues with this project are:

- The irrigation site is already in operation and has capacity to treat the remainder of the plant capacity.

###### Johnson Farm Springbrook Creek Managed Aquifer Recharge Project – Bainbridge Island Subbasin

Description

The Johnson Farm property has an existing storage pond that is used to supply irrigation water to the farm during the summer. The property has a surface water right to withdraw 0.2 cfs and 40 acre-feet to irrigate 20 acres. The period of use is June 1 to September 30.

The Johnson Farm site has the potential for additional surface water storage, for infiltration of stored water and for transfer of an existing surface water source to a groundwater source. For this project description, only the potential for infiltration and groundwater recharge, along with a source switch, is described as they have the potential for providing water offsets to fit the goals of the Watershed Restoration and Enhancement Committee. This project is currently not feasible due to legal restrictions.

Quantitative or qualitative assessment of how the project will function, including anticipated offset benefits, if applicable. Show how offset volume(s) were estimated.

The project would function by diverting water from an existing storage pond to an area on the farm for infiltration during the winter and early spring season (November to March). During the summer months, groundwater would be used in lieu of surface water for irrigation. There will be a benefit to groundwater from infiltration and benefit to surface water during summer by allowing surface water to flow through or around the pond instead of being used for irrigation. The project would require reconfiguration of the existing pond to allow water to be routed around the pond in summer and to provide a source of water by gravity or pumping to an infiltration basin. Figure 1 provides a conceptual plan view for the project and Figures 2-4 provide geologic maps prepared to review the initial feasibility of an infiltration project. The initial geologic review indicated there is potential for groundwater recharge. A more detailed geotechnical evaluation would be required to confirm the site suitability and provide recommendations on the design of the infiltration facility.

To estimate the volume of stormwater runoff that may be available for recharge, streamflow data on Springbrook Creek from the City of Bainbridge Island (Berg 2020) was used. Average monthly flows in Springbrook Creek were multiplied by the ratio of the pond drainage area to the Springbrook Creek drainage area. Table 1 summarizes the anticipated average monthly yield at the project site based on the area-discharge relationship from Springbrook Creek.

Table 1
Estimated Average Monthly Yield at Johnson Farm (acre-feet)

| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 28 | 51 | 42 | 25 | 15 | 7 | 4 | 4 | 4 | 17 | 38 | 23 |

Two assumptions were made in estimating the potential groundwater recharge. The first is the infiltration facility would operate in the winter and early spring (November to March) and the second is 50 percent of the runoff could be infiltrated. The quantity that can be infiltrated will not be known until more detailed hydrologic and geotechnical investigations are completed. With those assumptions, up to 91 acre-feet per year could be recharged. The average rate of recharge would be 0.31 cfs (138 gpm). Averaged throughout the entire year, the average rate of recharge would be 0.126 cfs (57 gpm). It is not known at this time whether it is feasible to infiltrate at that rate.

In addition to groundwater recharge, removing the surface water discharge would improve streamflow by up to 0.2 cfs during summer. High temperatures and low dissolved oxygen have been measured at the existing pond discharge during warmer months. If the existing pond were bypassed during summer, the project would also improve instream water quality by reducing stream temperatures and increasing dissolved oxygen.

The water offset quantity for the WRIA 15 Watershed Plan is preliminarily estimated to be up to 91 acre-feet per year.

Conceptual-level map and drawings of the project and location.

Figure 1 shows a conceptual plan view of the project.

Description of the anticipated spatial distribution of likely benefits

Replacement of the surface water source with a new groundwater source at Johnson Farm could improve water quality in Springbrook Creek and its tributary that runs through the property. Water storage and infiltration at the Johnson Farm Property could increase groundwater levels in the headwaters of Johnson Creek and provide increased groundwater inputs and flows into Springbrook Creek. The length of stream potentially benefitting is 1.4 miles (from the site to the mouth of Springbrook Creek). Detailed groundwater evaluations would be required to estimate how much benefit to Springbrook Creek would occur. Water infiltration could also enhance wetlands associated with groundwater discharge areas.

Location relative to future PE well demand

The forecast consumptive use for the Bainbridge Island subbasin using the irrigated area method and medium growth assumptions is listed in Table 1.

Table 1. Forecast PE Consumptive Use Demand for Bainbridge Island Subbasin

| Acre-feet per year | Gallons per minute | Cubic feet per second |
| --- | --- | --- |
| 67.6 | 41.9 | 0.0935 |

A copy of the PE growth heat map from the WRIA 15 webmap is shown in Figure 5. The project site is located in an area predicted to have a moderate amount of PE well growth compared to other areas in Kitsap County. Much of the Springbrook Creek watershed is in an area predicted to have a moderate amount of PE well growth so this project would provide a water offset where additional consumptive use is predicted. The estimated water offset benefit of 91 acre-feet per year exceeds the total offset estimated for the Bainbridge Island subbasin using the irrigated area method and medium growth prediction.

Project Site

Source: https://hdr.maps.arcgis.com/apps/webappviewer/index.html?id=d7d02dedb57241aa81dd7eb376c8625a

Figure 5. WRIA 15 PE Growth Heat Map

Performance goals and measures.

The performance goals are to reduce surface water use by up to 40 acre-feet per year during summer by switching the source of supply to a new onsite groundwater source and to increase infiltration by up to 91 acre-feet per year to improve baseflow in Springbrook Creek. The measures will be an increase in baseflow in summer in Springbrook Creek by about 0.3 cfs, assuming the water infiltrated discharges to Springbrook Creek at a steady-state rate equal to the annual average recharge. The flow in Springbrook Creek in July-September averages about 0.5 cfs with annual low flows of less than 0.4 cfs (Berg 2020). The groundwater recharge could increase baseflows by 75 percent. Increased baseflow and bypass of the existing pond during summer could also slightly reduce water temperatures in the stream.

Descriptions of the species, life stages and specific ecosystem structure, composition, or function addressed.

Springbrook Creek is one of the most productive fish-bearing streams on Bainbridge Island. It supports cutthroat trout, coho salmon, chum salmon, sculpin, lamprey, and historically supported ESA-listed Puget Sound winter steelhead (BILT 2018). Springbrook Creek also contains one of two reaches on Bainbridge Island that are designated as critical habitat for Puget Sound steelhead (BILT 2018).

The salmonids and other aquatic species in Springbrook Creek are subject to degraded ecosystem function due to limiting factors present at the site. In the Puget Sound Salmon Recovery Plan, NOAA identifies the alteration of natural stream hydrology as a high priority limiting factor in WRIA 15 (NOAA 2007), and streamflow is important for supporting riparian vegetation and wetlands that provide shading, food web support, and flood and sediment attenuation functions. Increased base streamflow and reduced water temperatures would primarily benefit juvenile salmonid rearing habitats by providing increased area and quality of summer stream rearing habitat. This would improve the survival of juveniles. Addressing the streamflow limiting factor and improving habitat conditions would help support salmonids at various life stages and increase presence, recruitment, and survival in the area of the project.

Identification of anticipated support and barriers to completion.

The project was proposed by the City of Bainbridge Island as a potential project that would fit the goals of the Watershed Restoration and Enhancement Committee. Friends of the Farms is the land manager and could be the project sponsor. Either the City or Friends of the Farm could construct, operate and maintain the pond and infiltration facilities as they own the property. Even though the City does not operate the farm, they are the water resources manager for Bainbridge Island and would have the resources to manage the project. The primary barrier would be the availability of funding for the construction and operations and maintenance (O&M) costs. Other barriers include the feasibility of infiltration. Feasibility issues would need to be studied and addressed during a feasibility study phase.

Potential budget and O&M costs.

The total construction costs of the pond reconfiguration, piping and infiltration facility is estimated to be around $400,000. An additional 35 percent would be added for design, construction services and administrative costs, for a total of $540,000. The annual O&M cost is estimated to be $30,000. All costs are based upon a conceptual level of understanding of the project and may change once additional feasibility studies are completed. The costs would also change if the project is scaled back.

Anticipated durability and resiliency.

The project would have lasting benefits as it would be actively managed by the City of Bainbridge Island with O&M funded by the City using existing staff. The source of water could vary substantially from year to year due to climate factors, however the project benefits were described assuming a conservative amount of stormwater is captured and infiltrated.

Project sponsor(s) (if identified) and readiness to proceed/implement.

The City of Bainbridge Island is the most suitable project sponsor but has not committed to assuming the project sponsor role yet. The project is also in a very conceptual level of detail and additional hydrologic and geotechnical studies will be needed to determine its feasibility or arrangement.

References

Bainbridge Island Land Trust, 2018. Springbrook Creek Watershed Assessment, Final Report December 26, 2018. SRFB Project #14-1517. Available from: https://www.bi-landtrust.org/wp-content/uploads/2019/02/Springbrook-Creek-Assessment-Report-Narrative-1.pdf

Berg, Christian, 2020. Personal Communication, June 24, 2020

NOAA (National Oceanic and Atmospheric Administration, National Marine Fisheries Service), 2007. Puget Sound Salmon Recovery Plan. Volume I. Adopted by the National Marine Fisheries Service, January 19, 2007.

WDF (Washington Department of Fisheries), 1975. “A Catalog of Washington Streams and Salmon Utilization, WRIA 15.” Accessed at: https://www.streamnetlibrary.org/?page_id=95.

WDFW (Washington Department of Fish and Wildlife), 2020. Salmonscape mapping of fish distribution. Available at: http://apps.wdfw.wa.gov/salmonscape/

###### Winslow WasteWater Treatment plant reclaimed water

#### Description

Currently the Winslow wastewater treatment plant (WWTP) produces an average of 0.5 MGD of effluent that goes unused and ends up in the Puget Sound. With a tertiary treatment system this effluent could be reclaimed and brought up to a quality that will make the water useable as irrigation in nearby sports areas. By replacing water from the City of Bainbridge Island Water utility with reclaimed water from the WWTP less water will be taken out of the shallow aquifer and more water will be available for streamflow.

#### Quantitative or qualitative assessment of how the project will function, including anticipated offset benefits, if applicable. Show how offset volume(s) were estimated.

The project would function by diverting water from the outfall of the WWTP in the irrigation season (May-October).  During the summer months, reclaimed water would be used in-lieu of municipal water for irrigation. There will be a benefit to surface water during summer by replacing some of the shallow groundwater extraction from the well field near Cooper Creek. Figure 1 provides a conceptual plan view of some of the likely areas where reclaimed water could be used for irrigation. Figures 2 provide a map of Cooper creek (salmon bearing) and associated shallow well field, known as Head of the Bay.

To estimate the volume of water that could be offset a rough, conservative calculation was made of the irrigated sports turf (schools and golf course) within the Winslow service area at 45 acres. If irrigation was applied at a rate of 1 inch per week for 12 weeks, an offset of 45 acre-feet/year could be achieved.

#### Figure 1 Map of potential application sites

#### Description of the anticipated spatial distribution of likely benefits

Replacement of the groundwater extraction from the Head of the Bay well field will allow more interflow from the shallow aquifers (Vashon and Sea Level) to supply baseflow to Cooper creek that runs through the well field.

Figure 2 Map of well field and associated stream.

Head of the Bay well field and Cooper Creek

#### Location relative to future PE well demand

The forecast consumptive use for the Bainbridge Island subbasin using the irrigated area method and medium growth assumptions is listed in Table 1.

Table 1. Forecast PE Consumptive Use Demand for Bainbridge Island Subbasin

| Acre-feet per year | Gallons per minute | Cubic feet per second |
| --- | --- | --- |
| 67.6 | 41.9 | 0.0935 |

A copy of the PE growth heat map from the WRIA 15 webmap is shown in Figure 3. While the site of the treatment plant is not located in an area expected to receive many new PE wells the area of groundwater extraction and expected streamflow benefit is located in an area predicted to have low to moderate amount of PE well growth compared to other areas in Kitsap County.

Figure 3. WRIA 15 PE Growth Heat Map

Treatment Plant

Cooper Creek Figure 3. WRIA 15 PE Growth Heat Map

Plant

Source: https://hdr.maps.arcgis.com/apps/webappviewer/index.html?id=d7d02dedb57241aa81dd7eb376c8625a

#### Performance goals and measures.

The performance goals are to reduce surface water use by up to 45 acre-feet per year during summer by switching the source of supply from existing groundwater withdrawal to reclaimed water from the Winslow WWTP to improve baseflow in Cooper Creek. The measures will be an increase in baseflow in summer in Cooper Creek by about 0.06 cfs.

#### Descriptions of the species, life stages and specific ecosystem structure, composition, or function addressed.

Cooper Creek is one of the purest fish-bearing streams on Bainbridge Island consistently providing cool, clear, oxygen-rich water. It supports cutthroat trout and coho salmon, (WDFW, 2021). Also, Cooper Creek is slated to receive its second major fish-passage barrier correction project in 2023.

The salmonids and other aquatic species in Cooper Creek are subject to degraded ecosystem function due to limiting factors present at the site. In the Puget Sound Salmon Recovery Plan, NOAA identifies the alteration of natural stream hydrology as a high priority limiting factor in WRIA 15 (NOAA 2007), and streamflow is important for supporting riparian vegetation and wetlands that provide shading, wildfire breaks, food web support, and flood and sediment attenuation functions. Increased base streamflow and reduced water temperatures would primarily benefit juvenile salmonid rearing habitats by providing increased area and quality of summer stream rearing habitat. This would improve the survival of juveniles. Addressing the streamflow limiting factor and improving habitat conditions would help support salmonids at various life stages and increase presence, recruitment, and survival in the area of the project.

#### Identification of anticipated support and barriers to completion.

The project was proposed by the City of Bainbridge Island as a potential project that would fit the goals of the Watershed Restoration and Enhancement Committee. The primary barrier would be the availability of funding for the construction and operations and maintenance (O&M) costs. Other barriers include the feasibility of adding distribution facilities to transfer the reclaimed water from the treatment plant to the application sites. Feasibility issues would need to be studied and addressed during a feasibility study phase. Currently there is a study underway to characterize the effluent of the WWTP and propose applicable treatment options.

#### Potential budget and O&M costs.

The total construction costs of the plant reconfiguration, piping and new treatment facility is estimated to be around $5,000,000.00 An additional 30% would be added for design, construction services and administrative costs, for a total of $6,500,000.00. The annual O&M cost is estimated to be $100,000.00. All costs are based upon a conceptual level of understanding of the project and may change once additional feasibility studies are completed. The costs would also change if the project is scaled back.

#### Anticipated durability and resiliency.

The project would have lasting benefits as it would be actively managed by the City of Bainbridge with O&M funded by the City using existing  and new staff.

#### Project sponsor(s) (if identified) and readiness to proceed/implement.

The City of Bainbridge Island is the most suitable project sponsor but has not committed to assuming the project sponsor role yet. The project is also in a very conceptual level of detail and additional hydrologic and geotechnical studies will be needed to determine its feasibility or arrangement.

#### References

NOAA (National Oceanic and Atmospheric Administration, National Marine Fisheries Service), 2007. Puget Sound Salmon Recovery Plan. Volume I. Adopted by the National Marine Fisheries Service, January 19, 2007.

WDF (Washington Department of Fisheries), 1975. “A Catalog of Washington Streams and Salmon Utilization, WRIA 15.” Accessed at: https://www.streamnetlibrary.org/?page_id=95.

WDFW (Washington Department of Fish and Wildlife), 2021. Salmonscape mapping of fish distribution. Available at: http://apps.wdfw.wa.gov/salmonscape/

###### Rocky Creek Tributary Managed Aquifer Recharge

#### Description

This project is a potential MAR project on a tributary to Rocky Creek, south of Trophy Lake Golf Course. The tributary has a watershed area of approximately 1,200 acres upstream of its confluence with Rocky Creek.  Preliminary geologic maps from the WRIA 15 indicate a zone of recessional outwash in the project area. Properties that are candidate for MAR sites are owned by Alpine Evergreen, a forestry management company and Selig Real Estate, a development company.

#### Quantitative or qualitative assessment of how the project will function, including anticipated offset benefits, if applicable. Show how offset volume(s) were estimated.

The project would function by diverting flows from the tributary during winter and conveying it to an infiltration facility. Water quality treatment of the stormwater would also be required before infiltration to settle out fine particles which may plug an infiltration facility.  Rocky Creek has minimum flows per WAC 173-515 and is closed to further consumptive use from mid-June through October. Salmonscape does not show presence of salmonids in the tributary.  Approximately 1200 acres is the tributary area that would contribute runoff to the potential recharge area

To estimate the volume of runoff that may be available for recharge, streamflow data on Burley Creek from Kitsap PUD was used (KPUD 2020).  Average monthly flows in Burley Creek were multiplied by the ratio of the drainage area at the point of diversion to the Burley Creek drainage area.  Table 1 summarizes the anticipated average monthly yield at the project site based on the area-discharge relationship from Burley Creek.

Table 1
Estimated Average Monthly Yield at Rocky Creek Tributary (acre-feet)

| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 510 | 406 | 439 | 356 | 273 | 219 | 196 | 188 | 189 | 287 | 443 | 465 |

The assumptions made in estimating the potential volume of groundwater recharge were the infiltration facility would operate in the winter and early spring (November to March) and the infiltration rate would be 1 cfs (approximately 60 acre-feet/month). That infiltration volume is assumed based upon a soil infiltration rate of 2 feet/day (1 inch/hour) and an infiltration basin size of one acre.  It is also assumed that the facility would operate 50% of the time to account for periods that minimum flows are not met in Rocky Creek. With those assumptions, up to 150 acre-feet per year could be recharged. Averaged throughout the entire year, the rate of recharge would be 0.21 cfs (92 gpm). The quantity that can be infiltrated will not be known until more detailed hydrological and geotechnical investigations are completed as well as determining which property would be available for a project. With redundancy and the need for a settling basin, the overall size of the infiltration facility would be 2-3 acres.

The water offset quantity for the WRIA 15 Watershed Plan is preliminarily estimated to be up to 150 acre-feet per year. If suitable infiltration areas are identified and are available, it is likely additional water would be available for recharge to groundwater.

#### Conceptual-level map and drawings of the project and location.

Figure 1 shows the area that could be used for MAR.

Figure 1. Rocky Creek Tributary MAR Area

Potential Area for MAR Project

Alpine Evergreen is one of the owners, they own a large area zoned for forestry. Figure 2 shows their ownership in green.

Figure 2. Ownership by forestry company in MAR area

Property owned in potential MAR area

Fish Distribution from Salmonscape is provided in figure 3.

Figure 3. Fish distribution near MAR area

Rocky Creek

###### Oak Lake Storage and Potential Managed Aquifer Recharge

#### Description

This project is a potential surface water storage and MAR project at a small lake that feeds a tributary to the Dewatto River in the South Hood Canal subbasin. The site is reported to be an old gravel pit and geologic maps indicate the presence of recessional outwash, which could be a suitable material for MAR. The lake has only one owner (Manke Timber Company).

#### Quantitative or qualitative assessment of how the project will function, including anticipated offset benefits, if applicable. Show how offset volume(s) were estimated.

The project could capture and infiltrate water from a tributary area of 230 acres. The Dewatto River has minimum flows per WAC 173-515 and is closed to further consumptive use from mid-June through October.  No streamflow or lake level data is available.  The lake varies in surface area during the year; an aerial photo from July 2018 showed three visible ponds with a combined surface area of 4.2 acres. An aerial photo from February 2015 showed a single lake with a surface area of about 25 acres. It’s not known if the water in the lake discharges to a stream or infiltrates into the ground.

The project would entail placing a control structure at the lake outlet which would either maintain lake levels at a higher elevation later in the year or raise the level of the lake to store more water. Maintaining lake levels 2 feet higher or raising the lake by 2 feet and infiltrating that water to time streamflow benefit could provide 50 acre-feet of streamflow benefit in summer. Maintaining or raising by 3 feet would provide 75 acre-feet. Typically lakes can be raised or held a few feet without extensive costs. An infiltration basin could be constructed in the footprint of the lake or adjacent to the lake.

An estimate of runoff was prepared using stream gage records from the Dewatto River (USGS 12068500 Dewatto River Near Dewatto, WA) and adjusting the basin yield by area. The tributary area to the lake has much more runoff than the potential storage increase of 50-75 acre-feet. The Dewatto River has minimum flows per WAC 173-515 and is closed to further consumptive use from mid-June through October.  Although the Dewatto River stream gage records are old (period of record 1947-1974) flows in the November to March time period appear to exceed the minimum flows for greater than 50% of the time, indicating additional flow could be stored in the lake.

Salmonscape data does not show salmonid use in the stream draining the lake.

The water offset quantity for the WRIA 15 Watershed Plan is preliminarily estimated to be up to 75 acre-feet per year. Hydrologic and geologic studies are required to prepare a better estimate of the potential offset.

#### Conceptual-level map and drawings of the project and location.

Figure 1 shows the site location, figure 2 show the geology and tributary area, Figure 3 shows the Salmonscape layer and Figure 4 a parcel map.

Figure 1. Location map

Dewatto River

Oak Lake Project Location

Figure 2. Geology Map and Tributary Area

Figure 3. Salmonscape Layers

Figure 4. Parcel Map at Oak Lake

###### Shoe Lake Storage and Potential Managed Aquifer Recharge

#### Description

This project is a potential surface water storage project at a small lake that feeds a tributary to the Dewatto River in the South Hood Canal subbasin. A MAR component would be preferred but preliminary geologic maps don’t indicate a suitable formation is close by. Additional research into the potential for MAR is needed if that component of the project is desired. The lake is a candidate as there are only 2 owners – the south 1/2 is owned by DNR and the north ½ by a private group. There is only one house near the lake on the north side, and it appears to be higher in elevation than the lake so additional storage may not impact that house.  The project would increase storage in winter and release it throughout summer at a controlled rate that is higher than natural streamflow, especially in summer. If a suitable MAR site is nearby, the releases could be timed to maximize streamflow benefit by using the time lag from infiltration to streamflow benefit. It would also reduce the potential for water quality impacts from surface water releases in summer, which would likely be warm.

#### Quantitative or qualitative assessment of how the project will function, including anticipated offset benefits, if applicable. Show how offset volume(s) were estimated.

The project would function by placing a control structure at the lake outlet which would either maintain lake levels at a higher elevation later in the year or raise the level of the lake to store more water. The tributary area to the lake is estimated to be 224 acres and the lake surface area is 21 acres. Maintaining lake levels 2 feet higher or raising the lake by 2 feet would provide 42 acre-feet of streamflow benefit in summer. Maintaining or raising by 3 feet would provide 62 acre-feet. Typically, lakes can be raised or held a few feet higher without extensive costs.

No streamflow or lake level data is available.  An estimate of runoff was prepared using stream gage records from the Dewatto River (USGS 12068500 Dewatto River Near Dewatto, WA) and adjusting the basin yield by area. The tributary area to the lake has much more runoff than the potential storage increase of 42-62 acre-feet. The Dewatto River has minimum flows per WAC 173-515 and is closed to further consumptive use from mid-June through October.  Although the Dewatto River stream gage records are old (period of record 1947-1974) flows in the November to March time period appear to exceed the minimum flows for greater than 50% of the time, indicating additional flow could be stored in the lake.

Salmonscape data does not show salmonid use in the stream draining the lake.

The water offset quantity for the WRIA 15 Watershed Plan is preliminarily estimated to be up to 62 acre-feet per year. Hydrologic and geologic studies are required to prepare a better estimate of the potential offset.

Figure 1 shows the site location. Figure 2 shows the geology and tributary area. Figure 3 shows Salmonscape layers in the project vicinity and Figure 4 shows parcels at the site.

Figure 1. Location map

Dewatto River

Shoe Lake

Figure 2. Geology and Tributary area

Shoe Lake

Figure 3. Salmonscape layers

Figure 4. Parcel map

###### M&E Farm Manzanita Creek Infiltration Project-Bainbridge Island

Description

The proposed project at the historic M&E Tree Farm site would collect stormwater runoff from an adjacent residential area for infiltration and groundwater recharge in a constructed infiltration facility. The project is located in the Manzanita Creek watershed on Bainbridge Island in the Bainbridge Island subbasin.

Quantitative or qualitative assessment of how the project will function, including anticipated offset benefits, if applicable. Show how offset volume(s) were estimated.

The project would function by collecting stormwater from an adjacent area and directing it to a city-owned parcel (historic M&E Tree Farm) near the upper reaches of Manzanita Creek. An infiltration facility would be constructed on that site to recharge groundwater. A stormwater pond may be required for flow equalization and settling out fine particles which may plug an infiltration facility. Figure 1 provides a conceptual plan view for the project and Figures 2-4 provide geologic maps prepared to review the initial feasibility of an infiltration project. The initial geologic review indicated there is potential for groundwater recharge. A more detailed geotechnical evaluation would be required to confirm the site suitability and provide recommendations on the design of the infiltration facility.

To estimate the volume of stormwater runoff that may be available for recharge, streamflow data on Manzanita Creek from Kitsap PUD was used. Average monthly flows in Manzanita Creek were multiplied by the ratio of the stormwater collection area to the Manzanita Creek drainage area. Table 1 summarizes the anticipated average monthly yield at the project site based on the area-discharge relationship from Manzanita Creek.

Table 1
Estimated Average Monthly Yield at M&E Tree Farm Site (acre-feet)

| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 13 | 6.4 | 3.3 | 3.9 | 1.4 | 0.9 | 0.6 | 0.5 | 0.6 | 1.4 | 4.3 | 8.3 |

Two assumptions were made in estimating the potential groundwater recharge. The first is the infiltration facility would operate in the winter and early spring (November to March) and the second is 50 percent of the runoff could be infiltrated. The quantity that can be infiltrated will not be known until more detailed geotechnical investigations are completed. With those assumptions, up to 17.6 acre-feet per year could be recharged. The average rate of recharge would be 0.06 cfs (27 gpm). Averaged throughout the entire year, the average rate of recharge would be 0.024 cfs (11 gpm).

The water offset quantity for the WRIA 15 Watershed Plan is preliminarily estimated to be up to 17.6 acre-feet per year.

Conceptual-level map and drawings of the project and location.

Figure 1 shows a conceptual plan view of the project.

Description of the anticipated spatial distribution of likely benefits

Water storage and infiltration at the historic M&E Tree Farm Property could increase groundwater levels in the headwaters of Manzanita Creek and provide increased groundwater inputs and flows into Manzanita Creek. Detailed groundwater evaluations would be required to estimate how much benefit to Manzanita Creek would occur. Water infiltration could also enhance wetlands associated with groundwater discharge areas.

Location relative to future PE well demand

The forecast consumptive use for the Bainbridge Island subbasin using the irrigated area method and baseline growth assumptions is listed in Table 1.

Table 1. Forecast PE Consumptive Use Demand for Bainbridge Island Subbasin

| Acre-feet per year | Gallons per minute | Cubic feet per second |
| --- | --- | --- |
| 67.6 | 41.9 | 0.0935 |

A copy of the PE growth heat map from the WRIA 15 webmap is shown in Figure 5. The project site is located in an area predicted to have less growth in PE wells, however more growth is predicted northwest of the site in the Manzanita Creek watershed along the North Fork Manzanita Creek. The estimated water offset benefit of 17.6 acre-feet per year is 26 percent of the offset estimated for the Bainbridge Island subbasin.

Project Site

Source: https://hdr.maps.arcgis.com/apps/webappviewer/index.html?id=d7d02dedb57241aa81dd7eb376c8625a

Figure 5. WRIA 15 PE Growth Heat Map

Performance goals and measures.

The performance goals are to increase groundwater recharge by 17.6 acre-feet per year to improve baseflow in Manzanita Creek. The measures will be an increase in baseflow in summer in Manzanita Creek by about 0.02 cfs, assuming the water infiltrated discharges to Manzanita Creek at a steady-state rate equal to the annual average recharge. The flow in Manzanita Creek in July-September averages about 0.3 cfs with annual low flows of 0.11 to 0.18 cfs (KPUD). The groundwater recharge could increase baseflows by 8-20 percent. Increased baseflow could also slightly reduce water temperatures in the stream.

Descriptions of the species, life stages and specific ecosystem structure, composition, or function addressed.

The Washington Department of Fish and Wildlife (WDFW 2020) has identified that coho salmon are present in both Manzanita Creek and the SF Manzanita Creek; the Endangered Species Act (ESA) listed Puget Sound winter steelhead are present in Manzanita Creek (although Manzanita Creek is not listed as critical habitat); and chum salmon are present at the mouth of Manzanita Creek below the fish hatchery weir/dam operated by the Suquamish Tribe near Miller Bay Road (barrier ID: 930696), for Manzanita Creek Hatchery. The Washington Stream Catalog (WDF 1975) indicates that both coho and chum salmon were historically present in Manzanita Creek. These North Kitsap streams were noted in the Stream Catalog (WDF 1975) as having good steady base flows at the time (likely due to the glacial outwash soils and infiltration of water).

The salmonids and other aquatic species in Manzanita Creek are subject to degraded ecosystem function due to limiting factors present at the site. In the Puget Sound Salmon Recovery Plan, NOAA identifies the alteration of natural stream hydrology as a high priority limiting factor in WRIA 15 (NOAA 2007), and streamflow is important for supporting riparian vegetation and wetlands that provide shading, food web support, and flood and sediment attenuation functions. Increased base streamflow and reduced water temperatures would primarily benefit juvenile salmonid rearing habitats by providing increased area and quality of summer stream rearing habitat. This would improve both productivity and survival of juveniles. The alteration of natural stream hydrology has been identified as a high priority limiting factor in WRIA 15 (NOAA 2007) and streamflow is important for supporting riparian vegetation and wetlands that provide shading, food web support, and flood and sediment attenuation functions. Increased base streamflow and reduced water temperatures would primarily benefit juvenile salmonid rearing habitats by providing increased area and quality of summer stream rearing habitat. This would improve the survival of juveniles. Addressing the streamflow limiting factor and improving habitat conditions would help support salmonids at various life stages and increase presence, recruitment, and survival in the area of the project. Addressing increased base streamflow could contribute to the VSP parameters of abundance, productivity, spatial structure, and diversity for the ESA-listed Distinct Population Segment of Puget Sound winter steelhead.

Identification of anticipated support and barriers to completion.

The project was proposed by the City of Bainbridge Island as a potential project that would fit the goals of the Watershed Restoration and Enhancement Committee. Friends of the Farms is the land manager and could be the project sponsor. The City would likely construct, operate and maintain the stormwater collection and infiltration facilities. The primary barrier would be the availability of funding for the construction and operations and maintenance (O&M) costs. Other barriers include the feasibility of infiltration. Feasibility issues would need to be studied and addressed during a feasibility study phase.

It is anticipated that the project would be supported by the Puget Sound Partnership, the West Sound Watersheds Council (the lead entity in this region of WRIA 15), and other local partners. The West Sound Watersheds Council aligns salmon strategies with Puget Sound Salmon Recovery Plans and implements the Puget Sound Partnership’s Action Agenda in coordination with the West Central Local Integrating Organization. One of the Near-Term Actions in the Action Agenda is a planning and design project to conduct the following:

“Watershed-scale planning in two highest priority salmon-habitat basins on Bainbridge Island, working in collaboration with stakeholders through the Bainbridge Island Natural Resources Management Team (City departments of planning and public works, Kitsap County planning, WDFW, local Land Trust, local Watershed Council, Puget Sound Restoration Fund, Mid Sound Fisheries Enhancement Group, Metro Parks and Recreation, Suquamish Tribe, Kitsap Conservation District, and Kitsap Public Health District)” (PSP 2020).

The proposed project could fit into this watershed-scale planning effort which would include Manzanita Creek. The West Central Local Integrating Organization’s 2016 Ecosystem Recovery Plan also identifies actions in the basin to implement salmon recovery actions. Two theories of change identified in this plan are directly addressed by the proposed project: “7.2 Decrease water withdrawal, diversion, per capital water use,” and “10.3 Fix problems caused by development” (WCLIO 2016). Manzanita Creek is not directly identified in the plan, but the project fits into general strategies for improving streamflow and habitat conditions for salmonids in WRIA 15. The project also addresses strategies identified in NOAA’s Recovery Plan for Puget Sound Steelhead (NOAA 2019). Recovery Strategy 3.3.2 specifically identifies improving hydrologic conditions and restoring groundwater recharge areas as important to improving survival for steelhead in South Puget Sound.

Potential budget and O&M costs.

The total construction costs of an interceptor ditch, stormwater pond and infiltration facility is estimated to be around $200,000. An additional 35 percent would be added for design, construction services and administrative costs, for a total of $270,000. The annual O&M cost is estimated to be $20,000. All costs are based upon a conceptual level of understanding of the project and may change once additional feasibility studies are completed.

Anticipated durability and resiliency.

The project would have lasting benefits as it would be actively managed by the City of Bainbridge Island with O&M funded by the City using existing staff. The source of water could vary substantially from year to year due to climate factors, however the project benefits were described assuming a conservative amount of stormwater is captured and infiltrated.

Project sponsor(s) (if identified) and readiness to proceed/implement.

The City of Bainbridge Island is the most suitable project sponsor but has not committed to assuming the project sponsor role yet. The project is also in a very conceptual level of detail and additional geotechnical studies will be needed to determine its feasibility or arrangement.

References

Kitsap PUD Hydrological Data, 2020. Available at: http://kpudhydrodata.kpud.org/

NOAA (National Oceanic and Atmospheric Administration, National Marine Fisheries Service), 2007. Puget Sound Salmon Recovery Plan. Volume I. Adopted by the National Marine Fisheries Service, January 19, 2007.

WDF (Washington Department of Fisheries), 1975. “A Catalog of Washington Streams and Salmon Utilization, WRIA 15.” Accessed at: https://www.streamnetlibrary.org/?page_id=95.

WDFW (Washington Department of Fish and Wildlife), 2020. Statewide Washington Integrated Fish Distribution. Available at: http://geo.wa.gov/datasets/4ed1382bad264555b018cc8c934f1c01_0?geometry=-122.777%2C47.430%2C-122.518%2C47.471NOAA, 2019. ESA Recovery Plan for the Puget Sound Steelhead Distinct Population Segment (Oncorhynchus mykiss). December 30, 2019. Available from: https://www.fisheries.noaa.gov/resource/document/esa-recovery-plan-puget-sound-steelhead-distinct-population-segment-oncorhynchus

West Central Local Integrating Organization, 2016. Ecosystem Recovery Plan. Available from: http://sophie-glass.squarespace.com/lio-ecosystem-recovery-plan/

Puget Sound Partnership, 2020. Action Agenda. Available from: https://actionagenda.pugetsoundinfo.wa.gov/Project/Detail/13327

###### Gig Harbor Golf Club Project-South Sound Subbasin

Description

The proposed project would replace a surface water diversion on Artondale Creek with a new groundwater well to provide irrigation water for Gig Harbor Golf Club and restore habitat over a 600-foot reach of Artondale Creek. A portion of Artondale Creek and approximately 2 acres of the floodplain would be restored by replacing two existing bridges to open up the floodplain and plantings to increase shade, improve instream habitat, reduce stream temperature, and improve riparian buffers and upland habitat conditions. The restoration project may also be extended downstream if needed to improve fish passage to the project site. The project is located in the South Sound subbasin of WRIA 15 on the Gig Harbor Peninsula.  This project is not currently feasible due to legal restrictions.

Quantitative or qualitative assessment of how the project will function, including anticipated offset benefits, if applicable. Show how offset volume(s) were estimated.

The project would function by removing a surface water diversion and constructing a new well to replace the water supply for the golf course. The golf club has a Certificate of Surface Water Right of 0.27 cfs and 70 acre-feet per year to irrigate 35 acres. The priority date is May 7, 1958. The period of use is April 15 to October 1. By switching to a groundwater source, there would be an immediate surface water increase in Artondale Creek of up to 0.27 cfs during the April 15 – October 1 time frame. The average increase (70 acre-feet/165 days) would be 0.21 cfs. There would be a corresponding increase in groundwater use and a new well would need to withdraw from a deep aquifer to minimize the potential effect on surface water. However, since the golf club is on a peninsula and close to Wollochet Bay, the impact to surface water is likely minimal. Groundwater analyses are required to design a new well to minimize surface water impacts.

Stream restoration elements and the removal of two bridges would increase floodplain connection and improve riparian habitat conditions, providing beneficial habitat impacts to fish and other aquatic species.

Conceptual-level map and drawings of the project and location.

Figure 1 shows the location of the stream restoration elements and new groundwater well source for irrigation water.

Figure 1. Conceptual Project Description.

Description of the anticipated spatial distribution of likely benefits

The project could result in an increased streamflow of up to 0.27 cfs and up to 70 acre-feet during the late Spring to early fall period in Artondale Creek. The increased streamflow would benefit 0.6 miles of Artondale Creek between the golf course and the head of Wollochet Bay.

Location relative to future PEW demand

The estimated consumptive use for future PE wells for the South Sound subbasin is 213.8 acre-feet, assuming the median growth estimate and use of the irrigated area method.

The project site is located in an area of relative moderate amount of predicted PE well growth. A copy of the PE well growth heat map from the WRIA 15 webmap is shown in Figure 2.

Project Site

Figure 2. WRIA 15 PE Growth Heat Map

Performance goals and measures.

The performance goals are to decrease surface water use by up to 0.27 cfs and 70 acre-feet per year to improve streamflow in Artondale Creek and improve instream and floodplain habitat conditions. The increased streamflow and increased shade from riparian plantings should also reduce water temperatures in the stream.

Descriptions of the species, life stages and specific ecosystem structure, composition, or function addressed.

Artondale Creek supports a variety of species and life stages, similar to the other small streams within the Gig Harbor Peninsula area. The primary anadromous species found in Artondale Creek are coho and chum salmon, and cutthroat trout have also been observed. Specifically, Artondale Creek and its east branch support runs of coho salmon and cutthroat trout and Artondale Creek supports a run of chum salmon (Pierce County 2015). The salmonids and other aquatic species in Artondale Creek are subject to degraded ecosystem function due to limiting factors present at the site. In the Puget Sound Salmon Recovery Plan, NOAA identifies the alteration of natural stream hydrology as a high priority limiting factor in WRIA 15 (NOAA 2007), and streamflow is important for supporting riparian vegetation and wetlands that provide shading, food web support, and flood and sediment attenuation functions. Increased base streamflow and reduced water temperatures would primarily benefit juvenile salmonid rearing habitats by providing increased area and quality of summer stream rearing habitat. This would improve the survival of juveniles. Addressing the streamflow limiting factor and improving habitat conditions would help support salmonids at various life stages and increase presence, recruitment, and survival in the area of the project.

Identification of anticipated support and barriers to completion.

A preliminary meeting was held with Board members of the Gig Harbor Golf Club and they were receptive of the project. Input from WDFW, tribes, Pierce County and other stakeholders is needed before developing the project any further. If support is obtained from those stakeholders, the main barrier to completion would be obtaining funding.

The West Sound Watersheds Council, which is the Lead Entity in this region of WRIA 15, aligns salmon strategies with Puget Sound Salmon Recovery Plans and implements the Puget Sound Partnership’s Action Agenda in coordination with the West Central Local Integrating Organization. The West Central Local Integrating Organization’s 2016 Ecosystem Recovery Plan identifies actions in the Gig Harbor basin to implement salmon recovery actions. Two theories of change identified in this plan are directly addressed by the proposed project: “7.2 Decrease water withdrawal, diversion, per capital water use,” and “10.3 Fix problems caused by development” (WCLIO 2016). Artondale Creek is not directly identified in the plan, but the project fits into general strategies for improving streamflow and habitat conditions for salmonids in WRIA 15.

The Gig Harbor Basin Plan, which was written by Pierce County Public Works and Utilities and adopted in 2005, is a comprehensive guide to surface water management in the Gig Harbor Basin (Pierce County 2005). It identifies surface water management issues in the basin and recommends actions to reduce flood hazards, improve water quality, improve fish passage, and improve riparian habitat in the Gig Harbor Basin. Artondale Creek is described in this plan as having more than 50 percent fair or poor fish habitat in addition to problem areas such as fish passage barriers. The reach of Artondale Creek which extends through the project area has the least valuable habitat for fish and wildlife than any other reach in Artondale Creek due to channelization and removal of riparian vegetation. The proposed project directly addresses this degraded habitat and aligns with the Gig Harbor Basin Plan.

Potential budget and O&M costs.

No detailed estimate of implementation costs has been prepared but a conceptual level cost of about $500,000 is estimated. That includes costs of drilling, testing and permitting a new well, restoration of 2 acres of floodplain and stream, construction of a traffic bridge at the entrance to the golf club and a lighter duty bridge to cross the stream near a tee box, engineering and permitting. A contingency of 25 percent was added because of the conceptual level of detail available at this stage. The O&M costs of the well and bridges would likely be paid for by the golf course as part of their maintenance activities.

Anticipated durability and resiliency.

The project would have lasting benefits as it would be actively managed by Gig Harbor Golf Club with O&M likely performed by existing golf course maintenance and grounds staff. The new groundwater well source for irrigation should provide more reliability and less variability from year to year due to climate factors.

Project sponsor(s) (if identified) and readiness to proceed/implement.

A project sponsor has not yet been identified but could be the Gig Harbor Golf Club, Pierce County, a tribe, the lead entity or another restoration organization in Pierce County and WRIA 15.

References

NOAA (National Oceanic and Atmospheric Administration, National Marine Fisheries Service), 2007. Puget Sound Salmon Recovery Plan. Volume I. Adopted by the National Marine Fisheries Service, January 19, 2007.

Pierce County. 2015. Pierce County Comprehensive Plan: Gig Harbor Community Plan Background. Available from: https://www.co.pierce.wa.us/AgendaCenter/ViewFile/Item/793?fileID=976

Pierce County. 2005. Pierce County Public Works and Utilities Gig Harbor Basin Plan – Volume 1 – Basin Plan and SEIS. Available from: https://www.co.pierce.wa.us/ArchiveCenter/ViewFile/Item/1218

Washington Department of Ecology, Water Rights Viewer. Available from: https://appswr.ecology.wa.gov/waterresources/map/WaterResourcesExplorer.aspx

WDF (Washington Department of Fisheries), 1975. “A Catalog of Washington Streams and Salmon Utilization, WRIA 15.” Accessed at: https://www.streamnetlibrary.org/?page_id=95.

WDFW (Washington Department of Fish and Wildlife), 2020. Salmonscape mapping of fish distribution. Available at: http://apps.wdfw.wa.gov/salmonscape/

West Central Local Integrating Organization. 2016. Ecosystem Recovery Plan. December 29, 2016. Available from: https://pspwa.app.box.com/s/nxli7o61pnjxx4rkmo7nokcjh9huc0kf/file/293115183651

Wild Fish Conservancy. 2014. Watertyping Interactive Maps. West Sound Watersheds, Kitsap Peninsula (WRIA 15). Available from: http://www.moonlitgeo.com/wfc/?lat=47.785&lng=-122.54&zoom=12

#### Community Forest Projects Portfolio in WRIA 15

Summary

This streamflow restoration action is the acquisition of forest lands or change in forest management practices to preserve stands or emphasize a longer harvest interval. Preserving or maintaining forests with stand ages more than 40 years can increase dry-season low flows. A portfolio of projects is presented along with an estimate of the potential increase in streamflow. To date, 20 projects have been identified and streamflow increases of over 1,000 acre-feet/ year are estimated assuming the forest stands are more than 40 years old and subject to harvest. Potential streamflow benefits were estimated using average values of streamflow increase per acre estimated from the VELMA hydrologic model for similar projects in the Nisqually Watershed (WRIA 11). As projects move forward for funding considerations, further hydrologic modeling would need to be performed for WRIA 15 Community Forest projects to estimate potential increases in streamflow.

Description of Community Forest Projects

Hydrologic modeling performed for Community Forest Projects in the Nisqually Watershed show that forest management practices that emphasize longer harvest intervals (>80 years), forest thinning and robust riparian buffers can significantly increase dry-season low flows. The hydrologic modeling was performed using the VELMA model and the results are consistent with available observed long-term monitoring data in the Pacific Northwest region (Perry and Jones 2016, Segura et al. 2020). Recent empirical studies in western Oregon have established that young, rapidly growing forests can transpire over three times more water than mature forests. These studies were conducted at relatively small scales, ranging from individual trees and stands of trees (Moore et al. 2004) to small headwater catchments (Perry and Jones 2016).

An estimate of the potential streamflow increase with implementation of Community Forest projects was prepared using information contained in the Nisqually Watershed Response to the 2018 Streamflow Restoration Act (Nisqually Watershed Planning Unit 2019). In that plan, the average streamflow benefit is 0.14 acre-feet per year per acre of Community Forest acquired. That assumes the forest stands acquired have an average age of 40 years. The value for WRIA 15 may differ because of differing hydrologic conditions and would need to be modeled to select an appropriate value. In some cases for WRIA 15, the value may be higher because of permanent protection.

Maintaining mature forest cover also provides significant habitat benefits that grow with stand complexity and age. Older trees provide a wider range of niche habitats and create long-term habitat benefits of snags and large woody debris.

The estimated consumptive use for future PE wells in WRIA 15 is 766.4 acre-feet per year, with a higher goal of 1218 acre feet per year. Table 1 presents the acreage of potential community forest projects identified by sponsors by subbasin, as well as a target acreage in each subbasin that will provide water offsets to help meet the Watershed Plan goal of offsetting future PE well demand within each subbasin. The total target acreage is 1,723 acres, which will provide an estimated 241 acre-feet of water offset. The projects identified by sponsors need further confirmation to determine whether the projects would meet the criteria of having forest stands greater than 40 years old and subject to harvest. In some cases, thinning is expected to occur on the properties.

The cost of acquiring community forest is likely in the range of $10,000 - $15,000 per acre. The total acquisition cost for 1,723 acres would likely be in the range of $17.2 – $25.8 million. This does not include restoration costs.

Additional information about Community Forest type projects was prepared by Paul Pickett of the Squaxin Tribe and is located on Box at https://app.box.com/file/690715571320?s=98rgsj14yxzhakbmkl7y1j4euminkp0b

References

Moore, G. W., Bond, B. J., Jones, J. A., Phillips, N., & Meinzer, F. C. (2004). Structural and compositional controls on transpiration in 40-and 450-year-old riparian forests in western Oregon, USA. Tree physiology, 24(5), 481-491.

Nisqually Watershed Planning Unit (2019). Nisqually Watershed Response to the 2018 Streamflow Restoration Act (RCW 90.94): Addendum to the Nisqually Watershed Management Plan. Olympia, WA.

Perry, T.D. and Jones, J. A. (August 2016). Summer streamflow deficits from regenerating Douglas-fir forest in the Pacific Northwest, USA. Ecohydrology, doi: 10.1002/eco.1790.

Segura, C., Bladon, K.D., Hatten, J.A., Jones, J.A., Hale, C., Ice, G.G. (2020). Long-term effects of forest harvesting on summer low flow deficits in the Coast Range of Oregon. Journal of Hydrology, Volume 585, June 2020.

Table 1. Portfolio of Community Forest Type Projects in WRIA 15

| Subbasin | Project Name (Sponsor, if known) | Description | Acreage | Potential Streamflow Restoration Increase (Acre-feet/year) |
| --- | --- | --- | --- | --- |
| Bainbridge Island | Springbrook Creek Protection and Restoration (Bainbridge Island Land Trust) | Purchase of 22.85 acres of intact stream, wetland, riparian and forest habitat and removal of fish passage barrier culvert in high priority protection site as identified in Springbrook Creek Watershed Assessment (2018) and Department of Ecology Watershed Characterization. | 22.85 | 3.2 |
| North Hood Canal | Community Forest Projects, including: - Crabapple Creek Habitat Acquisition and Restoration - Little Anderson Creek Habitat Protection - Divide Block Habitat Acquisition and Restoration - West Port Gamble Block Habitat Protection - Port Gamble Heritage Park Timber Rights Acquisition1 - Gamble Creek Parcel - Boyce Anderson DNR Parcel - Seabeck DNR Parcel - Grovers Creek Mainstem protection and restoration (Sponsors may be Great Peninsula Conservancy, Kitsap County and Port Gamble S’Klallam Tribe) | Community forest projects will protect forested land from development or change timber harvest practices and restore streams, riparian areas, wetlands | Approx. 2,100 acres has been identified as potential projects by sponsors, target for Community Forest in this subbasin is 500 acres | 70 |
| South Hood Canal | Community Forest Projects, including: - Bear Creek Protection - Tahuya Headwaters (Sponsors may be Great Peninsula Conservancy and others) | Community forest projects will protect forested land from development or change timber harvest practices and restore streams, riparian areas, wetlands | Target is 500 acres in South Hood Canal Subbasin | 70 |
| South Sound | Community Forest Projects, including: - Rocky Creek Preserve - Coulter Creek Overton Lands - Key Peninsula Forest Lands (Sponsors may be Great Peninsula Conservancy and others) | Community forest projects will protect forested land from development or change timber harvest practices and restore streams, riparian areas, wetlands | Target is 500 acres in South Sound Subbasin | 70 |
| Vashon Maury | Community Forest Projects, including: - Judd Creek Headwaters - Shinglemill Creek Headwaters - Mileta Creek Headwaters - Christiansen Creek Headwaters - Fisher Creek Headwaters - Tahlequah Creek Headwaters (Sponsors may be Vashon-Maury Island Land Trust or King County) | Community forest projects will protect forested land from development or change timber harvest practices and restore streams, riparian areas, wetlands | Target is 100 acres in Vashon Maury Subbasin | 14 |
| West Sound | Community Forest Projects, including: - East Branch Ostrich Bay Creek along Skylark Drive W. - Strawberry and L. Anderson Creek Parcel (Sponsors may be Great Peninsula Conservancy and others) | Community forest projects will protect forested land from development or change timber harvest practices and restore streams, riparian areas, wetlands | Target is 50 acres in West Sound Subbasin | 7 |
| South Sound Islands | Anderson Island Community Forest Projects - Near Idie Ulsh Park (40 acres total) (Sponsors may include Anderson Island Parks and Recreation District, Great Peninsula Conservancy, Nisqually Land Trust, Forterra) | Community forest projects will protect forested land from development or change timber harvest practices and restore streams, riparian areas, wetlands | Target is 50 acres in South Sound Islands Subbasin | 7 |
| Totals |  |  | Overall Target is 1,723 acres | 241 |

1 Subject to existing agreements.

##### Conservation District Rain Garden And Low Impact Development Programs

Description

Rain gardens and Green Stormwater Infrastructure (GSI) retrofit projects could be applied to existing homes and driveways, roadways, parking lots and other impervious areas that generate stormwater. The techniques include rain gardens, planter boxes, bio-infiltration swales, permeable pavement and reducing the footprint of roadways and replacing with GSI (green streets).

Rain gardens are small stormwater facilities that collect, store, and filter rainwater and stormwater runoff from lawns, rooftops, sidewalks, driveways and other impervious surfaces. Designed as shallow, sunken planting beds with rain garden soil, runoff flows into them from nearby hard surfaces and connected downspouts. The rain gardens can also be designed to infiltrate water.

Planter boxes are urban rain gardens with vertical walls and either open or closed bottoms. They collect and absorb runoff from sidewalks, parking lots, and streets and are ideal for space-limited sites in dense urban areas and as a streetscaping element.

Bioswales are vegetated, mulched, or xeriscaped channels that provide treatment and retention as they move stormwater from one place to another. Vegetated swales slow, infiltrate, and filter stormwater flows. As linear features, they are particularly well suited to being placed along streets and parking lots. Bio-infiltration swales are specifically designed to infiltrate stormwater.

Permeable pavements infiltrate, treat, and/or store rainwater where it falls. They can be made of pervious concrete, porous asphalt, or permeable interlocking pavers. Permeable pavements can be installed in sections of a parking lot and rain gardens and bioswales can be included in medians and along the parking lot perimeter.

Green streets are created by integrating green infrastructure elements into their design to store, infiltrate, and evapotranspire stormwater. Permeable pavement, bioswales, planter boxes, and trees are among the elements that can be woven into street or alley design.

Low impact development encompasses the practices listed above and focuses on ways that human-constructed landscapes can be adapted to reduce harmful impacts on natural resources and the environment.

The Rain Garden and Low Impact Development (LID) Program at the Kitsap Conservation District (KCD) works cooperatively with county services, landowners, and local communities to expand knowledge and use of LID practices throughout Kitsap County. With funding from Clean Water Kitsap, the KCD helps landowners to protect local water resources by providing information, technical assistance, and financial incentives toward the installation and maintenance of rain gardens and other LID solutions. Within this program, the KCD offers free site visits to any landowner in unincorporated Kitsap County to assess and discuss what LID projects are feasible for their property.

Since 2010, the KCD Rain Garden and LID cost-share program has helped landowners fund and install 320 rain gardens (KCD 2020; KCD, Pers. Comm., September 29, 2020). In 2014, the program expanded to include a number of new LID options in addition to rain gardens, such as rain barrels, lawn modification, soakage trenches, and native plants. 163 of these practices have been installed (KCD 2020, Appendix A).

Based on 10 years of data, the KCD Rain Garden and Low Impact Development Program has cumulatively put 257 acre-feet of water back into the ground. The KCD estimates that they will continue to implement 50 practices (40 RG plus 10 other practices) per year (KCD, Pers. Comm., September 29, 2020). Appendix A provides figures showing the location of rain garden and LID projects that have been implemented by KCD.

Pierce Conservation District and Mason Conservation District also partner with landowners in the design and construction of low impact development projects, although not at the same scale as KCD, which has more funding for that purpose.

The goal of this project would be to support the implementation of rain garden and LID projects across WRIA 15, with an emphasis on subbasins that will experience the most growth and/or contain priority streams, as defined by the WRIA 15 Committee. In Kitsap County, the area that is currently served is the unincorporated area within the county (see Figure A-1) as they are funded by a grant from Kitsap County. With additional funding from sources other than Kitsap County (such as Streamflow Restoration Grants through Washington Department of Ecology) projects could be implemented in all areas within the county. With funding, Pierce Conservation District and Mason Conservation Districts can implement projects within their respective counties.

Quantitative or qualitative assessment of how the project will function, including anticipated offset benefits, if applicable. Show how offset volume(s) were estimated.

The average rain garden or LID project is estimated to put 0.15 acre-feet of water into the ground on an annual basis (see Appendix B). KCD intends to implement 50 practices (40 rain gardens plus 10 other practices) per year, while we are assuming Pierce and Mason Conservation Districts will implement 10 projects per year in their respective counties.  The average annual offset in 2038 is estimated to be 189 acre-feet.  The targeted percentage and number of projects per subbasin is presented in Table 1. The total offset in 2038 per subbasin is also listed in Table 1. Note that there will be 18 years of projects assuming the program begins in 2021.

Table1. Target Percent of Projects per Subbasin per Year

| Subbasin | Targeted Number of Projects per year | Target % of Projects | Total Amount of Potential Offset Benefit by 2038 (18 years of projects), acre-feet/year |
| --- | --- | --- | --- |
| North Hood Canal | 10 | 14% | 27 |
| West Sound | 20 | 29% | 54 |
| Bainbridge Island | 5 | 7% | 13.5 |
| South Sound | 25 | 36% | 67.5 |
| South Hood Canal | 10 | 14% | 27 |
| Totals | 70 |  | 189 |

Description of the anticipated spatial distribution of likely benefits

The spatial distribution of likely benefits from this project would occur throughout WRIA 15 with priority towards critical streams in which permit exempt wells are projected to be high which are identified by orange and red in Figure 1.

Figure 1. WRIA 15 permit exempt connections potential growth. Red shading indicates high future projected growth and green shading indicates low future projected growth.

Performance goals and measures.

This project would be measured by the number of functional rain gardens and LIDs installed within WRIA 15.

Descriptions of the species, life stages and specific ecosystem structure, composition, or function addressed.

The Washington Department of Fish and Wildlife has identified that Fall Chinook, Coho Salmon, Summer Chum, Fall Chum, Winter steelhead, and Pink Salmon are present in WRIA 15 (WDFW 2020). Increased base streamflow and reduced water temperatures would benefit both adult migrants to spawning grounds and juvenile salmonid rearing habitats by providing increased area and quality of summer stream rearing habitat. This would improve survival of adults and both productivity and survival of juveniles. The alteration of natural stream hydrology has been identified as a high priority limiting factor in WRIA 15 (NOAA 2007) and streamflow is important for supporting riparian vegetation and wetlands that provide shading, food web support, and flood and sediment attenuation functions.

Identification of anticipated support and barriers to completion.

The three conservation districts would be the project sponsors who will coordinate the design and construction of the rain gardens and LIDs infiltration/augmentation sites. The districts will collect, compile, share and report data.

The primary barrier is the availability of funding for the construction of rain gardens and LIDs. Other barriers include private landowner willingness and partnerships with the county and cities to focus in particular areas.

Potential budget and O&M costs.

A review of KCD data indicates an average rain garden infiltration area of about 200 square feet. The average construction cost for a rain garden or LID is ~$10-15 per square foot if using a landscape contractor for installation. (Costs can be much higher if the whole project is done by a contractor as opposed to conservation district employees.) It is assumed that the landowner would be responsible for the O&M costs. For larger commercial site applications, using a general contractor, the estimated cost per square foot would be $20-35. Additional costs would be incurred by the conservation districts for administrative, design and construction inspection.

Anticipated durability and resiliency.

The project would have lasting benefits. The KCD will manage the implementation of RGs and LIDs in partnership with the landowner.

Project sponsor(s) (if identified) and readiness to proceed/implement.

The conservation districts are willing project sponsors and are ready to proceed immediately. KCD will construct the most projects (50 per year) and has been successfully installing rain garden and LIDs since 2010 with increased complexity beginning in 2014 (KCD 2020). If funding is increased, the primary barrier would be private landowner willingness as well as partnerships with the county and cities to focus in particular areas.

Sources of Information

NOAA (National Oceanic and Atmospheric Administration, National Marine Fisheries Service), 2007. Puget Sound Salmon Recovery Plan. Volume I. Adopted by the National Marine Fisheries Service, January 19, 2007.

Kitsap Conservation District (KCD). 2020. 2010-18 KCD RG Program Practices – South, North, and Central Districts. https://kitsapcd.org/programs/raingarden-lid. Accessed September 28, 2020.

WDF (Washington Department of Fisheries), 1975. “A Catalog of Washington Streams and Salmon Utilization, WRIA 15.” Accessed at: https://www.streamnetlibrary.org/?page_id=95.

WDFW (Washington Department of Fish and Wildlife), 2020. Salmonscape mapping of fish distribution. Available at: http://apps.wdfw.wa.gov/salmonscape/

# Raingarden and LID Project Appendix A

# Kitsap Conservation District Rain Garden and LID Project Locations

Figure A-1. Current KCD service area for rain garden and LID projects

Figure A-2. KCD Rain Garden program installed practices in Central District (2010-2020).

Figure A-3. KCD Rain Garden program installed practices in North District (2010-2020).

Figure A-4. KCD Rain Garden program installed practices in South District (2010-2020).

# Appendix B

# Rain Garden Water Offset Calculations

Proposed Water Offset for Typical Kitsap Conservation District Raingarden

Introduction

The purpose of this document is to estimate the average annual recharge for future rain garden projects in WRIA 15 using Kitsap Conservation District data on average size of rain garden and LID projects they have installed since 2010. Annual recharge calculations are based upon hydrologic modeling performed by HDR for the Mason County Rooftop Infiltration Project (HDR, 2020). For these calculations it was assumed rain gardens will be installed on houses that are currently connected to a storm drainage system, so that the entire infiltration volume will be counted as a water offset. A lesser infiltration volume and water offset would be realized for houses that are not currently connected to a storm drainage system as roof downspouts may splash onto the ground and partially or totally infiltrate.

Calculations

Calculations are provided using a range of potential rain garden sizes. KCD data shows the average rain garden they have constructed since 2010 has an infiltration trench area of 200 square feet (sf) and captures 1,900 sf of impervious surface.   Infiltration volumes are calculated using rain garden sizes of 100, 150, and 200 sf, as well as impervious surfaces of 1,600, 2,000 and 2,800 sf. The Mason County Rooftop Infiltration Project assumed 2,800 sf as the impervious surface that would be captured, based upon an average roof and driveway size. The infiltration rate used in the calculations corresponds to Group B soils as rain gardens use amended soils which are similar to Group B. The infiltration rate used for Group B soils is 2 inches/hour.

HDR’s hydrologic modeling estimated the average annual recharge for an infiltration trench that is 80 sf to be 0.14 acre-feet/year. That was part of their calculation of baseline conditions assuming a minimum trench size of 80 sf under current regulations. The modeling was performed using an annual average of 70 inches precipitation, which occurs in Mason County.  The average annual recharge equates to 26 inches per year over the 2,800-sf impervious surface.

A larger infiltration trench will infiltrate more water; there is a proportional relationship between infiltration area and infiltration capacity. There is also a proportional relationship to the amount of runoff to the impervious area, assuming all the runoff is captured.  A limit to the amount of infiltration is the volume of annual precipitation minus potential losses due to evaporation. To estimate the amount of water that will be infiltrated in a KCD rain garden the HDR results were proportionally scaled up by the amount of infiltration area (100 – 200 sf) and scaled down by the amount of impervious area (1,600 – 2,800 sf). Those calculations are summarized in Table 1.

Table 1. Percentage Change in Infiltration Capacity and Corresponding Infiltration Volume

| Impervious Surface Captured, sf | Infiltration Trench Size, sf/Infiltration Volume, acre-feet |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 80 (Mason County Study) |  | 100 |  | 150 |  | 200 |  |
|  | % | Volume | % | Volume | % | Volume | % | Volume |
| 1,600 | 64% | 0.090 | 80% | 0.113 | 121% | 0.169 | 161% | 0.225 |
| 2,000 | 71% | 0.100 | 89% | 0.125 | 134% | 0.188 | 179% | 0.250 |
| 2,800 | 100% | 0.140 | 125% | 0.175 | 188% | 0.263 | 250% | 0.350 |

The equivalent values in terms of rainfall infiltrated is provided in Table 2.

Table 2. Volume of Rainfall Potentially Infiltrated

| Infiltration Trench Size, sf |  |  |  |
| --- | --- | --- | --- |
| 80 (Mason County Study) | 100 | 150 | 200 |
| 26 inches | 32.7 inches | 49.0 inches | 65.3 inches |

The calculations indicate that the rain gardens KCD is installing have, on average, the capacity to infiltrate 65.3 inches of precipitation, or 0.25 acre-ft per installation per year. The infiltration capacity is not limited by the amount of precipitation that occurs in most areas of Kitsap County. Table 3 provides infiltration volumes for varying precipitation volumes and the average impervious area captured in a KCD project. To be conservative, 10% loss due to evaporation or other losses are assumed.

Table 3. Estimate of Annual Volume Infiltrated for KCD Rain Garden Projects

| Average Annual Precipitation, inches | Annual Volume Infiltrated, Inches | Annual Volume Infiltrated, acre-feet |
| --- | --- | --- |
| 40 | 36 | 0.138 |
| 50 | 45 | 0.172 |
| 60 | 54 | 0.207 |
| 70 | 63 | 0.241 |

These volumes can be used as estimates of the water offset quantity for WRIA 15 rain garden projects. The actual values will need to be tracked during implementation, but the quantities shown in Table 3 provide a planning-level estimate of water offsets from rain garden projects that capture 2,000 sf of impervious area and are constructed using a 200 sf infiltration trench in Group B soils. It is recommended that the average of the volume infiltrated between 40- and 50-inches annual precipitation be used for estimating water offsets in WRIA 15. That equals 0.15 acre-feet per rain garden.

References

HDR, 2020. Spreadsheet: WRIA14-Projects-Supplemental Data-RooftopRunoff_MGSFlood Results.xlsx. Accessed through Box at https://app.box.com/s/c2858d6mjdtoo41i4ahxqj55hz66mbzf

#### Vashon-Maury Island Land Conservation And Water Rights Acquisition Project

Description

One set of potential projects being evaluated by the Watershed Restoration & Enhancement Committee (Committee) for Water Resources Inventory Area (WRIA) 15 is the acquisition (fee and conservation easements) of sensitive habitats and water rights in the Vashon-Maury Island sub-basin with the intent of enhancing instream flows and mitigating out of stream uses (i.e., reductions in flows associated with permit-exempt wells). Assuming property acquisition is coupled with water right acquisition, associated habitat benefits could include removal of structures and impervious surfaces, wetland and riparian protection and restoration, and decommissioning permit exempt wells (PEWs).

To support identification of potential water right acquisition projects, the Department of Ecology (Ecology) queried their Water Rights Tracking System (WRTS) database and provided tables and associated GIS data of all active water rights within WRIA 15 to the Committee. Inactive water rights (e.g., previously approved changes, cancelled or withdrawn applications) were excluded from the data provided by Ecology. The tables of active water rights included over 8,500 water right files within WRIA 15. As an initial screening, water rights under consideration were limited to certificates and permits that included commercial and Industrial (CI), stockwater (ST), or irrigation (IR) uses. The list of active water right permits and certificates was further reduced by removing any with a priority date later than the July 24, 1981 adoption date of Chapter 173-515 WAC, the instream flow rule for WRIA 15. Over 1,000 water rights in WRIA 15 met these screening criteria, including 86 water rights (70 surface water and 16 groundwater) in the Vashon-Maury Island sub-basin.

The Committee identified priority streams in the Vashon-Maury Island sub-basin for land conservation and restoration activities, including water right acquisition. Going generally north to south, priority streams include Shinglemill, Beall, Judd, Fisher, Christiansen, and Tahlequah creeks on Vashon Island and Mileta Creek on Maury Island (Figure 1). These stream basins are priority due to their flows and salmon use, but additional water rights and may occur on smaller tributaries. The water right list was then reviewed to identify water rights with points of diversion or withdrawal within the drainages of the priority streams, with a focus on water rights located near the headwaters of the streams. Based on the Committee’s review, and specifically review by the King County representative,  selected water rights excluded from the initial screening (e.g., claims and rights with purposes of use other than CI, ST, and IR) were added back to the list of water rights for further evaluation. Twenty-seven water rights were identified in the priority stream drainages. Twenty-six of the water rights authorize surface water diversions and one authorizes a groundwater withdrawal. This list of rights represents the set of potential water right acquisition projects in the Vashon-Maury Island sub-basin. Table 1 provides a summary of the number of selected water rights per priority stream sub-basin and the dominant purpose of use.

Table 1. Summary of Selected Water Rights in Priority Stream Sub-Basins

| Stream Sub-Basin | Number of Rights by Dominant Purpose of Use |  |  |
| --- | --- | --- | --- |
|  | IR | DG/DM/DS | ST |
| Beall | 1 | 0 | 0 |
| Christiansen | 2 | 1 | 0 |
| Fisher | 3 | 1 | 0 |
| Judd | 3 | 3 | 0 |
| Mileta | 2 | 0 | 0 |
| Shinglemill | 3 | 3 | 1 |
| Tahlequah | 2 | 2 | 0 |
| Total | 16 | 10 | 1 |

Notes:

IR – Irrigation

DG/DM/Ds – Domestic General, Domestic Multiple, Domestic Single

ST - Stockwater

These rights authorize a combined instantaneous diversion rate (Qi) of 1.569 cubic feet per second (cfs). Only 13 of the 27 selected water rights list the annual authorized quantity (Qa). The stockwater right does not list an annual quantity. Three of the ten domestic water rights list the Qa, with quantities of 1 to 2 acre-feet per year (afy). Ten of the 16 irrigation water rights list the Qa, with a combined quantity of 184 afy for irrigation of 89.5 acres, or approximately 2 afy per acre. The remining 6 irrigation water rights list a combined acreage of 50 acres. Assuming a water use of 2 afy per acre, similar to the other irrigation water rights in the sub-basin, 50 acres would equate to an additional annual irrigation use of 100 afy. .

Benefits to instream flow would be realized by acquiring all or a portion of a given water right and placing it into the state Trust Water Right Program (TWRP) for instream flow purposes. Quantitative benefits to instream flow would depend on the purpose of use and the manner in which the right is currently used. For example, a domestic water right that diverts from a stream for indoor uses only may have a consumptive use of about 10 percent of total use. If the septic return flows from this use return to the same stream from which the water was diverted, placing this water right into the TWRP would have only limited benefit to instream flows. Conversely, an IR water right may have a consumptive use of about 80 percent of total use (assuming reasonably efficient irrigation practices) and placing this water right into the TWRP would result in greater benefits. The period of use, or seasonality, will also affect when instream flow benefits would occur.

Quantitative or qualitative assessment of how the project will function, including anticipated offset benefits, if applicable. Show how offset volume(s) were estimated. Direct benefits to instream flow in a priority stream would be realized through nonuse of the acquired water rights. Depending on the specific opportunity, nonuse would be achieved through fallowing of irrigated fields, reduced hay harvest, changing to an alternate crop that does not require irrigation, removal of livestock, or provision of an alternate source of supply. The acquired water right would be placed into the state TWRP and dedicated to instream flow purposes. By placing it into the TWRP, increases in instream flows realized by a project would be protected from future appropriation or use.

The potential instream flow offset realized by a project would be limited to the consumptive impact on instream flows under the existing water right uses. A general discussion of the potential consumptive use associated with irrigation, stockwater, and domestic uses is provided in the following paragraphs. More detailed evaluation would be required once a specific project or projects are selected to accurately quantify consumptive uses and assess the timing and location of instream flow offsets associated with placing a right into the TWRP.

The timing and location of instream flow offsets will depend on several factors, including:

- The period of use of the water right (seasonal or continuous). A seasonal diversion may only affect stream flows for part of the year, while a continuous diversion (e.g., for domestic uses) would likely affect stream flows year-round.

- Whether the right is for surface water or groundwater. The effect of groundwater withdrawals on surface water flows tend to lag behind the pumping period, such that the effects of seasonal pumping persist for weeks or months after pumping ceases. The location of effects on surface water flows may also be more dispersed and the peak impact lower with groundwater pumping. Conversely a surface water diversion will affect stream flow instantaneously and directly.

- Hydrogeologic conditions and the location of the place of use. Only a portion of water diverted for use is consumed, the remaining quantity that recharges groundwater and/or discharges back to surface water is termed the return flow. The timing and location of where return flows would return to an affected stream depend on the location where water is used, how water is managed (e.g., domestic septic systems versus sewer systems), and hydrogeologic conditions between the place of use and the surface water.

For an irrigation water right, annual consumptive use can be estimated based on the State of Washington Irrigation Guide (WIG) and Ecology Water Resources Program Guidance 1210 – Determining Irrigation Efficiency and Consumptive Use (Ecology 2005). The WIG lists the crop irrigation requirement (CIR) for a variety of crops at stations throughout the state. The CIR is the amount of water needed from irrigation to support crop growth that is not provided by precipitation or stored soil moisture. Using the Bremerton station, CIRs in WRIA 15 range from about 4.51 inches (0.375 feet) for strawberries to 22.3 inches (1.86 feet) for raspberries. The CIR for grass/pasture, the most likely crop grown, is 16.8 inches (1.4 feet).

Guidance 1210 provides typical irrigation application efficiencies (Ea) and percent consumptive use (%CU) associated with different irrigation methods. The CIR divided by the application efficiency provides the total irrigation water requirement (TIR). Multiplying the TIR by the %CU provides the consumptive use. Assuming sprinkler irrigation with an average Ea of 75 percent, TIRs per acre in WRIA 15 could range from about 0.5 feet to 2.5 feet, with a likely amount of 1.9 feet. Assuming a %CU of 80 percent if the TIR, consumptive use per acre could range from 0.4 to 2 feet per acre of irrigated land, with a likely value of 1.5 feet. The total consumptive use for a water right can then be estimated as the irrigated acreage times the consumptive use per acre.

Table 2 provides a summary of irrigated acreage and the potential range of associated consumptive use, based on the consumptive use per acre described above and the authorized irrigated acreage listed in the water rights. Site-specific evaluations of crop type, irrigation methods, and irrigated acreage would be needed to determine the potential consumptive use that could be available to support instream flows by placing a given water right into the TWRP.

Table 2. Summary of Authorized Irrigated Acreage and Consumptive Use by Priority Stream Sub-Basins

| Stream Sub-Basin | Authorized Acreage | Low-End CU in AFY | High-End CU in AFY | Likely CU in AFY |
| --- | --- | --- | --- | --- |
| Beall | 8 | 3.2 | 16 | 12 |
| Christiansen | 19 | 7.6 | 38 | 28.5 |
| Fisher | 42 | 16.8 | 84 | 63 |
| Judd | 30 | 12 | 60 | 45 |
| Mileta | 7 | 2.8 | 14 | 10.5 |
| Shinglemill | 11.5 | 4.6 | 23 | 17.3 |
| Tahlequah | 22 | 8.8 | 44 | 33 |
| Total | 139.5 | 55.8 | 279 | 209.3 |

The period over which consumptive use impacts occur would generally be the irrigation season, or about May through September, although as discussed above accounting for the lag associated with groundwater pumping impacts and the timing of return flows would affect this period. As an example, retiring about 3 acre-feet of consumptive use would equate to an average instream flow benefit of about 0.01 cfs during the irrigation season.

Typical indoor domestic uses are expected to be about ten percent consumptive. The domestic water rights in the property drainages authorize use of less than 2 afy each, such that annual benefits to instream flow would be less than 0.2 afy per domestic water right. Acquiring domestic water rights would likely require providing an alternate source of supply (e.g., hookup to a public water system) or acquisition of the residential properties served by the water right. For ST rights the benefits would depend on the specific stock operation, including water uses and management and discharge of effluent. Although more limited in the potential amount of water that could be realized by retiring these water rights, domestic and ST water rights are expected to provide opportunities for year-round instream flow benefits not presented by the IR water rights.

Map of the project and location.

Figure 1 (attached) shows the location of priority streams within the Vashon-Maury Island sub-basin.

Description of the anticipated spatial distribution of likely benefits

Water right acquisition would be focused on stream headwaters or above known areas of fish habitat. By acquiring a water right, discontinuing uses, and placing the right into the TWRP historical consumptive use associated with the right would be allowed to remain instream. The instream flow represented by the water right in the TWRP would be protected from future appropriation or use by others allowed to remain instream from the historic point of diversion to the point of discharge to marine waters, benefiting aquatic habitat through the entire downstream reach.

Performance goals and measures.

The range of potential offset benefit from the water right acquisition opportunities on Vashon Maury is approximately 56 to 279 acre feet per year. We recommend counting 10 percent of the total potentially available water rights as the offset benefit presented in the WRIA 15 plan, or 27.9 acre-feet per year (10 percent was applied for the water right acquisition opportunities in the Nisqually plan).

Descriptions of the species, life stages and specific ecosystem structure, composition, or function addressed.

The Washington Department of Fish and Wildlife (WDFW 2020a; WDFW 2020b) has identified that coho and chum salmon are present in Judd and Shinglemill creeks, and the Endangered Species Act (ESA) listed Puget Sound fall Chinook are present in Judd Creek, the ESA-listed Puget Sound winter steelhead are present in Judd, Christensen, and Shinglemill creeks, and cutthroat trout are likely present in all Vashon and Maury Island creeks that have perennial flow (noted as present in Fisher, Tahlequah, Shinglemill, Christensen, and Mileta creeks). The Washington Stream Catalog (WDF 1975) indicates that both coho and chum salmon were historically present in Judd Creek and other creeks on Vashon Island, although there had been limited surveys of fish populations at that time. East Kitsap creeks were generally noted in the Stream Catalog (WDF 1975) as having substantial low flow problems, lack of riparian cover, and fine sediment inputs from forestry and agricultural land uses. An impassable fish barrier culvert is present at about rivermile 1 on Judd Creek and an impassable dam is present on Beall Creek (WDFW 2020a).

Judd and Fisher creeks are listed as Category 5 for high water temperatures on Ecology’s 303(d) list of impaired waterbodies; Judd and Shinglemill creeks are listed as Category 5 and Christensen Creek is listed as a Category 2 for bioassessment (poor quality based on macroinvertebrate sampling); and Shinglemill and Tahlequah creeks are listed as Category 1 for water temperature (Ecology 2020).

Increased base streamflow and riparian and wetland restoration would contribute to reducing water temperatures that would benefit both adult migrants to spawning grounds and juvenile salmonid rearing habitats by providing increased area and quality of summer stream rearing habitat. This would improve survival of adults and both productivity and survival of juveniles. The alteration of natural stream hydrology has been identified as a high priority limiting factor in WRIA 15 (NOAA 2007) and streamflow is important for supporting riparian vegetation and wetlands that provide shading, food web support, and flood and sediment attenuation functions.

The headwaters of Judd, Fisher, and Shinglemill creeks include numerous wetland areas that could also benefit from increased groundwater levels, further supporting cold water volumes to the creeks.

Land conservation and restoration activities may provide habitat benefits in addition to streamflow restoration. Those habitat benefits would derive from removal of structures and impervious surfaces, decommission of PE wells, wetland and riparian protection and restoration.

Identification of anticipated support and barriers to completion.

The primary barrier is the willingness of water right holders to sell their water rights and land. A secondary barrier is the availability of funding for water right acquisition and permitting.

Potential budget and O&M costs.

Water right acquisition costs are location and market specific. As a planning-level assumption, costs per consumptive acre-foot of irrigation water or stockwater could be in the $1,000 to $5,000 range. As discussed above, consumptive use per acre could range from about 0.4 to 2.0 acre-feet. Costs for acquisition of domestic water rights are likely to be strongly affected by the costs of providing an alternate water supply. These costs could be highly variable, depending on the availability and location of an alternate supply. Following water right acquisition and permitting there are expected to be no ongoing O&M costs associated with water right acquisition.

Budgets and O&M costs for property acquisition and associated habitat benefits through removal of structures and impervious surfaces, wetland and riparian protection and restoration, and decommissioning of PEWs will depend on the specific project opportunities and are not included in here.

Anticipated durability and resiliency.

Water right acquisition projects would have long-lasting benefits and would require minimal future management once permitting is complete. The durability and resiliency of other habitat improvement projects associated with property acquisition will depend on the specific projects and are not included in here.

Project sponsor(s) (if identified) and readiness to proceed/implement.

King County and Vashon-Maury Island Land Trust are potential sponsors of the projects. Both entities have extensive experience with implementing similar projects and would be ready to proceed once funding is secured.

Sources of Information

Ecology (Washington Department of Ecology), 2020. 303(d) Assessed Waterbodies. Available at: https://apps.ecology.wa.gov/waterqualityatlas/StartPage.aspx

WDF (Washington Department of Fisheries), 1975. “A Catalog of Washington Streams and Salmon Utilization, WRIA 15.” Accessed at: https://www.streamnetlibrary.org/?page_id=95.

WDFW (Washington Department of Fish and Wildlife), 2020a. Salmonscape. Available at: http://apps.wdfw.wa.gov/salmonscape/map.html

WDFW, 2020b. Priority Habitats and Species on the Web. Available at: https://geodataservices.wdfw.wa.gov/hp/phs/

#### Beall Creek Bypass Flow Improvement

Description

Beall Creek is a first order stream along the eastern shore of Vashon Island in King County with a drainage basin of 211 acres (Figure 1). Historically, Beall Creek likely had a fish community that included Cutthroat Trout, Coho Salmon, and steelhead trout. Juvenile coastal cutthroat have been observed utilizing Beall Creek (Salmonscape 2020). The focus of this project for the WRIA 15 watershed plan is to more accurately measure the Water District 19 water requirements at the Water District 19 (District) diversion. To accomplish that the existing diversion, which is a fish passage barrier, will be replaced.   This project will improve bypass flow at the diversion, resulting in flow improvements to Beall Creek at a rate of an estimated 26 acre feet per year.

Fish Barriers on Beall Creek

A plastic sheet pile dam across Beall Creek impounds water for the District’s irrigation diversion at river mile (RM) 0.30 (Figure 2). The District withdraws as much as 350 gallons per minute from the spring-fed creek (a type-two water supply) for community water supply. There are no fish passage facilities at the District’s irrigation diversion which results in a complete barrier to upstream fish passage at this location (Kerwin and Nelson 2000, Salmonscape 2020). The Washington Department of Fish and Wildlife (WDFW) identified the District’s irrigation diversion as a complete fish passage barrier in June 2017 (Salmonscape 2020). A partial fish passage at Beall Creek RM 0.02 was also identified in June 2017. There are currently no plans to address the partial barrier at RM 0.02.

Previous Project Development

In May 2018, a Preliminary Design Report for the Beall Creek Fish Passage project was completed for the District’s upstream irrigation diversion at RM 0.30 (Fisheries Engineers 2018). The report included a number of proposed modifications to the District’s Beall Creek diversion including:

- A new concrete dam to be built flush with the existing stream channel;

- A proposed roughened channel for upstream fish passage;

- A means to measure and control the water supply diversion and release of bypass flow;

- A new vertical plate fish screen installed within the existing water intake basin to physically exclude fish from the pumped water intake;

- A sand and silt sluicing system to facilitate the District’s maintenance of the water supply intake; and

- A new water delivery system to Water Treatment Plant 1 (Fisheries Engineers 2018).

Some members of the WRIA 15 Committee do not support including offset benefits from fish barrier removal projects. Therefore, the streamflow benefit considered for this project are modifications to the diversion to improve flow in Beall Creek.

Quantitative or qualitative assessment of how the project will function, including anticipated offset benefits, if applicable. Show how offset volume(s) were estimated.

If this Beall Creek Bypass Flow Improvement project were completed, the improved measuring capabilities would ensure a minimum flow in the stream of 48 gallons per minute and a more accurate diversion of water supply requirements thereby bypassing more flow than they currently do. The estimated offset benefit would be the minimum flow during the dry season when water demands and diversions by the District is highest. Assuming a 4-month dry season (June-September), the offset quantity would be 26 acre-feet.

Map of the project and location.

Figure 1. Location of Vashon Island and Beall Creek (red circle).

Figure 2. Beall Creek with a partial fish passage barrier at river mile 0.02 (yellow) and a complete fish passage barrier at river mile 0.30 (red). Both locations are associated with Water District 19. This project is focused on flow improvements at river mile 0.30.

Description of the anticipated spatial distribution of likely benefits

This project would put more water in the last 0.3 miles of Beall Creek to support aquatic life downstream. The fish barrier removal component of the project would open up ~0.6 miles of stream habitat for migratory fishes in Beall Creek, upstream of the District’s irrigation diversion (Figure 2). However, a partial fish passage at Beall Creek RM 0.02 remains unaddressed so fish distribution throughout Beall Creek may remain limited even if the project is completed.

Performance goals and measures.

The project will be measured by the presence of a minimum 48 gallons per minute bypass flow to allow fish passage through the roughened channel and preserve aquatic life downstream of the diversion.

Descriptions of the species, life stages and specific ecosystem structure, composition, or function addressed.

WDFW has identified that resident Coastal Cutthroat trout are present in Beall Creek (Salmonscape 2020). The proposed roughened channel would allow for upstream fish passage and the new vertical plate fish screen installed within the existing water intake basin would physically exclude fish from the pumped water intake, reducing or eliminating fish mortality. As a whole, this project supports all life stages of the resident Coastal Cutthroat trout.

Identification of anticipated support and barriers to completion.

Water District 19 is the primary stakeholder for the bypass flow improvement project. The District will collect, compile, share and report project data. The project is supported by the Washington Department of Fish and Wildlife, the Washington Department of Ecology, and the Puyallup Tribes of Indians.

The primary barrier is the availability of funding for project construction and operations. The preliminary design and cost estimate was developed in 2018 (Fisheries Engineers 2018) however the District has been unable to obtain funds for the project.

Potential budget.

As of October 2019, the estimated costs for both the barrier removal and the flow improvements was $110,000 (Fisheries Engineers 2018, Water District 19 2019). This cost estimate includes $82,000 for construction, $8,000 for Final Project Design, $6,000 for Project Permits, and $14,000 for Construction Management (Fisheries Engineers 2018).

Anticipated durability and resiliency.

The project would have lasting benefits. The project would likely improve the District’s maintenance capabilities for the water diversion system integrated with the fish passage facilitates (Fisheries Engineers 2018) providing a more reliable bypass flow.

Project sponsor(s) (if identified) and readiness to proceed/implement.

The District would sponsor the project. Funding for the project will also need to be secured.

Sources of Information

Kerwin, John and Nelson, Tom S. (Eds.). December 2000. Habitat Limiting Factors and Reconnaissance Assessment Report, Green/Duwamish and Central Puget Sound Watersheds (WRIA 9 and Vashon Island). Washington Conservation Commission and the King County Department of Natural Resources.

Fisheries Engineers. 2018. Beall Creek Fish Passage Project Preliminary Design Report. Prepared for Water District 19. June 2018.

Water District 19. 2019. Water District 19 meeting minutes from October 8, 2019. http://www.water19.com/wp-content/uploads/2019/12/Comm-Meeting-100819-FINAL.pdf

WDFW (Washington Department of Fish and Wildlife), 2020. Salmonscape mapping of fish distribution. Available at: http://apps.wdfw.wa.gov/salmonscape/

### Appendix J – Water Rights Assessment Technical Memo

Technical Memorandum

To:	Department of Ecology WRIA 15 Watershed Restoration and Enhancement Committee

From:	Burt Clothier, LHG

Joe Morrice, LHG

Re:	Water Right Screening Methodology

Date:	December 21, 2020

This technical memorandum documents the methodology used to screen and select water rights for potential use to support watershed restoration and enhancement projects in Water Resources Inventory Area (WRIA) 15, Kitsap. This work was completed by Pacific Groundwater Group (PGG) on behalf of the WRIA 15 Watershed Restoration and Enhancement (WRE) Committee (the Committee) and the Department of Ecology (Ecology).  This work was performed under Ecology Contract Number C1700029, Work Assignment PGG104.

Under RCW 90.94.030, Ecology has the responsibility to convene WRE committees and prepare WRE plans for eight WRIAs in the Puget Sound and Hood Canal areas. The general purpose of the plans is to document and offset projected depletion of instream flows resulting from new, permit-exempt domestic well uses in the WRIAs over the next 20 years.

To support development of the WRE plan for WRIA 15, PGG assisted the Committee in selecting a focused set of water rights for further review to assess potential benefits and suitability in offsetting impacts from permit-exempt wells on instream flows. This memorandum outlines the methodology used to develop the focused list of water rights.

pROCEDURE

Ecology staff queried their Water Rights Tracking System (WRTS) database and provided tables and associated GIS data of all active water rights within WRIA 15. Inactive water rights (e.g., previously approved changes, cancelled or withdrawn applications) were excluded from the data provided by Ecology. Water right claims and pending applications for new water rights or water right changes were also excluded.

The GIS data included the mapped place of use and point(s) of diversion or withdrawal locations, where available. Where Ecology does not have detailed location information for points of diversion or withdrawal, or such has not yet been added to their dataset, the default location is typically the nearest quarter or quarter-quarter section, based on the water right file information.

The Committee’s desire was to identify classes or groups of water rights that could potentially be converted, purchased, or retired as mitigation water. The hope being that rights in key sub-basins could be found that, if applicable and available, could be use to off-set the projected impacts of future permit exempt wells and/or provide an environmental benefit to local surface water bodies. Such mitigation projects require the combination of available water (legally and physically), willing seller and buyers, and methods to apply the water to the proposed mitigation purpose. This ranges from simply retiring the right back to the State where no further action is assumed and the water simply ceases to be used for its prior purpose up to more complex efforts where a right is changed to a new use or a new location (or both) and directly applied to the mitigation project (e.g. streamflow augmentation or groundwater recharge).

The tables of active water rights included over 8,500 water right files within WRIA 15. Following consultation with the Committee, PGG limited the water rights under consideration to certificates and permits that included commercial and Industrial (CI), stockwater (S), or irrigation (IR) uses. Municipal and domestic (or multiple domestic) categories were excluded based on the expectation that these rights would not be available for conversion into sources of mitigation water. Irrigation rights were also classified based on the reported irrigated acreage.

The list of active water right permits and certificates was further reduced by removing any with a priority date later than the July 24, 1981 adoption date of Chapter 173-515 WAC, the instream flow rule for WRIA 15.

The list of active permits and certificates with CI, IR, and/or ST uses was reduced again based on authorized instantaneous (Qi) and annual (Qa) quantities. Water rights with both a Qi of less than 0.1 cfs (45 gpm) and a Qa of less than 10 acre-feet per year were excluded from further consideration. This was an arbitrary cut-off intended to focus on high-value possibilities over smaller ones and provide for more manageably sized lists.

The resulting data was subdivided by the priority subbasins identified by the Committee. The result was a suggested list for each subbasin of between six and 31 water rights. From these, a set of 13 rights were selected as example potential projects. Each of the rights were further researched and described in one- to two-page summaries for Committee review.

The Committee was tasked with review of both the subbasin lists and the 13 suggested water rights. Several committee members and Ecology staff provided comments during review and nine of the selected summaries were eliminated from further consideration. The remaining four were refined for use in the draft report planning. Follow-on conversations with Kitsap Conservation District (KCD) were also held to discuss the possibility that KCD may take on the future project of further organizing and utilizing the water rights lists to find and negotiate purchase or transfer of water rights as mitigation off-sets.

### Appendix J. Proposed Improvements to the Department of Ecology’s Well Reporting Processes

The “Upgrade Well Reporting” Proposal

Developed by the Squaxin Island Tribe in consultation with Ecology’s Well Construction and Licensing Office

Contributors:	Ecology - Joe Witczak, Scott Malone, and Tara Roberts

Squaxin Island Tribe - Erica Marbet

Final Draft May 28, 2020

Purpose:

Accurate well data is critical for all parties to make water management decisions that are protective of the environment and beneficial to communities. The quality of well data in Washington State can be improved with changes to how the State collects information from drillers. These improvements are essential for monitoring and management of shared water resources in the State of Washington.

Background:

In 2018, at the request of the Squaxin Island Tribe, Ecology assigned staff to assess the accuracy of water well location reporting in Mason County. The project checked 187 water well reports (2.1% of the 8,910 water well reports from the county). Ecology uses the Public Land Survey system (PLS) to record well locations by township, range, section, quarter and quarter-quarter. Currently wells are mapped by 40-acre quarter-quarter centroids on the State Well Report Viewer. The results showed that 79% of well locations could be verified with the information on the report. Of those that could be verified, 33% had incorrectly reported PLS locations. Ecology performed a similar, statewide assessment of well location data and found a 24% error rate for all types of regulated wells.

As Tribes utilize Ecology’s well report database frequently, tribal staff would benefit by improving well location data management and processes. In discussions between Ecology, Squaxin, and Mason County, all agreed that improvements to Ecology’s well reporting processes could help reduce the error in water well location reporting.

Ecology is eager to expand their web-based well reporting options. In 2019, Ecology surveyed well drillers to determine their preferences regarding format and features. Of 133 respondents, 63% placed a high importance on a new well location mapping tool that would use recent aerial imagery to determine a well’s PLS location and coordinates. Only 6% responded that this effort would be of low importance. These results showed drillers preferred to submit well reports from a web form in the current well report format.

We propose the following changes to Ecology’s well data processes:

- New well location mapping tool for drillers

An interactive web-based mapping tool that provides an intuitive means of determining PLS location has been implemented in Oregon recently. Ecology is interested in developing their own web tool which provides the PLS and coordinates location (latitude/longitude) for a new well automatically. The Notice of Intent web form would shell into a new GIS application utilizing recent aerial imagery, a parcel overlay, and a tool that updates the quarter-quarter and coordinates on the NOI. The well driller need only click on the interactive map to generate a well location. When a driller finishes a well report, they can utilize the same tool to refine their coordinates and PLS location.

- Require coordinates on well reports

Coordinates can perfectly describe a well location within a parcel. Adding latitude and longitude on well reports will serve to verify a well’s location on the ground accurately and easily. Ecology intends to require well coordinates on reports, though a WAC change may eventually be needed.

- New web-based well reporting application

Ecology is determining the best approach for implementing a new web-based well reporting application. According to a recent survey of drillers and their support staff, a web-form mimicking the current well report forms that uploads directly to Ecology’s database is desired. The benefits of using a web-based well reporting process are numerous:

- Less backlog of scanning and data entry - more time for Ecology staff to vet well reports

- Legible text, fewer written responses

- Digitizing all well report data, not just the fields that were captured by Ecology staff during the scanning process

- A smart form format can eliminate out-of-range entries

By capturing digitized well location data, it would be feasible in the future to automate the process of verifying well locations and water right information.  Tracking well location and permit-exempt wells is a need of users who download geospatial datasets from Ecology’s GIS data page (https://ecology.wa.gov/Research-Data/Data-resources/Geographic-Information-Systems-GIS/Data)

The Well Construction and Licensing Office at Ecology needs more capacity to vet well reports. Automation from web-based reporting would free up staff to do more vetting, because the office’s staff would not have to do as much scanning of paper documents and manual entry of data fields for each report. They need more automation, not FTEs.

Please share this proposal with your RCW 90.94 watershed planning committees ask members to support it.  This would include adding it as a proposed action in a watershed plan.

Please contact Mary Verner, Manager of Ecology’s Water Resources Program and Tyson Oreiro, Ecology’s Tribal Liaison to express your support for the “Upgrade Well Reporting” proposal.

See next two pages for figures.

https://appswr.ecology.wa.gov/wellconstruction/Wells/NoticeOfIntentForm.aspx?form=noiwaterwellform

Make Optional

Add interactive map to automatically identify township, range, section, latitude, and longitude

Make Optional

Latitude

Longitude

Make Mandatory

https://fortress.wa.gov/ecy/publications/documents/ecy050120.pdf

Make Mandatory

Make Mandatory

Add interactive map to automatically identify township, range, section, latitude, and longitude

Change this water well report into a web form.

www.ecology.wa.gov/contact

Some members of the WRIA 15 Committee have different interpretation of RCW 90.94.030. Signing statements and other documents provided in the Compendium provide more information on their interpretations.

Some members of the WRIA 15 Committee have different interpretation of RCW 90.94.030. Signing statements and other documents provided in the Compendium provide more information on their interpretations.

ESSB 6091 includes the following: “AN ACT Relating to ensuring that water is available to support development; amending RCW 19.27.097, 58.17.110, 90.03.247, and 90.03.290; adding a new section to chapter 36.70A RCW; adding a new section to chapter 36.70 RCW; adding a new chapter to Title 90 RCW; creating a new section; providing an expiration date; and declaring an emergency.” (p. 1)

Washington State follows the doctrine of prior appropriation, which means that the first users have rights senior to those issued later. This is called “first in time, first in right.” If a water shortage occurs, senior rights are satisfied first and the junior right are curtailed. Seniority is established by priority date — the original date a water right application was filed, or the date that water was first put to beneficial use in the case of claims and the groundwater permit exemption. Although groundwater permit-exempt uses do not require a water right permit, they are always subject to state water law. In some instances, Ecology has had to regulate permit exempt water users when they interfere with older, “senior” water rights, including instream flow rules. More information is available on the Department of Ecology’s website: https://ecology.wa.gov/Water-Shorelines/Water-supply/Water-availability.

The planning horizon for planning to achieve a NEB is the 20 year period beginning with January 19, 2018 and ending on January 18, 2038. The planning horizon only applies to determining which new consumptive water uses the plan must address under the law. The projects and actions required to offset the new uses must continue beyond the 20-year period and for as long as new well pumping continues. (Ecology, 2019b; page 7)

All participating entities committed to participate in the process and designated representatives and alternates to sit on the WRIA 15 Committee. A roster with the names of the representatives is available in Appendix A. The City of Poulsbo originally participated in the process but withdrew from the Committee in October 2020.

This includes regular Committee meetings and special Committee meetings where most representatives attended. This does not include project workgroup, technical workgroup, or one-time workgroup meetings.

Complete operating principles can be found on the WRIA 15 Committee EZ View webpage and in Appendix B: https://www.ezview.wa.gov/site/alias__1962/37327/watershed_restoration_and_enhancement_-_wria_15.aspx

More information on salmon recovery planning in Puget Sound, watershed plans, and limiting factors available here: https://www.psp.wa.gov/salmon-recovery-watersheds.php.

More information on local integrating organizations and their efforts to recovery Puget Sound is available here: https://www.psp.wa.gov/LIO-overview.php.

Salmon recovery lead entities in Puget Sound were established under RCW 77.85.050. More information on their roles as well as links to the recovery plan and watershed chapters is available here: https://www.psp.wa.gov/salmon-recovery-overview.php.

RCW 70.116.070

Water system planning information for each county is available.

Kitsap County: https://kitsappublichealth.org/environment/files/regulations/CWSP2005.pdf

Pierce County: https://www.co.pierce.wa.us/951/Coordinated-Water-System-Planning

Mason County: https://www.co.mason.wa.us/health/environmental/drinking-water/public-water-systems.php

King County: https://www.kingcounty.gov/depts/dnrp/utilities-technical-review-committee/coordinated-water-system-plans.aspx

Comprehensive planning under GMA is available from each county:

King County: https://www.kingcounty.gov/depts/executive/performance-strategy-budget/regional-planning/king-county-comprehensive-plan/2020-Executive-Recommended-Plan.aspx [see Chapter 5, p. 5-42; Chapter 9, p 9-19]

Kitsap County: http://compplan.kitsapgov.com/Pages/home.aspx

Pierce County: https://www.co.pierce.wa.us/950/Comprehensive-Plan

Mason County: https://www.co.mason.wa.us/community-services/planning/2036-comp-plan-update/index.php

Several species of fish migrate through the Chico Watershed, including chum and coho salmon, steelhead, and sea-run cutthroat trout.

Note that RCW 90.94.030 does require developments associated with new building permits to have stormwater management and LID.

Modeling has not been completed for the smaller stream systems in WRIA 15, and therefore the projections for larger river systems may have limited applicability.

Additional water quality assessments are conducted in WRIA 15 such as by Kitsap County, City of Bainbridge Island, and the South Sound monitoring program. The Ecology Water Quality monitoring program is provided as an example of the type of information collected.

The term “subbasin” is used by the WRIA 15 Committee for planning purposes only and to meet the requirements of RCW 90.94.030 (3)(b).

This is consistent with Final NEB Guidance that defines subbasins as a geographic subarea within a WRIA. A subbasin is equivalent to the words “same basin or tributary” as used in RCW 90.94.020(4)(b).

Though the statute requires the offset of “consumptive impacts to instream flows associated with permit-exempt domestic water use” (RCW 90.94.020(4)(b)) and 90.94.030(3)(b)), watershed plans should address the consumptive use of new permit exempt domestic withdrawals. Ecology recommends consumptive use as a surrogate for consumptive impact to eliminate the need for detailed hydrogeologic modeling, which is costly and unlikely feasible to complete within the limited planning timeframes provided in chapter 90.94 RCW.  RCW 90.94.020 and 90.94.030 have various references to how watershed plans are to project, offset, or account for “water use.” Ecology interprets these subsections of the law (RCW 90.94.020(4)(b), 90.94.020(4)(c), 90.94.030(3)(b), 90.94.030(3)(c), 90.94.030(3)(d), and 90.94.030(3)(e)) to relate to the consumptive water use of new permit-exempt domestic withdrawals that come online during the planning horizon. (Ecology, 2019a, page 7)

Note that some Committee members requested a high growth projection for Mason County, but that projection was not included as part of this watershed plan.

Acre-foot (AF) is a unit of volume for water equal to a sheet of water one acre in area and one foot in depth. It is equal to 325,851 gallons of water. One acre-foot per year (AF/yr) is equal to 893 gallons per day (gpd).

Cubic feet per second (cfs) is a rate of the flow in streams and rivers. It is equal to a volume of water one foot high and one foot wide flowing a distance of one foot in one second. One cubic foot per second is equal to 646,317 gallons per day.

Note that the water use data is from water system data which is metered with a fee structure based on water use. PE wells in WRIA 15 are not metered and have no associated fee structure.

The estimated outdoor consumptive use equals 43.2 gpd per person, or 108 gpd per household. The outdoor non-consumptive use is 27 gpd (using 80 percent consumptive use factor), giving a total outdoor water use of 135 gpd per household.  Washington Department of Ecology compiled information on existing PE well metering programs across the state for the purpose of policy and project discussions at Committee meetings (Ecology, 2020c). Six different well metering programs are described. The average water use amongst the six programs varied from 114 to 241 gpd per household. That value includes outdoor and indoor water use. The highest values were for a small group of eight wells in King County. Data from Lummi Peninsula, Dungeness and Kittitas represented over 90 percent of the metered data obtained. The range of water use in those areas was 114 – 124 gpd. The total outdoor water use estimate using the irrigated area method of 135 gpd per household exceeds the average water use in the metered areas. Adding indoor use of 150 gpd per household the irrigated area method may predict twice the average water use of other areas in Washington State with PE wells with metering data.

The Squaxin Island Tribe calculation of increased evapotranspiration (and therefore water use) due to temperature increases suggested eight percent more water demand in 20 years.

In order to help reduce consumptive use uncertainty when considering both the USGS Groundwater Model and the Irrigated Area Methods, some members of the Committee developed their own analyses. The Skokomish Tribe and Aspect Consulting conducted an assessment of how, or if, precipitation variability across geography and time would affect outdoor irrigation consumptive use estimates in WRIA 15. The study used up to date climatological data from AgWeatherNet and PRISM to compare to values using the Irrigated Area Method. This was undertaken to address concerns that these methodologies may be not conservative enough or too conservative (respectively) and whether or not a “safety factor” needed to be factored in. This assessment can be found in the Compendium. The analysis provided similar results to the Irrigated Area method. The study also suggests that water use in dry years is substantially higher, pointing to the likelihood of increased water use as climate change makes the dry season longer, hotter, and drier. The Squaxin Island Tribe also evaluated future evapotranspiration rates under projected hotter and drier conditions using 20-year climate projections. The analysis found 1.6 inches of increased evapotranspiration (and likely an equivalent amount of irrigation water demand) for about an 8% increase in annual water use. A memo regarding the Tribe’s analysis can be found in the compendium..

The legal withdrawal limit for PE wells in WRIA 15 is 950 gpd per RCW 90.94.030. This watershed plan did not calculate consumptive use using the legal limit.

The NEB Guidance defines “projects and actions” as “General terms describing any activities in watershed plans to offset impacts from new consumptive water use and/or contribute to NEB.” (Ecology, 2019b, page 5) This watershed plan uses the term “projects” for simplicity to encompass both projects and actions as defined by the NEB guidance.

In 2015 the State Supreme Court issued a decision on Foster v. Ecology, City of Yelm, and Washington Pollution Control Hearings Board. The decision, frequently referred to as the “Foster decision,” reaffirmed and reinforced that instream flows adopted in a rule must be protected from impairment. The Legislature established the Joint Legislative Task Force on Water Resource Mitigation (Task Force) in RCW 90.94.090 to understand impacts of the 2015 Foster decision. In that law, Ecology is authorized to issue permit decisions for up to five water mitigation pilot projects using a stepwise mitigation approach that can include out of kind mitigation. The City of Port Orchard is one of the entities undertaking a pilot project. As of January 2020, the pilot project work is still ongoing. More information about the Task Force, including their 2019 report to the legislature, can be accessed on their webpage: http://leg.wa.gov/JointCommittees/WRM/Pages/default.aspx. (Ecology, 2020b)

More information on these project types is available from Ecology: https://ecology.wa.gov/Water-Shorelines/Water-supply/Water-recovery-solutions/Aquifer-storage-recovery-recharge

“…Qualifying projects must be specifically designed to enhance streamflows and not result in negative impacts to ecological functions or critical habitat,” (RCW 90.94.030 (3) (b)).

For more information, see Beechie et al., 2012. Restoring Salmon Habitat for a Changing Climate. River Restoration and Application. 29: 939-960.

For more information, see Puget Sound Partnership, Adaptation International, and EcoAdapt, 2017. Planning for the Effects of Climate Change on Protection and Restoration Projects. Available at: https://www.psp.wa.gov/salmon-recovery-overview.php   (Accessed December 2020).

“New regulations or amendments to existing regulations adopted after January 19, 2018, enacted to contribute to the restoration or enhancement of streamflows may count towards the required consumptive use offset and/or providing NEB.” Streamflow Restoration Policy and Interpretive Statement, POL-2094

Ecology leadership has determined that additional voting members will not be invited to join the committees in order to stay true to the legislation and keep the Committee size manageable. However, the Committee may decide to include non-voting members if they choose.

RCW 90.94 (3) states that “the department shall prepare and adopt a watershed restoration and enhancement plan for each watershed listed under subsection (2)(a) of this section, in collaboration with the watershed restoration and enhancement committee. Except as described in (h) of this subsection, all members of a watershed restoration and enhancement committee must approve the plan prior to adoption.” Based on input from the Attorney General’s office, because Ecology is a member of the Committee and must ultimately vote on whether or not to approve the plan, Ecology shall vote on all items coming before the Committee.

Definition of Consensus:  Consensus is a group process where the input of everyone is carefully considered and an outcome is crafted that best meets the needs of the group as a whole. The root of consensus is the word consent, which means to give permission to. When members consent to a decision, they are giving permission to the group to go ahead with the decision. Some members may disagree with all or part of the decision, but based on listening to everyone else’s input, all members agree to let the decision go forward because the decision is the best one the entire group can achieve at the current time.

The chair will identify definitive deadlines by which decisions need to be made in order to say on track to meet the plan deadline.

If much of the group is in agreement and only one or two members are in disagreement, individuals may be selected to negotiate on behalf of the larger group.

If an ‘out of office’ message is received for the primary representative, the alternate representative(s) will be contacted. The chair and facilitator will make at least 3 points of contact with each Committee member and alternates before marking them as an abstention (e.g. phone, email, text).

Per RCW 90.94, Ecology shall review the watershed restoration and enhancement plan to ensure it meets net ecological benefit. Ecology shall provide the Committee with a definition and guidance of net ecological benefit.

RCW 90.94.030 does not require local jurisdiction approval prior to plan adoption.

"Class A reclaimed water" means a water resource that meets the treatment requirements of chapter 173-219 WAC, including, at a minimum, oxidation, coagulation, filtration, and disinfection.

Current costs in North Hood Canal per acre are approximately $9000. The larger range takes into account variations across the WRIA and future pricing. This estimate is only for the acquisition and does not include any potential restoration work that may occur on some properties.

Installations include projects within the cities of Poulsbo, Bremerton and Bainbridge Island.

Water rights may include more than one purpose of use. For this summary, water rights with an irrigation component among the authorized uses are included in the IR column; rights with a stockwater component and no irrigation use are included in the ST column; and rights with domestic uses and no stock or irrigation uses are included in the DG/DM/DS column.

This includes certificates, certificates of change, permits, and superseding permits.